## RARF
| Document Name: | Response to Comments on RARF v0.5
| Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | Reliant | Rick Keetch | General | The RARF’s request for a Resource Outage Submittal Contact (ROSC) is redundant with the Resource Entity Application for Registration Form. If the ROSC contact info is included on both forms, they will each require an NCI if the contact changes. There is more of a chance for inconsistency if one form gets changed and the other doesn’t. Suggest having the ROSC contact info on just one form. | Accepted | M. Mereness | Removed from RARF, leave on Resource Entity application
2 | Reliant | Rick Keetch | Gen Tab | On the generation tab, what is the difference between Seasonal Net MW Rating (summer) and Net Maximum Operating Capability (MW) – summer (spreadsheet lines 26 and 34 respectively)? | Accepted | M. Mereness | Removed Net Max Capability, and better defined Seasonal Net MW Rating to be the "Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)"
3 | Reliant | Rick Keetch | Gen Tab | The RARF requires info regarding private network resources. It would be helpful if the term “Private Network” was defined somewhere. I could not find it in section two of the Nodal Protocols. | Accepted | M. Mereness | Added to comment in the cell- Per ERCOT Operating Guides, section 8: Private Network refers to generators with self-serve private load behind a single meter at the point of injection into the ERCOT grid. Private Use Network definition- An electric network connected to the ERCOT Transmission Grid that contains load that is not directly metered by ERCOT (i.e., load that is typically netted with internal generation).
4 | Reliant | Rick Keetch | General | Document needs to be spell checked. | Accepted | M. Mereness | Agree and corrected errors
5 | Multiple question |  | General | Do mothballed units need to complete RARF? | Response | M. Mereness | Clarified in instruction sheet that the RARF should be completed for Mothballed generation resources.
7 | LCRA | LCRA | Generation | Should value to High Reasonability Limit be Net or Gross? | Accepted | M. Mereness | Clarified that this is a Net value
8 | LCRA | LCRA | Generation- line 25-28 | For Seasonal Net MW Ratings- - Will QSE's have to re-register each unit each quarter? - Will this data be is submitted via Testing Routine? - The seasonal MW ratings of units for registration purposes is not defined adequately. This value is tested on a quarterly basis and changes depending on age, system configuration, etc. | Response | M. Mereness | Net Dependable Capability will not be solicited in the RARF, rather demonstrated by ERCOT testing with MP, and entered into ERCOT systems. Seasonal Net MW Rating to be the "Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)
9 | LCRA | LCRA | Generation- line 33 | Rating (MW) - this should be "This should be stated as Max MVAR at rated PF at rated MW" | Response | M. Mereness | Clarified comment to be, "Maximum rated MW at rated Power Factor at Unit Reactive Limit- defined as the maximum quantity of Reactive Power that a Generation Resource is capable of providing at a 0.95 power factor at its maximum real power capability.".
10 | LCRA | LCRA | Generation- line 34/26 and 37/28? | Same data elements? 34/37- Net Maximum Operating Capability (MW) - Summer/Winter 26/28- Seasonal Net MW Rating- Summer/Winter | Accepted | M. Mereness | Removed and clarified fields.
11 | LCRA | LCRA | Generation- line 35/36/38/39 | Net Maximum Leading/Lagging Operating Capability (MVAR) - Summer/Winter: The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons. | Accepted | M. Mereness | Agree- combined to one entry as there are not separate seasonal values from the biannual test.
12 | LCRA | LCRA | Generation- line 42/43 | Direct Axis transient/Subtransient reactance X"di/X'di - Untested or Verified- per manufacturer | Open | M. Mereness | Open item
13 | LCRA | LCRA | Generation- line 48 | Plant Frequency Protection, Underfrequency Trip- Operating Guides Require 4 Distinct UF Trip Settings - Not Just One?? | Open | M. Mereness | Open item to determine if ERCOT should solicit 4 values.
14 | LCRA | LCRA | Generation- lines 67-78 | Reactive Capability Curve: Leading/Lagging MVAR limit associated with MW1 output- The MVAR Value is tested once biennially during a specified set of months. Therefore, the values will probably remain the same for all seasons. | Accepted | M. Mereness | Agreed- made a single value.
15 | LCRA | LCRA | Generation- line 88 | Max Weekly Energy Is this meaningful? Could it not be calculated? Too many variables (Fuel, Environmental. Etc.) | Reject | M. Mereness | Required by protocols 3.7.1.
16 | LCRA | LCRA | Generation- line 114 | Transformer: What if multiple choices (double bus arrangement)? | Accepted | M. Mereness | Request RE include supporting information if more than one transformer.
17 | LCRA | LCRA | Generation - lines 115,116 | Transformer High/Low Voltage Limits: Is this BIL or no-load tap? | Accepted | M. Mereness | Specified no-load tap in form.
18 | LCRA | LCRA | Generation - lines 121 | Transformer Normal Rating MVA- ONAN? | Open | M. Mereness | Will contact commenter to understand comment.
20 | LCRA | LCRA | Generation - lines 122 | Transformer Emergency Rating MVA- ONAF? | Open | M. Mereness | Will contact commenter to understand comment.
21 | LCRA | LCRA | Generation - lines 123 | Transformer Loadshed Rating MVA- ONAF? | Open | M. Mereness | Will contact commenter to understand comment.
22 | LCRA | LCRA | Generation- Joint Ownership | Where do you identify the unit you are defining? | Response | M. Mereness | "Unit 1 Data" refers to the column for Unit 1 Data and contains the unit name (this is the same in the zonal GARF)
23 | LCRA | LCRA | CombCycle | How is one to use only 3 configurations for a CC if the individual units are capable of interconnecting to more than one transmission bus in ERCOT ? | Response | M. Mereness | Train to be modeled to single bus voltage.
24 | LCRA | LCRA | CombCycle- Transformer | Transformer data- How will multiple low voltage windings be specified and handled? | Accepted | M. Mereness | Comment inserted requesting RE include supporting information if more than one winding.
25 | LCRA | LCRA | CombCycle | What if unit is Jointly Owned? | Response | M. Mereness | From an ERCOT perspective, combined-cycle trains will be registered and managed by a single entity.
26 | LCRA | LCRA | CombCycle | Regarding "Combined Cycle data table, this form needs to be modified to accommodate situations where a QSE has a 4th (and 5th?) configuration. There will likely be 4 or more different combined cycle configurations at future, new combined cycle sites. | Response | M. Mereness | Whitepaper and Combined Cycle discussion with TPTF led to requirement to limit number of configurations to be less than or equal to the number of units
27 | LCRA | LCRA | General | Where appropriate, for cross-reference purposes, include Nodal Protocol / Operating Guide section numbers. | Response | M. Mereness | Updated many cells, but not all data requested can be directly tied to protocol or Ops guide language.
28 | LCRA | LCRA | General | For each required data field, please identify the particular ERCOT Nodal analytical system that will be using the data field as a required input. | Response | M. Mereness | When the RARF is finalized, ERCOT will revisit and update the Resource Data Element Spreadsheet previously released to TPTF. This will not be in the RARF.
29 | LCRA | LCRA | General | For GSU data - Please be more specific as to LTC Taps or no-load taps. This is not clear. | Accepted | M. Mereness | Updated to reflect no-load tap.
30 | TXU | TXU | Generation sheet | Does this imply the RARF is to be completed and submitted by the QSE or the Resource Entity? Is the QSE or Resource Entity Ultimately Responsible for the RARF data at ERCOT? | Response | M. Mereness | Yes- the Resource Entity completes and is responsible for the RARF.
31 | TXU | TXU | Generation sheet | What is the definition of every field in this document (Can the definition be something meaningful to generation entities)? | Response | M. Mereness | ERCOT defines as many terms as possible within the Comments function. If there is confusion, please provide specific issues.
32 | TXU | TXU | Generation sheet | What system / process at ERCOT will use each registration field? (SCED, DAM, RUC, Network Modeling) | Response | M. Mereness | Systems that use the data are described in the MP Data Element worksheet (http://nodal.ercot.com/docs/pd/coms/od/mpde/17_Market_Participant_Data_Elements_as_of_6-8-07_1539.xls ), but no specifics provided on function.
33 | TXU | TXU | Generation sheet | We need to determine what is the implication of the data to be capture (Ex: Some data is used for dispatch and will have a financial impact & some data is simply used for modeling) | Reject | M. Mereness | Outside of the scope of this document.
34 | TXU | TXU | Generation sheet | Can the protocol reference for each registration requirement be specified? | Response | M. Mereness | Updated to include protocol reference for nodal Resource Parameters, and some other fields, but the requested data does not connect 1-for-1 to protocol language.
35 | TXU | TXU | Generation sheet | Can an additional comment field be added for the QSE to explain what type of data they believe they are capturing in the RARF? | Response | M. Mereness | Comments are imbedded in spreadsheet. If there are still questions, Resource Entity encouraged to contact ERCOT Account Manager for assistance if needed to resolve questions and issues.
36 | TXU | TXU | Generation sheet | Unit End Date- can this be set to N/A? | Response | M. Mereness | Inserted detail to specify "Retire Date- leave blank if not applicable."
37 | TXU | TXU | Generation sheet | Reasonability Limits need better definition, not in Protocol section2 definitions (out of bounds limit?) High/Low Reasonability Limit High/Low Reasonability Ramp Rate Limit | Accepted | M. Mereness | Comment in spreadsheet clarified to read, "New Nodal field per protocol 3.7.1- An "Out-of-Bounds" value chosen by RE and used by ERCOT to alarm/reject data exceeding the value."
38 | TXU | TXU | Generation sheet | Seasonal Net MW Rating- Is this field similar to the seasonal max gen tests submitted to ERCOT? | Response | M. Mereness | Nominal Net Rating from Resource used to calculate Mitigated Offer Cap (Protocols 4.4.9.4)- added comment to field.
39 | TXU | TXU | Generation sheet | Seasonal Ratings- what is the defined start date of each season? | Response | M. Mereness | (1) Spring (March – May), (2) Summer (June-August), (3) Fall (Sept- November) (4) Winter (Dec-February)
40 | TXU | TXU | Generation sheet | Conversion constant from Gross to Net MW (if applicable)- not sure what this is? | Open | M. Mereness | Researching item.
41 | TXU | TXU | Generation sheet | Net Maximum Operating Capability (MW) - Summer/Winter: How does this differ from Seasonal Net MW rating? Where is this used? | Accepted | M. Mereness | Duplicate data removed
42 | TXU | TXU | Generation sheet | Direct Axis transient/Subtransient reactance X"di/X'di - Does this exist in another spreadsheet/form (compensator form, stabilizer form, etc)? | Response | M. Mereness | Still checking into this field.
43 | TXU | TXU | Generation sheet | What about the other forms- to be filled out or grandfathered in? - Compensator form - Stabilizer Form - Excitation Form - Turbine Governor Form | Response | M. Mereness | Only new Resources will need to fill out the PTI/PSSE Model data (which has not been changed). Existing RE's that have this data on file DO NOT need to re-submit this data. Additional information added to the RARF clarifying this..
44 | TXU | TXU | Generation sheet | Undervoltage trip- Is this Yes, No, or a value? | Response | M. Mereness | Specified in field that value needed.
45 | TXU | TXU | Generation sheet | Cold Start Time (hrs)- We would prefer to specify our exact emissions constraints and rules so ERCOT can manage emissions, otherwise we would like to add Daily Hours per day and Daily MW/h per day | Reject | M. Mereness | This field required per protocols 3.7.1- so proposed incremental data could be proposed separately in an NPRR by the market
46 | TXU | TXU | Generation sheet | Max On Line Time (hrs)- Is N/A available? Emissions constraints can limit this number- value required by protocols. | Reject | M. Mereness | This field required per protocols 3.7.1
47 | TXU | TXU | Generation sheet | Hot-to-Intermediate Time (hrs), Intermediate-to-Cold Time (hrs) - the protocol section 3.7.7.1 defines this as seasonal | Response | M. Mereness | Data submitted by RE can be updated at any time by the QSE to reflect seasonal changes.
48 | TXU | TXU | Generation sheet | Ramp Rates- ERCOT protocol section 2 defines ramp rates as having 10 segments | Response | M. Mereness | Ten segments- 5 for upward ramp rates, 5 for downward ramp rates.
49 | TXU | TXU | Generation sheet | If we are restricted to just 5 segments, can this be a polynomial curve? | Response | M. Mereness | Stepwise data for the 10 directional segments.
50 | TXU | TXU | Generation sheet | It is our understanding that ramp rate are not monotonically increasing. Is this correct? | Response | M. Mereness | MMS team believes this to be true, that ramp rates do not need to be increasing with each step, but confirming with vendor.
51 | TXU | TXU | Generation sheet | Will ramp rates be evaluated stepwise or will there be interpolation between points? | Response | M. Mereness | Stepwise.
52 | TXU | TXU | Generation sheet | What is the range for normal ramp rate curves? From LSL to HSL? | Accepted | M. Mereness | Yes, the LSL and HSL are the range of ramp rates. Clarified in comment field on RARF.
53 | TXU | TXU | Generation sheet | How quickly can a QSE change the ramp rate curve and it becomes effective in SCED? | Response | M. Mereness | Will be capable of submitting updates on demand through MMS, but cannot provide exact timing.
54 | TXU | TXU | Generation sheet | What is the range for emergency ramp rates? LEL to HEL? | Accepted | M. Mereness | Yes, the LEL and HEL are the range of ramp rates. Clarified in comment field on RARF.
55 | TXU | TXU | Generation sheet | What naming convention does ERCOT use for Xformers? | Response | M. Mereness | No changes to the naming convention, can use same as in zonal.