| NOGRR Number | 007 | NOGRR Title | Nodal Operating Guides - Section 7, Telemetry and Communication |
| --- | --- | --- | --- |
| Date |  | July 25, 2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | Curtis Crews |  |
| E-mail Address |  | ccrews@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3139 |  |
| Cell Number |  |  |  |
| Market Segment |  | N/A |  |

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Comments

The Operating Guide Revisions Task Force (OGRTF) recommended that NOGRR007 be reviewed by SMEs from the Network Data Support Working Group (NDSWG), Transition Plan Task Force (TPTF), and ERCOT for inconsistencies with the ICCP Handbook and the Telemetry Standards document by July 31, 2007.

The following are ERCOT comments to comply with OGRTF’s recommendation.  The authors for this set of ERCOT comments include “ccrews”, “ftrefny2”, and “A. Boren”.

Revised Proposed Nodal Operating Guide Language

ERCOT Nodal Operating Guides

Section 7:  Telemetry and Communication

(Effective Upon Texas Nodal Market Implementation)

7	Telemetry and Communication	1

7.1  	Obligation	1

7.1.1	ERCOT Responsibilities	1

7.1.2	QSE and TSP Responsibilities	1

7.1.2.1	 TSP and QSE Supplied Communications	1

7.2	Communications	1

7.2.1	ERCOT WAN	1

7.2.1.1	 Maintenance and Restoration	1

7.2.2	ERCOT ICCP Interface	1

7.2.2.1     Quality Codes	1

7.2.2.1.1	ICCP Quality Codes from Market Participants to ERCOT	1

7.2.2.1.2	ICCP Quality Codes from ERCOT to Market Participants	1

7.2.2.2  	Metric of Availability	1

7.3	Telemetry	1

7.3.1	Data from ERCOT to QSE’s	1

7.3.2	Data from ERCOT to TSP	1

7.3.3	Data from QSEs and TSPs to ERCOT	1

7.3.3.1	 Weather Zone Data	1

7.3.4	TSP and QSE Telemetry Restoration	1

7.3.5	QSE and TSP Data Acquisition	1

7.3.6	General Telemetry Performance Criterion	1

7.3.6.1	Critically Important Telemetry Performance Criterion	1

7.4	Calibration and Testing of Telemetry	1

7.4.1	Responsibility	1

7.4.2	Test Equipment	1

7.4.3	Disputes	1

2

2

2

3

4

4

5

6

7

7

8

8

9

9

1

1

1

1

1

1

1

1

# 7	Telemetry and Communication

7.1  	Obligation

7.1.1	ERCOT Responsibilities

ERCOT supplies data requirements, interface requirements, access requirements, equipment, and installation for the entire TCP/IP based ERCOT Wide Area Network (WAN) and uses thereof, including equipment at each Qualified Scheduling Entity (QSE) and Transmission Service Provider (TSP) control facility and back-up location, as well as ERCOT’s control centers.  The WAN is a redundant network that consists of a private MultiProtocol Label Switching (MPLS) Network and a private Point-to-Point DACS Network as explained in the ERCOT ICCP Communication Handbook.   The MPLS network is the primary means of communicating with ERCOT. If a link on the MPLS network between ERCOT and a particular Market Participant fails, the MPLS link connecting the Market Participant through the alternate ERCOT site will be used. The DACS network will only be used if both MPLS links between ERCOT and a Market Participant fails. (see Figure 1, ERCOT Wide Area Network Overview, in Section 7.2.1, ERCOT WAN)

The ERCOT ICCP Communication Handbook provides additional details and shall be used in conjunction with the Protocols and Operating Guides to facilitate the communication needs of ERCOT and Market Participants to effectively manage system and market requirements.  Updates to the ERCOT ICCP Communication Handbook shall be made by the appropriate TAC approved subcommittee and processed through established Market Participant review processes.  The Protocols and Operating Guides have authoritative precedence over any discrepancy(ies) in the ERCOT ICCP Communication Handbook.

ERCOT’s responsibilities include:

(a)	Supply and install fully configured and tested Customer Premises Equipment (i.e. equipment at Market Participant facilities for the WAN ) including routers, Channel Service Units/Data Service Units (CSU/DSUs), Local Area Network (LAN) switch/hub and all support equipment for management purposes;

(b)	Order and provision of local loop, network access point and transport;

(c)	Design, configure, test, and install network monitoring and management service;

(d)	Provide 24-hour network monitoring and management;

(e)	Provide 24x7 maintenance, with 4-hour response, for all ERCOT equipment located at Market Participant site; and

(f)	ERCOT will maintain internal procedures to respond to all maintenance or performance issues within a specified timeframe; and

(g)	ERCOT will be the single point of contact for all network issues and will notify the reporting Market Participant and the ERCOT shift supervisor within 10 minutes of an issue being reported.  Two hour updates are required until the issue is resolved.

7.1.2	QSE and TSP Responsibilities

(1)	TSPs and QSEs whose facilities connect to the ERCOT WAN are required to sign an agreement with ERCOT governing installation, operation and maintenance of the WAN. The ERCOT ICCP Communication Handbook contains the appropriate WAN agreement documents to be submitted by Market Participants.  Users of the ERCOT WAN shall provide signal connections, uninterruptible power, physical security systems compliant with the applicable Critical Infrastructure Protection (CIP) requirement of the North American Electric Reliability Corporation (NERC) Reliability Standards, and physical space for ERCOT-supplied WAN interface equipment at their control centers, as well as 24-hour access for ERCOT installation and maintenance personnel.

(2)	At these facilities, computer and communications equipment connected to ERCOT WAN interfaces is the complete responsibility of the QSE or TSP.   Facilities shall have uninterruptible power supplies (UPS) capable of independently supplying all equipment connected to the ERCOT WAN for at least 72 hours.

(3)	Any TSP or QSE facility, whether primary or back-up, involved in the transfer of data will be required to connect directly to the ERCOT WAN primary private network and Point-to-Point paths. If a TSP and QSE utilize the same Energy Management System (EMS) and server network at one location and do not have an equipped backup center, ERCOT will only connect to this one location for the transfer of data.  If a TSP and QSE share a centralized private branch exchange (PBX), separate off-premise exchange (OPX) circuits will be terminated for each participant.  The Hotline will not be allowed to connect through the PBX system and is required for each Market Participant.

I thought the protocols did not allow this.

7.1.2.1		TSP and QSE Supplied Communications

(1)	Each TSP and QSE must provide internal facilities and communications to collect and furnish data and voice signals to the ERCOT WAN as detailed in the ERCOT  ICCP Communication Handbook and the Protocols.  For TSPs these include, but may not be limited to, voice communications, Inter-Control Center Communication Protocol (ICCP), and SCADA for substations and other Transmission Facilities.  For QSEs, these include, but may not be limited to, voice communications, ICCP, and Supervisory Control And Data Acquisition (SCADA) for Resources and Loads.

(2)	QSEs and TSPs shall supply, implement, and maintain all data and voice communication facilities required to fulfill the obligations set forth in these Operating Guides and the ERCOT  ICCP Communication Handbook.

(3)	Proper performance, maintenance and testing of communication paths not directly connected to the ERCOT WAN shall be the responsibility of the TSP or QSE providing the path.

(4)	QSEs communicating with Resources and TSPs communicating with substations are encouraged to use privately owned communication facilities.  Backup facilities utilizing common carriers, different privately owned facilities, or communications paths to a site are encouraged to provide increased reliability, i.e. separate paths to a site using different carrier, having multiple microwave paths leaving a site, etc.

7.2	Communications

The following sections describe the communications standards of the ERCOT WAN utilized for ICCP communications (Operational) and voice communications (Operational) that shall be used to exchange security and reliability information between:

(a)	ERCOT and a QSE; and

(b)	ERCOT and a TSP.

7.2.1	ERCOT WAN

ERCOT shall provide for a WAN (see Figure 1, ERCOT Wide Area Network Overview, below) for secure communications path between ERCOT and the Market Participants in order to facilitate wholesale operations and frequency control.  This communications network uses redundant, digital communications between ERCOT control centers and one or more facilities at each QSE and TSP.  As required by the ERCOT  ICCP Communication Handbook and associated documents posted on the ERCOT MIS Secure Area, the ERCOT WAN shall have sufficient bandwidth capacity and speed to enable:

(1)	Real-Time telemetry data exchange for frequency control and transmission security;

(2)	Operational voice communications for both normal and emergency use.  The ERCOT WAN supports both off-premise exchanges (OPX) with ERCOT’s control facilities and the ERCOT Hotlines; and

(3)	Data exchange to support applications programming interface (API) routines.  These include power scheduling, operating plans, outage requests, dispatch instructions, posting of information and other applications as determined by ERCOT.

Figure 1 ERCOT Wide Area Network Overview

7.2.1.1		Maintenance and Restoration

(1)	It is the joint responsibility of ERCOT WAN-connected Market Participants and ERCOT to coordinate maintenance and restoration activities so its reliability is not compromised.

(2)	All primary and back-up circuits shall be tested annually or as otherwise requested by ERCOT for end-to-end performance.

(3)	ERCOT will specify test procedures for Hotline and any back-up or alternate path voice circuits.

(4)	Test equipment to be used for the calibration or repair of communication equipment shall be certified to values of accuracy and precision.  The standard used for testing shall be superior to the tested equipment calibration requirements.

7.2.2	ERCOT ICCP Interface

The ICCP over the ERCOT WAN provides the Real-Time telemetry data from Market Participant computers, computer networks, or other devices.  Market Participants providing the data using an ICCP link must format their data and coordinate installation according to the ERCOT WAN Agreement found in the ERCOT  ICCP Communication Handbook.  The telemetry data furnished by a Market Participant’s ICCP link shall reflect the data quality codes of the individual data points as coordinated with ERCOT found in the Market Participant’s control computers and data collection system and communicated to ERCOT according to the requirements of the  ICCP Communication Handbook.

7.2.2.1     Quality Codes

Status and analog telemetry data provided to ERCOT shall have the associated quality codes and associated attributes found in the ERCOT  ICCP Communication Handbook.  ICCP quality codes to be provided to ERCOT by the Market Participant and to the Market Participants by ERCOT shall follow the standards set in the ERCOT  ICCP Communication Handbook.

Table 1: ICCP Quality Codes from Market Participants to ERCOT

7.2.2.1.2	ICCP Quality Codes from ERCOT to Market Participants

The following Table 2: ICCP Quality Codes from ERCOT to Market Participants, describes the ICCP quality codes to be provided to the Market Participant by the ERCOT, the conditions under which each ICCP quality code is set, and the translation from the local ERCOT Real-Time database quality codes to the related ICCP quality code.

7.2.2.2  	Metric of Availability

(1)	ICCP links must achieve a availability as prescribed by the TAC approved Telemetry Criteria document,.  Availability will be measured based on end-to-end connectivity of the communications path and the passing of Real-Time data.  Availability metrics will include establishing a process to coordinate downtime for ICCP links and database maintenance.

(2)	ICCP links shall use fully redundant data communication from the QSE and TSP control systems to the ERCOT System as required by the Protocols

.

7.3	Telemetry

(1)	QSE and TSP control centers required to supply Real-Time telemetry data to ERCOT shall use an ICCP interface through the ERCOT WAN as detailed in the ERCOT ICCP Communications Handbook.  TSPs and QSEs shall also receive signals from ERCOT over the ICCP interface..

(2)	Each MP shall continuously provide to ERCOT the telemetry data quantities that they are responsible for in the format described in the ERCOT ICCP Communication Handbook.  The frequency of update, means of communication to ERCOT, and data format for each point provided by each Entity shall follow the specifications in ERCOT ICCP Communications Handbook.  At the frequency specified , each update cycle shall provide new readings of all data points being monitored, not averages linked to prior cycle readings or repetition of readings from a previous cycle.  Design accuracy and availability of data points delivered to ERCOT shall satisfy the requirements of the Protocols and The standards described in the TAC approved Telemetry Criteria in order to meet telemetry performance and State Estimator performance.

(3)	QSEs, Resources and TSPs are required to provide power operation data to ERCOT according to the Protocols and the ERCOT ICCP Communications Handbook:

(4)	Real-Time telemetry data provided to ERCOT shall be provided according to the  Protocols  and the ERCOT ICCP Communications Handbook.

(5)	The nomenclature format of data (i.e structure of the ICCP Object Name) shall follow the standards in the ERCOT ICCP Communication Handbook

7.3.1	Data from ERCOT to QSE’s

(1)	ERCOT shall provide all required data and issue instructions to QSE’s in accordance with the Protocols and ERCOT ICCP Communications Handbook.  .

(2)	ERCOT shall follow data requirements and standards described in the ERCOT ICCP Communication Handbook.

7.3.2	Data from ERCOT to TSP

(1)	ERCOT shall provide operational data and issue instructions to the TSP in accordance with these the Protocols and the ERCOT ICCP Communications Handbook.

(2)	ERCOT is required to provide the following power operation data to TSPs for the purpose of providing reliability information as determined by ERCOT:

(a)	Status of any breakers and switches in ERCOT's Real-Time data base;

(b)	State Estimator solutions;

(c)	Transmission line flows and voltages;

(d)	Transformer information;

(e)	QSE Resource data; and

(f)	Voltage schedules at transmission busses.

(3)	ERCOT will post notice to all Market Participants provision of the above listed data to the TSP.

7.3.3	Data from QSEs and TSPs to ERCOT

(1)	Each TSP and QSE shall provide telemetered measurements on modeled Transmission Elements as required by the Protocols and the ERCOT ICCP Communications Handbook. .

(2)	QSEs and TSPs shall provide Real-Time monitoring of power system quantities to ERCOT as defined in the Protocols and the ERCOT ICCP Communications Handbook.  ERCOT shall work with TSPs and QSEs to determine the required data using the methodology presented in the Protocols.   At a minimum, all the Transmission Element status and analog measurements that the TSPs and QSEs define in the Network Operations Model shall be provided.    Ultimately, it is the responsibility of the TSPs and QSEs to provide all data requested by ERCOT.

(3)	Real-Time telemetry data from QSEs used to supply power or Ancillary Services shall be integrated by ERCOT and checked against settlement meter values on a monthly basis.

)

(5) 	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry will not be available or is unreliable for operational purposes. When ERCOT receives notification, the associated points shall be removed from Telemetry Criteria performance metrics calculations.

(6)	Each QSE and TSP shall notify ERCOT as soon as practicable when telemetry is returned to normal state.

7.3.3.1		Weather Zone Data

(1)	A TSP that is responsible for providing Weather Zone tie-line measurement data to ERCOT is required to establish a backup to the primary source.

(2)	TSPs having an Energy Management System (EMS) with a native ICCP application capable of four second periodic data set transfers with minimum 300 points per data set, and hot standby backup ICCP servers with automatic fail-over capability, shall provide an additional ICCP association across the ERCOT WAN for the transfer of Weather Zone tie line measurements.  ICCP nodes should exist at primary and backup facilities.

7.3.4	TSP and QSE Telemetry Restoration

(1)	Real-Time telemetry data shall be provided continuously.  Data that is inaccurate or of bad quality, whether failed or in error, must be restored promptly by the provider of the telemetry data.  It is recognized that some data as indicated in the TAC approved Telemetry Criteria document may be of more importance than other data.  ERCOT will inform the TSP or QSE of data  that needs to be repaired as quickly as possible.  QSEs and TSPs shall provide information to ERCOT of any and all corrective actions taken to restore reported telemetry errors to ERCOT upon request.  ERCOT shall post any telemetry not restored to service and the responsible Entity on the MIS Secure Area according to the requirements of the Protocols. When ERCOT notifies a data provider of a data element which is providing telemetry data inconsistent with surrounding measurements, the provider shall, within the timeframe specified by EROCT by not to exceed 30 days, take corrective action to either:

(a)	Calibrate or repair the telemetry equipment;

(b)	Request an outage to schedule calibration or repair of the telemetry equipment;

(c)	Provide ERCOT with a plan to re-calibrate or repair the equipment in a reasonable time frame; or

(d) 	Provide ERCOT with engineering analysis proving the telemetry data element is providing accuracy within its specifications.

(2)	Before ERCOT requests review or re-calibration of a telemetry data issue it shall discuss the problem with the provider to attempt to arrive at a consensus decision for the most appropriate action.

7.3.5	QSE and TSP Data Acquisition

(1)	Suppliers of Real-Time telemetry data must collect and process telemetry data from field equipment at their control centers before passing to the ERCOT interface.  The equipment and processes are owned and operated entirely by the supplier.  Traditionally, utilities have used both analog and digital methods of transmission at existing facilities.  It is the responsibility of the QSEs and TSPs who supply other Entities’ data to ERCOT to also arrange for reliable delivery of telemetry data from the field equipment from the other entities in order to support the requirements of the Protocols and the ERCOT ICCP Communications Handbook, TAC approved Telemetry Criteria, and TAC approved State Estimator performance standard.

(2) 	All Real-Time telemetry data suppliers must adhere to the data, data format, data structure, data transport requirements and standards described in the ERCOT ICCP Communication Handbook.

7.3.6	General Telemetry Performance Criterion

The following criteria will apply to Real-Time telemetry as required by the Protocols and the State Estimator Performance Standard and the Telemetry Criteria.:

(1)

Availability will be measured based on end-to-end connectivity of the communications path and the passing of Real-Time data with good quality codes at the scheduled periodicity as specified in the ERCOT ICCP Communication Handbook and these Operating Guides.

.

7.3.6.1	Critically Important Telemetry Performance Criterion

(1)	ERCOT shall create a list of those MW/MVar telemetry pairs as required in the Telemetry Criteria that are consider critically important by ERCOT.

7.4	Calibration and Testing of Telemetry

7.4.1	Responsibility

It is the responsibility of the owner of telemetry equipment to insure that calibration, testing and other routine maintenance of equipment is done on a timely basis consistent with Good Utility Practice, and that accuracy meets or exceeds that which is specified in the ERCOT Protocols and these Operating Guides, for both the overall system and for individual equipment.  Coordination of calibration and testing activities with ERCOT is also the responsibility of the operator of the equipment.  Upon ERCOT’s request, each TSP and QSE shall provide ERCOT access to its preventive maintenance and calibration test procedures and records for purposes of ensuring accurate telemetry of data.   If a TSP and/or QSE repeatedly fails other telemetry metrics defined in these Operating Guides, ERCOT Procedures, or TAC approved documents including Telemetry Criteria and State Estimator performance standards, ERCOT may require the operator to revise its procedures to ensure accuracy and availability of telemetry data.

7.4.2	Test Equipment

Test equipment and to be used for the calibration or repair of telemetry and associated equipment shall be certified to values of accuracy and precision. The standard used for testing shall be superior to the tested equipment calibration requirements.

7.4.3	Disputes

Where a dispute over the accuracy or performance of any telemetry equipment exists, ERCOT may request a comparison of accuracy and/or a joint calibration of affected equipment.