- Summary of Protocol Revisions

- Effective: August 1, 2007

- Section 6:

PRR705 -	15 Minute Ramping for BES and Base Power Schedule

This errata filing corrects language incorrectly revised in the April 19, 2007 Protocol filing.  This Protocol Revision Request (PRR) modifies the ERCOT Protocols to allow for the use of an Emergency Interruptible Load Service (EILS) when an Emergency Electric Curtailment Plan (EECP) is declared and all available Generation and Loads acting as Resources (LaaRs) have been deployed.

Revised Subsection:	6.10.13.3 [Correction of incorrectly revised language in April 19, 2007 Protocol Filing]

- PRR714 – Qualification and Periodic Testing of Loads acting as Resources (LaaRs)

This PRR tightens the requirements for initial qualification; introduces periodic testing requirements; and provides for more clearly defined conditions that would disqualify a LaaR for under or non-performance.

Revised Subsections: 6.10.2, 6.10.12

- Section 16:

- PRR729 – Conforming Section 16 to New Section 22 Standard Form MP Agreements

This PRR conforms zonal Section 16, Registration and Qualification of Market Participants, to match the updated Standard Form Market Participant Agreement in the Nodal Protocols reflecting a single Standard Form Market Participant Agreement, as well as language applicable to the Independent Market Monitor (IMM), as required by P.U.C. Subst. R. §25.365 Independent Market Monitor.

Revised Subsections: 16.1, 16.2.1, 16.2.3, 16.2.3.1, 16.2.3.3, 16.2.4, 16.2.4.2, 16.2.7.3, 16.2.8, 16.2.9, 16.2.9.1, 16.2.9.1.1, 16.2.9.1.3, 16.2.9.1.4, 16.2.10, 16.2.12, 16.3, 16.3.1.4, 16.4, 16.5, 16.5.1.1, 16.5.1.2, 16.6, 16.7, 16.9, 16.10

- Section 22:

- PRR729 – Conforming Section 16 to New Section 22 Standard Form MP Agreements

See Section 16 above.

Revised Attachment: L (new)