| PRR Number | 734 | PRR Title | Revisions to Congestion Management in McCamey Area Provisions. |
| --- | --- | --- | --- |
| Date Posted |  | July 30, 2007 |  |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 2.2, Acronyms 7.8.2, Determination of Generation Limits 7.8.4, Determination of Tradeable Generation Rights 7.8.7, Trading or Other Uses of TGRs |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | This PRR eliminates the 0600 hour timeframe by which ERCOT must post the Tradeable Generation Right (TGR) limits in Section 7.8.2, deletes the requirements in Section 7.8.7, and revises the spelling of “Tradeable” to “Tradable” in Section 2.2 and Section 7.8.4. |  |
| Reason for Revision |  | This PRR aligns the Protocol requirements with what can feasibly be accomplished: - Protocols Section 7.8.2 requires that ERCOT post the Tradable Generation Right (TGR) limits by 0600 of the Day Ahead. Resource Plans are not submitted until 1600 and, therefore, it is not possible for ERCOT to use the most current information available and meet a 0600 posting deadline. - In addition, ERCOT Staff proposes eliminating Protocols Section 7.8.7 because the trading capability for TGRs has not been implemented to date. This portion of the project was assigned a priority of 3.1 on May 21, 2004 and has not been funded. PUCT Staff agrees that there is little benefit in implementing this provision if it does not carry over to the Texas Nodal Market. |  |
| Overall Market Benefit |  | NA |  |
| Overall Market Impact |  | None |  |
| Consumer Impact |  | None |  |
| Credit Implications (Yes or No, and summary of impact) |  | No. |  |
| Relevance to Nodal Market (Yes or No, and summary of impact) |  | No. |  |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) |  | None. |  |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Company Address | 2705 West Lake Drive, Taylor, TX 76574 |
| Phone Number | 512/248-6531 |
| Cell Number | 512/565-9117 |
| Market Segment | ISO |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | This PRR aligns Protocols requirements with actual procedures. |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Not applicable. |  |
| Additional Qualitative Information | 1 |  |  |
| Other Comments | 1 |  |  |

Proposed Protocol Language Revision

2.2	Acronyms

TGR	Tradable Generation Right

[…..]

7.8	Congestion Management in McCamey Area

[…..]

7.8.2	Determination of Generation Limits

ERCOT shall periodically calculate the amount of generation that can be reliably operated within the McCamey Area considering the projected Dispatch of the total generating capacity in the McCamey Area, including any RMR Unit located in the McCamey Area, and any other factors that may affect the amount of local transmission transfer capability from the McCamey Area.  ERCOT shall post the results of this calculation for an Operating Day in the Day Ahead.

[….]

7.8.4	Determination of Tradable Generation Rights

(1)	One Tradable Generation Right (TGR) provides a QSE scheduling WPGRs located in the McCamey Area the opportunity to schedule one (1) MW of McCamey Area WPGRs in its Resource Plan for each hour of the relevant period (peak or off-peak).

(2)	ERCOT shall determine and allocate the on-peak and off-peak quantity of TGRs available to QSEs representing WPGRs located in the McCamey Area.  The number of TGRs available must be based upon compliance with the ERCOT security criteria.

(3)	ERCOT shall issue TGRs in on-peak and off-peak blocks as follows:

(a)	The on-peak block is for the period from hour ending 0600 through the hour ending1800; and

(b)	The off-peak block is for the period from hour ending1900 through the hour ending 0500.

[….]

[….]