## ERCOT to QSE
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | Gen1 |  | Generation Unit | UN | Updated Desired Basepoint |  | ACMQUN_Gen_UDBPGen1_MW | RealQ | -1 | N | NFT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Base Point |  | ACMQUN_Gen_BP_Gen1_MW | RealQ | -1 | N | FT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Locational Marginal Price |  | ACMQUN_Gen_LMP_Gen1_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | QSE | QSE | Emergency Dispatch on/off |  | ACMQQSEQSE_EMBPQSE_ST | StateQ | -1 | N | NFT | ERCT
ACMQ |  |  | QSE | QSE | Regulation Up |  | ACMQQSEQSE_REGUQSE_MW | RealQ | -1 | N | FT | ERCT
ACMQ |  |  | QSE | QSE | Regulation Down |  | ACMQQSEQSE_REGDQSE_MW | RealQ | -1 | N | FT | ERCT
ACMQ |  |  | QSE | QSE | Responsive Reserve |  | ACMQQSEQSE_RR_QSE_MW | RealQ | -1 | N | FT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_NORTH_LMP_NORTH_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_SOUTH_LMP_SOUTH_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_HOUSTON_LMP_HOUSTON_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_WEST_LMP_WEST_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_CPS_LMP_CPS_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_AUSTIN_LMP_AUSTIN_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_LCRA_LMP_LCRA_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_DCTIEN_LMP_DCTIEN_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_DCTIEEGPLMP_DCTIEEGPUSD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_DCTIEE_LMP_DCTIEE_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_DCTIERD_LMP_DCTIERD_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Load Zone | LZ | Locational Marginal Price |  | ACMQLZ_DCTIEVFTLMP_DCTIEVFTUSD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBNORTH_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBSOUTH_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBHOUSTON_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBWEST_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBERCOT_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBERCOT_LMP_345AVG_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | Hub | Hub | Locational Marginal Price |  | ACMQHUBVENUS_LMP_345_USD | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Responsive Reserve Capacity from Generation Resources |  | ERCTSYS_RRGNMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Responsive Reserve Capacity from Load Resources excluding Controllable Load Resources |  | ERCTSYS_RRLDMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Non-Spinning Reserve available from On-Line Generation Resources with Energy Offer Curves |  | ERCTSYS_NSOGMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Non-Spinning Reserve available from undeployed Load Resources |  | ERCTSYS_NSUDMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Non-Spinning Reserve available from Off-Line Generation Resources |  | ERCTSYS_NSOFMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Non-Spinning Reserve available from Resources with Output Schedules |  | ERCTSYS_NSNSMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Undeployed Reg-Up |  | ERCTSYS_URUPMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Undeployed Reg-Down |  | ERCTSYS_URDNMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Available capacity with Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED |  | ERCTSYS_ACUPMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Available capacity with Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED |  | ERCTSYS_ACDNMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Available capacity without Energy Offer Curves in the ERCOT System that can be used to increase Base Points in SCED |  | ERCTSYS_CUP_MW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Available capacity without Energy Offer Curves in the ERCOT System that can be used to decrease Base Points in SCED |  | ERCTSYS_CDN_MW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Total ERCOT Load |  | ERCTSYS_ERLDMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Total ERCOT Generation |  | ERCTSYS_ERGNMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Total ERCOT Generation Operating Reserve |  | ERCTSYS_EOPRMW | RealQ | -1 | N | NFT | ERCT
ACMQ |  |  | System Wide | SYS | Responsive Reserve Capacity from Controllable Load Resources |  | ERCTSYS_RRCLMW | RealQ | -1 | N | NFT | ERCT
Note on B9: Bill Blevins: These points will be sent by Resource. They are included in the following example tabs as well.
Note on B10: Bill Blevins: These points will be sent by Resource. They are included in the following example tabs as well.
Note on B11: Bill Blevins: These points will be sent by Resource. They are included in the following example tabs as well.
Note on F9: ERCOT: Changed name from Updated Desired Generation to updated Desired Basepoint
Note on F12: Bill Blevins: This is a per QSE point
Note on F13: Bill Blevins: This is a per QSE point
Note on F14: Bill Blevins: This is a per QSE point

## Typical Generation Resource-SGR
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | Gen1 |  | Generation Unit | UN | Normal Ramp Rate |  | ACMQUN_Gen_NMRRGen1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Emergency Ramp Rate |  | ACMQUN_Gen_EMRRGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | High Emergency Limit |  | ACMQUN_Gen_HEL_Gen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Low Emergency Limit |  | ACMQUN_Gen_LEL_Gen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | High Sustained Limit | ACM_UN_Gen_____0240Gen1____HLIM | ACMQUN_Gen_HSL_Gen1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Low Sustained Limit | ACM_UN_Gen_____0240Gen1____LLIM | ACMQUN_Gen_LSL_Gen1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Up Responsibility |  | ACMQUN_Gen_RURSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Down Responsibility |  | ACMQUN_Gen_RDRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Responsive Reserve Responsibility |  | ACMQUN_Gen_RRRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Non-Spin Responsibility |  | ACMQUN_Gen_NSRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Resource Status |  | ACMQUN_Gen_RST_Gen1_INDX | DiscreteQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Responsive Reserve Schedule |  | ACMQUN_Gen_RRSCGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Non-Spin Schedule |  | ACMQUN_Gen_NSSCGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Up Participation Factor |  | ACMQUN_Gen_RUPFGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Down Participation Factor |  | ACMQUN_Gen_RDPFGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_Gen1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Gross Megawatts |  | ACMQUN_Gen_GPF_Gen1_MW | RealQ |  | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megavars | ACM_UN_Gen_____0240Gen1____MV__ | ACMQUN_Gen_NPF_Gen1_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Plant | GP | Plant Auxiliary Load |  | ACMQGP_Gen_LOADGen_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 | 24 | Buss | BS | Voltage | ACM_UN_Gen_____0240Gen1____KV__ | ACMQBS_Gen_0240Gen1_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Breaker Status | ACM_UN_Gen_____0240Gen1____ST__ | ACMQUN_Gen_BRKRGen1_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Raise block status |  | ACMQUN_Gen_RBSTGen1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Lower Block Status |  | ACMQUN_Gen_LBSTGen1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ |  |  | QSE | QSE | System Frequency |  | ACMQQSEQSE_FREQQSE_HZ | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_Gen_____0240Gen1____VR__ | ACM_UN_Gen_0240Gen1_VR | StateQ | -1 |  | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Updated Desired Basepoint |  | ACMQUN_Gen_UDBPGen1_MW | RealQ | -1 | N | NFT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Base Point |  | ACMQUN_Gen_BP_Gen1_MW | RealQ | -1 | N | FT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Locational Marginal Price |  | ACMQUN_Gen_LMP_Gen1_USD | RealQ | -1 | N | NFT | ERCT
Note on F19: Bill Blevins: COP statuses using a code from Handbook
Note on F34: ERCOT: Changed name from Updated Desired Generation to updated Desired Basepoint

## Master QSE-SGR additional
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | Gen1 |  | Generation Unit | UN | Gross Megawatts |  | ACMQUN_Gen_GPF_Gen1_MW | RealQ |  | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_Gen1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megavars | ACM_UN_Gen_____0240Gen1____MV__ | ACMQUN_Gen_NPF_Gen1_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Plant | GP | Plant Auxiliary Load |  | ACMQGP_Gen_LOADGen_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 | 24 | Buss | BS | Voltage | ACM_UN_Gen_____0240Gen1____KV__ | ACMQBS_Gen_0240Gen1_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Breaker Status | ACM_UN_Gen_____0240Gen1____ST__ | ACMQUN_Gen_BRKRGen1_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_Gen_____0240Gen1____VR__ | ACM_UN_Gen_0240Gen1_VR | StateQ | -1 |  | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_SGR1A_MW | RealQ | -1 | N | FT | ACMQ |  |  | RID xxx | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_SGR1B_MW | RealQ | -1 | N | FT | QSEAQ |  |  | RID xxx | QSEAQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_SGR1C_MW | RealQ | -1 | N | FT | QSEBQ |  |  | RID xxx | QSEBQ
Note on F9: ERCOT: Physical Plant total Gross MW
Note on F10: ERCOT: Physical Plant total Net MW
Note on F11: ERCOT: Physical Plant
Note on F12: ERCOT: Physical Plant Aux Load
Note on F13: ERCOT: Physical Plant
Note on F14: ERCOT: Physical Plant
Note on F15: ERCOT: Physical Plant
Note on F16: ERCOT: 10.3.2.1.1 Generator Metering Real-Time Splitting Signal for SGR resources-(SGR Net Mw RID-QSE1)
Note on F17: ERCOT: 10.3.2.1.1 Generator Metering Real-Time Splitting Signal for SGR resources-(SGR Net Mw RID-QSE2)
Note on F18: ERCOT: 10.3.2.1.1 Generator Metering Real-Time Splitting Signal for SGR resources-(SGR Net Mw RID-QSE3)

## Combined Cycle
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ |  |  | QSE | QSE | System Frequency |  | ACMQQSEQSE_FREQQSE_HZ | RealQ | -1 | N | FT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Normal Ramp Rate |  | ACMQUN_CCP_NMRRCCPST_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Emergency Ramp Rate |  | ACMQUN_CCP_EMRRCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | High Emergency Limit |  | ACMQUN_CCP_HEL_CCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Low Emergency Limit |  | ACMQUN_CCP_LEL_CCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | High Sustained Limit | ACM_UN_CCP_____0140CCPST___HLIM | ACMQUN_CCP_HSL_CCPST_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Low Sustained Limit | ACM_UN_CCP_____0140CCPST___LLIM | ACMQUN_CCP_LSL_CCPST_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Regulation Up Responsibility |  | ACMQUN_CCP_RURSCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Regulation Down Responsibility |  | ACMQUN_CCP_RDRSCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Responsive Reserve Responsibility |  | ACMQUN_CCP_RRRSCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Non-Spin Responsibility |  | ACMQUN_CCP_NSRSCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Resource Status |  | ACMQUN_CCP_RST_CCPST_INDX | DiscreteQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Responsive Reserve Schedule |  | ACMQUN_CCP_RRSCCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Non-Spin Schedule |  | ACMQUN_CCP_NSSCCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Regulation Up Participation Factor |  | ACMQUN_CCP_RUPFCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Regulation Down Participation Factor |  | ACMQUN_CCP_RDPFCCPST_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Gross Megawatts |  | ACMQUN_Gen_GPF_Gen1_MW | RealQ |  | NZ | FT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Configuration Net Megawatts |  | ACMQUN_CCP_NPF_CCNET_MW | RealQ | -2 | N | FT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Raise block status |  | ACMQUN_CCP_RBSTCCP_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Lower Block Status |  | ACMQUN_CCP_LBSTCCP_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | CCPST | 14 | Generation Unit | UN | Megawatts |  | ACMQUN_CCP_NPF_CCPST_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCGT1 | 14 | Generation Unit | UN | Megawatts |  | ACMQUN_CCP_NPF_CCGT1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCGT2 | 14 | Generation Unit | UN | Megawatts |  | ACMQUN_CCP_NPF_CCGT2_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCGT3 | 14 | Generation Unit | UN | Megawatts |  | ACMQUN_CCP_NPF_CCGT3_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCGT4 | 14 | Generation Unit | UN | Megawatts |  | ACMQUN_CCP_NPF_CCGT4_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | CCPST | 14 | Generation Unit | UN | Megavars | ACM_UN_CCP_____0140CCPST___MV__ | ACMQUN_CCP_NPF_CCPST_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT1 | 14 | Generation Unit | UN | Megavars | ACM_UN_CCP_____0140CCGT1___MV__ | ACMQUN_CCP_NPF_CCGT1_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT2 | 14 | Generation Unit | UN | Megavars | ACM_UN_CCP_____0140CCGT2___MV__ | ACMQUN_CCP_NPF_CCGT2_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT3 | 14 | Generation Unit | UN | Megavars | ACM_UN_CCP_____0140CCGT3___MV__ | ACMQUN_CCP_NPF_CCGT3_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT4 | 14 | Generation Unit | UN | Megavars | ACM_UN_CCP_____0140CCGT4___MV__ | ACMQUN_CCP_NPF_CCGT4_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCPST |  | Generation Unit | UN | Combine-cycle Configuration Number |  | ACMQUN_CCP_CCC_CCPST_INDX | DiscreteQ | -1 | N | NFT | ACMQ
ACMQ | CCP |  | Generation Plant | GP | Plant Auxiliary Load |  | ACMQGP_CCP_LOADCCP_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | CCPST | 14 | Buss | BS | Voltage | ACM_UN_CCP_____0140CCPST___KV__ | ACMQBS_CCP_0140CCPST_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT1 | 14 | Buss | BS | Voltage | ACM_UN_CCP_____0140CCGT1___KV__ | ACMQBS_CCP_0140CCGT1_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT2 | 14 | Buss | BS | Voltage | ACM_UN_CCP_____0140CCGT2___KV__ | ACMQBS_CCP_0140CCGT2_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT3 | 14 | Buss | BS | Voltage | ACM_UN_CCP_____0140CCGT3___KV__ | ACMQBS_CCP_0140CCGT3_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT4 | 14 | Buss | BS | Voltage | ACM_UN_CCP_____0140CCGT4___KV__ | ACMQBS_CCP_0140CCGT4_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | CCPST | 14 | Generation Unit | UN | Breaker Status | ACM_UN_CCP_____0140CCPST___ST__ | ACMQUN_CCP_BRKRCCPST_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT1 | 14 | Generation Unit | UN | Breaker Status | ACM_UN_CCP_____0140CCGT1___ST__ | ACMQUN_CCP_BRKRCCGT1_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT2 | 14 | Generation Unit | UN | Breaker Status | ACM_UN_CCP_____0140CCGT2___ST__ | ACMQUN_CCP_BRKRCCGT2_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT3 | 14 | Generation Unit | UN | Breaker Status | ACM_UN_CCP_____0140CCGT3___ST__ | ACMQUN_CCP_BRKRCCGT3_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT4 | 14 | Generation Unit | UN | Breaker Status | ACM_UN_CCP_____0140CCGT4___ST__ | ACMQUN_CCP_BRKRCCGT4_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCPST |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_CCP_____0140CCPST__VR__ | ACM_UN_Gen_0140CCPST_VR | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT1 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_CCP_____0140CCGT1___VR__ | ACM_UN_Gen_0140CCGT1_VR | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT2 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_CCP_____0140CCGT2___VR__ | ACM_UN_Gen_0140CCGT2_VR | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT3 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_CCP_____0140CCGT3___VR__ | ACM_UN_Gen_0140CCGT3_VR | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCGT4 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_CCP_____0140CCGT4___VR__ | ACM_UN_Gen_0140CCGT4_VR | StateQ | -1 | NZ | FT | ACMQ
ACMQ | CCP |  | Generation Unit | UN | Updated Desired Basepoint |  | ACMQUN_CCP_UDBPCCPST_MW | RealQ | -1 | N | NFT | ERCT
ACMQ | CCP |  | Generation Unit | UN | Base Point |  | ACMQUN_CCP_BP_CCPST_MW | RealQ | -1 | N | FT | ERCT
ACMQ | CCP |  | Generation Unit | UN | Locational Marginal Price |  | ACMQUN_CCP_LMP_CCPST_USD | RealQ | -1 | N | NFT | ERCT
Note on A27: ERCOT Inserted based on MP comment
Note on A28: ERCOT: Inserted based on MP comment
Note on F10: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F11: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F12: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F13: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F14: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F15: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F16: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F17: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F18: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F19: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F20: Bill Blevins: COP statuses using a code from Handbook
Note on F21: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F22: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F23: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F24: Bill Blevins: This is one value that is updated when the configuration changes.
Note on F26: Bill Blevins: Configuration net MWs
Note on F39: Bill Blevins: This is one value that is updated when the configuration changes. It is based on the number of physical units and should be changed when the configuration changes.
Note on F41: Bill Blevins: On a per unit basis
Note on F42: Bill Blevins: Individual unit low side voltage
Note on F46: Bill Blevins: On a per unit babsis.
Note on F51: Bill Blevins: On a per unit babsis.
Note on F56: ERCOT: Changed name from Updated Desired Generation to updated Desired Basepoint

## DSR
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | Gen1 |  | Generation Unit | UN | Normal Ramp Rate |  | ACMQUN_Gen_NMRRGen1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Emergency Ramp Rate |  | ACMQUN_Gen_EMRRGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | High Emergency Limit |  | ACMQUN_Gen_HEL_Gen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Low Emergency Limit |  | ACMQUN_Gen_LEL_Gen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | High Sustained Limit | ACM_UN_Gen_____0240Gen1____HLIM | ACMQUN_Gen_HSL_Gen1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Low Sustained Limit | ACM_UN_Gen_____0240Gen1____LLIM | ACMQUN_Gen_LSL_Gen1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Up Responsibility |  | ACMQUN_Gen_RURSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Down Responsibility |  | ACMQUN_Gen_RDRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Responsive Reserve Responsibility |  | ACMQUN_Gen_RRRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Non-Spin Responsibility |  | ACMQUN_Gen_NSRSGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Resource Status |  | ACMQUN_Gen_RST_Gen1_INDX | DiscreteQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Responsive Reserve Schedule |  | ACMQUN_Gen_RRSCGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Non-Spin Schedule |  | ACMQUN_Gen_NSSCGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Up Participation Factor |  | ACMQUN_Gen_RUPFGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Regulation Down Participation Factor |  | ACMQUN_Gen_RDPFGen1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Gross Megawatts |  | ACMQUN_Gen_GPF_Gen1_MW | RealQ |  | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_Gen_NPF_Gen1_MW | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Megavars | ACM_UN_Gen_____0240Gen1____MV__ | ACMQUN_Gen_NPF_Gen1_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Plant | GP | Plant Auxiliary Load |  | ACMQGP_Gen_LOADGen_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 | 24 | Buss | BS | Voltage | ACM_UN_Gen_____0240Gen1____KV__ | ACMQBS_Gen_0240Gen1_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 | 24 | Generation Unit | UN | Breaker Status | ACM_UN_Gen_____0240Gen1____ST__ | ACMQUN_Gen_BRKRGen1_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Raise block status |  | ACMQUN_Gen_RBSTGen1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Lower Block Status |  | ACMQUN_Gen_LBSTGen1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ |  |  | QSE | QSE | System Frequency |  | ACMQQSEQSE_FREQQSE_HZ | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | QSE | Dynamically Scheduled Resource Schedule |  | ACMQUN_GENSUB_DSRSUNIT1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ |  |  | QSE | QSE | DSR Load |  | ACMQQSEQSE_DSRLQSE_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_Gen_____0240Gen1____VR__ | ACM_UN_Gen_0240Gen1_VR | StateQ | -1 |  | FT | ACMQ
ACMQ | Gen1 |  | Generation Unit | UN | Updated Desired Basepoint |  | ACMQUN_Gen_UDBPGen1_MW | RealQ | -1 | N | NFT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Base Point |  | ACMQUN_Gen_BP_Gen1_MW | RealQ | -1 | N | FT | ERCT
ACMQ | Gen1 |  | Generation Unit | UN | Locational Marginal Price |  | ACMQUN_Gen_LMP_Gen1_USD | RealQ | -1 | N | NFT | ERCT
Note on A33: ERCOT: Added based on MP feedback
Note on F19: Bill Blevins: COP statuses using a code from Handbook
Note on F36: ERCOT: Changed name from Updated Desired Generation to updated Desired Basepoint

## Wind Generator-SGR
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | WND1 |  | Generation Unit | UN | Normal Ramp Rate |  | ACMQUN_WND_NMRRWND1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Emergency Ramp Rate |  | ACMQUN_WND_EMRRWND1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | High Emergency Limit |  | ACMQUN_WND_HEL_WND1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Low Emergency Limit |  | ACMQUN_WND_LEL_WND1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | High Sustained Limit | ACM_UN_WND_____0240WND1____HLIM | ACMQUN_WND_HSL_WND1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Low Sustained Limit | ACM_UN_WND_____0240WND1____LLIM | ACMQUN_WND_LSL_WND1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Resource Status |  | ACMQUN_WND_RST_WND1_INDX | DiscreteQ | -1 | N | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Gross Megawatts |  | ACMQUN_Gen_GPF_Gen1_MW | RealQ |  | NZ | FT | ACMQ
ACMQ | WND1 | 24 | Generation Unit | UN | Megawatts |  | ACMQUN_WND_NPF_WND1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | WND1 | 24 | Generation Unit | UN | Megavars | ACM_UN_WND_____0240WND1____MV__ | ACMQUN_WND_NPF_WND1_MV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | WND1 |  | Generation Plant | GP | Plant Auxiliary Load |  | ACMQGP_WND_LOADWND_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | WND1 | 24 | Buss | BS | Voltage | ACM_UN_WND_____0240WND1____KV__ | ACMQBS_WND_0240WND1_KV | RealQ | -1 | NZ | FT | ACMQ
ACMQ | WND1 | 24 | Generation Unit | UN | Breaker Status | ACM_UN_WND_____0240WND1____ST__ | ACMQUN_WND_BRKRWND1_ST | StateQ | -1 | NZ | FT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Raise block status |  | ACMQUN_WND_RBSTWND1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Lower Block Status |  | ACMQUN_WND_LBSTWND1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ |  |  | QSE | QSE | System Frequency |  | ACMQQSEQSE_FREQQSE_HZ | RealQ | -1 | N | FT | ACMQ
| WND1 |  | Weather Station | WS | Barometric Pressure |  | ACMEWS_WNDSUB_0180BAROM1_INCH | RealQ | -1 | N | FT | ACMQ
| WND1 |  | Weather Station | WS | Wind Direction |  | ACMEWS_WNDSUB_0180ANAMOM1_DEG | RealQ | -1 | N | FT | ACMQ
| WND1 |  | Weather Station | WS | Wind Speed |  | ACMEWS_WNDSUB_0180ANAMOM1_MPH | RealQ | -1 | N | FT | ACMQ
| WND1 |  | Weather Station | WS | Temperature |  | ACMEWS_WNDSUB_0180THERMO1_DEGC | RealQ | -1 | N | FT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Voiltage Regulator | ACM_UN_WND_____0240WND1____VR__ | ACM_UN_WND_0240WND1_VR | StateQ | -1 | N | FT | ACMQ
ACMQ | WND1 |  | Generation Unit | UN | Updated Desired Basepoint |  | ACMQUN_WND_UDBPWND1_MW | RealQ | -1 | N | NFT | ERCT
ACMQ | WND1 |  | Generation Unit | UN | Base Point |  | ACMQUN_WND_BP_WND1_MW | RealQ | -1 | N | FT | ERCT
ACMQ | WND1 |  | Generation Unit | UN | Locational Marginal Price |  | ACMQUN_WND_LMP_WND1_USD | RealQ | -1 | N | NFT | ERCT
Note on F21: Bill Blevins: COP statuses using a code from Handbook
Note on F30: ERCOT: Changed name from Updated Desired Generation to updated Desired Basepoint

## Non-Controllable Load
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Net Load MW |  | ACLQLR_SUBONE_NPF_LOAD2_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Net Load MVAR |  | ACLQLR_SUBONE_NPF_LOAD2_MV | RealQ | 0 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | High-set Under-frequency Relay Status |  | ACLQLR_SUBONE_HSUFLOAD2_MW | StateQ | 1 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Load Resource Breaker Status |  | ACLQLR_SUBONE_LRCBLOAD2_MW | StateQ | 2 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Resource Status |  | ACLQLR_SUBONE_RST_LOAD2_ST | DiscreteQ | 3 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Scheduled Power Consumption |  | ACLQLR_SUBONE_SPC_LOAD2_MW | RealQ | 4 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Load Resource Low Power Consumption |  | ACLQLR_SUBONE_LPC_LOAD2_MW | RealQ | 5 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Load Resource Maximum Power Consumption |  | ACLQLR_SUBONE_MPC_LOAD2_MW | RealQ | 6 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Responsive Reserve Responsibility |  | ACLQLR_SUBONE_RRRSLOAD2_MW | RealQ | 7 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Responsive Reserve Schedule |  | ACLQLR_SUBONE_RRSCLOAD2_MW | RealQ | 8 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Non-Spin Responsibility |  | ACLQLR_SUBONE_NSRSLOAD2_MW | RealQ | 9 | N | FT | ACMQ
ACMQ | LOAD2 |  | Non-Controllable Load Resource | LR | Non-spin Schedule |  | ACLQLR_SUBONE_NSSCLOAD2_MW | RealQ | 10 | N | FT | ACMQ
Note on A13: ERCOT: Modified the data type based on MP comments
Note on F13: ERCOT: Table 15 in ICCP handbook Load Resource code 256, 259, 260

## Controllable Load
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Net Load MW |  | ACLQCLR_SUBONE_NPF_LOAD1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Net Load MVAR |  | ACLQCLR_SUBONE_NPF_LOAD1_MV | RealQ | 0 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Load Resource Breaker Status |  | ACLQCLR_SUBONE_CLRCBLOAD1_MW | StateQ | 2 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Resource Status |  | ACLQCLR_SUBONE_RST_LOAD1_ST | DiscreteQ | 3 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Scheduled Power Consumption |  | ACLQCLR_SUBONE_SPC_LOAD1_MW | RealQ | 4 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Load Resource Low Power Consumption |  | ACLQCLR_SUBONE_LPC_LOAD1_MW | RealQ | 5 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Load Resource Maximum Power Consumption |  | ACLQCLR_SUBONE_MPC_LOAD1_MW | RealQ | 6 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Responsive Reserve Responsibility |  | ACLQCLR_SUBONE_RRRSLOAD1_MW | RealQ | 7 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Responsive Reserve Schedule |  | ACLQCLR_SUBONE_RRSCLOAD1_MW | RealQ | 8 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Non-Spin Responsibility |  | ACLQCLR_SUBONE_NSRSLOAD1_MW | RealQ | 9 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Non-spin Schedule |  | ACLQCLR_SUBONE_NSSCLOAD1_MW | RealQ | 10 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Normal Ramp Rate |  | ACMQCLR_SUBONE_NMRRLOAD1_MW | RealQ | -1 | N | FT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Emergency Ramp Rate |  | ACMQCLR_SUBONE_EMRRLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | High Emergency Limit |  | ACMQCLR_LOAD1_HEL_LOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Low Emergency Limit |  | ACMQCLR_SUBONE_LEL_LOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | High Sustained Limit |  | ACMQCLR_SUBONE_HSL_LOAD1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Low Sustained Limit |  | ACMQCLR_SUBONE_LSL_LOAD1_MW | RealQ | -1 | NZ | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Regulation Up Responsibility |  | ACMQCLR_SUBONE_RURSLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Regulation Down Responsibility |  | ACMQCLR_SUBONE_RDRSLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Responsive Reserve Responsibility |  | ACMQCLR_SUBONE_RRRSLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Non-Spin Responsibility |  | ACMQCLR_SUBONE_NSRSLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Responsive Reserve Schedule |  | ACMQCLR_SUBONE_RRSCLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Non-Spin Schedule |  | ACMQCLR_SUBONE_NSSCLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Regulation Up Participation Factor |  | ACMQCLR_SUBONE_RUPFLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Regulation Down Participation Factor |  | ACMQCLR_SUBONE_RDPFLOAD1_MW | RealQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Raise block status |  | ACMQCLR_SUBONE_RBSTLOAD1_ST | StateQ | -1 | N | NFT | ACMQ
ACMQ | LOAD1 |  | Controllable Load Resource | CLR | Lower Block Status |  | ACMQCLR_SUBONE_LBSTLOAD1_ST | StateQ | -1 | N | NFT | ACMQ
Note on A11: ERCOT: Modified the data type based on MP comments
Note on F12: ERCOT: Table 15 in ICCP handbook Load Resource code 256 through 260

## Old RTU copmpliance
DiscreteQ
ERCOT ICCP Change Request Form | [21 empty] | DiscreteQ
GMTBasedS
Instructions: | Please fill out the form (paste data) based on the data requested information in each column. An example is provided. If you have any questions regarding the form, please contact ERCOT's ICCP team. Please do not ALTER this form in any way.
[6 empty] | (if applicable) |  |  | Add (-1) Delete (-2) | Nodal (N) Nodal/Zonal (NV | Field Tel (FT), Not Field Tel (NFT) |  | EST =Estimated CAL = Calculated
Remote | Station Shortname | Voltage | Device | Device Type | Description | Old ICCP Object Name | New ICCP Object Name | ICCP Data Type | Add or Remove | Nodal/ Both | FT/NFT/EST/CAL | Owner | In Service Date | Effective Date | Comment | Company | EquipmentType | StationName | DataDescriptor | EquipmentName | Measurement
ACMQ |  |  | System Wide | SYS |  | ACM_QSEAFREQ | ACM_QSEAFREQ | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEABIAS | ACM_QSEABIAS | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEAACM_SCE | ACM_QSEAACM_SCE | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEARF | ACM_QSEARF | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEARRA | ACM_QSEARRA | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEARRD | ACM_QSEARRD | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEANSA | ACM_QSEANSA | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEANSD | ACM_QSEANSD | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSETOTAL_GEN | ACM_QSETOTAL_GEN | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEISO_SCE_FB | ACM_QSEISO_SCE_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEREG_PART_FACTOR_FB | ACM_QSEREG_PART_FACTOR_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEFREQ_TARGET_FB | ACM_QSEFREQ_TARGET_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEK_FACTOR_FB | ACM_QSEK_FACTOR_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEL10_LIMIT_FB | ACM_QSEL10_LIMIT_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEGOV_RESP_FB | ACM_QSEGOV_RESP_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSERRA_UNCONSTRD_FB | ACM_QSERRA_UNCONSTRD_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSERRA_TOTAL_FB | ACM_QSERRA_TOTAL_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSERRA_GENERATION_FB | ACM_QSERRA_GENERATION_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSERRA_LAAR_FB | ACM_QSERRA_LAAR_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEDC_TIE_CURTLMNTS_FB | ACM_QSEDC_TIE_CURTLMNTS_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_QSEISORESP_FB | ACM_QSEISORESP_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACMSPARE_CMP_DYNSCH | ACMSPARE_CMP_DYNSCH | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACMQSE_L10_1_FB | ACMQSE_L10_1_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACMQSE_PF_1_FB | ACMQSE_PF_1_FB | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACMLOAD_RESRC | ACMLOAD_RESRC | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACMTOTAL_RESP | ACMTOTAL_RESP | RealQ | -1 |  | NFT | ACMQ
ACMQ |  |  | System Wide | SYS |  | ACM_RESP_RES_CAPABILITY | ACM_RESP_RES_CAPABILITY | RealQ | -1 |  | NFT | ACMQ
Note on A9: Bill Blevins: These points are TBD but are expected to be removed or replaced by other compliance points in the future.