| NOGRR Number | 017 | NOGRR Title | Nodal Operating Guides - Section 8 - Attachment J, ERCOT Data Sets |
| --- | --- | --- | --- |
| Date |  | July 31, 2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jack Thormahlen on behalf of the Operations Working Group (OWG) |  |
| E-mail Address |  | Jack.Thormahlen@lcra.org |  |
| Company |  | LCRA |  |
| Phone Number |  | 1-800-776-5727 ext. 2635 |  |
| Cell Number |  |  |  |
| Market Segment |  |  |  |

| Overall Market Benefit |  |
| --- | --- |
| Overall Market Impact |  |
| Consumer Impact |  |

Comments

The OWG recommends that ROS reject NOGRR017 due to changes proposed by the NOGRR007 Subgroup comments to NOGRR007, Nodal Operating Guides - Section 7, Telemetry and Communication.  OWG proposes that Attachment 8J, ERCOT Data Sets be incorporated into the ERCOT Nodal ICCP Communication Handbook.

Revised Proposed Nodal Operating Guide Language

None.