## Case 1
Example for Method C Net Metering | Measured Flow at Meter 1 for 15 min (MWh) "MEB" | Measured Flow at Meter 2 for 15 minutes (MWh) "MEB" | Settlement Price at Pricing Location M1 ($/MWh) "RTRMPR" | Settlement Price at Pricing Location M2 ($/MWh) "RTRMPR" | Net Generation for 15 min (MWh) "NMRTETOT" | Allocation of Net Metered Amount | Generation Resource SCADA (MWh) "GSSPLITSCA" | "GSPLITPER" | Mapping of Resource to Settlement Meter 1 | Mappingof Resource to Settlement Meter 2 | Mapping of Resource to QSE | Total Paymnt to Net Mtrd Arrngmnt ($) "NMSAMTTOT" | "RTEIAMT" ($) | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M1 | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M2 | Load for 15 Min (MWh) | If "N2"<0, Stlmnt Price at Pricing Lctn M1 ($/MWh) "RTRMPR" | If "O2"<0, Stlmnt Price at Pricing Lctn M2 ($/MWh) "RTRMPR"
| 104 | 38 | 110.8915 | 130.2632 | 142 | 142 | 142 | 1 |  |  |  | 16482.7132 | 16482.7132 | 102 | 37 |  | 110 | 130
G1 | [5 empty] | 22 | 22 | 0.15493 | 1 | 0 | QSE 1 |  | 2553.6598
G2 | [5 empty] | 49 | 49 | 0.34507 | 1 | 0 | QSE 1 |  | 5687.6968 |  |  |  | 16380 | INFO only
G3 | [5 empty] | 33 | 33 | 0.23239 | 1 | 0 | QSE 1 |  | 3830.4897
G4 | [5 empty] | 17 | 17 | 0.11972 | 0 | 1 | QSE 1 |  | 1973.2826
G5 | [5 empty] | 12 | 12 | 0.084507 | 0 | 1 | QSE 2 |  | 1392.9053
G6 | [5 empty] | 9 | 9 | 0.06338 | 0 | 1 | QSE 3 |  | 1044.679
L1 | [14 empty] | 25
L2 | [14 empty] | 10
| Length of SCED (seconds) "TLMP" | Base Point for G1 (MW) "BP" | Base Point for G2 (MW) "BP" | Base Point for G3 (MW) "BP" | Base Point for G4 (MW) "BP" | Base Point for G5 (MW) "BP" | Base Point for G6 (MW) "BP" | Weighting factor for the bus with M1 meter "RNWF" | Weighting factor for the bus with M2 meter "RNWF" | LMP at M1 ($/MWh) "RTLMP" | LMP at M2 ($/MWh) "RTLMP" | Sum of Base Points for M1 | Sum of Base Points for M2 | [Max(.001, SUM BP) * TLMP for M1 | [Max(.001, SUM BP) * TLMP for M2 | (RTLMP*TLMP) for M1 | (RTLMP*TLMP) for M2
1st SCED in 15 min | 300 | 100 | 200 | 150 | 75 | 50 | 50 | 0.2907 | 0.30702 | 100 | 120 | 450 | 175 | 135000 | 52500 | 30000 | 36000
2nd SCED in 15 min | 300 | 120 | 230 | 160 | 90 | 60 | 55 | 0.32946 | 0.35965 | 110 | 130 | 510 | 205 | 153000 | 61500 | 33000 | 39000
3rd SCED in 15 min | 300 | 140 | 260 | 188 | 75 | 70 | 45 | 0.37984 | 0.33333 | 120 | 140 | 588 | 190 | 176400 | 57000 | 36000 | 42000
4th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
5th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
INFO: Time Weighted Average of BP's |  | 120 | 230 | 166 | 80 | 60 | 50
Total | 900 | [6 empty] | 1 | 1 |  |  |  |  | 464400 | 171000 | 99000 | 117000
check | 0
Notes:
1) If cell "F2" (the net generation for the net metering arrangement) is less than or equal to zero ----- then no payments to Resources. The Load should show up on ESIIDs and it is settled as load.
2) Mapping of Resources to Meters (columns I and J) can be one to one, or one to many. This mapping is expected to be fairly static and can only be changed going forward.
3) The Mapping of Resources to Meters is to be confirmed in writing by the Resource Entity.
4) The SCADA data and EPS meter recordings incorporate the Load in the Net Metering Arrangement.
5) If the value in cell "N2" is negative, the calculation of RTRMPR for M1 shall not consider base points and shall be the time weighted average of the LMP's. See column "Q".
6) If the value in cell "O2" is negative, the calculation of RTRMPR for M2 shall not consider base points and shall be the time weighted average of the LMP's. See column "R".
7) Cells highlighted in yellow are user inputs. Some thought needs to be used in developing those inputs.
8) Cells not highlighted contain formulas that reflect NPRR35 and should not be changed.
9) The acronyms in "quotes and in blue" are acronyms used in the NPRR.
10) Spreadsheet does not reflect the "VISA Bill" rule for "RTEIAMT".
11) Includes updates from Calvin, Don and John.
Note on G3: COpheim: Allocated load equally across each unit with G1, G2, and G3 allocated load from L1. Forced SCADA values to be >=0.
Note on G6: COpheim: Allocated load equally across each unit with G4, G5, and G6 allocated load from L2. Forced SCADA values to be >=0.

## Case 2
Example for Method C Net Metering | Measured Flow at Meter 1 for 15 min (MWh) "MEB" | Measured Flow at Meter 2 for 15 minutes (MWh) "MEB" | Settlement Price at Pricing Location M1 ($/MWh) "RTRMPR" | Settlement Price at Pricing Location M2 ($/MWh) "RTRMPR" | Net Generation for 15 min (MWh) "NMRTETOT" | Allocation of Net Metered Amount | Generation Resource SCADA (MWh) "GSSPLITSCA" | "GSPLITPER" | Mapping of Resource to Settlement Meter 1 | Mappingof Resource to Settlement Meter 2 | Mapping of Resource to QSE | Total Paymnt to Net Mtrd Arrngmnt ($) "NMSAMTTOT" | "RTEIAMT" ($) | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M1 | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M2 | Load for 15 Min (MWh) | If "N2"<0, Stlmnt Price at Pricing Lctn M1 ($/MWh) "RTRMPR" | If "O2"<0, Stlmnt Price at Pricing Lctn M2 ($/MWh) "RTRMPR"
| -6 | 5 | 110 | 130.2632 | -1 | 20 | 0 | 0 |  |  |  | 0 | 0 | -6 | 5 |  | 110 | 130
G1 | [5 empty] | 0 | 0 | 0 | 1 | 0 | QSE 1 |  | 0
G2 | [5 empty] | 13 | 0 | 0 | 1 | 0 | QSE 1 |  | 0 |  |  |  | -10 | INFO only
G3 | [5 empty] | 0 | 0 | 0 | 1 | 0 | QSE 1 |  | 0 |  |  |  | will not charge
G4 | [5 empty] | 6 | 0 | 0 | 0 | 1 | QSE 1 |  | 0
G5 | [5 empty] | 1 | 0 | 0 | 0 | 1 | QSE 2 |  | 0
G6 | [5 empty] | 0 | 0 | 0 | 0 | 1 | QSE 3 |  | 0
L1 | [14 empty] | 135
L2 | [14 empty] | 43
| Length of SCED (seconds) "TLMP" | Base Point for G1 (MW) "BP" | Base Point for G2 (MW) "BP" | Base Point for G3 (MW) "BP" | Base Point for G4 (MW) "BP" | Base Point for G5 (MW) "BP" | Base Point for G6 (MW) "BP" | Weighting factor for the bus with M1 meter "RNWF" | Weighting factor for the bus with M2 meter "RNWF" | LMP at M1 ($/MWh) "RTLMP" | LMP at M2 ($/MWh) "RTLMP" | Sum of Base Points for M1 | Sum of Base Points for M2 | [Max(.001, SUM BP) * TLMP for M1 | [Max(.001, SUM BP) * TLMP for M2 | (RTLMP*TLMP) for M1 | (RTLMP*TLMP) for M2
1st SCED in 15 min | 300 | 100 | 200 | 150 | 75 | 50 | 50 | 0.2907 | 0.30702 | 100 | 120 | 450 | 175 | 135000 | 52500 | 30000 | 36000
2nd SCED in 15 min | 300 | 120 | 230 | 160 | 90 | 60 | 55 | 0.32946 | 0.35965 | 110 | 130 | 510 | 205 | 153000 | 61500 | 33000 | 39000
3rd SCED in 15 min | 300 | 140 | 260 | 188 | 75 | 70 | 45 | 0.37984 | 0.33333 | 120 | 140 | 588 | 190 | 176400 | 57000 | 36000 | 42000
4th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
5th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
INFO: Time Weighted Average of BP's |  | 120 | 230 | 166 | 80 | 60 | 50
Total | 900 | [6 empty] | 1 | 1 |  |  |  |  | 464400 | 171000 | 99000 | 117000
check | 0
Notes:
1) If cell "F2" (the net generation for the net metering arrangement) is less than or equal to zero ----- then no payments to Resources. The Load should show up on ESIIDs and it is settled as load.
2) Mapping of Resources to Meters (columns I and J) can be one to one, or one to many. This mapping is expected to be fairly static and can only be changed going forward.
3) The Mapping of Resources to Meters is to be confirmed in writing by the Resource Entity.
4) The SCADA data and EPS meter recordings incorporate the Load in the Net Metering Arrangement.
5) If the value in cell "N2" is negative, the calculation of RTRMPR for M1 shall not consider base points and shall be the time weighted average of the LMP's. See column "Q".
6) If the value in cell "O2" is negative, the calculation of RTRMPR for M2 shall not consider base points and shall be the time weighted average of the LMP's. See column "R".
7) Cells highlighted in yellow are user inputs. Some thought needs to be used in developing those inputs.
8) Cells not highlighted contain formulas that reflect NPRR35 and should not be changed.
9) The acronyms in "quotes and in blue" are acronyms used in the NPRR.
10) Spreadsheet does not reflect the "VISA Bill" rule for "RTEIAMT".
11) Includes updates from Calvin, Don and John.
Note on G3: COpheim: Allocated load equally across each unit with G1, G2, and G3 allocated load from L1. Forced SCADA values to be >=0.
Note on G6: COpheim: Allocated load equally across each unit with G4, G5, and G6 allocated load from L2. Forced SCADA values to be >=0.

## Case 3
Example for Method C Net Metering | Measured Flow at Meter 1 for 15 min (MWh) "MEB" | Measured Flow at Meter 2 for 15 minutes (MWh) "MEB" | Settlement Price at Pricing Location M1 ($/MWh) "RTRMPR" | Settlement Price at Pricing Location M2 ($/MWh) "RTRMPR" | Net Generation for 15 min (MWh) "NMRTETOT" | Allocation of Net Metered Amount | Generation Resource SCADA (MWh) "GSSPLITSCA" | "GSPLITPER" | Mapping of Resource to Settlement Meter 1 | Mappingof Resource to Settlement Meter 2 | Mapping of Resource to QSE | Total Paymnt to Net Mtrd Arrngmnt ($) "NMSAMTTOT" | "RTEIAMT" ($) | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M1 | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M2 | Load for 15 Min (MWh) | If "N2"<0, Stlmnt Price at Pricing Lctn M1 ($/MWh) "RTRMPR" | If "O2"<0, Stlmnt Price at Pricing Lctn M2 ($/MWh) "RTRMPR"
| 5 | -2 | 110.8915 | 130 | 3 | 20 | 3 | 1 |  |  |  | 294.4574 | 294.4574 | 5 | -2 |  | 110 | 130
G1 | [5 empty] | 0 | 0 | 0 | 1 | 0 | QSE 1 |  | 0
G2 | [5 empty] | 16 | 2 | 0.66667 | 1 | 0 | QSE 1 |  | 196.3049 |  |  |  | 290 | INFO only
G3 | [5 empty] | 0 | 0 | 0 | 1 | 0 | QSE 1 |  | 0
G4 | [5 empty] | 4 | 1 | 0.33333 | 0 | 1 | QSE 1 |  | 98.1525
G5 | [5 empty] | 0 | 0 | 0 | 0 | 1 | QSE 2 |  | 0
G6 | [5 empty] | 0 | 0 | 0 | 0 | 1 | QSE 3 |  | 0
L1 | [14 empty] | 124
L2 | [14 empty] | 49
| Length of SCED (seconds) "TLMP" | Base Point for G1 (MW) "BP" | Base Point for G2 (MW) "BP" | Base Point for G3 (MW) "BP" | Base Point for G4 (MW) "BP" | Base Point for G5 (MW) "BP" | Base Point for G6 (MW) "BP" | Weighting factor for the bus with M1 meter "RNWF" | Weighting factor for the bus with M2 meter "RNWF" | LMP at M1 ($/MWh) "RTLMP" | LMP at M2 ($/MWh) "RTLMP" | Sum of Base Points for M1 | Sum of Base Points for M2 | [Max(.001, SUM BP) * TLMP for M1 | [Max(.001, SUM BP) * TLMP for M2 | (RTLMP*TLMP) for M1 | (RTLMP*TLMP) for M2
1st SCED in 15 min | 300 | 100 | 200 | 150 | 75 | 50 | 50 | 0.2907 | 0.30702 | 100 | 120 | 450 | 175 | 135000 | 52500 | 30000 | 36000
2nd SCED in 15 min | 300 | 120 | 230 | 160 | 90 | 60 | 55 | 0.32946 | 0.35965 | 110 | 130 | 510 | 205 | 153000 | 61500 | 33000 | 39000
3rd SCED in 15 min | 300 | 140 | 260 | 188 | 75 | 70 | 45 | 0.37984 | 0.33333 | 120 | 140 | 588 | 190 | 176400 | 57000 | 36000 | 42000
4th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
5th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
INFO: Time Weighted Average of BP's |  | 120 | 230 | 166 | 80 | 60 | 50
Total | 900 | [6 empty] | 1 | 1 |  |  |  |  | 464400 | 171000 | 99000 | 117000
check | 0
Notes: |  |  |  |  | 176.5 | 173
1) If cell "F2" (the net generation for the net metering arrangement) is less than or equal to zero ----- then no payments to Resources. The Load should show up on ESIIDs and it is settled as load.
2) Mapping of Resources to Meters (columns I and J) can be one to one, or one to many. This mapping is expected to be fairly static and can only be changed going forward.
3) The Mapping of Resources to Meters is to be confirmed in writing by the Resource Entity.
4) The SCADA data and EPS meter recordings incorporate the Load in the Net Metering Arrangement.
5) If the value in cell "N2" is negative, the calculation of RTRMPR for M1 shall not consider base points and shall be the time weighted average of the LMP's. See column "Q".
6) If the value in cell "O2" is negative, the calculation of RTRMPR for M2 shall not consider base points and shall be the time weighted average of the LMP's. See column "R".
7) Cells highlighted in yellow are user inputs. Some thought needs to be used in developing those inputs.
8) Cells not highlighted contain formulas that reflect NPRR35 and should not be changed.
9) The acronyms in "quotes and in blue" are acronyms used in the NPRR.
10) Spreadsheet does not reflect the "VISA Bill" rule for "RTEIAMT".
11) Includes updates from Calvin, Don and John.
Note on G3: COpheim: Allocated load equally across each unit with G1, G2, and G3 allocated load from L1. Forced SCADA values to be >=0.
Note on G6: COpheim: Allocated load equally across each unit with G4, G5, and G6 allocated load from L2. Forced SCADA values to be >=0.

## Case 4
Example for Method C Net Metering | Measured Flow at Meter 1 for 15 min (MWh) "MEB" | Measured Flow at Meter 2 for 15 minutes (MWh) "MEB" | Settlement Price at Pricing Location M1 ($/MWh) "RTRMPR" | Settlement Price at Pricing Location M2 ($/MWh) "RTRMPR" | Net Generation for 15 min (MWh) "NMRTETOT" | Allocation of Net Metered Amount | Generation Resource SCADA (MWh) "GSSPLITSCA" | "GSPLITPER" | Mapping of Resource to Settlement Meter 1 | Mappingof Resource to Settlement Meter 2 | Mapping of Resource to QSE | Total Paymnt to Net Mtrd Arrngmnt ($) "NMSAMTTOT" | "RTEIAMT" ($) | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M1 | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M2 | Load for 15 Min (MWh) | If "N2"<0, Stlmnt Price at Pricing Lctn M1 ($/MWh) "RTRMPR" | If "O2"<0, Stlmnt Price at Pricing Lctn M2 ($/MWh) "RTRMPR"
| 104 | 38 | 110.7224 | 130.7224 | 142 | 142 | 142 | 1 |  |  |  | 16482.5779 | 16482.5779 | 102 | 37 |  | 110 | 130
G1 | [5 empty] | 22 | 22 | 0.15493 | 1 | 1 | QSE 1 |  | 2553.6388
G2 | [5 empty] | 49 | 49 | 0.34507 | 1 | 1 | QSE 1 |  | 5687.6501 |  |  |  | 16380 | INFO only
G3 | [5 empty] | 33 | 33 | 0.23239 | 1 | 1 | QSE 1 |  | 3830.4582
G4 | [5 empty] | 17 | 17 | 0.11972 | 1 | 1 | QSE 1 |  | 1973.2664
G5 | [5 empty] | 12 | 12 | 0.084507 | 1 | 1 | QSE 2 |  | 1392.8939
G6 | [5 empty] | 9 | 9 | 0.06338 | 1 | 1 | QSE 3 |  | 1044.6704
L1 | [14 empty] | 25
L2 | [14 empty] | 10
| Length of SCED (seconds) "TLMP" | Base Point for G1 (MW) "BP" | Base Point for G2 (MW) "BP" | Base Point for G3 (MW) "BP" | Base Point for G4 (MW) "BP" | Base Point for G5 (MW) "BP" | Base Point for G6 (MW) "BP" | Weighting factor for the bus with M1 meter "RNWF" | Weighting factor for the bus with M2 meter "RNWF" | LMP at M1 ($/MWh) "RTLMP" | LMP at M2 ($/MWh) "RTLMP" | Sum of Base Points for M1 | Sum of Base Points for M2 | [Max(.001, SUM BP) * TLMP for M1 | [Max(.001, SUM BP) * TLMP for M2 | (RTLMP*TLMP) for M1 | (RTLMP*TLMP) for M2
1st SCED in 15 min | 300 | 100 | 200 | 150 | 75 | 50 | 50 | 0.29509 | 0.29509 | 100 | 120 | 625 | 625 | 187500 | 187500 | 30000 | 36000
2nd SCED in 15 min | 300 | 120 | 230 | 160 | 90 | 60 | 55 | 0.33758 | 0.33758 | 110 | 130 | 715 | 715 | 214500 | 214500 | 33000 | 39000
3rd SCED in 15 min | 300 | 140 | 260 | 188 | 75 | 70 | 45 | 0.36733 | 0.36733 | 120 | 140 | 778 | 778 | 233400 | 233400 | 36000 | 42000
4th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
5th SCED in 15 min | [7 empty] | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
INFO: Time Weighted Average of BP's |  | 120 | 230 | 166 | 80 | 60 | 50
Total | 900 | [6 empty] | 1 | 1 |  |  |  |  | 635400 | 635400 | 99000 | 117000
check | 0
Notes:
1) If cell "F2" (the net generation for the net metering arrangement) is less than or equal to zero ----- then no payments to Resources. The Load should show up on ESIIDs and it is settled as load.
2) Mapping of Resources to Meters (columns I and J) can be one to one, or one to many. This mapping is expected to be fairly static and can only be changed going forward.
3) The Mapping of Resources to Meters is to be confirmed in writing by the Resource Entity.
4) The SCADA data and EPS meter recordings incorporate the Load in the Net Metering Arrangement.
5) If the value in cell "N2" is negative, the calculation of RTRMPR for M1 shall not consider base points and shall be the time weighted average of the LMP's. See column "Q".
6) If the value in cell "O2" is negative, the calculation of RTRMPR for M2 shall not consider base points and shall be the time weighted average of the LMP's. See column "R".
7) Cells highlighted in yellow are user inputs. Some thought needs to be used in developing those inputs.
8) Cells not highlighted contain formulas that reflect NPRR35 and should not be changed.
9) The acronyms in "quotes and in blue" are acronyms used in the NPRR.
10) Spreadsheet does not reflect the "VISA Bill" rule for "RTEIAMT".
11) Includes updates from Calvin, Don and John.
Note on G3: COpheim: Allocated load equally across each unit with G1, G2, and G3 allocated load from L1. Forced SCADA values to be >=0.
Note on G6: COpheim: Allocated load equally across each unit with G4, G5, and G6 allocated load from L2. Forced SCADA values to be >=0.

## Case 1 (Meter 1 with 3 CT's)
Example for Method C Net Metering | Measured Flow at Meter 1 for 15 min (MWh) "MEB" | Measured Flow at Meter 2 for 15 minutes (MWh) "MEB" | Settlement Price at Pricing Location M1 ($/MWh) "RTRMPR" | Settlement Price at Pricing Location M2 ($/MWh) "RTRMPR" | Net Generation for 15 min (MWh) "NMRTETOT" | Allocation of Net Metered Amount | Generation Resource SCADA (MWh) "GSSPLITSCA" | "GSPLITPER" | Mapping of Resource to Settlement Meter 1 | Mappingof Resource to Settlement Meter 2 | Mapping of Resource to QSE | Total Paymnt to Net Mtrd Arrngmnt ($) "NMSAMTTOT" | "RTEIAMT" ($) | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M1 | 15 minute Energy at bus Near Real Time (MWH)"EBNRT" at bus for M2 | Load for 15 Min (MWh) | If "N2"<0, Stlmnt Price at Pricing Lctn M1 ($/MWh) "RTRMPR" | If "O2"<0, Stlmnt Price at Pricing Lctn M2 ($/MWh) "RTRMPR"
| 104 | 38 | 96.3122 | 130.2632 | 142 | 142 | 142 | 1 |  |  |  | 14966.464 | 14966.464 | 102 | 37 |  | 95.6971 | 130
G1 | [5 empty] | 22 | 22 | 0.15493 | 1 | 0 | QSE 1 |  | 2318.7479
G2 | [5 empty] | 49 | 49 | 0.34507 | 1 | 0 | QSE 1 |  | 5164.4841 |  |  |  | 14892.4974 | INFO only
G3 | [5 empty] | 33 | 33 | 0.23239 | 1 | 0 | QSE 1 |  | 3478.1219
G4 | [5 empty] | 17 | 17 | 0.11972 | 0 | 1 | QSE 1 |  | 1791.7598
G5 | [5 empty] | 12 | 12 | 0.084507 | 0 | 1 | QSE 2 |  | 1264.7716
G6 | [5 empty] | 9 | 9 | 0.06338 | 0 | 1 | QSE 3 |  | 948.5787
L1 | [14 empty] | 25
L2 | [14 empty] | 10
| Length of SCED (seconds) "TLMP" | Base Point for G1 (MW) "BP" | Base Point for G2 (MW) "BP" | Base Point for G3 (MW) "BP" | Base Point for G4 (MW) "BP" | Base Point for G5 (MW) "BP" | Base Point for G6 (MW) "BP" | Weighting factor for the bus with M1 meter "RNWF" | Weighting factor for the bus with M2 meter "RNWF" | LMP at M1CTa ($/MWh) "RTLMP" | LMP at M1CTb ($/MWh) "RTLMP" | LMP at M1CTc ($/MWh) "RTLMP" | SE Weighted LMP at M1 ($/MWh) "RTLMP" | LMP at M2 ($/MWh) "RTLMP" | Sum of Base Points for M1 | Sum of Base Points for M2 | [Max(.001, SUM BP) * TLMP for M1 | [Max(.001, SUM BP) * TLMP for M2 | (RTLMP*TLMP) for M1 | (RTLMP*TLMP) for M2 | SE data at M1CTa (MW) | SE data at M1CTb (MW) | SE data at M1CTc (MW) | Sum of ABS CTa,CTb and CTc
1st SCED in 15 min | 300 | 100 | 200 | 150 | 75 | 50 | 50 | 0.2907 | 0.30702 | 100 | 90 | 70 | 88.8889 | 120 | 450 | 175 | 135000 | 52500 | 26666.6667 | 36000 | 110 | 90 | 70 | 270
2nd SCED in 15 min | 300 | 120 | 230 | 160 | 90 | 60 | 55 | 0.32946 | 0.35965 | 110 | 95 | 75 | 95.5357 | 130 | 510 | 205 | 153000 | 61500 | 28660.7143 | 39000 | 110 | 95 | 75 | 280
3rd SCED in 15 min | 300 | 140 | 260 | 188 | 75 | 70 | 45 | 0.37984 | 0.33333 | 120 | 100 | 80 | 102.6667 | 140 | 588 | 190 | 176400 | 57000 | 30800 | 42000 | 120 | 100 | 80 | 300
4th SCED in 15 min | [7 empty] | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
5th SCED in 15 min | [7 empty] | 0 | 0 |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0
INFO: Time Weighted Average of BP's |  | 120 | 230 | 166 | 80 | 60 | 50
Total | 900 | [6 empty] | 1 | 1 |  |  |  | 95.6971 |  | 1548 | 570 | 464400 | 171000 | 86127.381 | 117000
check | 0
Notes:
1) If cell "F2" (the net generation for the net metering arrangement) is less than or equal to zero ----- then no payments to Resources. The Load should show up on ESIIDs and it is settled as load.
2) Mapping of Resources to Meters (columns I and J) can be one to one, or one to many. This mapping is expected to be fairly static and can only be changed going forward.
3) The Mapping of Resources to Meters is to be confirmed in writing by the Resource Entity.
4) The SCADA data and EPS meter recordings incorporate the Load in the Net Metering Arrangement.
5) If the value in cell "N2" is negative, the calculation of RTRMPR for M1 shall not consider base points and shall be the time weighted average of the LMP's. See column "Q".
6) If the value in cell "O2" is negative, the calculation of RTRMPR for M2 shall not consider base points and shall be the time weighted average of the LMP's. See column "R".
7) Cells highlighted in yellow are user inputs. Some thought needs to be used in developing those inputs.
8) Cells not highlighted contain formulas that reflect NPRR35 and should not be changed.
9) The acronyms in "quotes and in blue" are acronyms used in the NPRR.
10) Spreadsheet does not reflect the "VISA Bill" rule for "RTEIAMT".
11) Includes updates from Calvin, Don and John.
Note on G3: COpheim: Allocated load equally across each unit with G1, G2, and G3 allocated load from L1. Forced SCADA values to be >=0.
Note on G6: COpheim: Allocated load equally across each unit with G4, G5, and G6 allocated load from L2. Forced SCADA values to be >=0.