## Instructions
1) Read the EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document
2) Complete the 'IO-Coef' tab for all resources in your portfolio if you want to use the Offer Curve Creation Methodology described in the
EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document (posted at http://nodal.ercot.com/readiness/eds3/documents/index.html as EDS 3 Test Offer Curves v1.0)
OR
3) If your company desires to use other forms of equations than the one listed in the EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document,
then please create a new tab and provide the variables and a working equation
OR
4) Complete the Offer Curve Tab
5) Return the completed spreadsheet to eds3@ercot.com. Responses should be submitted by August 10, 2007
Comments have been provided on the column headers. They can be viewed using the menu 'View ¦ Comments'

## IO-Coef
|  | Generating Resource Input / Output Coefficients | [6 empty] | Date: | 2007-07-31
Resource Name | Fuel Type | HSL | LSL | FIP | A | B | C | D | Comments
Example 1 | Gas | 250 | 40 |  | 220.1 | 8.25 | 0.0023 | 3e-08
Example 2 | Gas | 770 | 150 |  | 400 | 8.23 | 0 | 7.6e-08
Example 3 | Coal | 600 | 350 | 2.2 | 320 | 9.6 | 4.5e-05 | 0 | Specify FIP
Allowable Fuel Types: | Gas
Coal
Lignite
Nuclear
Wind
Note on A4: - Enter the resource name provided on the RARF - a row should be completed for each resources - If a Combined Cycle please add a row for each configuration as allowed by the TPTF Combined Cycle white paper: http://nodal.ercot.com/docs/pd/ida/wp/wpcc/IDA003_Combined_Cycle_Whitepaper_v1.0TPTF_approved.zip
Note on B4: Select the appropriate fuel type from the drop down list
Note on E4: Only required if you are using a FIP that deviates from those outlined in the EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document
Note on F4: dcote: Please reference the Offer Curve Creation Methodology section in the EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document
Note on G4: See comment for column labeled 'A'
Note on H4: See comment for column labeled 'A'
Note on I4: See comment for column labeled 'A'

## Offer Curve
Note- Offer Curve should be monotonically increasing and not exceed the High/Low Sustainable Limits for Quantities
[6 empty] | P/Q Pair 1 |  | P/Q Pair 2 |  | P/Q Pair 3 |  | P/Q Pair 4 |  | P/Q Pair 5 |  | P/Q Pair 6 |  | P/Q Pair 7 |  | P/Q Pair 8 |  | P/Q Pair 9 |  | P/Q Pair 10
Resource Name | Fuel Type | HSL | LSL | FIP | Comments | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity | Price | Quantity
Example 1 | Gas | 250 | 40
Allowable Fuel Types: | Gas
Coal
Lignite
Nuclear
Wind
Note on A4: - Enter the resource name provided on the ZonalGARF or nodalRARF - a row should be completed for each resources - If a Combined Cycle please add a row for each configuration as allowed by the TPTF Combined Cycle white paper: http://nodal.ercot.com/docs/pd/ida/wp/wpcc/IDA003_Combined_Cycle_Whitepaper_v1.0TPTF_approved.zip
Note on B4: Select the appropriate fuel type from the drop down list
Note on E4: Only required if you are using a FIP that deviates from those outlined in the EDS3 Release 5 – SCED Testing Establishing Generating Resource Offer Curves document