## Sheet1
| A | B | C | D | E | F | G | H | I
Author | Various | Calpine | Cross Section of Market | City of Denton (DME) | EnerNOC & Good Company | PSEG | Zarnikau/Oren | ERCOT Steel Companies | Market Monitor Comments to general issues
Description | 1) Implement a scarcity pricing mechanism linked to steps of EECP. | 1) Implement a scarcity pricing mechanism linked to steps of EECP. | 1) Implement a scarcity pricing mechanism linked to steps of EECP. | Develop two separate new services: | Short Term Solution | Adjust prices of energy and reserves during periods of shortage | Program participants contractually commit to curtail load at preset | Improve existing EILS program: | Make the following changes to the current market: | Other Actions/Procedures in Place
| ALERT = Set MCPE to MAX(SPD MCPE, 0.25xCAP) | ALERT = Set MCPE to MAX(SPD MCPE, 0.25xCAP) | ALERT = Set MCPE to MAX(SPD MCPE, 0.25xCAP) | 1) EILS-U8 - a capacity payment based service for loads capable | Modify the existing EILS program by: | after determining proper price adders through a study of ERCOT | strike prices (e.g., $750 per MWh, $1,000 per MWh, and $1,500 per | 1) Develop an aggressive EILS public education program and | For Operation Intervals where ARRS < 2,500 and > 2,300 MW and
| EECP Step 1 = Set MCPE to MAX(SPD MCPE, 0.5xCAP) | EECP Step 1 = Set MCPE to MAX(SPD MCPE, 0.5xCAP) | EECP Step 1 = Set MCPE to MAX(SPD MCPE, 0.5xCAP) | of deploying in 8 minutes or less, with the "button" under the | 1) Change the EILS structure to an hourly auction | operating procedures and costs. An example based on the | MWh). The program participant curtails whenever the MCPE or LMPZ | marketing materials for non-NOIE and NOIE loads | ERCOT OOM intructions for short supply are active:
| EECP Step 2 = Set MCPE to MAX(SPD MCPE, 0.75xCAP) | EECP Step 2 = Set MCPE to MAX(SPD MCPE, 0.75xCAP) | EECP Step 2 = Set MCPE to MAX(SPD MCPE, 0.75xCAP) | control of ERCOT operations. Payment would be based on | 2) Significantly increase the price cap | NYISO (in brackets) is given: | exceeds that price. Contracts are for a 1 year duration. Direct load | 2) Refine and simplify submission forms and instructions | 1) Relax all OC1 limits such that zonal constraints are not binding
| EECP Step 3 = Set MCPE to MAX(SPD MCPE, 1.0xCAP) | EECP Step 3 = Set MCPE to MAX(SPD MCPE, 1.0xCAP) | EECP Step 3 = Set MCPE to MAX(SPD MCPE, 1.0xCAP) | telemetered data and the bid/award structure would be similar to | 3) Remove the 500 MW minimum floor | 1) Set all prices equal to prices paid to EILS resources (but not less | control in lieu of a contractual commitment is fine. | 3) Establish a process for ERCOT determination of individual | in SPD
| 2) Increase the hourly RRS obligation to 2,500 MWs with 50% being | 2) Increase the hourly RRS obligation to 2,700 MWs with 50% being | 2) Increase the hourly RRS obligation to 2,500 MWs with 50% being | existing EILS program. | 4) Dispatch EILS via electronic dispatch as well as using VDIs | than [$500]) if EILS is deployed |  | baselines in advance of the bid submission process | 2) Set MCPE to MAX(SPD MCPE, CT Proxy Price), where a CT
| provided by LaaR. | provided by LaaR based on 1550 MWs of wind as the largest | provided by LaaR. | Procurement similar to EILS contract periods. | 5) Increase the response requirement to 30 min | 2) 30 Minute Reserves Shortage Adder: [200 MW @ $50, 200 MW | Participants receive a monthly reservation payment which is based on | 4) Reassure that the alternative baseline provides a safe-harbor in | Proxy Price is approximately $150-250/MWh
|  | contingency and 1,150 for STP | 3) Increase the hourly NSRS obligation to a minimum of 300 MWs | Procure 500-1000 MW. |  | @ $150, and remainder @ $200) | 1/12 of the annual expected costs avoided by the participant as a | event average actual monthly demand for contract period is lower | 3) If necessary and beneficial, ERCOT may issue individual or
|  | Notes: Other potential combinations could be: |  | QSE "little red button" approach is an acceptable alternative. | Long Term Solution | 3) 10 Minute Reserves Shortage Adder: [$150] | result of the "economic curtailments" that the participant will make | 5) Reduce the 500 MW threshold (i.e., 100 MW) | fleet VDIs to manage local congestion
|  | 1,550 (wind event) + 1,300 (STP uprate) = 2,850 MWs of RRS |  | Telemetered breaker. | Fundamentally restructure the existing ancillary services market to | 4) 10 Minute Spinning Reserves Shortage Adder: [$500] | as a result of their participation in the program. In addition, the | 6) Remove and/or increase the annual program cost cap
|  | 1,150 (1 nuke) + 1,300 (STP uprate) = 2,450 MWs of RRS | Additional notes: the comments of the Market Monitor could be |  | mirror other markets. |  | load participant will be compensated if a price spike lasts less than | 7) Establish a minimum program duration requirement (i.e., 2 years) | For Operation Intervals where ARRS < 2,300 MW and ERCOT OOM
|  |  | incorporated into this proposal. |  |  |  | one hour through an additional payment. Avoided losses and avoided | 8) Convert to a market-clearing price structure | instructions for short supply are active:
|  | 2) Increase the hourly RRS obligation to 2,500 MWs with 50% being |  |  |  |  | reserves shall also be considered in the establishment of the | 9) Incentivize third parties to market EILS | 1) Relax all OC1 limits such that zonal constraints are not binding
|  | provided by LaaR. |  |  |  |  | reservation payment. If the projected reserve margin for a year was |  | 2) Set MCPE to MAX(SPD MCPE, CAP) where CAP is equal to
|  |  |  | 2) Administratively set prices beginning at the Alert stage |  |  | less than 15% and price duration curve would yield prices insufficient |  | the applicable system-wide offer cap
|  | 2) Increase the hourly RRS obligation to 2,500 MWs with 50% being |  | to incentivize response from both loads and generators | GOOD CO TO OFFER NEW PROPOSAL BY NEXT MEETING | NEED ADDITIONAL INFORMATION FROM SPONSOR | to cover the cost of a combustion turbine, then the reservation payment |  | 3) If necessary and beneficial, ERCOT may issue individual or
|  | provided by LaaR. |  | (similar to columns A, B and C) |  |  | would be adjusted upward. |  | fleet VDIs to manage local congestion
3) Increase the hourly NSRS obligation to a minimum of 300 MWs
Does this proposal send better price signals leading up to an EECP Event? | To the extent administrative pricing takes effect during the ALERT stage, YES. Price signals of higher magnitude are directly linked to the steps of EECP (after EECP is initiated). | To the extent administrative pricing takes effect during the ALERT stage, YES. Price signals of higher magnitude are directly linked to the steps of EECP (after EECP is initiated). | To the extent administrative pricing takes effect during the ALERT stage, YES. Price signals of higher magnitude are directly linked to the steps of EECP (after EECP is initiated). | To the extent administrative pricing takes effect during the ALERT stage, YES. No further information is provided in this proposal. |  |  | This proposal is "compatible" with the notion of administratively-set pricing during an alert or EECP. In such cases, the high prices would trigger curtailments from the program participants. However (regardless of whether this program is adopted), price information must be provide to loads in advance so that they have sufficient time to react to the prices. | No. This proposal does not address sending price signals to the market. | To the extent this change incorporates administratively setting prices at EECP Step 1, NO. However, beginning in EECP Step 1 higher price signals are sent to the market than in other proposed solutions.
Does this proposal bring more resources (both interruptible load and generation) online through existing ancillary services? | Yes. Specifically, 200 MW of additional Resources would be brought to the market with potential load participation of 100 MW. No information is provided as to how generators would respond to price signals in real time. | Yes. Specifically, 400 MW of additional Resources would be brought to the market with potential load participation of 200 MW. No information is provided as to how generators would respond to price signals in real time. | Yes. Specifically, 500 MW of additional Resources would be brought to the market with potential load participation of 400 MW. No information is provided as to how generators would respond to price signals in real time. | The capacity payment based service would bring more Load Resources to the market, but not generation resources. No information is provided as to how generators would respond to price signals in real time. |  |  | No. This program reduces demand during high prices, but does not affect ancillary services requirements. | No. This change does not use existing Ancillary Services, and does not bring additional generation resources to the market. | Yes. Procuring more NRS or RRS will bring more Load and Generation Resources to the market. These comments do not specify how much.
Does this proposal address the commission request to examine the priorities set by TDSPs when shedding firm load? | No. | No. | No. | No. |  | No. | No. | No. | No.
Does this proposal require a system change for implementation? If so, what systems need to be changed and what is the estimated impact? | A: No system change is required.; B: No system change is required.; C: No system change is required.; D: Unknown. Also includes a technology requirement for ERCOT, Load and QSE of unknown scope.; G: Very minimal system changes. Qualification, testing, baseline calculations, and notification procedures developed for EILS can be adopted to this program. There is a need to provide advance notification of expected high prices, but this is being worked on by the Demand Side WG as a part of a different project.
Will ERCOT support this proposal? | A: ERCOT to fill this row by next meeting.; B: ERCOT to fill this row by next meeting.; C: ERCOT to fill this row by next meeting.; D: ERCOT to fill this row by next meeting.
Has PRR language been drafted which incorporates this concept? | No. | No. | No. | No. |  |  | No. |  | No.
Are there benefits other than specifically mentioned above? | A: Yes: long-term resource adequacy, frequency response. Review outcome of AS study in the fall to see if this proposal satisfies some or all of recommendations.; B: Yes: long-term resource adequacy, frequency response. Review outcome of AS study in the fall to see if this proposal satisfies some or all of recommendations.; C: Yes: long-term resource adequacy, frequency response. Review outcome of AS study in the fall to see if this proposal satisfies some or all of recommendations.; D: Certainty of product. Potentially used for frequency disturbances.; G: Yes. Results in a more "efficient" market, where consumer electricity costs are better aligned with their desired level of reliability. Demand will be reduced in a gradual fashion, which will have system operations benefits. Knowledge of the demand function will assist ERCOT in operational planning.
Are there other potential detrimental impacts or negative market consequences with the implementation of this proposal? | A: Increased cost to serve load. Anticipated price response by load is not dispatchable by ERCOT.; B: Increased cost to serve load. Anticipated price response by load is not dispatchable by ERCOT.; C: Increased cost to serve load. Anticipated price response by load is not dispatchable by ERCOT.; D: Legal/contractual issues of undetermined scope. Developing and creating a completely new service may be complicated.
QUESTIONS | G: 1. Is cost capped? What criteria does ERCOT apply in selecting offers? 2. How does ERCOT know clearing prices more than 8 minutes in advance?