ERCOT Meter Working Group Meeting

Notes

Meeting Date: Aug 2, 2007

Location: Conference Room TCC1-253, ERCOT Taylor Operations Center, Taylor, TX

Call in Number (If needed): (512) 225 – 7260 pswd 2707 (15 ports)

9:00 – 9:05: 	Reading of ERCOT Anti trust rules.

Dotty DiSanto read ERCOT Anti trust rules to the meeting attendees.

9:05 – 9:10: 	Opening Business from Chairman – Dotty DiSanto

Introductions were made to the group.

9:10 – 9:30:	Approval of MWG Recommendation Record Report

The group approved the MWG Recommendation Record Report.

9:30 – 11:00:	Open discussion on 3rd party FOCT field testing methodology – Austin Energy

Martin Lozano of Austin Energy presented recommended procedure for testing ratio accuracy of FOCT. MWG approved this procedure for 5 year ratio test. Please email Martin Lozano at Martin.Lozano@austinenergy.com if you want copies of test results and procedure.

11:00 – 11:30: CCVT’s and FOCT’s field test /or change outs – ERCOT

MWG decided to have data updated after manufacturer’s defect correction. ERCOT will send spreadsheet back to TDSP’s for update. MWG encourages all TDSP’s to send ERCOT both as found and as left test results (send to epsmetering@ercot .com).

11:30 – 13:00:	Lunch (1½ hour for lunch. NO Lunch will be provided)

13:00 – 14:15: Nodal Market and EPS Metering Update – ERCOT

ERCOT made the presentations. They are posted in Key Documents of the meeting web page.

14:15 – 14:30: ERCOT Security and Data Transfer – ERCOT

Data transfer security issues are being discussed by ERCOT at this time, and will be shared with TDSPs when finalized.

14:30 – 15:00: New Business

- Austin Energy: MWG discussed revision of ERCOT meter test report. Martin Lozano volunteered to draft a revised version of the test report working with other TDSP representatives. ERCOT will send out revised test report to all TDSPs for comments and feedback.

15:00 		Meeting Wrap-up.

Meeting was adjourned by Dotty DiSanto.