August 3, 2007

Doug Logan, PCI

RE: External Interface Specification v1.02

General Comments

There is no way to query notifications. If a notification is sent, but the market participant’s system fails to receive it or process the message, there should be a way to query for the missed messages. The capability to query notifications was listed in Sec. 5.1 of previous versions if the EIS document with the note, “currently it is proposed that this interface not be provided for reasons of performance, in order to avoid periodic polling.” However, participants should need to poll only when there is some failure, not routinely; so performance is less of an issue.

Thank you for the opportunity to submit these comments.