- Summary of Operating Guides Revisions

- Effective:  September 1, 2007

- Section 1:

- OGRR202 – Clarification of Responsibility for Switching of Transmission Elements

This Operating Guide Revision Request (OGRR) addresses North American Electric Reliability Corporation (NERC) Standard requirements.  NERC Standards require the development, maintenance, and implementation of formal policies and procedures to provide for transmission reliability.  Specifically, this OGRR clarifies the designation of responsibility for switching transmission elements.  The specific requirement is Requirement # R6.3 of NERC Standard TOP-004-0, presently in effect, and the same requirement number in NERC Standard TOP-004-1 to be effective October 1, 2007.

Revised Subsection: 1.7.3