| NPRR Number |  | NPRR Title | Revised wording of Protocol Section 3.1.5.1 ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities |
| --- | --- | --- | --- |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 3.1.5.1 ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities |  |
| Revision Description |  | The proposed addition of “except Electrical Buses” to Protocol section 3.1.5.1 will allow ERCOT to exclude electrical buses as a required transmission element in the ERCOT Outage Scheduler. |  |
| Reason for Revision |  | Eliminates entering electrical buses into the ERCOT Outage Scheduler. |  |
| Reason for Revision (from Transition Plan Task Force (TPTF) Charter Scope) |  | (1) Revisions resulting from Commission orders; (2) Clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; (3) Correction of technical errors or processes that are found to not be technically feasible; (4) Revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; or (5) Other (describe): |  |
| TPTF Review (Yes or No, and summary of conclusion) |  | Yes |  |
| Credit Implications (Yes or No, and summary of impact) |  |  |  |
| Timeline |  |  |  |
| Date Posted |  | August 1, 2007 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Dennis Caufield |
| E-mail Address | dennis.caufield@centerpointenergy.com |
| Company | CenterPoint Energy |
| Company Address | P.O. Box 1700, Houston, Texas 77251 |
| Phone Number | 713-207-2462 |
| Fax Number | 713-207-2788 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive NPRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the NPRR.

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | ERCOT Nodal Outage Scheduler, ERCOT Outage Coordination and ERCOT Real Time Operations | Saves ERCOT$$ by not requiring Electrical Buses to be entered into the ERCOT Nodal Outage Scheduler |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | All TSP’s, QSE’s and PUN’s | Saves TSP’s, QSE’s and PUN’s $$ by not requiring them to track and enter electrical buses into the ERCOT Nodal Outage Scheduler. |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Eliminating electrical buses reduces the number of devices being scheduled and insures more consistent outage submission by requestors. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 | CNP has discussed this issue with impacted groups at ERCOT and has their endorsement. |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Current and Nodal Protocol Language Revision

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	A TSP shall request a Planned Outage or Maintenance Outage for any Transmission Element except Electrical Buses in the Network Operations Model that requires the Transmission Element to be removed from its normal service. Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.