## Slide 1: Texas Regional Entity Report
August 2007

## Slide 2: Control Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score improved in June over May’s score
  The standard measures how well real power demand and supply in real-time are balanced in the ERCOT Interconnection
Initial scores for June indicate 33 QSEs passed / 1 non-wind-only QSE failed the PRR 525 measure
  To pass the PRR 525 measure, a QSE must minimize its Schedule Control Error (SCE) which is essentially the difference between the actual and expected (requested) Resource output of the QSE.

## Slide 3: Texas RE Compliance Summary
The Texas RE has registered 204 entities (+ ERCOT ISO) in the ERCOT Region that are responsible for compliance with NERC Reliability Standards
14 Compliance Audits are scheduled in 2007
Statistical information related to NERC Standards violations are subject to NERC Electric Reliability Organization (ERO) confidentiality restrictions
There have been 35 ERCOT Protocol violations identified Dec  June
The Texas RE has reviewed 46 events reported in the ERCOT Region Dec  June

## Slide 4: August Board Meeting
Plan to request approval of Texas RE Standards Development Procedures needed to implement Texas RE Standards Development Process
  Registered Ballot Body (RBB)
  Reliability Standards Committee (RSC)
  Standards Drafting Team (SDT)
Stakeholder review process currently underway and comments being collected
Draft procedures posted on Texas RE Web Page: Regional Reliability Standards Development  Planning and Procedures

## Slide 5: Texas Regional Entity
Report Details

## Slide 6: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  June Performance
    June performance comparison
      June 2007: 136.84
      June 2006: 154.59
    12 month rolling average comparison
      July 2006 June 2007: 135.07
      July 2005 June 2006: 135.64
PRR 525 Performance
  Initial scores for June indicate 33 QSEs passed / 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 7: ERCOT CPS1 Performance Comparison

## Slide 8: ERCOT’s CPS1 Monthly Performance

## Slide 9: ERCOT CPS1 by Interval

## Slide 10: QSE PRR 525 10-Minute Interval Scoring

## Slide 11: PRR 525 Passing 10-Min Interval Trends

## Slide 12: June 2007 Resource Plan Performance Metrics

## Slide 13: ERCOT Region NERC Registered Entities

## Slide 14: 2007 Compliance Audits

## Slide 15: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner
PSE – Purchasing-Selling Entity

## Slide 16: Compliance Reviews of Events by Season

## Slide 17: Violations of ERCOT Protocols Reported by Season