## Slide 1: City of Public Service (CPS) Energy J.K. Spruce to Skyline 345 kV Second Circuit Project Technical Advisory Committee Dan Woodfin August 2, 2007

## Slide 2: Description of Project
J.K. Spruce to Skyline 345 kV Second Circuit
Cost: Approx. $7,750,000
New Line

## Slide 3
Project Need
Scheduled in-service in June 2009
The Spruce to Skyline 345 kV second circuit was found to be necessary and economic during work on the 2006 ERCOT Five-Year plan.
ERCOT Independent review confirmed it is economically justified in 2009 with $1.9 M production cost savings compared to an annual carrying cost of $1.3M.
This line was submitted by CPS to allow full output of the new Spruce 2, 750 MW coal power plant in 2010. With this generator in-service, the project will save more than $29 million in production costs in 2010, more than three times of the project cost.

## Slide 4
Economic Analysis
Total estimated project cost: $7.75 million
Production Cost Saving for Skyline to Spruce Second Circuit |  |  |  | 
Year | 2009 | 2010 | 2011 | Total
PCS | $1.9 M | $29.1 M | $32.7 M | $63.6 M

## Slide 5
Stakeholder Review
The Stakeholder review period for this project was held in May 2007
There were no comments on this project
ERCOT Staff recommends that the project be endorsed by the Board

## Slide 6
QUESTIONS?