| OGRR Number | 202 | OGRR Title | Clarification of Responsibility for Switching of Transmission Elements |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Recommended Action |  | Approval |
| Operating Guide Section Requiring Revision |  | Section 1.7.3, Transmission Operator (TO) |  |  |
| Protocol Section Requiring Revision, if any. |  | ## None. |  |  |
| Proposed Effective Date |  | ## September 1, 2007 |  |  |
| Revision Description |  | This Operating Guide Revision Request (OGRR) is proposed to address North American Electric Reliability Corporation (NERC) Standard requirements. NERC Standards require the development, maintenance, and implementation of formal policies and procedures to provide for transmission reliability. Specifically to be included is designation of responsibility for switching transmission elements. The specific requirement is Requirement # R6.3 of NERC Standard TOP-004-0, presently in effect, and the same requirement number in NERC Standard TOP-004-1 to be effective October 1, 2007. |  |  |
| ###### Overall Market Benefit |  | This OGRR addresses NERC Standard requirements to avoid potential penalties for violations. |  |  |
| ###### Overall Market Impact |  | None. |  |  |
| ###### Consumer Impact |  | None. |  |  |
| ###### Procedural History |  | - On 06/27/07, OGRR202 and the Impact Analysis (IA) were posted with a request for Urgent status. - On 06/29/07, ROS considered Urgent status for OGRR202 via email vote. - On 07/12/07, ROS considered OGRR202 via email vote. |  |  |
| ###### ROS Recommendation |  | On 06/29/07, the ROS unanimously voted to approve Urgent status of OGRR202 via email vote. The Cooperative Market Segment was not represented in the vote. On 07/12/07, the ROS recommended approval of OGRR202 as submitted with two (2) opposing votes (Cooperatives) and four (4) abstentions (1-Municipal Owned Utility; 1-Independent Generator; 2- Independent Power Marketers) via email vote. The Consumer Market Segment was not represented in the vote. |  |  |
| ###### Summary of ROS Discussion |  | No discussion. |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | H. Steven (Steve) Myers |
| Email Address | smyers@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-3077 |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | This is a clarification to document existing practice |  |
| --- | --- | --- | --- |
|  | 2 | This language does not change any procedures, but fills a “gap” |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | Clarification to comply with a NERC standard requirement to avoid penalties for violation. |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Proposed Operating Guide Language Revision |  |  |  |

### 1.7.3	Transmission Operator (TO)

Transmission Operators (TOs) are the subset of Transmission Service Providers (TSPs) or Transmission and/or Distribution Service Providers (TDSPs) that is charged with continuous communication (7x24 basis) with the ERCOT Control Area Authority (CAA) and carrying out Dispatch Instructions directly or on behalf of represented TDSPs.  Each TSP or TDSP will designate either itself or another TSP or TDSP to perform the functions of a TO. TOs must meet all requirements identified in the ERCOT Protocols for TDSPs and TSPs in addition to those requirements stated below for all Transmission Facilities represented:

- Operate and manage the electric Transmission Facilities between energy sources and the point of delivery;

- Perform switching of transmission elements.  Develop, maintain, and implement transmission switching policies and procedures to ensure transmission reliability;

- Coordinate emergency communications between the TDSP or TSP and ERCOT CAA;

- Monitor the loading of the transmission system(s);

- Notify the ERCOT CAA of changes to the status of all Transmission Facilities;

- Act as Single Point of Contact for Transmission Outages;

- Maintain operational metering; and,

- Implement Black Start.

Transmission Operators shall provide the ERCOT CAA their written backup control plans to continue operation in the event the Transmission Operator’s control center becomes inoperable.

Each backup control plan shall be reviewed and updated annually and shall meet the following minimum requirements:

- Include description of actions to be taken by TO personnel to avoid placing a prolonged burden on ERCOT and other Market Participants.

- Include description of specific functions and responsibilities to be performed to continue operations from an alternate location.

- Includes procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT.

- Includes procedures for backup control function testing and the training of personnel.

As an option, the backup plan may include arrangements made with another entity to provide the minimum backup control functions in the event the TO’s primary functions are interrupted.