- Are the 3 part offer problems in the Nodal Sandbox resolved?

  - ERCOT will research any reported Sandbox issues and will work with individual market participants regarding this problem. Sm

- If there is a problem during testing, will subsequent testing be available during the 7 day window?

  - Yes, MPs will have the opportunity to resume testing due to any issues both during the 7 day window. Make-up sessions will also be available and will be scheduled with the EDS 3 Project Team and posted to http://nodal.ercot.com/readiness/eds3/documents/index.html under Release 5-SCED once MPs are signed up.

- I have not seen anything relating to the testing of notifications. Will ERCOT be testing this functionality in EDS 3 Phase 1 testing?

  - Notifications will only be used to verify submitted data. The current notifications issues in the Sandbox environment are being addressed and ERCOT expects a release that will correct this prior to the beginning of testing.  If an MP’s listener is not ready to receive notifications, alternate methods will be used to verify submitted data (eg: using the MMS UI).

- Will the EDS 1 form previously submitted suffice for use in EDS 3?

  - As long as the content on the Market Participant Signup Slide (referenced in the EDS 3 Release 5 Phase 1 Kickoff_MP_v084 presentation) is included, MPs can use whatever format they desire. Testing signup emails being submitted for this use should be directed to the EDS3@ercot.com email address.

- Does it matter where EDS 3 Phase 1 testing is performed?

  - The EDS 3 Phase 1 testing should take place in the infrastructure and physical location that will be used in the MP’s production environment. This will ensure that any hardware, software and firewall issues are addressed during testing.

- Is ERCOT going to confine MPs to testing from their registered location or is it ok to test from other locations?

  - ERCOT will not restrict based on registered location, however primary testing should take place at the primary production site. MPS should use alternate locations only for debugging and troubleshooting purposes.

- If we are registered as a QSE but are using a 3rd party vendor, should we test or can the vendor perform our required testing?

  - The vendor may assist and perform some of the testing activities, but it is required that a representative from the QSE being test be the primary point of contact and involved in the testing procedures and communications with ERCOT.

- Are there examples of the query transactions? I have not seen these available in the sandbox.

  - The testing package posted on http://nodal.ercot.com/readiness/eds3/documents/index.html includes examples of all transactions, including queries.

- Is the data being used for testing only?

  - Yes, actual values are not needed during this phase of EDS 3 testing.

- Is the ability to “Cancel” part of this test? It is not listed on slide 15 of the presentation.

  - Yes, the “cancel” process is included in EDS 3 Phase 1 testing. Refer to the test package located at http://nodal.ercot.com/readiness/eds3/documents/index.html for a description of all transactions being tested in EDS 3 Phase 1.

- Are there any vendor products that are being excluded from EDS 3 Phase 1 testing?

  - No, regardless of the product that MPs are using, testing is required.

- When will SCED run and solve?

  - SCED will be included in upcoming EDS 3 Phase 2 testing.

- Are transactions being tested restricted to the upload of Three Part Offers?

  - No, a full list of transactions to be tested can be found in the test package located at http://nodal.ercot.com/readiness/eds3/documents/index.html.

- Will certificates used during this testing be sent to the Universal Security Administrator (USA)?

  - Yes, ERCOT will instruct the MP’s USA to send the certificate to their respective EDS 3 Phase 1 team.

- What do MPs need to do to obtain the required certificates for EDS 3 Phase 1 testing?

  - The sign-up process detailed in the presentation EDS 3 Release 5 Phase 1 Kickoff_MP_v084 located at http://www.ercot.com/calendar/2007/08/20070801-EDS3.html will initiate the generation of each certificate.  The MP will need to do nothing further to obtain the certificate.  The certificate will be sent to the MP up to 1 day prior to their “Ping” test. Certificates and public keys will be emailed to the MP’s Universal Security Administrator (USA) for internal distribution.

- Do we have to submit offer curves or just equations and values?

  - ERCOT will research this inquiry and will provide a response at a later time. Sm

- Can offers be submitted past the 7 day window?

  - At this time ERCOT will disable MP’s access to the EDS environment once their testing window has ended. ERCOT may revisit this decision based on issues and volume of questions during the formal testing windows. As a reminder, ERCOT is also scheduling a make-up period for each MP should there be any unresolved issues found during their initial scheduled testing.