## Slide 1: Retail Metering Working Group Progress Report 08/15/07

## Slide 2: Contents of Report
RMWG Meeting
Update
Retail Market
Workshop Update
Review Request for
Information Forms

## Slide 3: Retail Metering WG Meeting
Reviewed CMGRR 006 –To
Conform the CMG to Protocol
Section 21 and other Market
Guides. Includes:
  Review of RMWG
  Recommendation Report
  Review of Impact
  Analysis
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 4: Retail Market Workshop Update
Reviewed the Section Identified as “Needing Further Discussion”
  Deleted, Reworded & Closed Issues
Created a “Request for Information” Form
  Formally Documents Requests for Information
  Provides Tracking of Issues
Transferred Information from Workshop into the Request for Information Forms
  Forwarded Forms to RMS Exploder
Grouped Requests by RMS Action Requested
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 5: RMW Recommendation
Issue Tracking Number:
2007-01
Issue or Gap:
Need a definition for small renewable generation to determine scope of this effort
Recommendation:
Define small renewable generation as generation below 50kW for this task. The thoughts are that generation above 50kW would currently follow the existing market processes for inclusion in settlements.
Request for Action
Agreement to limit the scope of the initial activity on this subject to renewable generation that is less than 50 kW
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 6: Request for Assignment
Issue Tracking Number:
2007-02
Issue or Gap:
HB 3693 has requirements for wholesale settlements related to surplus energy from a school buildings solar electric generation panel (section 39.914) and distributed renewable generation (section 39.916).
Recommendation:
This issue seems to fit best with-in the scope of COPS. The market needs to determine the most efficient and effective process to incorporate generation from small renewable generation (less than 50 kW) into the wholesale settlement process to meet the requirements of HB 3693.
Request for Action
Assign this task to COPS for development of settlement procedures to implement the settlement requirements of HB 3693
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 7: Request for Assignment
Issue Tracking Number:
2007-07
Issue or Gap:
Does the deployment of small renewable generation (less than 50 kW) on distributions feeders raise any concerns from a grid reliability or operations perspective?
Recommendation:
This issue seems to fit best with-in the scope of ROS. A determination needs to be made on whether the market has reliability or operations concerns about the deployment of small renewable generation.
Request for Action
Assign this task to ROS to determine if they have concerns about the deployment of small renewable generation from a reliability or operations viewpoint
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 8: Request for Guidance
Issue Tracking Number:
2007-04
Issue or Gap:
TDSP Tariff questions
Recommendation:
This issue seems to fit best with-in the realm of the PUCT. Market should request the commission to consider these questions.
Request for Action
Provide guidance on how to pass this information on to commission staff for discussion
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 9: Request for Guidance
Issue Tracking Number:
2007-05
Issue or Gap:
Are the current commission substantive rules consistent with HB 3693?
Recommendation:
This issue seems to fit best with-in the realm of the PUCT. Market should request the commission to consider these questions
Request for Action
Provide guidance on how to pass this information on to commission staff for discussion
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 10: Request for Guidance
Issue Tracking Number:
2007-06
Issue or Gap:
What metering is needed or required for small renewable generation?
Recommendation:
This issue seems to fit best with-in the realm of the PUCT. Market should request the commission to consider these questions.
Request for Action
Provide guidance on how to pass this information on to commission staff for discussion
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 11: No RMS Action Requested
Issue Tracking Number:
2007-10
Issue or Gap:
Protocols and Operating Guide Review
Recommendation:
Review of these sections should occur after the recommendation on how settlements will be facilitated for “small renewable generation”. Table these discussions until such time as a market answer on settlements is developed. At that time the RMW will make requests from the appropriate working group to create revision requests for guides and Protocols to reflect the markets decision
Request for Action
No Action Requested
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 12: No RMS Action Requested
Issue Tracking Number:
2007-11
Issue or Gap:
Review of TDSP guidelines for interconnection of distributed generation
Recommendation:
TDSP’s create/review guidelines for interconnection of distributed generation and return to this group for discussion. This guideline should include information on how a REP is notified when they have a customer that is connecting distributed generation.
Request for Action
No Action Requested
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 13: Recommend to Table/Delay Discussion
Issue Tracking Number:
2007-03
Issue or Gap:
How does TDSP send generation values?
Recommendation:
This issue seems to best fit with-in the scope of RMS. This issue needs information from the identified dependencies to define the requirements and or obligations for data requirements.
Request for Action
Development of a process on how a TDSP will send in generation values should be tabled until sufficient information has been provided on the identified dependencies to allow a decision to be made on this issue.
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 14: Recommend to Table/Delay Discussion
Issue Tracking Number:
2007-08
Issue or Gap:
Is there a Wholesale Market component for the purchase of Small Renewable Generation (less than 50 kW)?
Recommendation:
This issue seems to best fit with-in the scope of WMS but could be decided during the market discussions on the development of settlement procedures. WMS could address these questions as input into the discussions on settlement processes or these questions could be answered during the settlement discussions and not need to be addressed separately by WMS.
Request for Action
Delay assigning this task to WMS to allow market discussions to explore the development of settlement procedures to implement the settlement requirements of HB 3693. If during these discussions it is determined that WMS needs to address these issues they can be assigned to WMS at that point in time.
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 15: Recommend to Table/Delay Discussion
Issue Tracking Number:
2007-09
Issue or Gap:
Settlement / Metering Options – What are REPs looking for?
Recommendation:
Metering needs to meet the requirements of the legislation Section 26(f) & (j); (PURA section 39.916(f) & (j))
Request for Action
Table this issue until sufficient information has been provided to allow a decision to be made if further discussion on this issue is needed.
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available

## Slide 16: Questions?????
Notes: This ensures a meter has been requested in the market – not just a mfg wanting to add their product to the list.
ERCOT SMG has graciously agreed to support the process
  Could be actual test documents or a letter signed by a Texas P.E.
  Ensures that the TDSP can be ready to install meter timely after receipt.
Completeness and technical compliance
  TDSP where meter to be installed or could rotate based on volume
ERCOT/RMS exploder list
Tests will depend on the type of meter, Also, the meter will be tested to agreed standards so that there is consistency.
Two things:
  Unanimous changed to 80% (one entity/unable to attend April meeting)
  Reworded for clarity
Note: At any step in the process
ADDED: TDSPs where competitive metering is available