| NPRR Number | 080 | NPRR Title | Revised Wording of Protocol Section 3.1.5.1 |
| --- | --- | --- | --- |
| Date | August 16, 2007 |
| Nodal Protocol Section(s) Requiring Revision (include Section No. and Title) | 3.1.5.1 ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities |
| Revision Description | The proposed rewording of Protocol section 3.1.5.1 will allow ERCOT to treat electrical buses as consequentially outaged transmission elements in the ERCOT Outage Scheduler. |
| Reason for Revision | Eliminates the requirement to enter electrical buses directly into the ERCOT Outage Scheduler. |
| Overall Market Benefit | See table below |
| Overall Market Impact | See table below |
| Consumer Impact | NA |
| Credit Implications (Yes or No, and summary of impact) | None |
| Reason for Revision (from Transition Plan Task Force (TPTF) Charter Scope) | (1) Revisions resulting from Commission orders; (2) Clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; (3) Correction of technical errors or processes that are found to not be technically feasible; (4) Revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; or (5) Other (describe): |
| TPTF Review (Yes or No, and summary of conclusion) | Yes – Approved at TPTF on August 14, 2007 On August 14, 2007, TPTF voted to approve the draft NPRR to revise the language related to Electrical Buses in Section 3.1.5.1. The motion carried by roll-call vote, with 100% in favor and two abstentions from the Municipally Owned Utility (MOU) and Independent Generator (IG) Market Segments. The Consumer Market Segment was not represented. |

| Sponsor |
| --- |
| Name | Dennis Caufield |
| E-mail Address | dennis.caufield@centerpointenergy.com |
| Company | CenterPoint Energy |
| Company Address | P.O. Box 1700, Houston, Texas 77251 |
| Phone Number | 713-207-2462 |
| Cell Number | 281-413-2730 |
| Market Segment | Investor Owned Utility |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |
| --- | --- | --- |
|  | Impact Area | Monetary Impact |
| Market Cost | 1 |  | Will not add any incremental cost to the Texas Nodal project |
|  | Impact Area | Monetary Impact |
| Market Benefit | 1 | All TSP’s, QSE’s and PUN’s | Expected to lower overall costs to market participants by not requiring them to track and enter electrical buses into the ERCOT Outage Scheduler. |
| Additional Qualitative Information | 1 | Eliminating electrical buses reduces the number of devices being scheduled and insures more consistent outage submission by requestors. |
| Other Comments | 1 | CNP has discussed this issue with impacted groups at ERCOT and has their endorsement. |

Proposed Nodal Protocol Language Revision

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	A TSP shall request a Planned Outage or Maintenance Outage for any Transmission Element in the Network Operations Model that requires the Transmission Element to be removed from its normal service. Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements.  In those cases where a TSP enters the breaker and switch statuses associated with an Electrical bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus.  Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

(2)	ERCOT shall review and approve Planned Outages and Maintenance Outages of Transmission Facilities schedules according to Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage Scheduler.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.