## Slide 1: Temperature Dependant Discount Factor ROS August 16, 2007

## Slide 2
Utilize Weather Zone temperatures to determine the Discount Factor
  Increase the accuracy of the Discount Factor by considering Actual Hourly Temperatures by weather zone.
  Resulting in a more accurate representation of reserves on the system.
Reserve Discount Factor (RDF)
  A representation of the average amount of system wide capability that, for whatever reason, is historically undeliverable during periods of high system demand. The RDF will be verified by ERCOT and then approved by the ROS.
Proposal

## Slide 3
NORTH_C
EAST
SOUTHERN
COAST
SOUTH_C
WEST
FARWEST
NORTH

## Slide 4: Approach
Vary the discount factor applied to each unit based on weather zone and actual temperature in the weather zone. The discount will vary between 4% and 7%.
  Zonal temperature ≥ 95 degrees Fahrenheit = 7% discount
  Zonal temperature ≥ 85 & < 95 degrees Fahrenheit = 5% discount
  Zonal temperature <85 degrees Fahrenheit = 4% discount
The temperature boundary parameters could be re-configured based on ERCOT operational experience

## Slide 5: EECP 06-18-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
91.6OF 87.5OF 103.5OF 81.5OF 90.75OF 90.0OF 93.2OF 90.8OF

## Slide 6: ALERT 06-27-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
89.6OF 86.5OF 87OF 83OF 82.5OF 86.5OF 89.8OF 81OF

## Slide 7: ALERT 07-03-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
83.7OF 81.5OF 91.0OF 83.0OF 82.75OF 81.5OF 83.2OF 79.4OF

## Slide 8: ALERT 07-28-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
87.9OF 81.5OF 83.5OF 89.5OF 87.25OF 86.0OF 87.0OF 84.6OF

## Slide 9: EECP 08-01-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
90.8OF 81.5OF 90OF 81.5OF 93.5OF 90.5OF 92.4OF 89.4OF

## Slide 10: ADVISORY 08-06-2007 COMPARISION OF TEMP ADJ RRS AND ADJ RRS
COAST EAST FARWEST NORTH NORTH_CENTRAL SOUTH_CENTRAL SOUTHERN WEST
93.5OF 91.5OF 97OF 93.5OF 95.75OF 92.0OF 93.2OF 93.2OF

## Slide 11: Conclusion
Recommend using a temperature dependant Reserve Discount Factor
  Higher temperatures will have more severe impacts on unit limits
  History has indicated the need for a discount to be applied to Reserves
  Dynamically adjusting the discount factor based on temperatures, should result in a more accurate reflection of actual system reserves