## Slide 1: Texas Regional Entity Report
August 2007

## Slide 2: Control Performance Highlights
ERCOT’s Control Performance Standard (NERC CPS1) score improved in June over May’s score
  The standard measures how well real power demand and supply in real-time are balanced in the ERCOT Interconnection
Initial scores for June indicate 33 QSEs passed / 1 non-wind-only QSE failed the PRR 525 measure
  To pass the PRR 525 measure, a QSE must minimize its Schedule Control Error (SCE) which is essentially the difference between the actual and expected (requested) Resource output of the QSE.

## Slide 3: Texas RE Compliance Summary
The Texas RE has registered 204 entities (+ ERCOT ISO) in the ERCOT Region that are responsible for compliance with NERC Reliability Standards
14 Compliance Audits are scheduled in 2007
Statistical information related to NERC Standards violations are subject to NERC Electric Reliability Organization (ERO) confidentiality restrictions
There have been 35 ERCOT Protocol violations identified Dec  June
The Texas RE has reviewed 46 events reported in the ERCOT Region Dec  June

## Slide 4: August Board Meeting
Plan to request approval of Texas RE Standards Development Procedures needed to implement Texas RE Standards Development Process
  Registered Ballot Body (RBB)
  Reliability Standards Committee (RSC)
  Standards Drafting Team (SDT)
Stakeholder review process currently underway and comments being collected
Draft procedures posted on Texas RE Web Page: Regional Reliability Standards Development  Planning and Procedures

## Slide 5: Texas Regional Entity
Report Details

## Slide 6: NERC CPS1 Performance
ERCOT’s CPS1 Performance
  June Performance
    June performance comparison
      June 2007: 136.84
      June 2006: 154.59
    12 month rolling average comparison
      July 2006 June 2007: 135.07
      July 2005 June 2006: 135.64
PRR 525 Performance
  Initial scores for June indicate 33 QSEs passed / 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website
    SCE Performance Scores

## Slide 7: ERCOT CPS1 Performance Comparison

## Slide 8: ERCOT’s CPS1 Monthly Performance

## Slide 9: ERCOT CPS1 by Interval

## Slide 10: QSE PRR 525 10-Minute Interval Scoring

## Slide 11: PRR 525 Passing 10-Min Interval Trends

## Slide 12: June 2007 Resource Plan Performance Metrics

## Slide 13: ERCOT Region NERC Registered Entities

## Slide 14: 2007 Compliance Audits

## Slide 15: NERC Functional Entity Types
DP – Distribution Provider
GO – Generator Owner
GOP – Generator Operator
TO – Transmission Owner
TP – Transmission Planner
RC – Reliability Coordinator
BA – Balancing Authority
TOP – Transmission Operator
PA – Planning Authority
TSP – Transmission Service Provider
RP – Resource Planner
PSE – Purchasing-Selling Entity

## Slide 16: Compliance Reviews of Events by Season

## Slide 17: Violations of ERCOT Protocols Reported by Season

## Slide 18: Standards Posted for Comment
FAC-008-2 — Facility Ratings Standard and Implementation Plan (07/19/07 - 08/17/07 )
Replace Levels of Noncompliance with Violation Severity Levels (Project 2007-23) (07/17/07 - 08/15/07 )
Certifying System Operators (Project 2007-04)
( 07/17/07 - 08/15/07 ) PER-003 - Operating Personnel Credentials
Balancing Authority Controls (Project 2007-05) (07/03/07 - 08/01/07 ) (BAL-004, BAL-005, BAL-006)

## Slide 19: Posted for 30-day Pre-ballot Review (Open Ballot Pools)
  ERCOT Request for Interpretation - BAL-003-0, R2, 2.2, 5, and 5.1 (07/27/07 08/27/07 )
  Transmission Loading Relief (Project 2006-08)
  ( 07/20/07 - 08/20/07)
  WECC Request for Interpretation - BAL-001-0, R1 and BAL-003-0, R3 ( 07/09/07 - 08/07/07 )

## Slide 20: FERC Ruling on CIP Standards
07/19/07 - FERC proposes adoption of new reliability standards for cyber security in the bulk power system
Approved Cyber Security Reliability Standards are effective 60 days from the later of the date Congress receives the agency notice or the date the rule is published in the Federal Register. For further information, please follow the attached links. http://ferc.gov/industries/electric/indus-act/reliability/cip.asp
For more information on the Notice of Proposed Rule Making on Cyber Security Standards, please refer to FERC NOPR on CIPs

## Slide 21: Additional FERC Decision during July
07/19/07 - FERC Order on Joint Registration Organization Filing
07/19/07- FERC Order 693 A - Order on Rehearing
The Commission denies rehearing and otherwise reaffirms its determinations in Order No. 693. 72 FR 16,416 (April 4, 2007). FERC further clarifies certain portions of the Preamble to that order.

## Slide 22: Status of TRE Document Review Cont.
Major Mile stones:
5/08/07 Procedures were presented to ROS
6/13/07 First comment period
6/29/07 Open meeting for Doc review
7/03/07 End of first comment period
7/09/07 Start of second comment period
7/23/07 End of second comment period
8/1/07 Finalize the document package for BOD presentation in August
Total comments received during first comment period: 3
Texas ROSE, ERCOT ISO, TXU Wholesale:
Total comments received during second comment period: 5
Calpine, Bryan Texas Utilities, Luminant, LCRA, Bandera Electric Cooperative

## Slide 23: NERC Review of FIB (Fill-in-the-Blank)
The NERC Regional Reliability Standards Working Group (RRSWG) agreed a few months ago to review standards for fill-in-the-blank characteristics as they are posted. The RRSWG further agreed to rotate the assignments for review of the standards as they are posted.
TRE/ERCOT was assigned with the task of reviewing FAC-008.

## Slide 24: Facility Ratings Project (2006-09)
Purpose of the Standard:
To ensure that Facility Ratings used in the reliable planning and operation of the Bulk Electric System (BES) are determined based on technically sound principles. A Facility Rating is essential for the determination of System Operating Limits.
Applicable Entity:
  * Transmission Owner.
  * Generator Owner with units in a plant directly connected to the BES and units in plant with an aggregate > 300 MVA (gross nameplate rating) not directly connected to the BES.
The FAC-008 SDT will meet in Austin on August 27-28
RRSWG Work Plan ( October 2006) did not identify FAC-008 as having Fill-in-the-Blank characteristics
Although at this time FAC-008 does not appear to be a fill-in-the-blank standard, the RRSWG and SDT may reconsider after receiving additional stakeholder comments by August 17, 2007.
** All referenced materials are hyperlinked in this presentation.