Nodal Startup Transition Rules

Purpose:	The purpose of the Nodal Startup Transition Rules is to provide a set of “guardrails” to reasonably protect against unforeseen issues associated with the operation of the nodal market in the period shortly after “go-live.”  This document provides an initial framework for review and is subject to change based upon stakeholder discussion or based upon results from EDS testing that may indicate a need to modify some of these provisions.

Duration:  45 days

Implementation Mechanism:  Behavioral Rules

Structure:

- Real Time Energy above LSL

- Step 2 mitigated offer caps and floors for each unit in place via behavioral rules for Step 1 offers

- Day Ahead

- Physical – Any offer at a settlement point by the entity that controls an asset located at the settlement point

  - Energy above LSL

    - Same as RT described above

  - Startup

    - Already addressed in Nodal Protocols 4.4.9.2.1(4)

  - Minimum Energy

    - Already addressed in Nodal Protocols 4.4.9.2.1(5)

  - Ancillary Services

    - 5 MMBtu/MW cap **

- Non-physical (virtual – any offer at a settlement point by an entity that does not control an asset located at the settlement point)

  - Generic offer cap of 15.0 x FIP

- Point-to-point Obligation “Not-to-Exceed Price”

  - Generic offer cap of $250/MWh

- Reliability Unit Commitment

- Already addressed in Nodal Protocols 5.6

- Congestion Revenue Rights Auction

- No special provisions

** In contrast to zonal A/S procurement, there is no need to include opportunity costs in A/S offers under the co-optimized energy and A/S market in the Nodal DAM.