## All Comments
| Document Name: | Response to Comments on ERCOT Monitoring Program v 0.01 | Comments on ERCOT Monitoring Program v0.01
| Issuing Entity | Name | Current Section # | Draft .01 Section # | Description | Accepted / Rejected | Reviewer | Reason
Section 1 QSE/Resource Monitoring Program
1 | CenterPoint | Manny Munoz | General |  | This document appears to have been hastily written and fails to clearly identify information necessary for metric and performance definition. It seems to jump right into performance metrics when what it should do at this point is concentrate on information gathering. The performance metric definitions should then occur through a subgroup made up of the proper representation from market participants, ERCOT and the TRE | Discussion needed
2 | CenterPoint | Manny Munoz | General |  | Performance metrics should focus on reliability standards and compliance and emphasize actual performance instead of metrics reporting | Response | J. Adams | This document does not define metrics but specifies the reporting requirments
3 | CenterPoint | Manny Munoz | General |  | Each requirement should reference the appropriate Protocol section and applicable NERC Requirement | Accepted with Revision | T. Moody | Applicable Protocol references were included.
4 | CenterPoint | Manny Munoz | General |  | A Table of Contents would be helpful | Accepted | T. Moody
5 | CenterPoint | Manny Munoz | General |  | Document numbering needs to be broken into more discrete sections | Accepted | T. Moody
6 | Luminant | SunGard | General |  | The frequency of the reports need to be specified in detail. | Accepted | T. Moody
7 | Luminant | SunGard | General |  | Several instances have repeated protocol language in the report. There is no need to repeat protocol language | Accpeted | T. Moody
8 | Luminant | SunGard | General |  | Several references to protocols without an accompanying protocol section identifier. | Accepted | T. Moody | Applicable Protocol references were included.
9 | Luminant | SunGard | General |  | The standards should not be in this report. Only the reporting requirements. | Rejected |  | Must know standards to determine reporting requirements
10 | Luminant | SunGard | General |  | Several of the descriptions in the document are vague in regards to what needs to be provided. Some examples will be noted later. | Discussion needed
11 | CenterPoint | Manny Munoz | pg. 2 |  | Add Section Titles | Accepted | T. Moody | This section has been removed and protocol references have been moved to the applicable sections with section titles.
12 | CenterPoint | Manny Munoz | Pg. 3 |  | Added 8.2 section from protocols where there was only partial text | Accepted | T. Moody | Put protocol reference in section 3 ERCOT Monitoring Program
13 | Luminant | SunGard | 1 | 2.2.9 | The following areas shall be covered by the program. (Are these going to be updated to follow the NERC Reliability Standards??) | Accepted | J. Healy | This comment was in the NDC testing portion of our Nodal Operation Guide. There is no conflict with our NDC language and NERC Standard language. We will have a process in the nodal world to keep this language up with any revisions to NERC Standards as necessary.
14 | Luminant | SunGard | 1 | 2.2.9 | Deleted first paragraph starting with "the Texas Regional Entity (TRE) shall evaluate….. | Discussion needed | J. Healy | This is the paragraph we used for the for reporting requirements taht do not have a set periodicity. If we are going to address the general comments on periodicity(Row 6), we may be able to accommodate this deletion.
15 | Calpine / NRG |  | 1 | 2.2.9 | The Texas Regional Entity (TRE) shall evaluate the ERCOT ISO functions and participant performance in accordance with the ERCOT protocols, Operating Guides, and NERC and Regional Reliability Standards approved by FERC, and shall report to the Public Utility Commission of Texas, the NERC, and the ERCOT Board as defined in their approved procedures. [Note: What TRE document indicates a reporting link to the IMM? I can’t find it in the bylaws, ERCOT Compliance Process, Delegation Agreement, etc.] ERCOT shall report to the TRE as described in the “ERCOT Compliance Process” currently approved by the Public Utility Commission of Texas. Reports may be created on demand by ERCOT when requested by the TRE and will comply with the confidentiality requirements found in the ERCOT Protocols. QSEs are responsible for the accuracy of the data they provide to ERCOT and the TRE. | Accepted | J. Healy | The NERC Reliability Standards are approved by the NERC BOT and this is the set we are accountable for. The FERC approved Standards are a subset of the NERC Standards. All other comments are acceptable. (TM- not FERC)
16 | Calpine / NRG |  | 1 | 2.2.9 | The QSE/Resource Monitoring Program describes the process by which TRE assesses QSEs’ compliance and performance and ERCOT’s role in support of this program (what program does this refer to? Is there an official program document we can look to? Is this a reference to the ERCOT TRE Compliance Program for 2007?). | Response | J. Healy | http://www.ercot.com/mktrules/compliance/tre/atre/doc/TRE-RDA-5-18-071.pdf
17 | Luminant | SunGard | 1.1 | 2.2.9.1 | Net dependable real power capability testing What is the frequency of the report? | Accepted | J. Healy | ERCOT shall prodcue reports annually of NDC testing which shall occure at least seasonally.Add Annually to 2.2.9.1
18 | Luminant | SunGard | 1.1 | 2.2.9.1 | deleted "at least seasonally" and replace with "in compliance with the ERCOT Nodal Protocols section 8.1.2.2." | Accepted | J. Healy
19 | Calpine / NRG |  | 1.1 | 2.2.9.1 | deleted "at least seasonally" and replaced with as required by the ERCOT Protocols. | Accepted | J. Healy
20 | Calpine / NRG |  | 1.1 | 2.2.9.1 | (Note: ERCOT Operations Engineering is crafting a proposal to eliminate seasonal real power testing and substitute a plan for spot testing and the use of temperature-sensitive output curves.) | Accepted | J. Healy | The ERCOT proposal should include PRR and OGRR language that meets the requirements of the NERC Standards.
21 | Luminant | SunGard | 1.2 | 2.2.9.2 | Reactive testing What is the frequency (periodicity) of this report? | Accepted | J. Healy | Add Annually to 2.2.9.2
22 | Luminant | SunGard | 1.2 | 2.2.9.2 | This data shall be provided by the QSEs to ERCOT when reactive testing indicates a change in unit capability and at a minimum of once every 2 years.incompliance with ERCOT Nodal Protocol section 8.1.2.2.5. | Discussion needed | J. Healy
23 | Calpine / NRG |  | 1.2 | 2.2.9.2 | Comment: CURL and URL values are absolute values for either Lead or Lag conditions. They are not monotonically increasing curve values because the reactive test must be run at the unit’s NDC value rather than some MW values leading up to the NDC. | Response | J. Healy | Refer to Comment #25
24 | Calpine / NRG |  | 1.2 | 2.2.9.2 | The QSE shall provide Unit name, QSE, Date, time, tested capability, reported time and CURL or URL information | Accepted | J. Healy
25 | Calpine / NRG |  | 1.2 | 2.2.9.2 | Deleted .. and a minimum of 4 MW/MVAR pairs describing the CURL of the unit | Rejected | J. Healy | A minimum number of points are required to build a curve
26 | CenterPoint | Manny Munoz | 1.3 | 2.2.9.3 | Real-Time Data Added to first Sentence: ERCOT shall produce reports describing data performance of QSE's in accordance to the TAC approved Telemetry Standards. The rest of this section should be deleted. | Accepted with Revision | J. Healy | Agree to change and delete 2.2.9.3 (1), but the rest of the section includes Operational data not covered by the Telemetry standard.
27 | Luminant | SunGard | 1.3 | 2.2.9.3 | ERCOT shall produce reports describing data performance real time performance of QSE’s. These reports shall include measurements of telemetry availability and comparison with the performance metrics established annually by the TAC. | Accepted | J. Healy
28 | Luminant | SunGard | 1.3 | 2.2.9.3 | (2) Communication Systems What is the periodicity of report? | Accepted | J. Healy | Add Monthly to 2.2.9.3 (2) in accordance with TAC approved Telemetry Std.
29 | Luminant | SunGard | 1.3 | 2.2.9.3 | (3)(a) ERCOT shall produce reports describing Resource Telemetry availability, Resource Ancillary service provision, generator status, and Generator Net energy and capability availability. | Accepted | J. Healy
30 | Luminant | SunGard | 1.3 | 2.2.9.3 | (3)(b) Deleted all of (3)(b) with the exception of (iii)(v) DSR Monitoring | Rejected | J. Healy | ERCOT shall develop a TAC-approved Ancillary Service monitoring program to evaluate the performance of QSEs and Resources providing Ancillary Services. This program must include monitoring of capacity availability and energy deployments as described below and in Section 6.5.7.5 Ancillary Service Capacity Monitor.
31 | Calpine / NRG |  | 1.3 | 2.2.9.3 | changed last sentence: established annually by a TAC subcommittee. | Rejected | J. Healy | The SE & Telemetry standards are TAC approved
32 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(a) What does this mean/measure? Are we looking for EFOR? | Accepted with Revision | J. Healy | Refer to Comment #29
33 | Calpine / NRG |  | 1.3 | 2.2.9.3 | 3(b) ERCOT shall collect data and produce reports describing Ancillary Service Performance. That data and reports shall only be provided to the appropriate TAC subcommittees and work groups, under signed NDAs, tasked with evaluating control performance issues, such as the ROS’ PDCWG. That data and reporting shall include: | Discussion needed | J. Healy
34 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(b) Note: how will this be done, since responsive energy deployment is included in the Base Point issued by SCED? | Response | J. Healy | This metric is designed to describe resources providing RRS that do not have the capacity to deliver the obligated MW.
35 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(c) Changed last sentence to read "These reports will normally be produced and provide to the appropriate TAC subcommittee on a monthly basis. | Accepted | J. Healy
36 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(d) Note: some units will need a waiver on this requirement (e.g. nuclear, wind). There are conditions that need to be excluded from the response measurement, such as combined cycle when on duct burner, or pump blocks. Governor deadband should also be included in the evaluation. | Rejected | J. Healy | Responsive reserve is responsive to changes in frequency.
37 | Luminant | SunGard | 1.4 | 2.2.9.4 | Periodicity? | Accepted | J. Healy | Add Annually to 2.2.9.4
38 | CenterPoint | Manny Munoz | 1.5 | 2.2.9.5 | Compliance with Dispatch Instructions Add verbiage for compliance with ERCOT issued Verbal dispatch instructions. | Accepted | J. Healy | Add language from 2.2.10.7 to 2.2.9.5 iaw Protocol § 8.1.3 (f)
39 | Luminant | SunGard | 1.5 | 2.2.9.5 | This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols | Rejected | J. Healy | This language is in reference to Protocol § 8.1.3 (f) which is not amended in NPRR 074
40 | Luminant | SunGard | 1.6 | 2.2.9.6 | Supplying and validating data for generator models Deleted last sentence: "ERCOT must receive and validate this information for each Resource before it can participate in the Market. | Accepted | J. Healy
41 | Calpine / NRG |  | 1.6 | 2.2.9.6 | change to create reports instead of produce reports | Accepted | J. Healy
42 | Calpine / NRG |  | 1.6 | 2.2.9.6 | Added to end of paragraph: ERCOT, as the region’s registered resource and transmission planning authorities under the NERC functional model, shall provide the RARF data, dynamic model and steady state model data to the respective TDSP planning functions as requested by the TDSPs. ERCOT shall also provide the above noted change records to NERC as requested by market participants for use in NERC or TRE entity audits | Rejected | J. Healy | Added to end of paragraph: "ERCOT shall provide the RARF data, dynamic model and steady state model data to the respective TDSP planning functions as requested by the TDSPs." NERC defines who is responsible and we can't override.
43 | CenterPoint | Manny Munoz | 1.7 | 2.2.9.7 | Outage Scheduling and Reporting Section: Add to 2(b): (iv) Requests submitted between 1 and 2 days in advance (see 3.1.6.6) or basically - less than 3 days in advance. | Accepted | J. Healy | Outage Scheduling and Reporting Section: Add to 2(b): (iv) Requests submitted less than 3 days in advance.
44 | CenterPoint | Manny Munoz | 1.7 | 2.2.9.7 | 2(b) should be combined with 1 | Accepted | J. Healy
45 | Luminant | SunGard | 1.7 | 2.2.9.7 | Periodicity? | Accepted | J. Healy | Add monthly to 2.2.9.7
46 | Luminant | SunGard | 1.7 | 2.2.9.7 | ERCOT shall produce a report which lists the Planned Outage or Maintenance Outage plan as referenced by the current ERCOT Nodal Protocols. Deleted rest of paragraph | Accepted | J. Healy
47 | Calpine / NRG |  | 1.7 | 2.2.9.7 | (2)(a) NOTE: Specifically, does this section comport with the confidentiality provisions of Section 1? Generally, where do these reports end up? | Response | J. Healy | This language is here to satisfy the requirment described in Protocol § 8.1.3 (s). It is expected that the TRE will monitor the Outage reporting within the requirements in Protocol § 3
48 | Luminant | SunGard | 1.8 | 2.2.9.8 | Periodicity? | Response | J. Healy | The language in 2.2.9.8 indicate that this is an event driven report
49 | Calpine / NRG |  | 1.8 | 2.2.9.8 | Add sentence to end of paragraph: These reports shall be provided to the PDCWG at its request for use under a signed NDA. | Accepted with Revision | J. Healy | These reports shall be provided to the SPWG at its request for use under a signed NDA.
50 | Luminant | SunGard | 1.9 | 2.2.9.9 | The backup control for Resource energy deployment due to loss of communication with ERCOT Please remove this reporting requirement or identify the standard it refers to. | Accepted | T. Moody | Added Protocol Reference 8.1.3(n)
51 | Calpine / NRG |  | 1.9 | 2.2.9.9 | This title needs some work | Accepted | T. Moody
52 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Backup control tests should be conducted a minimum at least annually. | Accepted | J. Healy
53 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Note: Where is the description of this backup control test? | Response | J. Healy | Each QSE provides ERCOT with a backup control plan that is required to include procedures for functional testing.
54 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Capitalize P in Protocols | Accepted | T. Moody
55 | Luminant | SunGard | 1.1 | 2.2.9.10 | Resource-specific Non-Spinning Reserve Deleted all text: This section is not consistent with the current ERCOT nodal Protocols for Non-Spin deployment | Rejected | J. Healy | Acceptable NSRS criteria are described in Protocol § 8.1.2.4.3
56 | Calpine / NRG |  | 1.1 | 2.2.9.10 | Note: some latitude should be given here due to unforeseen circumstances (system problem, unit problem, etc) | Response | J. Healy | The language in 2.2.9.10 meet the reporting requirements. The acceptable error is described in Protocol § 8.1.2.2.4 (6)
57 | Luminant | SunGard | 1.11 | 2.2.9.11 | 24/7 qualified staffing Periodicity? | Response | J. Healy | The language in 2.2.9.11 indicate that this is an event driven report
58 | Luminant | SunGard | 1.11 | 2.2.9.11 | ...as observed to by the TRE. | Rejected | J. Healy | Instances of non-compliance will be obsreved by ERCOT and reported to the TRE.
59 | Calpine / NRG |  | 1.11 | 2.2.9.11 | ERCOT shall report to the TRE, through the Incident Report process, instances of suspected non-compliance.as observed to the TRE | Accepted | J. Healy
60 | Luminant | SunGard | 1.12 | 2.2.9.12 | AVR and PSS Is the 24 months requirement consistent with operating guide requirements? | Accepted | J. Healy | change 24 months to 60 months in accordance with draft nodal Operating Guide 2.2.5
61 | Calpine / NRG |  | 1.12 | 2.2.9.12 | Add to end of last paragraph: ERCOT shall post the results of the most recent system small signal stability study indicating which unit PSSs must be in service and what tuning parameter values should be used for each PSS. | Rejected | J. Adams | This section is in regards to ERCOTs monitoring of QSEs and this sentence has nothing to do with QSE obligation.
62 | Luminant | SunGard | 1.13 | 2.2.9.13 | Back Up control staffing plan Deleted all but last paragraph | Accepted with Revision | J. Healy | Nodal Operating Guide § 3.2.1 has this language included Removed a through e and added "in accordance with Nodal Operating Guides"
63 | Luminant | SunGard | 1.13 | 2.2.9.13 | Periodicity? | Accepted | J. Healy | annually
64 | Calpine / NRG |  | 1.13 | 2.2.9.13 | (a) A description of actions to be taken by QSE personnel to avoid placing a prolonged burden on maintain its interface with the ERCOT and other Market Participants systems while operating in back-up control mode; Note: "..burden" is a nebulous term at best. What do we mean by burden and how is it measured? | Accepted | J. Healy | Nodal Operating Guide § 3.2.1 has this language included Refer to changes made in 62
65 | Luminant | SunGard | 1.14 | 2.2.9.14 | COP metrics Deleted all text - These are not the appropriate metrics and they have not been established as of yet. | Rejected | J. Healy | Protocol § 8.1 (3) (t) requirem COP metrics. There is currently no language to replace § 2.2.9.14.
66 | Calpine / NRG |  | 1.14 | 2.2.9.14 | (2) ERCOT Shall produce Summary load resource specific and QSE summary based reports for Load resource performance. | Accepted | J. Healy
67 | Luminant | SunGard | 1.15 | 2.2.9.15 | Testing and Performance of governor ERCOT shall produce reports consistent with the protocols and operating guides that show generator reponse to frequency deviations. Deleted all other text. | Rejected | J. Healy | Inconsistant with other TPTF comments.
68 | Luminant | SunGard | 1.15 | 2.2.9.15 | Periodicity? | Accepted | J. Healy | Clarify periodically to explan ERCOT will spot check each resource during steady state operation to assess their governor dead band and bias setting'
69 | Calpine / NRG |  | 1.15 | 2.2.9.15 | …and expected speed droop of 5%. | Accepted | J. Healy
70 | Calpine / NRG |  | 1.15 | 2.2.9.15 | Note: needs to consider that unit operating at HSL (LSL) cannot respond to low (high) frequency deviation. Reports shall also be created on a periodicity defined by the PDCWG showing the governor-like responses, deadband and speed droop characteristic of resource-specific CLRs. | Discussion needed | J. Healy | Incongruent with luminant commnets to remove governor performance language and refer to Protocol requirements
71 | Luminant | SunGard | 1.16 | 2.2.9.16 | NERC reliability-assessments Deleted all text. TRE requirements should not be in the operating guides. | Discussion needed | J. Healy | Monitoring required by Protocol § 8.1
72 | CenterPoint | Manny Munoz | 1.17 | 2.2.9.17 | DRUC and HRUC commitment performance Add voltage and reactive metrics for Ancillary services and other ERCOT voltage and reactive compliance issues ??? | Discussion needed | J. Adams | Is this covered in section 4.5 of document based on Protocol 8.1(3)(l)
73 | Luminant | SunGard | 1.17 | 2.2.9.17 | ERCOT shall report on the difference between the RUC ordered or COP scheduled start time and the actual start time for each generation resource. by comparing actual start times with the Hour-Ahead COP. These reports are only for information on market performance, no standard for performance is specified. | Accepted | J. Healy
74 | Luminant | SunGard | 1.17 | 2.2.9.17 | Periodicity? | Accepted | J. Healy | Monthly
75 | Calpine / NRG |  | 1.17 | 2.2.9.17 | This information shall only be provided to the PDCWG under an NDA | Rejected | J. Healy | Non compliance with 2.2.9.17 have impacts outside the perview of PDCWG. Nothing in report is against the confidentiality agreement
Section 2 TSP Monitoring Program
76 | CenterPoint | Manny Munoz | 2 | 2.2.10 | TSP Monitoring Program Add TSP to first sentence to have performance evaluated by the TRE. | Accepted | T. Moody
77 | CenterPoint | Manny Munoz | 2 | 2.2.10 | TSP Monitoring Program Modify sentence: All reports will be created on demand by ERCOT when requested by the TRE and will comply with all applicable confidentiality requirements. | Accepted | J. Adams
78 | Calpine / NRG |  | 2 | 2.2.10 | The Texas Regional Entity (TRE) shall evaluate the ERCOT Inc.ISO and participant performance in accordance with the ERCOT protocols, Operating Guides, and FERC approved NERC Reliability Standards, and shall report to the Public Utility Commission of Texas, the NERC, and the IMM ERCOT Board as defined in their approved procedures. | Accepted with Revision | J. Adams | Will not include FERC but will include all other changes.
79 | CenterPoint | Manny Munoz | 2 | 2.2.10 | Last sentence: remove "Resource" from TSP/Resource Monitoring | Accepted | T. Moody
80 | Luminant | SunGard | 2 | 2.2.10 | It is inappropriate to establish TRE standards in this document - Deleted all text | Discussion needed | J. Adams | If not defined in the protocols or operating guides, where will the standards accepted by the ERCOT board for TRE enforcement be defined? Another participant asked that standards be defined to protect them.
81 | CenterPoint | Manny Munoz | 2.2 | 2.2.10.2 | Real-time data Monitor Modified 1st paragraph to read: ERCOT shall prepare monthly reports describing data performance of TSP's in accordance with the TAC Approved Telemetry Standards. Removed: These reports shall include measurements of each TSP's network observability, measurements describing sum of flows for buses, measurements of telemetry availability and comparison with the metrics established annually by TAC> | Accepted | J. Adams
82 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | Outage Scheduling and coordination monitor (2)(a)(ii) If this refers to Protocol section 3.1.5.3 then this is an ERCOT metric, not a TSP's. Only ERCOT can approve or reject outages. | Accepted | J. Adams
83 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | (2)(b) Move to number 1 above - For those outages approved by ERCOT | Accepted | J. Adams
84 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | (2)(b) Deleted (iii) Requests submitted or updated in the ERCOT Outage Scheduler less than 3 days in advance of the desired outage date. Comment: Less than 3 days are not allowed for TSP's. How is ERCOT going to comply with the following Protocol Secftions: 3.11.2 Planning Criteria (1) ERCOT and TSPs shall evaluate the need for transmission system improvements in accordance with Section 3.11.1, Overview, paragraph (1), and shall evaluate the relative value of alternative improvements based on established technical and economic criteria. (2) The tecnical reliabiltiy criteria are established by the ERCOT Operating Guides and the NERC planning criteria. ERCOT and TSPs shall stronlgy endeavor to meet these criteria, identify current and future violations thereof and initiate solutions necessary to ensure continual compliance, except that solutions requiremnt Transmission Facilty Outages within the 12 months following development of such solution must be excluded from any reported metric on the TSP's 12-month OUtage forecasting performance under Section 3.1.3.1, Transmission Facilities. 8.3 TSP Performance Monitoring and Compliance (c) Outage scheduling and coordination; TSP Outage planning and scheduling statistics must have less weight the further out these statistics are from the Planned Outage date | Rejected | J. Adams | Updates are allowed if they are extended or forced. Are we saying we don't want to report these catagories? For 3.11.2 "except that solutions requiring Transmission Facility Outages within the 12 months following development of such solution must be excluded from any reported metric on the TSP’s 12-month Outage forecasting performance under Section 3.1.3.1, Transmission Facilities." does not need any action by ERCOT because planning does not identify improvements for the next 12 months. ERCOT has not yet developed the code and logic for this analysis, but we will develop it and present it when the reports are proposed.
85 | Calpine / NRG |  | 2.3 | 2.2.10.3 | formatting: change 12 month to 12-month (2 places) | Accepted | J. Adams
86 | Calpine / NRG |  | 2.3 | 2.2.10.3 | (2)(a)(v) Outages requiring forced extension and the reason. | Accepted | J. Adams
87 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | CIM model performance monitor (1) Add -"All of the following is covered in the ERCOT sections below - | Discussion needed | J. Adams
88 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(b) Number of NOMCRs rejected by ERCOT (?) and returned to (?) the byTSP | Accepted | J. Adams
89 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(c) Number of transmission changes proposed for accepted by ERCOT via the NOMCR process to go into effect during the month period; and | Rejected | J. Adams | This removes the ability to see how many were proposed vs how many were accepted. Negates the whole reason to report.
90 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(d) Number of transmission changes accepted by ERCOT via the NOMCR process implemented during the month period. | Accepted | J. Adams
91 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (1) (Last Paragraph) For those NOMCR initially approved by ERCOT each TSP shall maintain an annual NOMCR rejection rate below 5% after the first 6 months of nodal market operation. ERCOT shall implement approved transmission changes in the scheduled month with a greater than 99% success rate. [Need to define what is meant by “success rate”; note that an NOMCR initially approved by ERCOT can fail by either a TSP change or an ERCOT incorrect acceptance of the original NOMCR. Failure rates must be distinguishable between those due to TSP actions vs. those due to ERCOT actions.] | Rejected | J. Adams | This negates the point of tracking. The desire is to see how each TSP is doing on submision/acceptance.
92 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (1) [Need to define what is meant by “success rate”; note that an NOMCR initially approved by ERCOT can fail by either a TSP change or an ERCOT incorrect acceptance of the original NOMCR. Failure rates must be distinguishable between those due to TSP actions vs. those due to ERCOT actions.] | Accepted | J. Adams | 9/5/07: Has not been added in document as of yet
93 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (3) Deleted with the following comment: State Estimator performance is an ERCOT metric – not the TSP’s. This is already a metric in the ERCOT section. | Accepted | J. Adams
94 | CenterPoint | Manny Munoz | 2.5 | 2.2.10.5 | Black Start procedure monitoring (1) Remove the word annually in the last sentence | Accepted | J. Adams
95 | Calpine / NRG |  | 2.5 | 2.2.10.5 | (1) change "date which" to "date that" | Accepted | T. Moody
96 | CenterPoint | Manny Munoz | 2.6 | 2.2.10.6 | Deleted from the first sentence: "to avoid placing a prolonged burden on ERCOT and other Market Participants" | Accepted | J. Adams
97 | Calpine / NRG |  | 2.6 | 2.2.10.6 | (a) A description of actions to be taken by TSP personnel to avoid placing a prolonged burden on maintain its operational interface with ERCOT and other Market Participants, while operating in back-up control mode. | Accepted | J. Adams
98 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | Compliance with valid Dispatch instructions monitoring. | Accepted | J. Adams
99 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | This verbiage needs to be repeated in the QSE section | Accepted | J. Adams
100 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | ERCOT shall produce reports describing TSP dispatch instruction performance. Each TSP shall comply with all valid applicable dispatch instructions as required under protocols. The ERCOT reports shall include a count of all verbal dispatch instructions for which the TSP was and was not compliant and, for those where they was non-compliance, ERCOT will include the instruction and the response. If ERCOT believe there is a performance problem with a TSP it will document this in an incident report accordingly. | Accepted | J. Adams
101 | Calpine / NRG |  | 2.7 | 2.2.10.7 | Each TSP shall comply with all dispatch instructions as required under the Protocols and Operating Guides. | Accepted | J. Adams
102 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Voltage and Reactive Control Performance monitoring Any discussion and metrics around Voltage and Reactive Control Performance must begin with ERCOT’s responsibilities as the NERC registered Transmission Operator and then measure what has been delegated to TSP’s and QSE’s. | Discussion needed | J. Adams
103 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Voltage and Reactive Control Performance monitoring There is also a serious disconnect here between metrics for TSP’s about voltage control and reactive reserves versus ancillary services and metrics on QSE’s for voltage control and reactive reserves. Additionally, the metric must weigh in the correct and accurate procurement and deployment of the pertinent ancillary services on the part of ERCOT. | Discussion needed | J. Adams
104 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | TSPs will monitor system their grid voltages and shall operate their voltage control equipment, including, but not limited to, capacitors, reactors, and transformer tap changers to maintain system voltages within normal range of the system voltage profile. ERCOT shall monitor voltage violations, N-1 voltage violations, reactive reserves, and import margins to voltage constrained areas. ERCOT shall produce reports summarizing: | Discussion needed | J. Adams | I think NERC disagrees - check
105 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | (b) Number of N-1 voltage based security violations that cannot be controlled by generation dispatch and metrics describing duration of such violations; | Discussion needed | J. Adams
106 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Delete (c) Metrics describing reactive reserve in voltage constrained areas Comment: This should be done in the Resource metric category (TSP are not responsible for reactive reserves)/ | Discussion needed | J. Adams
107 | CenterPoint | Manny Munoz | 2.9 | 2.2.10.9 | NERC standards monitoring TRE shall produce a report on TSP performance for applicable TSP NERC standards. Needs more specifics. Comment: Needs more specifics | Discussion needed | J. Adams | Should we duplicate the NERC standards?
108 | Calpine / NRG |  | 2.9 | 2.2.10.9 | TRE shall produce a report on TSP performance for applicable TO and TOP FERC approved NERC Reliability Standards. | Accepted with Revision | J. Adams | Added "approved" and "Reliability" but not other wording.
Section 3 ERCOT Monitoring Program
109 | CenterPoint | Manny Munoz | 3 | 2.2.11 | ERCOT Monitoring Program Note: This introduction makes no sense. A description of what is meant by Transmission Control is what is needed here. | Accepted | T. Moody | Removed current intro and replaced with Protocol reference
110 | Calpine / NRG |  | 3.1 | 2.2.11.1 | ...NERC approved Reliability Standards…. | Accepted | T. Moody
111 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1) The common metrics information listed below will be reported by TSPs to ERCOT to describe the help in developing that appropriate performance metrics of each Element for the reporting year | Rejected | K. McIntyre | SP's will provide ERCOT the information in a pre-defined format. ERCOT will produce the reports. TSP's are responsible to provide the supporting information and data for the metrics listed below. The metrics will be reported by ERCOT to describe the performance of each Element for the reporting year. Per NERC task force Document Reference: Transmission Availability Data System Final Report Prepared by: Transmission Availability Data System Task Force For: NERC Planning Committee June 7, 2007
112 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(b) (Sustained, Momentary, and total) Are these officially defined somewhere?. | Accepted | K. McIntyre | Added definition of terms.
113 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(b) Consider only Automatic Outages, which are outages triggered by automatic protection devices(s), resulting in a normally in-service Element that is not in an In-Service State; i.e., there is a partial or full loss of continuous power flow through the Element to the system. Consider for what? | Response | K. McIntyre | Consider for the metric of 'Outage frequency per Element', which is the total number for the reporting year.
114 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(c)(i) Change "WE" to ERCOT | Accepted | T. Moody
115 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(f) Percent of Elements with zero outages Depending on what is put in the “element “ denominator this can be either a very large or very small number; for example: by including “electrical busses” the percentage can often be driven to close to zero. More thought is needed as to what this metric is supposed to accomplish. | Response | K. McIntyre | Elements to be reported due to outages are described in section 3.1 (1)(a). Buses are not included. However, if a Transmission Line is forced out of service due to a Bus fault (single bus scenario), then this would be recorded as a outage on the Transmission line, not the bus. The intention of this metric is to report the percentage of TSP elements with zero outages. I would expect this percentage to be a high number. This metric is intended to provide a whole picture of a TSP's availability performance, and not just Element specific. See Document Reference in Commnet # 111
116 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(g) Percent of Element outages that were associated with a disturbance report. [Here again the percent equation needs to be described in terms of what this metric is intended to measure.] | Response | K. McIntyre | Elements to be reported due to outages are described in section 3.1 (1)(a). Buses are not included. However, if a Transmission Line is forced out of service due to a Bus fault (single bus scenario), then this would be recorded as a outage on the Transmission line, not the bus. This metric is intended to provide a whole picture of a TSP's availability performance, and not just Element specific. See Document Reference in Commnet # 111
117 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(i) Transmission equipment ratings that are exceeded; Which rating if this also applies to lines? | Response | K. McIntyre | All ratings
118 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(ii) Violations of system equipment operating limits for over ten minutes; and | Accepted | J. Adams
119 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(iii) Same change as above. Delete "system" and replace with "equipment". | Accepted | J. Adams
120 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2) [Note that the term “system” should not be assigned entirely to the TSP; A “system” condition may typically involve transmission elements, resources, and ISO operations. | Accepted | J. Adams
121 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (3)(1)(c) Need to define which ratings will be used. | Response | J. Adams | All 3
122 | Calpine / NRG |  | 3.1 | 2.2.11.1 | add (d) The current locations of disturbance monitoring equipment , the quantities measured, and the status points monitored. | Discussion needed | J. Adams
123 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (3) Add the following metrics: (2) ERCOT compliance with Protocol section 3.1.5.3 Timelines for response by ERCOT for TSP requests. (3) ERCOT compliance with protocol section 3.1.5.6 91) Rejection Notice (4) Number of ERCOT Withdrawals of previously Approved Outages as per Protocol section 3.1.5.7 | Accepted | J. Adams | 9/5/07: Metrics need to be defined.
124 | Luminant |  | 3.1 | 2.2.11.1 | (4)(1)Periodicity? | Accepted | K. McIntyre | Monthly
125 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(a) RUC charges uplifted due to transmission constraints; | Rejected | K. McIntyre | Not uplifted
126 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(b) Voltage support charges uplifted that are attributable to transmission elements that could have been in service to provide the support; and | Rejected | K. McIntyre | Not uplifted
127 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(c) Uplift charges due to verbal dispatch instructions on a monthly basis. Deleted: This is a Resource issue | Discussion needed | K. McIntyre | Delete this as it is not pertaining to transmission operations, rather Resources.
128 | Luminant |  | 3.2 | 2.2.11.2 | This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols. Deleted all text in section | Discussion needed | K. McIntyre
129 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (1)(a) NERC Control Performance Note: in the nodal market, QSEs no longer calculates either an SCE or ACE, so how will ERCOT calculate CPS1 for each QSE?. It would seem that the only legitimate metric for units would be constructed from base point deviation and percentage off base point control without a self-schedule submitted. | Accepted | K. McIntyre | this is a NERC requirement so ERCOT has to do it?copy) 1a - remove "for each QSE"
130 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (1)(b) and (c) Formatting: put hyphen in 15-minute and 5-minute | Accepted | T. Moody
131 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (2) change "time which" to "time that" | Accepted | T. Moody
132 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (3) RUC commitments and deployments This metric would seem to have limited meaning since the DAEM is strictly voluntary and ERCOT’s system load forecast can be off considerably. | Response | K. McIntyre | Dam is vountary, however this metric is measuring those resources committed in RUC, and comparing this to their actual Resource status.
133 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (5) What is meant by "inflection"? | Accepted | D. Maggio | Added definition of "inflection"
134 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (6) Note: ERCOT maintains its CPS2 exemption from NERC in nodal | Rejected | K. McIntyre | ERCOT are exempt from NERC CPS2 in Nodal but will still report on CPS2 performance
135 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (6) Delete "and CPS2" | Rejected | D. Maggio | ERCOT are exempt from NERC CPS2 in Nodal but will still report on CPS2 performance
136 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (7) ERCOT shall report monthly the resulting system performance for each measurable frequency event (frequency deviation >+- .175 Hz). | Rejected | K. McIntyre | Measurable frequency event is already defined in Protocols, don't need to duplicate..
137 | Luminant |  | 3.3 | 2.2.11.3 | ERCOT shall report the Mean Absolute Percent (MAPE) for each individual weather zone each month for the following. | Accepted | T. Moody
138 | Luminant |  | 3.4 | 2.2.11.4 | System Operating constraints These metrics are not adequate for the reporting requirement and need further development. The definition of what constitutes congestion is not fully defined. | Accepted with Revision | D. Maggio | Should define congestion as the exceeding of operating limits identified as constraining limits. Three consecutive days of constraining limits identified in real time but not ……… (add to 3.4 all section.
139 | CenterPoint | Manny Munoz | 3.6 | 2.2.11.6 | Network Operations Model validation add to end of paragraph: "Including ERCOT errors, timeline for correction, etc. | Discussion needed | K. McIntyre
140 | CenterPoint | Manny Munoz | 3.7 | 2.2.11.7 | Back-up control plan re-phrase "placing a prolonged burden" (as mentioned several times earlier in the document.) | Accepted | T. Moody
141 | Calpine / NRG |  | 3.7 | 2.2.11.7 | replace "….that avoid placing a prolonged burden on the ERCOT system" with "..that maintain QSE and TSP operational interface with ERCOT and adjacent TSPs. | Accepted | T. Moody
142 | Luminant |  | 3.7 | 2.2.11.7 | Delete 1st paragraph | Accepted | D. Maggio
143 | Luminant |  | 3.7 | 2.2.11.7 | ERCOT shall report to the TRE and ROS by the end of the 1st quarter of each year what QSEs/TSPs have approved back-up procedures on file with ERCOT and the date which they were last updated. | Accepted | D. Maggio
144 | Luminant |  | 3.7 | 2.2.11.7 | "ERCOT shall report the status of ERCOT’s back-up plan and the status of back-up training for QSEs/TSPs. "What does status mean? What is specifically being reported? | Accepted with Revision | D. Maggio
145 | Calpine / NRG |  | 3.7 | 2.2.11.7 | change "date which" to "data that" | Accepted | T. Moody | Changed in document
146 | Luminant |  | 3.9 | 2.2.11.9 | ERCOT shall report on its established processes and procedures for Computer and communication systems Real-Time availability and systems security that includes testing, documentation, and reporting processes in accordance with NERC CIP Standards. | Accepted with Revision | D. Maggio | Replace current paragraph with: "ERCOT shall report Computer and communication systems Real-Time availability and systems security in accordance with NERC CIP Standards."
147 | Calpine / NRG |  | 3.9 | 2.2.11.9 | add "FERC approved NERC CIP Standards" | Accepted with Revision | T. Moody | Added "approved"
Section 4 Ancillary services Monitoring Program
148 | Luminant |  | 4.1 | 2.3.3.1 | Regulation Control Performance This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols Deleted all text in section | Accepted with Revision | D. Maggio | This section does not mention a metric, standard, or pass/fail criteria, which I believe is under review for the protocols. Some comment should be added to the affect of "ERCOT shall produce hourly, monthly and yearly reports of QSE and Resource specific CPS1 and CPS2 metrics as well as produce reports on the metrics for Regulation Control Performance as described in the protocols."
149 | Calpine / NRG |  | 4.1 | 2.3.3.1 | Note: See comment on 3.2 | Accepted | K. McIntyre | Deleted "of QSE" and add ERCOT ?? Need to verify before changes are made. TM: Need to discuss with Ken or David
150 | Luminant |  | 4.3 | 2.3.3.3 | Black Start Requirements, for TSPs, QSEs & Generation Resources This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols Deleted all text in section | Rejected | D. Maggio | The revision is almost all about the details on the Black Start Plans, not about the submittal of those plans. 4.3, on the other hand, is only referring to submittal.
151 | Luminant |  | 4.3 | 2.3.3.3 | Duplicates 1.4 Written Black Start Procedures for QSE/Resources | Rejected | D. Maggio | Responsibilities need to be defined for the various entities in the different sections. Both are needed.
152 | Luminant |  | 4.4 | 2.3.3.4 | This is a TRE requirement and doesn’t belong in this document. | Discussion needed | K. McIntyre
153 | Calpine / NRG |  | 4.4 | 2.3.3.4 | Note: how will ERCOT do this, since the responsive energy deployment will be included in the base point issued by SCED?. "Each Resource shall meet at all times" - Note: some latitude should be given here due to unforeseen circumstances (system problem, unit problem etc.) - | Response | D. Maggio | ERCOT Comment: "Capacity deployment performance will be measured as the timely update of the Responsive Reserve Ancillary Service Schedule. Energy deployment performance will be measured by calculating the difference between a Resou
154 | Luminant |  | 4.5 | 2.3.3.5 | Resource entities and not QSE are obligated to follow ERCOT voltage Deleted all text in section. | Rejected | D. Maggio | Section 3.15.3 (5) of Nodal Protocols states that "Each QSE shall meet, within established tolerances, and respond to changes in the Voltage Profile established by ERCOT subject to the stated QSE Reactive Power and actual power operating characteristic limits and voltage limits."
155 | Calpine / NRG |  | 4.5 | 2.3.3.5 | Change QSE to Resource | Rejected | K. McIntyre | Section 3.15.3 (5) of Nodal Protocols states that "Each QSE shall meet, within established tolerances, and respond to changes in the Voltage Profile established by ERCOT subject to the stated QSE Reactive Power and actual power operating characteristic limits and voltage limits."
156 | Calpine / NRG |  | 4.5 | 2.3.3.5 | Note: The IMM might only have an interest in compliance with reactive dispatch instructions if real power output is in question. This deals with reliability and the IMM is specifically tasked with monitoring the markets. (Delete IMM) | Accepted | K. McIntyre
157 | Luminant |  | 4.6 | 2.3.3.6 | Delete "as observed to the TRE" | Accepted | J. Adams

## Comments NOT Accepted
| Document Name: | Response to Comments on ERCOT Monitoring Program v 0.01 | Comments on ERCOT Monitoring Program v0.01
| Issuing Entity | Name | Current Section # | Draft .01 Section # | Description | Accepted / Rejected | Reviewer | Reason
Section 1 QSE/Resource Monitoring Program
1 | CenterPoint | Manny Munoz | General |  | This document appears to have been hastily written and fails to clearly identify information necessary for metric and performance definition. It seems to jump right into performance metrics when what it should do at this point is concentrate on information gathering. The performance metric definitions should then occur through a subgroup made up of the proper representation from market participants, ERCOT and the TRE | Discussion needed
2 | CenterPoint | Manny Munoz | General |  | Performance metrics should focus on reliability standards and compliance and emphasize actual performance instead of metrics reporting | Response | J. Adams | This document does not define metrics but specifies the reporting requirments
3 | CenterPoint | Manny Munoz | General |  | Each requirement should reference the appropriate Protocol section and applicable NERC Requirement | Accepted with Revision | T. Moody | Applicable Protocol references were included.
9 | Luminant | SunGard | General |  | The standards should not be in this report. Only the reporting requirements. | Rejected |  | Must know standards to determine reporting requirements
10 | Luminant | SunGard | General |  | Several of the descriptions in the document are vague in regards to what needs to be provided. Some examples will be noted later. | Discussion needed
14 | Luminant | SunGard | 1 | 2.2.9 | Deleted first paragraph starting with "the Texas Regional Entity (TRE) shall evaluate….. | Discussion needed | J. Healy | This is the paragraph we used for the for reporting requirements taht do not have a set periodicity. If we are going to address the general comments on periodicity(Row 6), we may be able to accommodate this deletion.
16 | Calpine / NRG |  | 1 | 2.2.9 | The QSE/Resource Monitoring Program describes the process by which TRE assesses QSEs’ compliance and performance and ERCOT’s role in support of this program (what program does this refer to? Is there an official program document we can look to? Is this a reference to the ERCOT TRE Compliance Program for 2007?). | Response | J. Healy | http://www.ercot.com/mktrules/compliance/tre/atre/doc/TRE-RDA-5-18-071.pdf
22 | Luminant | SunGard | 1.2 | 2.2.9.2 | This data shall be provided by the QSEs to ERCOT when reactive testing indicates a change in unit capability and at a minimum of once every 2 years.incompliance with ERCOT Nodal Protocol section 8.1.2.2.5. | Discussion needed | J. Healy
23 | Calpine / NRG |  | 1.2 | 2.2.9.2 | Comment: CURL and URL values are absolute values for either Lead or Lag conditions. They are not monotonically increasing curve values because the reactive test must be run at the unit’s NDC value rather than some MW values leading up to the NDC. | Response | J. Healy | Refer to Comment #25
25 | Calpine / NRG |  | 1.2 | 2.2.9.2 | Deleted .. and a minimum of 4 MW/MVAR pairs describing the CURL of the unit | Rejected | J. Healy | A minimum number of points are required to build a curve
26 | CenterPoint | Manny Munoz | 1.3 | 2.2.9.3 | Real-Time Data Added to first Sentence: ERCOT shall produce reports describing data performance of QSE's in accordance to the TAC approved Telemetry Standards. The rest of this section should be deleted. | Accepted with Revision | J. Healy | Agree to change and delete 2.2.9.3 (1), but the rest of the section includes Operational data not covered by the Telemetry standard.
30 | Luminant | SunGard | 1.3 | 2.2.9.3 | (3)(b) Deleted all of (3)(b) with the exception of (iii)(v) DSR Monitoring | Rejected | J. Healy | ERCOT shall develop a TAC-approved Ancillary Service monitoring program to evaluate the performance of QSEs and Resources providing Ancillary Services. This program must include monitoring of capacity availability and energy deployments as described below and in Section 6.5.7.5 Ancillary Service Capacity Monitor.
31 | Calpine / NRG |  | 1.3 | 2.2.9.3 | changed last sentence: established annually by a TAC subcommittee. | Rejected | J. Healy | The SE & Telemetry standards are TAC approved
32 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(a) What does this mean/measure? Are we looking for EFOR? | Accepted with Revision | J. Healy | Refer to Comment #29
33 | Calpine / NRG |  | 1.3 | 2.2.9.3 | 3(b) ERCOT shall collect data and produce reports describing Ancillary Service Performance. That data and reports shall only be provided to the appropriate TAC subcommittees and work groups, under signed NDAs, tasked with evaluating control performance issues, such as the ROS’ PDCWG. That data and reporting shall include: | Discussion needed | J. Healy
34 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(b) Note: how will this be done, since responsive energy deployment is included in the Base Point issued by SCED? | Response | J. Healy | This metric is designed to describe resources providing RRS that do not have the capacity to deliver the obligated MW.
36 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(d) Note: some units will need a waiver on this requirement (e.g. nuclear, wind). There are conditions that need to be excluded from the response measurement, such as combined cycle when on duct burner, or pump blocks. Governor deadband should also be included in the evaluation. | Rejected | J. Healy | Responsive reserve is responsive to changes in frequency.
39 | Luminant | SunGard | 1.5 | 2.2.9.5 | This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols | Rejected | J. Healy | This language is in reference to Protocol § 8.1.3 (f) which is not amended in NPRR 074
42 | Calpine / NRG |  | 1.6 | 2.2.9.6 | Added to end of paragraph: ERCOT, as the region’s registered resource and transmission planning authorities under the NERC functional model, shall provide the RARF data, dynamic model and steady state model data to the respective TDSP planning functions as requested by the TDSPs. ERCOT shall also provide the above noted change records to NERC as requested by market participants for use in NERC or TRE entity audits | Rejected | J. Healy | Added to end of paragraph: "ERCOT shall provide the RARF data, dynamic model and steady state model data to the respective TDSP planning functions as requested by the TDSPs." NERC defines who is responsible and we can't override.
47 | Calpine / NRG |  | 1.7 | 2.2.9.7 | (2)(a) NOTE: Specifically, does this section comport with the confidentiality provisions of Section 1? Generally, where do these reports end up? | Response | J. Healy | This language is here to satisfy the requirment described in Protocol § 8.1.3 (s). It is expected that the TRE will monitor the Outage reporting within the requirements in Protocol § 3
48 | Luminant | SunGard | 1.8 | 2.2.9.8 | Periodicity? | Response | J. Healy | The language in 2.2.9.8 indicate that this is an event driven report
49 | Calpine / NRG |  | 1.8 | 2.2.9.8 | Add sentence to end of paragraph: These reports shall be provided to the PDCWG at its request for use under a signed NDA. | Accepted with Revision | J. Healy | These reports shall be provided to the SPWG at its request for use under a signed NDA.
53 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Note: Where is the description of this backup control test? | Response | J. Healy | Each QSE provides ERCOT with a backup control plan that is required to include procedures for functional testing.
55 | Luminant | SunGard | 1.1 | 2.2.9.10 | Resource-specific Non-Spinning Reserve Deleted all text: This section is not consistent with the current ERCOT nodal Protocols for Non-Spin deployment | Rejected | J. Healy | Acceptable NSRS criteria are described in Protocol § 8.1.2.4.3
56 | Calpine / NRG |  | 1.1 | 2.2.9.10 | Note: some latitude should be given here due to unforeseen circumstances (system problem, unit problem, etc) | Response | J. Healy | The language in 2.2.9.10 meet the reporting requirements. The acceptable error is described in Protocol § 8.1.2.2.4 (6)
57 | Luminant | SunGard | 1.11 | 2.2.9.11 | 24/7 qualified staffing Periodicity? | Response | J. Healy | The language in 2.2.9.11 indicate that this is an event driven report
58 | Luminant | SunGard | 1.11 | 2.2.9.11 | ...as observed to by the TRE. | Rejected | J. Healy | Instances of non-compliance will be obsreved by ERCOT and reported to the TRE.
61 | Calpine / NRG |  | 1.12 | 2.2.9.12 | Add to end of last paragraph: ERCOT shall post the results of the most recent system small signal stability study indicating which unit PSSs must be in service and what tuning parameter values should be used for each PSS. | Rejected | J. Adams | This section is in regards to ERCOTs monitoring of QSEs and this sentence has nothing to do with QSE obligation.
62 | Luminant | SunGard | 1.13 | 2.2.9.13 | Back Up control staffing plan Deleted all but last paragraph | Accepted with Revision | J. Healy | Nodal Operating Guide § 3.2.1 has this language included Removed a through e and added "in accordance with Nodal Operating Guides"
65 | Luminant | SunGard | 1.14 | 2.2.9.14 | COP metrics Deleted all text - These are not the appropriate metrics and they have not been established as of yet. | Rejected | J. Healy | Protocol § 8.1 (3) (t) requirem COP metrics. There is currently no language to replace § 2.2.9.14.
67 | Luminant | SunGard | 1.15 | 2.2.9.15 | Testing and Performance of governor ERCOT shall produce reports consistent with the protocols and operating guides that show generator reponse to frequency deviations. Deleted all other text. | Rejected | J. Healy | Inconsistant with other TPTF comments.
70 | Calpine / NRG |  | 1.15 | 2.2.9.15 | Note: needs to consider that unit operating at HSL (LSL) cannot respond to low (high) frequency deviation. Reports shall also be created on a periodicity defined by the PDCWG showing the governor-like responses, deadband and speed droop characteristic of resource-specific CLRs. | Discussion needed | J. Healy | Incongruent with luminant commnets to remove governor performance language and refer to Protocol requirements
71 | Luminant | SunGard | 1.16 | 2.2.9.16 | NERC reliability-assessments Deleted all text. TRE requirements should not be in the operating guides. | Discussion needed | J. Healy | Monitoring required by Protocol § 8.1
72 | CenterPoint | Manny Munoz | 1.17 | 2.2.9.17 | DRUC and HRUC commitment performance Add voltage and reactive metrics for Ancillary services and other ERCOT voltage and reactive compliance issues ??? | Discussion needed | J. Adams | Is this covered in section 4.5 of document based on Protocol 8.1(3)(l)
75 | Calpine / NRG |  | 1.17 | 2.2.9.17 | This information shall only be provided to the PDCWG under an NDA | Rejected | J. Healy | Non compliance with 2.2.9.17 have impacts outside the perview of PDCWG. Nothing in report is against the confidentiality agreement
Section 2 TSP Monitoring Program
78 | Calpine / NRG |  | 2 | 2.2.10 | The Texas Regional Entity (TRE) shall evaluate the ERCOT Inc.ISO and participant performance in accordance with the ERCOT protocols, Operating Guides, and FERC approved NERC Reliability Standards, and shall report to the Public Utility Commission of Texas, the NERC, and the IMM ERCOT Board as defined in their approved procedures. | Accepted with Revision | J. Adams | Will not include FERC but will include all other changes.
80 | Luminant | SunGard | 2 | 2.2.10 | It is inappropriate to establish TRE standards in this document - Deleted all text | Discussion needed | J. Adams | If not defined in the protocols or operating guides, where will the standards accepted by the ERCOT board for TRE enforcement be defined? Another participant asked that standards be defined to protect them.
84 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | (2)(b) Deleted (iii) Requests submitted or updated in the ERCOT Outage Scheduler less than 3 days in advance of the desired outage date. Comment: Less than 3 days are not allowed for TSP's. How is ERCOT going to comply with the following Protocol Secftions: 3.11.2 Planning Criteria (1) ERCOT and TSPs shall evaluate the need for transmission system improvements in accordance with Section 3.11.1, Overview, paragraph (1), and shall evaluate the relative value of alternative improvements based on established technical and economic criteria. (2) The tecnical reliabiltiy criteria are established by the ERCOT Operating Guides and the NERC planning criteria. ERCOT and TSPs shall stronlgy endeavor to meet these criteria, identify current and future violations thereof and initiate solutions necessary to ensure continual compliance, except that solutions requiremnt Transmission Facilty Outages within the 12 months following development of such solution must be excluded from any reported metric on the TSP's 12-month OUtage forecasting performance under Section 3.1.3.1, Transmission Facilities. 8.3 TSP Performance Monitoring and Compliance (c) Outage scheduling and coordination; TSP Outage planning and scheduling statistics must have less weight the further out these statistics are from the Planned Outage date | Rejected | J. Adams | Updates are allowed if they are extended or forced. Are we saying we don't want to report these catagories? For 3.11.2 "except that solutions requiring Transmission Facility Outages within the 12 months following development of such solution must be excluded from any reported metric on the TSP’s 12-month Outage forecasting performance under Section 3.1.3.1, Transmission Facilities." does not need any action by ERCOT because planning does not identify improvements for the next 12 months. ERCOT has not yet developed the code and logic for this analysis, but we will develop it and present it when the reports are proposed.
87 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | CIM model performance monitor (1) Add -"All of the following is covered in the ERCOT sections below - | Discussion needed | J. Adams
89 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(c) Number of transmission changes proposed for accepted by ERCOT via the NOMCR process to go into effect during the month period; and | Rejected | J. Adams | This removes the ability to see how many were proposed vs how many were accepted. Negates the whole reason to report.
91 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (1) (Last Paragraph) For those NOMCR initially approved by ERCOT each TSP shall maintain an annual NOMCR rejection rate below 5% after the first 6 months of nodal market operation. ERCOT shall implement approved transmission changes in the scheduled month with a greater than 99% success rate. [Need to define what is meant by “success rate”; note that an NOMCR initially approved by ERCOT can fail by either a TSP change or an ERCOT incorrect acceptance of the original NOMCR. Failure rates must be distinguishable between those due to TSP actions vs. those due to ERCOT actions.] | Rejected | J. Adams | This negates the point of tracking. The desire is to see how each TSP is doing on submision/acceptance.
102 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Voltage and Reactive Control Performance monitoring Any discussion and metrics around Voltage and Reactive Control Performance must begin with ERCOT’s responsibilities as the NERC registered Transmission Operator and then measure what has been delegated to TSP’s and QSE’s. | Discussion needed | J. Adams
103 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Voltage and Reactive Control Performance monitoring There is also a serious disconnect here between metrics for TSP’s about voltage control and reactive reserves versus ancillary services and metrics on QSE’s for voltage control and reactive reserves. Additionally, the metric must weigh in the correct and accurate procurement and deployment of the pertinent ancillary services on the part of ERCOT. | Discussion needed | J. Adams
104 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | TSPs will monitor system their grid voltages and shall operate their voltage control equipment, including, but not limited to, capacitors, reactors, and transformer tap changers to maintain system voltages within normal range of the system voltage profile. ERCOT shall monitor voltage violations, N-1 voltage violations, reactive reserves, and import margins to voltage constrained areas. ERCOT shall produce reports summarizing: | Discussion needed | J. Adams | I think NERC disagrees - check
105 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | (b) Number of N-1 voltage based security violations that cannot be controlled by generation dispatch and metrics describing duration of such violations; | Discussion needed | J. Adams
106 | CenterPoint | Manny Munoz | 2.8 | 2.2.10.8 | Delete (c) Metrics describing reactive reserve in voltage constrained areas Comment: This should be done in the Resource metric category (TSP are not responsible for reactive reserves)/ | Discussion needed | J. Adams
107 | CenterPoint | Manny Munoz | 2.9 | 2.2.10.9 | NERC standards monitoring TRE shall produce a report on TSP performance for applicable TSP NERC standards. Needs more specifics. Comment: Needs more specifics | Discussion needed | J. Adams | Should we duplicate the NERC standards?
108 | Calpine / NRG |  | 2.9 | 2.2.10.9 | TRE shall produce a report on TSP performance for applicable TO and TOP FERC approved NERC Reliability Standards. | Accepted with Revision | J. Adams | Added "approved" and "Reliability" but not other wording.
Section 3 ERCOT Monitoring Program
111 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1) The common metrics information listed below will be reported by TSPs to ERCOT to describe the help in developing that appropriate performance metrics of each Element for the reporting year | Rejected | K. McIntyre | SP's will provide ERCOT the information in a pre-defined format. ERCOT will produce the reports. TSP's are responsible to provide the supporting information and data for the metrics listed below. The metrics will be reported by ERCOT to describe the performance of each Element for the reporting year. Per NERC task force Document Reference: Transmission Availability Data System Final Report Prepared by: Transmission Availability Data System Task Force For: NERC Planning Committee June 7, 2007
113 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(b) Consider only Automatic Outages, which are outages triggered by automatic protection devices(s), resulting in a normally in-service Element that is not in an In-Service State; i.e., there is a partial or full loss of continuous power flow through the Element to the system. Consider for what? | Response | K. McIntyre | Consider for the metric of 'Outage frequency per Element', which is the total number for the reporting year.
115 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(f) Percent of Elements with zero outages Depending on what is put in the “element “ denominator this can be either a very large or very small number; for example: by including “electrical busses” the percentage can often be driven to close to zero. More thought is needed as to what this metric is supposed to accomplish. | Response | K. McIntyre | Elements to be reported due to outages are described in section 3.1 (1)(a). Buses are not included. However, if a Transmission Line is forced out of service due to a Bus fault (single bus scenario), then this would be recorded as a outage on the Transmission line, not the bus. The intention of this metric is to report the percentage of TSP elements with zero outages. I would expect this percentage to be a high number. This metric is intended to provide a whole picture of a TSP's availability performance, and not just Element specific. See Document Reference in Commnet # 111
116 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(g) Percent of Element outages that were associated with a disturbance report. [Here again the percent equation needs to be described in terms of what this metric is intended to measure.] | Response | K. McIntyre | Elements to be reported due to outages are described in section 3.1 (1)(a). Buses are not included. However, if a Transmission Line is forced out of service due to a Bus fault (single bus scenario), then this would be recorded as a outage on the Transmission line, not the bus. This metric is intended to provide a whole picture of a TSP's availability performance, and not just Element specific. See Document Reference in Commnet # 111
117 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(i) Transmission equipment ratings that are exceeded; Which rating if this also applies to lines? | Response | K. McIntyre | All ratings
121 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (3)(1)(c) Need to define which ratings will be used. | Response | J. Adams | All 3
122 | Calpine / NRG |  | 3.1 | 2.2.11.1 | add (d) The current locations of disturbance monitoring equipment , the quantities measured, and the status points monitored. | Discussion needed | J. Adams
125 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(a) RUC charges uplifted due to transmission constraints; | Rejected | K. McIntyre | Not uplifted
126 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(b) Voltage support charges uplifted that are attributable to transmission elements that could have been in service to provide the support; and | Rejected | K. McIntyre | Not uplifted
127 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (4)(1)(c) Uplift charges due to verbal dispatch instructions on a monthly basis. Deleted: This is a Resource issue | Discussion needed | K. McIntyre | Delete this as it is not pertaining to transmission operations, rather Resources.
128 | Luminant |  | 3.2 | 2.2.11.2 | This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols. Deleted all text in section | Discussion needed | K. McIntyre
132 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (3) RUC commitments and deployments This metric would seem to have limited meaning since the DAEM is strictly voluntary and ERCOT’s system load forecast can be off considerably. | Response | K. McIntyre | Dam is vountary, however this metric is measuring those resources committed in RUC, and comparing this to their actual Resource status.
134 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (6) Note: ERCOT maintains its CPS2 exemption from NERC in nodal | Rejected | K. McIntyre | ERCOT are exempt from NERC CPS2 in Nodal but will still report on CPS2 performance
135 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (6) Delete "and CPS2" | Rejected | D. Maggio | ERCOT are exempt from NERC CPS2 in Nodal but will still report on CPS2 performance
136 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (7) ERCOT shall report monthly the resulting system performance for each measurable frequency event (frequency deviation >+- .175 Hz). | Rejected | K. McIntyre | Measurable frequency event is already defined in Protocols, don't need to duplicate..
138 | Luminant |  | 3.4 | 2.2.11.4 | System Operating constraints These metrics are not adequate for the reporting requirement and need further development. The definition of what constitutes congestion is not fully defined. | Accepted with Revision | D. Maggio | Should define congestion as the exceeding of operating limits identified as constraining limits. Three consecutive days of constraining limits identified in real time but not ……… (add to 3.4 all section.
139 | CenterPoint | Manny Munoz | 3.6 | 2.2.11.6 | Network Operations Model validation add to end of paragraph: "Including ERCOT errors, timeline for correction, etc. | Discussion needed | K. McIntyre
144 | Luminant |  | 3.7 | 2.2.11.7 | "ERCOT shall report the status of ERCOT’s back-up plan and the status of back-up training for QSEs/TSPs. "What does status mean? What is specifically being reported? | Accepted with Revision | D. Maggio
146 | Luminant |  | 3.9 | 2.2.11.9 | ERCOT shall report on its established processes and procedures for Computer and communication systems Real-Time availability and systems security that includes testing, documentation, and reporting processes in accordance with NERC CIP Standards. | Accepted with Revision | D. Maggio | Replace current paragraph with: "ERCOT shall report Computer and communication systems Real-Time availability and systems security in accordance with NERC CIP Standards."
147 | Calpine / NRG |  | 3.9 | 2.2.11.9 | add "FERC approved NERC CIP Standards" | Accepted with Revision | T. Moody | Added "approved"
Section 4 Ancillary services Monitoring Program
148 | Luminant |  | 4.1 | 2.3.3.1 | Regulation Control Performance This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols Deleted all text in section | Accepted with Revision | D. Maggio | This section does not mention a metric, standard, or pass/fail criteria, which I believe is under review for the protocols. Some comment should be added to the affect of "ERCOT shall produce hourly, monthly and yearly reports of QSE and Resource specific CPS1 and CPS2 metrics as well as produce reports on the metrics for Regulation Control Performance as described in the protocols."
150 | Luminant |  | 4.3 | 2.3.3.3 | Black Start Requirements, for TSPs, QSEs & Generation Resources This section deals with issues not currently finalized with the upcoming revisions to section 8 of the ERCOT Nodal Protocols Deleted all text in section | Rejected | D. Maggio | The revision is almost all about the details on the Black Start Plans, not about the submittal of those plans. 4.3, on the other hand, is only referring to submittal.
151 | Luminant |  | 4.3 | 2.3.3.3 | Duplicates 1.4 Written Black Start Procedures for QSE/Resources | Rejected | D. Maggio | Responsibilities need to be defined for the various entities in the different sections. Both are needed.
152 | Luminant |  | 4.4 | 2.3.3.4 | This is a TRE requirement and doesn’t belong in this document. | Discussion needed | K. McIntyre
153 | Calpine / NRG |  | 4.4 | 2.3.3.4 | Note: how will ERCOT do this, since the responsive energy deployment will be included in the base point issued by SCED?. "Each Resource shall meet at all times" - Note: some latitude should be given here due to unforeseen circumstances (system problem, unit problem etc.) - | Response | D. Maggio | ERCOT Comment: "Capacity deployment performance will be measured as the timely update of the Responsive Reserve Ancillary Service Schedule. Energy deployment performance will be measured by calculating the difference between a Resou
154 | Luminant |  | 4.5 | 2.3.3.5 | Resource entities and not QSE are obligated to follow ERCOT voltage Deleted all text in section. | Rejected | D. Maggio | Section 3.15.3 (5) of Nodal Protocols states that "Each QSE shall meet, within established tolerances, and respond to changes in the Voltage Profile established by ERCOT subject to the stated QSE Reactive Power and actual power operating characteristic limits and voltage limits."
155 | Calpine / NRG |  | 4.5 | 2.3.3.5 | Change QSE to Resource | Rejected | K. McIntyre | Section 3.15.3 (5) of Nodal Protocols states that "Each QSE shall meet, within established tolerances, and respond to changes in the Voltage Profile established by ERCOT subject to the stated QSE Reactive Power and actual power operating characteristic limits and voltage limits."

## Accepted Commnets
| Document Name: | Response to Comments on ERCOT Monitoring Program v 0.01 | Comments on ERCOT Monitoring Program v0.01
| Issuing Entity | Name | Current Section # | Draft .01 Section # | Description | Accepted / Rejected | Reviewer | Reason
Section 1 QSE/Resource Monitoring Program
4 | CenterPoint | Manny Munoz | General |  | A Table of Contents would be helpful | Accepted | T. Moody
5 | CenterPoint | Manny Munoz | General |  | Document numbering needs to be broken into more discrete sections | Accepted | T. Moody
6 | Luminant | SunGard | General |  | The frequency of the reports need to be specified in detail. | Accepted | T. Moody
7 | Luminant | SunGard | General |  | Several instances have repeated protocol language in the report. There is no need to repeat protocol language | Accepted | T. Moody
8 | Luminant | SunGard | General |  | Several references to protocols without an accompanying protocol section identifier. | Accepted | T. Moody | Applicable Protocol references were included.
11 | CenterPoint | Manny Munoz | pg. 2 |  | Add Section Titles | Accepted | T. Moody | This section has been removed and protocol references have been moved to the applicable sections with section titles.
12 | CenterPoint | Manny Munoz | Pg. 3 |  | Added 8.2 section from protocols where there was only partial text | Accepted | T. Moody | Put protocol reference in section 3 ERCOT Monitoring Program
13 | Luminant | SunGard | 1 | 2.2.9 | The following areas shall be covered by the program. (Are these going to be updated to follow the NERC Reliability Standards??) | Accepted | J. Healy | This comment was in the NDC testing portion of our Nodal Operation Guide. There is no conflict with our NDC language and NERC Standard language. We will have a process in the nodal world to keep this language up with any revisions to NERC Standards as necessary.
15 | Calpine / NRG |  | 1 | 2.2.9 | The Texas Regional Entity (TRE) shall evaluate the ERCOT ISO functions and participant performance in accordance with the ERCOT protocols, Operating Guides, and NERC and Regional Reliability Standards approved by FERC, and shall report to the Public Utility Commission of Texas, the NERC, and the ERCOT Board as defined in their approved procedures. [Note: What TRE document indicates a reporting link to the IMM? I can’t find it in the bylaws, ERCOT Compliance Process, Delegation Agreement, etc.] ERCOT shall report to the TRE as described in the “ERCOT Compliance Process” currently approved by the Public Utility Commission of Texas. Reports may be created on demand by ERCOT when requested by the TRE and will comply with the confidentiality requirements found in the ERCOT Protocols. QSEs are responsible for the accuracy of the data they provide to ERCOT and the TRE. | Accepted | J. Healy | The NERC Reliability Standards are approved by the NERC BOT and this is the set we are accountable for. The FERC approved Standards are a subset of the NERC Standards. All other comments are acceptable. (TM- not FERC)
17 | Luminant | SunGard | 1.1 | 2.2.9.1 | Net dependable real power capability testing What is the frequency of the report? | Accepted | J. Healy | ERCOT shall prodcue reports annually of NDC testing which shall occure at least seasonally.Add Annually to 2.2.9.1
18 | Luminant | SunGard | 1.1 | 2.2.9.1 | deleted "at least seasonally" and replace with "in compliance with the ERCOT Nodal Protocols section 8.1.2.2." | Accepted | J. Healy
19 | Calpine / NRG |  | 1.1 | 2.2.9.1 | deleted "at least seasonally" and replaced with as required by the ERCOT Protocols. | Accepted | J. Healy
20 | Calpine / NRG |  | 1.1 | 2.2.9.1 | (Note: ERCOT Operations Engineering is crafting a proposal to eliminate seasonal real power testing and substitute a plan for spot testing and the use of temperature-sensitive output curves.) | Accepted | J. Healy | The ERCOT proposal should include PRR and OGRR language that meets the requirements of the NERC Standards.
21 | Luminant | SunGard | 1.2 | 2.2.9.2 | Reactive testing What is the frequency (periodicity) of this report? | Accepted | J. Healy | Add Annually to 2.2.9.2
24 | Calpine / NRG |  | 1.2 | 2.2.9.2 | The QSE shall provide Unit name, QSE, Date, time, tested capability, reported time and CURL or URL information | Accepted | J. Healy
27 | Luminant | SunGard | 1.3 | 2.2.9.3 | ERCOT shall produce reports describing data performance real time performance of QSE’s. These reports shall include measurements of telemetry availability and comparison with the performance metrics established annually by the TAC. | Accepted | J. Healy
28 | Luminant | SunGard | 1.3 | 2.2.9.3 | (2) Communication Systems What is the periodicity of report? | Accepted | J. Healy | Add Monthly to 2.2.9.3 (2) in accordance with TAC approved Telemetry Std.
29 | Luminant | SunGard | 1.3 | 2.2.9.3 | (3)(a) ERCOT shall produce reports describing Resource Telemetry availability, Resource Ancillary service provision, generator status, and Generator Net energy and capability availability. | Accepted | J. Healy
35 | Calpine / NRG |  | 1.3 | 2.2.9.3 | (3)(b)(iii)(c) Changed last sentence to read "These reports will normally be produced and provide to the appropriate TAC subcommittee on a monthly basis. | Accepted | J. Healy
37 | Luminant | SunGard | 1.4 | 2.2.9.4 | Periodicity? | Accepted | J. Healy | Add Annually to 2.2.9.4
38 | CenterPoint | Manny Munoz | 1.5 | 2.2.9.5 | Compliance with Dispatch Instructions Add verbiage for compliance with ERCOT issued Verbal dispatch instructions. | Accepted | J. Healy | Add language from 2.2.10.7 to 2.2.9.5 iaw Protocol § 8.1.3 (f)
40 | Luminant | SunGard | 1.6 | 2.2.9.6 | Supplying and validating data for generator models Deleted last sentence: "ERCOT must receive and validate this information for each Resource before it can participate in the Market. | Accepted | J. Healy
41 | Calpine / NRG |  | 1.6 | 2.2.9.6 | change to create reports instead of produce reports | Accepted | J. Healy
43 | CenterPoint | Manny Munoz | 1.7 | 2.2.9.7 | Outage Scheduling and Reporting Section: Add to 2(b): (iv) Requests submitted between 1 and 2 days in advance (see 3.1.6.6) or basically - less than 3 days in advance. | Accepted | J. Healy | Outage Scheduling and Reporting Section: Add to 2(b): (iv) Requests submitted less than 3 days in advance.
44 | CenterPoint | Manny Munoz | 1.7 | 2.2.9.7 | 2(b) should be combined with 1 | Accepted | J. Healy
45 | Luminant | SunGard | 1.7 | 2.2.9.7 | Periodicity? | Accepted | J. Healy | Add monthly to 2.2.9.7
46 | Luminant | SunGard | 1.7 | 2.2.9.7 | ERCOT shall produce a report which lists the Planned Outage or Maintenance Outage plan as referenced by the current ERCOT Nodal Protocols. Deleted rest of paragraph | Accepted | J. Healy
50 | Luminant | SunGard | 1.9 | 2.2.9.9 | The backup control for Resource energy deployment due to loss of communication with ERCOT Please remove this reporting requirement or identify the standard it refers to. | Accepted | T. Moody | Added Protocol Reference 8.1.3(n)
51 | Calpine / NRG |  | 1.9 | 2.2.9.9 | This title needs some work | Accepted | T. Moody
52 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Backup control tests should be conducted a minimum at least annually. | Accepted | J. Healy
54 | Calpine / NRG |  | 1.9 | 2.2.9.9 | Capitalize P in Protocols | Accepted | T. Moody
59 | Calpine / NRG |  | 1.11 | 2.2.9.11 | ERCOT shall report to the TRE, through the Incident Report process, instances of suspected non-compliance.as observed to the TRE | Accepted | J. Healy
60 | Luminant | SunGard | 1.12 | 2.2.9.12 | AVR and PSS Is the 24 months requirement consistent with operating guide requirements? | Accepted | J. Healy | change 24 months to 60 months in accordance with draft nodal Operating Guide 2.2.5
63 | Luminant | SunGard | 1.13 | 2.2.9.13 | Periodicity? | Accepted | J. Healy | annually
64 | Calpine / NRG |  | 1.13 | 2.2.9.13 | (a) A description of actions to be taken by QSE personnel to avoid placing a prolonged burden on maintain its interface with the ERCOT and other Market Participants systems while operating in back-up control mode; Note: "..burden" is a nebulous term at best. What do we mean by burden and how is it measured? | Accepted | J. Healy | Nodal Operating Guide § 3.2.1 has this language included Refer to changes made in 62
66 | Calpine / NRG |  | 1.14 | 2.2.9.14 | (2) ERCOT Shall produce Summary load resource specific and QSE summary based reports for Load resource performance. | Accepted | J. Healy
68 | Luminant | SunGard | 1.15 | 2.2.9.15 | Periodicity? | Accepted | J. Healy | Clarify periodically to explan ERCOT will spot check each resource during steady state operation to assess their governor dead band and bias setting'
69 | Calpine / NRG |  | 1.15 | 2.2.9.15 | …and expected speed droop of 5%. | Accepted | J. Healy
73 | Luminant | SunGard | 1.17 | 2.2.9.17 | ERCOT shall report on the difference between the RUC ordered or COP scheduled start time and the actual start time for each generation resource. by comparing actual start times with the Hour-Ahead COP. These reports are only for information on market performance, no standard for performance is specified. | Accepted | J. Healy
74 | Luminant | SunGard | 1.17 | 2.2.9.17 | Periodicity? | Accepted | J. Healy | Monthly
Section 2 TSP Monitoring Program
76 | CenterPoint | Manny Munoz | 2 | 2.2.10 | TSP Monitoring Program Add TSP to first sentence to have performance evaluated by the TRE. | Accepted | T. Moody
77 | CenterPoint | Manny Munoz | 2 | 2.2.10 | TSP Monitoring Program Modify sentence: All reports will be created on demand by ERCOT when requested by the TRE and will comply with all applicable confidentiality requirements. | Accepted | J. Adams
79 | CenterPoint | Manny Munoz | 2 | 2.2.10 | Last sentence: remove "Resource" from TSP/Resource Monitoring | Accepted | T. Moody
81 | CenterPoint | Manny Munoz | 2.2 | 2.2.10.2 | Real-time data Monitor Modified 1st paragraph to read: ERCOT shall prepare monthly reports describing data performance of TSP's in accordance with the TAC Approved Telemetry Standards. Removed: These reports shall include measurements of each TSP's network observability, measurements describing sum of flows for buses, measurements of telemetry availability and comparison with the metrics established annually by TAC> | Accepted | J. Adams
82 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | Outage Scheduling and coordination monitor (2)(a)(ii) If this refers to Protocol section 3.1.5.3 then this is an ERCOT metric, not a TSP's. Only ERCOT can approve or reject outages. | Accepted | J. Adams
83 | CenterPoint | Manny Munoz | 2.3 | 2.2.10.3 | (2)(b) Move to number 1 above - For those outages approved by ERCOT | Accepted | J. Adams
85 | Calpine / NRG |  | 2.3 | 2.2.10.3 | formatting: change 12 month to 12-month (2 places) | Accepted | J. Adams
86 | Calpine / NRG |  | 2.3 | 2.2.10.3 | (2)(a)(v) Outages requiring forced extension and the reason. | Accepted | J. Adams
88 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(b) Number of NOMCRs rejected by ERCOT (?) and returned to (?) the byTSP | Accepted | J. Adams
90 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | Modified (1)(d) Number of transmission changes accepted by ERCOT via the NOMCR process implemented during the month period. | Accepted | J. Adams
92 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (1) [Need to define what is meant by “success rate”; note that an NOMCR initially approved by ERCOT can fail by either a TSP change or an ERCOT incorrect acceptance of the original NOMCR. Failure rates must be distinguishable between those due to TSP actions vs. those due to ERCOT actions.] | Accepted | J. Adams | 9/5/07: Has not been added in document as of yet
93 | CenterPoint | Manny Munoz | 2.4 | 2.2.10.4 | (3) Deleted with the following comment: State Estimator performance is an ERCOT metric – not the TSP’s. This is already a metric in the ERCOT section. | Accepted | J. Adams
94 | CenterPoint | Manny Munoz | 2.5 | 2.2.10.5 | Black Start procedure monitoring (1) Remove the word annually in the last sentence | Accepted | J. Adams
95 | Calpine / NRG |  | 2.5 | 2.2.10.5 | (1) change "date which" to "date that" | Accepted | T. Moody
96 | CenterPoint | Manny Munoz | 2.6 | 2.2.10.6 | Deleted from the first sentence: "to avoid placing a prolonged burden on ERCOT and other Market Participants" | Accepted | J. Adams
97 | Calpine / NRG |  | 2.6 | 2.2.10.6 | (a) A description of actions to be taken by TSP personnel to avoid placing a prolonged burden on maintain its operational interface with ERCOT and other Market Participants, while operating in back-up control mode. | Accepted | J. Adams
98 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | Compliance with valid Dispatch instructions monitoring. | Accepted | J. Adams
99 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | This verbiage needs to be repeated in the QSE section | Accepted | J. Adams
100 | CenterPoint | Manny Munoz | 2.7 | 2.2.10.7 | ERCOT shall produce reports describing TSP dispatch instruction performance. Each TSP shall comply with all valid applicable dispatch instructions as required under protocols. The ERCOT reports shall include a count of all verbal dispatch instructions for which the TSP was and was not compliant and, for those where they was non-compliance, ERCOT will include the instruction and the response. If ERCOT believe there is a performance problem with a TSP it will document this in an incident report accordingly. | Accepted | J. Adams
101 | Calpine / NRG |  | 2.7 | 2.2.10.7 | Each TSP shall comply with all dispatch instructions as required under the Protocols and Operating Guides. | Accepted | J. Adams
Section 3 ERCOT Monitoring Program
109 | CenterPoint | Manny Munoz | 3 | 2.2.11 | ERCOT Monitoring Program Note: This introduction makes no sense. A description of what is meant by Transmission Control is what is needed here. | Accepted | T. Moody | Removed current intro and replaced with Protocol reference
110 | Calpine / NRG |  | 3.1 | 2.2.11.1 | ...NERC approved Reliability Standards…. | Accepted | T. Moody
112 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(b) (Sustained, Momentary, and total) Are these officially defined somewhere?. | Accepted | K. McIntyre | Added definition of terms.
114 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (1)(c)(i) Change "WE" to ERCOT | Accepted | T. Moody
118 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(ii) Violations of system equipment operating limits for over ten minutes; and | Accepted | J. Adams
119 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2)(a)(iii) Same change as above. Delete "system" and replace with "equipment". | Accepted | J. Adams
120 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (2) [Note that the term “system” should not be assigned entirely to the TSP; A “system” condition may typically involve transmission elements, resources, and ISO operations. | Accepted | J. Adams
123 | CenterPoint | Manny Munoz | 3.1 | 2.2.11.1 | (3) Add the following metrics: (2) ERCOT compliance with Protocol section 3.1.5.3 Timelines for response by ERCOT for TSP requests. (3) ERCOT compliance with protocol section 3.1.5.6 91) Rejection Notice (4) Number of ERCOT Withdrawals of previously Approved Outages as per Protocol section 3.1.5.7 | Accepted | J. Adams | 9/5/07: Metrics need to be defined.
124 | Luminant |  | 3.1 | 2.2.11.1 | (4)(1)Periodicity? | Accepted | K. McIntyre | Monthly
129 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (1)(a) NERC Control Performance Note: in the nodal market, QSEs no longer calculates either an SCE or ACE, so how will ERCOT calculate CPS1 for each QSE?. It would seem that the only legitimate metric for units would be constructed from base point deviation and percentage off base point control without a self-schedule submitted. | Accepted | K. McIntyre | this is a NERC requirement so ERCOT has to do it?copy) 1a - remove "for each QSE"
130 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (1)(b) and (c) Formatting: put hyphen in 15-minute and 5-minute | Accepted | T. Moody
131 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (2) change "time which" to "time that" | Accepted | T. Moody
133 | Calpine / NRG |  | 3.2 | 2.2.11.2 | (5) What is meant by "inflection"? | Accepted | D. Maggio | Added definition of "inflection"
137 | Luminant |  | 3.3 | 2.2.11.3 | ERCOT shall report the Mean Absolute Percent (MAPE) for each individual weather zone each month for the following. | Accepted | T. Moody
140 | CenterPoint | Manny Munoz | 3.7 | 2.2.11.7 | Back-up control plan re-phrase "placing a prolonged burden" (as mentioned several times earlier in the document.) | Accepted | T. Moody
141 | Calpine / NRG |  | 3.7 | 2.2.11.7 | replace "….that avoid placing a prolonged burden on the ERCOT system" with "..that maintain QSE and TSP operational interface with ERCOT and adjacent TSPs. | Accepted | T. Moody
142 | Luminant |  | 3.7 | 2.2.11.7 | Delete 1st paragraph | Accepted | D. Maggio
143 | Luminant |  | 3.7 | 2.2.11.7 | ERCOT shall report to the TRE and ROS by the end of the 1st quarter of each year what QSEs/TSPs have approved back-up procedures on file with ERCOT and the date which they were last updated. | Accepted | D. Maggio
145 | Calpine / NRG |  | 3.7 | 2.2.11.7 | change "date which" to "data that" | Accepted | T. Moody | Changed in document
Section 4 Ancillary services Monitoring Program
149 | Calpine / NRG |  | 4.1 | 2.3.3.1 | Note: See comment on 3.2 | Accepted | K. McIntyre | Deleted "of QSE" and add ERCOT
156 | Calpine / NRG |  | 4.5 | 2.3.3.5 | Note: The IMM might only have an interest in compliance with reactive dispatch instructions if real power output is in question. This deals with reliability and the IMM is specifically tasked with monitoring the markets. (Delete IMM) | Accepted | K. McIntyre
157 | Luminant |  | 4.6 | 2.3.3.6 | Delete "as observed to the TRE" | Accepted | J. Adams