Texas Nodal Market Implementation:

Monitoring Programs for QSEs, TSPs and ERCOT

(To be incorporated into Nodal Operating Guides Section 2 when approved by TAC)

Version 0.02

1	QSE/Resource Monitoring Program	3

1.1    Net dependable real power capability testing	3

1.2    Reactive testing	3

1.3    Real-Time data	4

1.4    Written Black Start Procedures	6

1.5    Compliance with Dispatch Instructions	6

1.6    Supplying and validating data for generator models	6

1.7    Outage Scheduling and Reporting	7

1.8    Generation under-frequency relay coordination	7

1.9    Backup control for Resource Energy Deployment	8

1.10  Resource-specific Non-Spinning Reserve	8

1.11  Qualified staffing requirement	8

1.12  Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS)	9

1.13  Back Up control facility staffing plan, if primary facility unusable	9

1.14  Current Operating Plan metrics, for QSEs;	10

1.15  Testing and performance of governor for Generation Resources	10

1.16  NERC reliability-related assessments	10

1.17  DRUC and HRUC commitment performance	11

2	TSP Monitoring Program	11

2.1  Rating Monitor Program	12

2.2  Real-time data Monitor	12

2.3  Outage Scheduling and coordination monitor	12

2.4  CIM model performance monitor	13

2.5  Black Start procedure monitoring	14

2.6  Back Up control plan monitoring	14

2.7  Compliance with valid Dispatch instructions monitoring	15

2.8  Voltage and Reactive Control Performance monitoring	15

2.9  NERC standards monitoring	16

3 	ERCOT Monitoring Program	16

3.1  Transmission Control	16

3.2  Resource Control	18

3.3  Load Forecasting	20

3.4  System Operating Constraints	21

3.5  Network Operations Model update implementation performance	22

3.6  Network Operations Model validation	22

3.7  Back-up control plan	23

3.8  Written Black-Start Plan	23

3.9  Computer and communication systems Real-Time availability and systems security	23

4	Ancillary Services Monitoring Program	23

4.1  Regulation Control Performance	24

4.2  Hydro responsive testing, for QSEs	24

4.3  Black Start Service requirements, for TSPs, QSEs and Generation Resources	24

4.4  Resource-specific Responsive Reserve performance for QSEs and  Resources	24

4.5  Voltage and Reactive support performance for QSEs and Generation Resources	25

4.6  Constant Frequency Control	25

# 1	QSE/Resource Monitoring Program

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

- ERCOT shall develop a TAC-approved QSE/Resource monitoring Program to be included in the Operating Guides. The metrics developed by ERCOT and approved by TAC must include the provision of this Subsection.

The Texas Regional Entity (TRE) shall evaluate the ERCOT ISO functions and participant performance in accordance with the ERCOT Protocols, Operating Guides, and NERC and Regional Reliability Standards, and shall report to the Public Utility Commission of Texas, the NERC, and the ERCOT Board as defined in their approved procedures. ERCOT Inc. shall report to the TRE as described in the “ERCOT Compliance Process” currently approved by the Public Utility Commission of Texas.  Reports may be created on demand by ERCOT when requested by the TRE and will comply with the confidentiality requirements found in the ERCOT Protocols.

The QSE/Resource Monitoring Program describes the process by which TRE assesses QSEs’ compliance and performance and ERCOT’s role in support of this program.

QSEs are responsible for the accuracy of the data they provide to ERCOT and the TRE.

The following areas shall be covered by the program.

- 1.1	Net dependable real power capability testing

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (a) Net dependable real power capability testing for QSEs and Resources

ERCOT shall produce reports annually which present the test results provided by the QSE.  The QSE shall provide these results to ERCOT upon completion of NDC testing which shall occur in compliance with the ERCOT Protocol 8.1.2.2.

- 1.2	Reactive testing

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (b) Reactive testing, for Generation Resources

The QSE shall provide Unit name, QSE, Date, time, tested capability, reported time and CURL and URL information. ERCOT shall produce reports annually which describe when the last reactive capability test took place, what the MW and MVAR outputs were during the test period, how long the output was held, and a minimum of 4 MW/MVAR pairs describing the CURL of the unit.  This data shall be provided by the QSE to ERCOT when reactive testing indicates a change in unit capability and at a minimum of once every 2 years.

- 1.3 	Real-Time data

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (c) Real-Time data for QSEs:

- (i) 	Telemetry standards;

- (ii) 	Communication system;

- (iii)	Operational Data Requirements required under Section 6.5.5.2, Operational Data Requirements.

ERCOT shall produce reports describing real time performance of QSE’s.  These reports shall include measurements of telemetry availability and comparison with the performance metrics established annually by the TAC.

(1)	Telemetry Standards

(a)	ERCOT shall produce reports as required describing compliance with the TAC approved Telemetry Standards for QSEs.  Included in these reports shall be:

(i)	Electrical Buses not meeting telemetry performance criteria;

(ii)	Quarterly telemetry availability statistics; and

(iii)	Critically important telemetry availability statistics.

(2) 	Communication Systems

ERCOT shall produce reports monthly describing the percentage availability of each participants ICCP data link to ERCOT.

(3) 	Operational Data Requirements

ERCOT shall produce reports for the Operational Data Requirements as listed in the Protocols.

(a) 	ERCOT shall produce reports describing Resource Telemetry availability.

(b)	ERCOT shall produce reports describing Ancillary Service Performance including:

(i) 	General – Resource specific reports on the difference between energy deployments and actual performance by five-minute average MW and per cent deviation, expressed as a monthly average of five-minute intervals inside these bounds.

(ii)	Regulation – Resource specific the difference between energy deployments and actual performance by five-minute average MW and per cent deviation, expressed as a monthly average of five-minute intervals inside these bounds.

- Responsive Reserve

  - Capacity – ERCOT shall prepare reports describing each occurrence of available Responsive Reserve falling below the amount the resource is obligated to supply.

  - Deliverability– ERCOT shall prepare reports describing each occurrence of Responsive Reserve committed to a resource that would be unable to deliver the energy within 10 minutes.

  - Availability - Resource specific and QSE summary reports by resource type describing % of deployed resource schedules adjusted to make them available to SCED, or load resource shed thirty (30) seconds after deployment by ERCOT. These reports shall be produced for each deployment event and for average performance across a time period. These reports will normally be produced and provided to the appropriate TAX subcommittee on a monthly basis.

d.   Respond to frequency- ERCOT shall measure and report a resources response to frequency deviations exceeding  -.1 Hz describing the droop characteristic of the resource in comparison to expected response from the resource bias setting, and the acceptable droop characteristics.  Responsive reserve from load resources will be evaluated and a report shall be generated for instances when the resource did not respond, did not respond within +/-.5 seconds, or did not respond within +/- .005 Hz from the relay setting.

- Deployment – ERCOT shall produce reports describing each date, time, and duration in which Responsive Reserve was deployed.

(iv)	Non-spin – ERCOT shall produce Resource specific and QSE summary reports describing nonspin deployed by resource, and the resource response after 30 minutes.  Reports shall detail the Non-spin schedule and actual generation (or load) at time of deployment, the resource specific deployment, the non-spin schedule 30 minutes after deployment, the MW setpoint 30 minutes after deployment, and the actual generation (or load) 30 minutes after deployment, and the MW setpoint and actual generation (or load) at the recall of the Non-Spin deployment.

(v)	DSR monitoring – DSR Load signal failures greater than 5 minutes will be recorded.  Reports shall be generated describing the monthly availability performance.

- 1.4   Written Black Start Procedures

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (d)	 Written Black Start procedures, for QSEs that represent Generation Resources and for Generation Resources;

ERCOT shall produce reports annually containing record(s) of the most recent black start procedure submitted by the QSE including the QSE and PGC name, plant name, and date the procedure was received.  The QSE shall provide an updated black start procedure to ERCOT annually and when the procedure has changed.

- 1.5    Compliance with Valid Dispatch Instructions

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (f)	 Compliance with Dispatch Instructions, for QSEs;

ERCOT shall produce reports describing QSE and Resource dispatch instruction performance.  Each QSE shall comply with valid dispatch instructions as required under the Protocols and Operating Guides.  The ERCOt reports shall include a count of all verbal dispatch instructions for which the TSP was and was not compliant and, for those where they were non-compliant, ERCOT will include  the instruction and response.

If ERCOT believes there is a performance problem with a QSE it will document this accordingly.

- 1.6   Supplying and validating data for generator models

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (i)	 Supplying and validating data for generator models, as requested, for Generation Resources;

ERCOT shall record when the Resource Asset Registration Form (RARF) was received, and when dynamic response information is received at ERCOT.  ERCOT shall create reports to present this data.  ERCOT shall provide the RARF data, dynamic model and steady state model data to the respective TDSP planning functions as requested by the TDSPs.

- 1.7  Outage Scheduling and Reporting

(1)	       Twelve-month Outage planning:

(a)	ERCOT shall produce a report monthly which lists the Planned Outage or Maintenance Outage plan as referenced by the Protocols.

(b)	ERCOT shall prepare a report describing how far in advance outages are requested by the QSE.  Requests will be broken into three categories:

(i)	Requests Submitted or updated in the ERCOT Outage Scheduler 30 days or more in advance of the desired outage date;

(ii)	Requests Submitted or updated in the ERCOT Outage Scheduler 8 days or more in advance and less than 30 days in advance of the desired outage date; and

(iii) 	Requests Submitted or updated in the ERCOT Outage Scheduler less than 8 days in advance of the desired outage date.

(iv)	Requests submitted less than 3 days in advance.

(2)		Outage Reporting

(a)	ERCOT shall produce a report summarizing:

(i)   	Outages requested, approved, and canceled by outage type;

(ii)	Outages requested and not approved within the protocol required time ranges;

(iii)	Outages completed early;

(iv) 	Outages which extended past their initially requested time frame; and

(v)	Outages requiring forced extension.

- 1.8  Generation under-frequency relay coordination

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (m)	Generation under-frequency relay coordination as specified in the Operating Guides for Generation Resources

ERCOT shall survey generation resources that trip during frequency deviations between 59.8 and 59.4 Hz.  ERCOT shall produce a report listing units which went offline while frequency was in this range without an approved outage.  These reports shall be provided to the PDCWG at its request for use under a signed NDA.

- 1.9  Backup control for Resource Energy Deployment

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (n)	The backup control for Resource energy deployment due to loss of communication with ERCOT, to be tested by ERCOT randomly at least once a year for QSEs with Resources

- ERCOT shall produce a report identifying the date of backup control testing and the success or failure of that test.  Results shall be provided by the QSE to ERCOT at the completion of all tests.  Backup control tests should be conducted at least annually.

- 1.10  Resource-specific Non-Spinning Reserve

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (o)	Resource-specific Non-Spinning Reserve (Non-Spin) performance, for QSEs and Resources

Non-Spin Resource specific summary reports describing Non-Spin deployed by Resource, and the Resource response after 30 minutes shall be produced by ERCOT.  Reports shall detail the Non-spin schedule and actual generation (or load) at time of deployment, the Resource specific deployment, the non-spin schedule 30 minutes after deployment, the MW set-point 30 minutes after deployment, and the actual generation (or load) 30 minutes after deployment.  Each Resource shall meet at all times the Non-Spin energy deployment criteria as described in the Protocols.

- 1.11  Qualified staffing requirement

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (p)	Twenty-four hours per day, seven days per week qualified staffing requirement, as described in the Operating Guides, for QSEs

A QSE shall maintain a 24x7 scheduling center with qualified personnel with the authority to commit and bind the QSE.  ERCOT shall report to the TRE, through the Incident Report process, instances of suspected non-compliance.

- 1.12  Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS)

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (q)	Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) requirements, for QSEs and Generation Resources

ERCOT shall record QSE provided AVR and PSS test reports which will include:

(a) 	The minimum and maximum excitation limiters;

(b)	Volts/hertz settings;

(c)	Gain and time constants;

(d)	Type of voltage regulator control function;

(e)	Date tested;

(f)	Voltage regulator control setting;

(g)	PSS tuning parameters; and

(h)	PSS control setting.

ERCOT shall produce a report that will identify resources that have not submitted test reports within the last 60 months.

- 1.13   Back Up control facility staffing plan, if primary facility unusable

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (r)	Staffing plan for a backup control facility or procedures in the event that the primary facility is unusable, for QSEs

ERCOT shall record the QSE name and the date in which the most recent plan was received and shall produce a report annually, in accordance with the Operating Guides.

- 1.14  Current Operating Plan metrics, for QSEs

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (t)	Current Operating Plan metrics, for QSEs

(1)	ERCOT shall produce resource specific and QSE summary based reports on the difference between day ahead COP and real-time status excluding RUCed units by QSE.  These reports are produced for information only.

(2)	ERCOT shall produce load resource specific and QSE summary based reports for Load resource performance.

- 1.15  Testing and performance of governor for Generation Resources

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (u)	Testing and performance of governor under the Operating Guides, for Generation Resources

ERCOT shall monitor governor response performance for governor frequency deadband (+/- 0.036Hz) and expected speed droop of 5%.  ERCOT will periodically monitor each units governor response performance measured as the delta of the actual energy delivered and the expected and shall produce reports on this performance.  ERCOT will spot check each resource during steady state operation to assess their governor dead band and bias setting.  These reports shall recognize units operating at their HSL are not expected to responds with a 5% droop and identify those units.

- 1.16  NERC reliability-related assessments

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (v)	Other NERC or ERCOT reliability-related assessments, for QSEs and Generation Resources

- TRE shall post reliability assessments regarding compliance with the NERC reliability standards.

- 1.17  DRUC and HRUC commitment performance

Reference:  Protocol Section 8.1, QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (w)	DRUC and HRUC commitment performance by QSEs for Generation Resources

ERCOT shall report monthly on the difference between the RUC ordered start time and the actual start time for each generation.

# 2	TSP Monitoring Program

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

(1)	ERCOT shall develop a TAC-approved TSP monitoring Program to be included in the Operating Guides for TSPs.  The metrics developed by ERCOT must include the following elements of transmission system planning, operations and maintenance (see additional 2.* sections)

The Texas Regional Entity (TRE) shall evaluate the ERCOT ISO and TSP participant performance in accordance with the ERCOT Protocols, Operating Guides, and NERC Reliability Standards, and shall report to the Public Utility Commission of Texas, the NERC, and the ERCOT Board as defined in their approved procedures. ERCOT Inc. shall report to the TRE as described in the “ERCOT Compliance Process” currently approved by the Public Utility Commission of Texas.  All reports will be created on demand by ERCOT when requested by the TRE and will comply with all applicable confidentiality requirements.

The TSP Monitoring Program describes the process by which TRE assesses TSPs’ compliance and performance and ERCOT’s role in support of this program.

- 2.1  Rating Monitor Program

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

- (1)(a)  Transmission Element rating calculations

TSPs shall submit their equipment rating methodology to ERCOT in the first quarter of each year or provide notice that the rating methodology has not changed since the previous year.  ERCOT shall keep records describing the rating methodologies of each TSP in ERCOT. ERCOT will prepare an annual report summarizing these rating methodologies.  ERCOT shall post all TSP rating methodologies on the MIS.

- 2.2  Real-time data Monitor

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

(1)(b) Real-Time data:

(i)	Meeting telemetry standards, including the installation of new measurement equipment and the accuracy of measurements

(ii)	Communications system availability

ERCOT shall prepare monthly reports describing data performance of TSP’s in accordance with TAC Approved Telemetry Standards.

- 2.3  Outage Scheduling and coordination monitor

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

(1)(c)  Outage scheduling and coordination; TSP Outage planning and scheduling statistics must have less weight the further out these statistics are from the Planned Outage date

(1)	       Twelve-month Outage planning:

(a)		ERCOT shall produce  reports which list the contents of the Planned Outage or Maintenance Outage plan provided by the TSP for the next 12 months.  These plans shall be provided by the TSP to ERCOT a minimum of monthly for a rolling 12-month period.  These monthly updates shall

(b)	ERCOT shall prepare a report showing what months the 12-month outage plan was submitted or updated for each TSP.

(c)	ERCOT shall prepare a report describing how far in advance outages are requested by the TSP.  Requests will be broken into three categories:

(i)	Requests submitted or updated in the ERCOT Outage Scheduler 30 days or more in advance of the desired outage date;

(ii)	Requests submitted or updated in the ERCOT Outage Scheduler 3 days or more in advance and less than 30 days in advance of the desired outage date; and

(iii)	Requests submitted or updated in the ERCOT Outage Scheduler less than 3 days in advance of the desired outage date.

(2)		Outage Reporting

(a)	ERCOT shall produce a report summarizing:

(i)   	Outages requested, approved, and canceled by outage type;

(ii)	Outages completed early;

(iii) 	Outages which extended past their initially requested time frame; and

(iv)	Outages requiring forced extension and reason.

- 2.4  CIM model performance monitor

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

(1)(d)  Compliance with model update requirements, including provision of network data in CIM compatible format and consistency with the Transmission Element naming convention developed in accordance under Section 3, Management Activities for the ERCOT System.

(1)	ERCOT shall prepare monthly reports summarizing the performance of the CIM modeling process.  Included in these reports shall be:

(a)	Number of NOMCRs submitted by TSP;

(b)	Number of NOMCRs rejected by ERCOT and returned to the TSP;

(c)	Number of transmission changes proposed for effect during the month period; and

(d)	Number of transmission changes accepted by ERCOT via the NOMCR process and implemented during the month period.

Each TSP shall maintain an annual NOMCR rejection rate below 5% after the first 6 months of nodal market operation.  ERCOT shall implement approved transmission changes in the scheduled month with a greater than 99% success rate.

(2)	ERCOT shall post reports showing individual TSP performance on the MIS Secure area.

- 2.5  Black Start procedure monitoring

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

- (1)(f)  Written Black Start Procedures and system capacity and energy emergency procedures

(1)	ERCOT shall report to TRE and ROS in the 1st quarter of each year what TSPs have black start procedures on file with ERCOT and the date that they were last updated.  The TSP shall provide an updated black start procedure to ERCOT when the procedure has changed.

(2)	ERCOT shall report the status of ERCOT’s black start plan and the status of black start training for TSPs.

- 2.6  Back Up control plan monitoring

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

- (1)(g)  Back-up control plan

TSPs shall provide a back-up plan and update it annually to ensure it includes, at a minimum:

(a)	A description of actions to be taken by TSP personnel to maintain its operational interface with ERCOT and other Market Participants, while operating in back-up control mode;

(b)	A description of specific functions and responsibilities to be performed to continue operations from an alternate location;

(c)	Procedures and responsibilities for maintaining basic voice communications capabilities with ERCOT; and

(d)	A description of the connectivity to the ERCOT WAN Frame Relay and Point-to-point paths, and

(e)	Procedures for back-up control function testing and the training of personnel.

ERCOT shall record the TSP name and the date in which the most recent plan was received and shall produce a report with information provided by the TSP.

- 2.7  Compliance with valid Dispatch instructions monitoring

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

- (1)(h)  Compliance with Dispatch Instructions

ERCOT shall produce reports describing TSP dispatch instruction performance. Each TSP shall comply with valid dispatch instructions as required under the Protocols and Operating Guides.  The ERCOT reports shall include a count of all verbal dispatch instructions for which the TSP was and was not compliant and, for those where they were non-compliant, ERCOT will include the instruction and the response.

If ERCOT believes there is a performance problem with a TSP it will document this accordingly.

- 2.8  Voltage and Reactive Control Performance monitoring

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

- (1)(i)  Voltage and Reactive control performance

TSPs will monitor system voltages and shall operate voltage control equipment, including, but not limited to, capacitors, reactors, and transformer tap changers to maintain system voltages within normal range of the voltage profile.  ERCOT shall monitor voltage violations, N-1 voltage violations, reactive reserves, and import margins to voltage constrained areas.  ERCOT shall produce reports summarizing:

(a)	Number of real-time voltage violations and metrics describing duration of such violations;

(b)	Number of N-1 voltage based security violations and metrics describing duration of such violations;

(c)	Metrics describing reactive reserve in voltage constrained areas; and

(d)	Metrics describing N-1 import limitations in voltage constrained areas.

- 2.9  NERC standards monitoring

Reference:  Protocol Section 8.3,TSP Performance Monitoring and Compliance

(1)(j)  Other NERC standards and Operating Guides requirements, as applicable

- TRE shall produce a report on TSP performance for applicable approved NERC Reliability Standards.

# 3 	ERCOT Monitoring Program

Reference:  Protocol Section 82,ERCOT Performance Monitoring and Compliance

(1)	TAC, or a subcommittee designated by TAC, shall continually review the WEMM’s assessments of ERCOT’s operations and ERCOT’s performance in controlling the ERCOT control Area according to requirements and criteria established by the Operating Guides and NERC policy and standards operating of Control Areas (see additional 3.* sections)

## 3.1  Transmission Control

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(a)  Transmission control:

(i)	Transmission system availability objectives

(iii)	NERC transmission metrics (e.g., monitoring and managing rated paths)

(iv)	Other transmission monitoring and control metrics

(v)	Metrics describing how to minimize uplift to markets caused by transmission operations

(vi)	Metrics describing performance of the State Estimator.

Nothing in this section precludes ERCOT from operating within the requirements of NERC approved Reliability Standards or Protocol language describing restrictions on protected information.

(1) 		Transmission system availability objectives:

The common metrics listed below will be reported by TSPs to ERCOT to describe the performance of each Element for the reporting year.

(a)	Elements to be reported must be one of the following:

(i)	AC Circuits > 200 kV (Overhead and Underground Circuits).  Radial circuits are included;

(ii)	Transformers with > 200 kV low-side voltage; and

(iii)	DC Circuits with > +/-200 kV DC voltage.

(b)	Outage frequency per Element (Sustained, Momentary, and total).  Monetary Outages have durations less than one minute and all other automatic outages will be classified as Sustained.  Consider only Automatic Outages, which are outages triggered by automatic protection devices(s), resulting in a normally in-service Element that is not in an In-Service State; i.e., there is a partial or full loss of continuous power flow through the Element to the system.

(c) 	Outage frequency/100 Circuit Miles (Sustained, Momentary, and total).  In addition, also compute the number of multiple circuit outages per 100 Multi-Circuit Structure Miles.

(i)	ERCOT will supplement the “per 100 mile” calculations with calculations that will remove outages not related to circuit mileage.

(d)	For Sustained Outages:

(i)	Outage Duration per Element;

(ii)	Mean Time Between Failure – MTBF;

(iii)	Mean time to Repair – MTTR; and

(iv)	Median Time to Repair – MdTTR.

(e)	Percent Availability

(f)	Percent of Elements with zero outages

(g)	Percent of Element outages that were associated with a disturbance report.

(2)		NERC transmission metrics

(a) 	ERCOT shall prepare a monthly report on the following:

- Transmission equipment ratings that are exceeded;

(ii)	Violations of equipment operating limits for over ten minutes; and

(iii) 	Violations of equipment operating limits following a contingency for over thirty minutes.

(3)		Other transmission monitoring and control metrics

(a)		ERCOT shall prepare reports describing:

(i)	The number of forced outages by transmission provider by month;

(ii)	Vegetation-related outages by transmission provider by NERC category by month; and

(iii)	Any overloaded elements detected during the month, the time duration of the loading above normal operating limit, the (average) operating limit exceeded, if the element was dynamically rated, and the average percentage loading.

(b)		ERCOT compliance with Protocol section 3.1.5.3 timelines for response by ERCOT for TSP requests.

(c)		ERCOT compliance with Protocol section 3.1.5.6.9.1 Rejection Notice

(d)		Number or ERCOT Withdrawals of previously Approved Outages as per Protocol section 3.1.5.7

(4)		Minimizing uplift to markets caused by transmission operations

(a)		ERCOT shall report monthly on:

(a)	RUC charges uplifted;

(b)	Voltage support charges uplifted; and

(c)	Uplift charges due to verbal dispatch instructions (instructed deviation from base point) on a monthly basis.

(5)		State Estimator Performance Metrics

ERCOT shall report State Estimator performance in accordance with the TAC approved standard and post it on the MIS Secure Site.

## 3.2  Resource Control

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(b) Resource control:

(i)	Regulation control metrics

(a)	NERC control performance

(b)	Average sum of Reg-Up and Reg-Down energy near zero

(c)		Total amount of Reg-Up energy deployed and the total amount of Reg-Down energy deployed in each Settlement Interval.

(ii)	Metrics for Reserve monitoring as described in Section 8.1, QSE/Resource Performance Monitoring and Compliance

(iii)	Metrics describing RUC commitments and deployments

(iv)	Metrics describing the performance of Dynamically Scheduled Resources

(v)	Metrics describing conflicting instructions to Generation Resources from interval to interval

(vi)	NERC generation control metrics for the ERCOT Control Area (e.g., CPS, and DCS or their successors)

(vii)	Metrics describing the overall Resource response to frequency deviations in the ERCOT Region

(1) 		Resource Control Metrics:

(a) 		NERC Control Performance

ERCOT shall produce a report of the monthly average of CPS1.  ERCOT shall produce Resource specific control metric as required in the Protocols.

- Average sum of Reg-Up and Reg Down energy

ERCOT shall report for each month the difference between the 15-minute average monthly sum of Up Regulation energy deployed and the 15-minute average monthly sum of Down Regulation energy deployed for each 15-minute interval of the day.

(c)		Total Reg Up/ Reg Down per interval

ERCOT shall develop a monthly report detailing the total amount of Up Regulation energy deployed and the total amount of Down Regulation energy deployed for each 5-minute interval of the day.  Intervals in which deployed regulation exceeds twice the maximum load change with no system disturbances will be reviewed to identify the cause.

(2)	Reserve Monitoring

ERCOT shall prepare reports describing amounts of time that it operated without sufficient reserves as defined in the Protocols.

(3)		RUC commitments and deployments

ERCOT shall report resources committed in the RUC process, including resource name, intervals deployed, process in which the resource was committed, and any deviation from resources committed and actual resource status.

(4)		DSR Performance

ERCOT shall produce reports for DSR Load signal failures of more than five minutes.

ERCOT shall also produce reports for instances when a QSE has not adjusted a DSRs Output Schedule to reflect the amount of Non-Spin deployment when providing Non-Spin.

(5)		Conflicting Instructions to Generation Resources for interval to interval

ERCOT shall record instances of dispatch instructions to resources not providing Regulation Service in which there is an inflection in the instruction for 5 consecutive intervals for validation and review.  Inflection is defined as a reversal in ramp direction between consecutive intervals.

(6)		ERCOT wide CPS and DCS

ERCOT shall report monthly the 12 month rolling average of CPS1 and CPS2 and quarterly compliance with the NERC DCS requirement.

(7)		ERCOT Wide Frequency Response to measurable frequency events

ERCOT shall report monthly the resulting system performance for each measurable frequency event.  The reports will be forwarded to the relevant subcommittee and TRE for review. DCS events will be reported quarterly in compliance with the NERC DCS requirements.

## 3.3  Load Forecasting

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

2(c)  Load forecasting;

(i)	The accuracy of each day’s load forecast posted at 0600 in the Day-Ahead of the Operating Day as compared with the actual ERCOT load for each hour of the Operating Day; and

(ii)	Accuracy of the Load forecast used for Day-Ahead RUC compared to the actual ERCOT Load for each hour of the Operating Day.

(iii)	The accuracy of the Load forecast for the following items compared to the average of the State Estimator Load at each Electrical Bus for each hour:

(a)	Hourly Load forecast used in the Day-Ahead RUC by Load Zone;

(b)	Hourly Load forecast used in the Day-Ahead RUC by Weather Zone;

(c)	Hourly Load forecast used in the Hourly RUC by Load Zone;

(d)	Hourly load forecast used in the Hourly RUC by Weather Zone;

(e)	the accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Load Zone; and

(f)	The accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Weather Zone.

ERCOT shall report the Mean Absolute Percent Error (MAPE) for each individual weather zone will be reported each month for the following:

(a) 		The accuracy of each day’s Load forecast posted at 0600 in the Day-Ahead of the Operating Day as compared with the actual ERCOT Load for each hour of the Operating Day;

(b)		Accuracy of the Load forecast used for Day-Ahead RUC compared to the actual ERCOT Load for each hour of the Operating Day; and

(c) 		The accuracy of the Load forecast for the following items compared to the average of the State Estimator Load at each Electrical Bus for each hour:

(i)		Hourly Load forecast used in the Day-Ahead RUC by Load Zone;

(ii)		Hourly Load forecast used in the Day-Ahead RUC by Weather Zone;

(iii)	Hourly Load forecast used in the Hourly RUC by Load Zone;

(iv)	Hourly Load forecast used in the Hourly RUC by Weather Zone;

(v)		The accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Load Zone; and

(vi)	The accuracy of the Load forecast used in the Day-Ahead RUC for the largest MW and MVA differences between the hourly Bus Load Forecast and the Real-Time Load at each Electrical Bus, by Weather Zone.

## 3.4   System Operating Constraints

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(d)  System Operating Constraints:

(i)	Comparison of system operating limits identified as constraining limits in the Day-ahead Market to system operating limits identified as constraining limits in the Real-Time Market;

(ii)	Comparison of system operating limits identified as constraining limits in the Hourly RUC to system operating limits identified as constraining limits in the Real-Time Market;

(iv)	Comparison of system operating limits identified as constraining limits in the Day-ahead RUC to the level the corresponding system parameter was operated in the Real-Time Market;

(v)	Comparison of system operating limits identified as constraining limits in the    Hour-Ahead Market to the level the corresponding system parameter was  operated in the Real-Time Market;

ERCOT shall report the following comparisons with respect to Real-Time operations as they occur:

(a) 	Three consecutive days of congestion in Real-Time not identified in the Day Ahead market;

(b)  	Three consecutive hours of congestion in Real-Time not identified in the HRUC process; and

(c)	Two consecutive days of congestion in Real-Time not identified in the DRUC process;

Congestion is defined as the exceeding of operating limits identified as constraining limits.

## 3.5   Network Operations Model update implementation performance

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(f)  Performance in implementing network model updates

ERCOT shall report monthly on the Network Operations Model update implementation performance.  The report shall include the total number of Network Operations Model Change Requests (NOMCR) submitted, approved, rejected, withdrawn and any other status contained in the Protocols or defined by ERCOT.  The report shall also include the number of Interim Updates and reasons provided (previously included in Protocol required PUC reports) for the Interim Updates provided by the Market Participants.   The timeline defined in the Protocols shall be used in the performance evaluation.

## 3.6	Network Operations Model validation

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(g)		Network Operations Model validation, by comparison to other appropriate models or other methods;

ERCOT shall report model update requests discovered during the Market Participant test period defined in the Protocols.  The report shall include the number of updates submitted, the number accepted as submitted, and the number returned for correction monthly.

## 3.7	Back-up control plan

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(h)		Back-up control plan

ERCOT shall report by the end of the 1st quarter of each year what QSEs/TSPs have approved back-up procedures on file with ERCOT and the date that they were last updated.

ERCOT shall report the status of ERCOT’s back-up plan and the status of back-up training for QSEs/TSPs.

## 3.8	Written Black-Start Plan

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(i)		Written Black-Start plan

ERCOT shall report Computer and communication systems Real-Time availability and systems security in accordance with Approved NERC CIP Standards.

## 3.9	Computer and communication systems Real-Time availability and systems security

Reference:  Protocol Section 8.2,ERCOT Performance Monitoring and Compliance (In Part)

(2)(k)		Computer and communication systems Real-Time availability and systems security

ERCOT shall establish processes and procedures for Computer and communication systems Real-Time availability and systems security that include testing, documentation, and reporting processes in accordance with NERC CIP Standards.

# 4	Ancillary Services Monitoring Program

Reference:  Protocol Section 8.1.2,QSE Ancillary Service Performance Standards (In Part)

… ERCOT shall develop a TAC-approved Ancillary Service monitoring program to evaluate the performance of QSEs and Resources providing Ancillary Services

- 4.1  Regulation Control Performance

Reference:  Protocol Section 8.1,QSE/Resource Performance Monitoring and Compliance (In Part)

(3)     ERCOT shall monitor the following categories of performance and compliance:

- (e)	Regulation control performance, for QSEs and as applicable, Resource-specific performance

(1)	ERCOT shall produce hourly, monthly and yearly reports of QSE and Resource specific CPS1 and CPS2 metrics.

(2)	ERCOT shall produce reports on the metrics for Regulation Control Performance as described in the protocols.

- 4.2  Hydro responsive testing, for QSEs

Reference:  Protocol Section 8.1,QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (g)	Hydro responsive testing, for QSE’s

ERCOT shall produce reports of Hydro responsive tests and verify results submitted by QSE for qualification and compliance.

- 4.3 Black Start Service requirements, for TSPs, QSEs and Generation Resources

Reference:  Protocol Section 8.1,QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

(h)	Black Start Service requirements, for QSEs and Generation Resources

- ERCOT shall produce reports containing record(s) of if and when a black start procedure was last received at ERCOT including the QSE or TSP name and date procedure received.  The QSEs participating in black-start service and TSPs shall provide an updated black start procedure to ERCOT annually and when the procedure has changed.

- 4.4  Resource-specific Responsive Reserve performance for QSEs and  Resources

Reference:  Protocol Section 8.1,QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

- (k)	Resource-specific Responsive Reserve performance for QSEs and Resources

ERCOT shall produce reports detailing Resource specific Responsive Reserve performance, for both capacity deployment and energy delivered.  Each Resource shall meet at all times the Responsive Reserve capacity and energy deployment criteria as described in the Protocols.

## 4.5 Voltage and Reactive support performance for QSEs and Generation Resources

Reference:  Protocol Section 8.1,QSE/Resource Performance Monitoring and Compliance (In Part)

(3)	ERCOT shall monitor the following categories of performance and compliance:

(l)	Voltage and Reactive support performance for QSEs and Generation Resources

TRE shall produce reports detailing Voltage instructions issued by ERCOT that were not followed by the QSE. ERCOT shall report these instances of non-compliance.

## 4.6 Constant Frequency Control

Reference:  Protocol Section 8.1.2.2.2,Regulation service (In Part)

(2)	A QSE shall demonstrate to ERCOT that they have the ability to switch control to constant frequency operation as specified in the Operating Guides using telemetry at the QSE’s control center.

ERCOT shall survey QSEs qualified to provide ancillary services to attest that the QSEs AGC has the capability to operate in constant frequency control mode.  ERCOT shall report instances of non-compliance as observed to the TRE.