## Slide 1: ROS Report to TAC
Stuart Nelson
September 6, 2007

## Slide 2: General Items
Reviewed draft Nodal Operating Guides
Approved Temperature Dependent Responsive Discount Factor Proposal
Dynamic Stability Study Scope
Delegation of NERC Transmission Operation Functions
Potential workshop on Telemetry Criteria and State Estimator Performance Standards – September 17, 2007

## Slide 3: OGRR
Approved OGRR194 – Wording Changes to Make All Parts of Section 7 Consistent
Approved OGRR197 – Conforming Operating Guides to Protocol Section 21 and Other Market Guides
OGRR198 – Firm Load Shed Implementation Time Periods

## Slide 4: EECP Event – August 1, 2007
Event occurred between 14:22 and 15:40
770 MW Unit A trip at 11:19 AM
740 MW Unit B trip at 14:21 PM
1265 MW of Non-Spin Reserves was deployed at 14:30 (requested at 14:07)

## Slide 5: EECP Event – August 1, 2007
Day Ahead Load Forecast versus Real-Time Load was short only by 981 MW for hour 15:00 – higher temperatures than expected

## Slide 6: EECP Event – September 5, 2007
Note: Information on this slide is subject to revision
Event occurred between 8:04 and 9:33
High wind (potentially tornado) caused the loss of 1083MW of generation (2 units)
LaaRs were deployed
May qualify as NERC DSC Event

## Slide 7
? QUESTIONS ?