| OGRR Number | 198 | OGRR Title | Firm Load Shed Implementation Time Periods |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 06/29/07 |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project required. This Operating Guide Revision Request (OGRR) can take effect upon TAC approval. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. This change can be accommodated with existing staffing. |  |
| ERCOT Computer System Impacts |  | No system changes required. |  |
| ERCOT Business Function Impacts |  | ERCOT Operations will not experience system or procedure change impact as a result of this OGRR. |  |
| Grid Operations & Practices Impacts |  | None. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

Feasibility of Implementation

Impact on Resource Availability: Impact on Other Projects:

Comments

This OGRR adds language to the current ERCOT Operating Guides to provide maximum time periods allowed for firm load shed implementation by Transmission and/or Distribution Service Providers (TDSPs) at the request of ERCOT System Operators when in EECP Step 4.