## Slide 1: TPTF Update for TAC September 6, 2007 Trip Doggett

## Slide 2: Agenda
Item | Description | Purpose
1. Meeting Summary | Summary of recent TPTF activities | For review
2. Next Meetings | Upcoming activities | For review
3. Approval of Readiness Metrics | On August 29, TPTF recommended that ERCOT move forward with the metrics MP2, MP3, MP5 and the modified metrics E1, E6, E8, E9, MP11, MP14, N1 as recorded in the Active Metric Inventory v0.91. Request TAC Approval | For Vote
4. Approval of proposed changes to TPTF Charter | On June 27, TPTF approved a motion to present proposed changes to the TPTF Charter On August 29, TPTF approved revisions to the TPTF Charter as modified by TPTF on 08/29/07. Request TAC Approval | For Vote
5. Approval of Milestones | Request TAC approval of the following Milestones – EMS Business Requirements complete: Generation Subsystem Requirements Specification v1.2; Energy Management System Requirements Specification v1.2; State Estimator Requirements Specification v1.2; Wind Power Forecasting Requirements Specification v1.2; Network Security and Stability Analysis Requirements Specification v1.1; Load Forecasting Requirements Specification v1.1. CRR Business Requirements v1.92 complete CRR CSD v1.07 complete | For Vote
6. Close Action Item | TPTF to report back to TAC after NMMS business process document discussions with ROS and WMS | For review

## Slide 3
Meeting Summary
Meetings August 13-14 and August 27-29
On August 13, TPTF discussed the following:
  Nodal Program Update
  Update from 080207 TAC Meeting re: delay in Charter vote
  Update on BOD decision re: NPRR049 and NPRR061
  NPRR077, Incorporating ERCOT Internal Audit Department and other clarifications
  Commercial Systems (COMS) Update
    Nodal Settlements Mini-Market Examples
    COMS Update
    Market Management System (MMS) to COMS Interface
    Common Information Model
  Network Model Management System (NMMS) Update
  Registration / RARF Update
  Readiness Metrics Update
    Readiness Metrics
    Metrics Scorecard Iteration 1 – Beta Release

## Slide 4
Meeting Summary – August 13 (continued)
On August 13, TPTF discussed the following:
  Current Nodal Program Schedule and Recent Changes
  Enterprise Data Warehouse (EDW) Data Archival And Reporting Requirements Update
  Draft NPRR to modify language for Electrical Bus in Outage Scheduler Section 3.1.5.1

## Slide 5
Meeting Summary – August 14
On August 14, TPTF discussed the following:
  Training Update
  Proposed revisions to the Training Course Curriculum Document
    On August 14, TPTF moved to approve the proposed changes to the Training Curriculum Document v2.0 as discussed by TPTF on August 14, 2007 with the modifications proposed by TPTF. The motion carried by roll-call vote, with 100% in favor and one abstention (TXU). All Market Segments, except Consumer, were represented.
  Initial Review of Draft Nodal Monitoring Program for TSPs, QSEs, and ERCOT
  Draft NPRR to modify language for Electrical Bus in Outage Scheduler Section 3.1.5.1
    On August 14, TPTF approved the draft NPRR for revised Electrical Bus language in Nodal Protocols Section 3.1.5.1 to be forwarded to PRS. The motion carried by roll-call vote, with 100% in favor and two abstentions (City of Garland and Suez). All Market Segments, except Consumer, were represented.

## Slide 6
Meeting Summary – August 14 (continued)
On August 14, TPTF discussed the following:
  Review Disposition of Comments for EMS Baseline 1&2 Business Requirements Documents
    On August 14, TPTF approved the following updated EMS documents as revised by TPTF on August 14, 2007:
      Generation Subsystem Requirements Specification v1.2;
      Energy Management System Requirements Specification v1.2;
      State Estimator Requirements Specification v1.2;
      Wind Power Forecasting Requirements Specification v1.2;
    and to approve the following updated EMS documents as submitted to TPTF by the EMS Project:
      Network Security and Stability Analysis Requirements Specification v1.1;
      Load Forecasting Requirements Specification v1.1.
    The motion carried by roll-call vote, with 100% in favor and three abstentions (LCRA, Austin Energy, and AEP). All Market Segments, except Consumer, were represented.

## Slide 7
Meeting Summary – August 14 (continued)
On August 14, TPTF discussed the following:
  PRR727, Process for Transition to Nodal Market Protocol Sections
  NPRR076, Synchronization of Emergency Electric Curtailment Plan (EECP) Event Realignment
    Clarification of “ERCOT will post in MIS the list of Load Resources from which RRS is deployed” in Section 6.5.9.4.2 EECP Steps (2)(a)(ii)(4).
  EDS1 Update
  Updates for CRR Requirements and CSD through Baseline 2
  Comments for the Nodal Operating Guides
    CRR Comments for NOGRR005
      On August 14, TPTF moved to endorse the ERCOT staff comments for NOGRR005, Planning, with the changes proposed by TPTF. The motion carried by voice vote, with none opposed and one abstention from the Independent Generator Market Segment. All Market Segments, except Consumer, were represented.

## Slide 8
Meeting Summary – August 14 (continued)
On August 14, TPTF discussed the following:
  Disposition of comments for Internal Interfaces Specification
    On August 14, TPTF approved the External Interfaces Specification v1.03 (for the new web services highlighted with the triple asterisks (“***”). The motion carried by roll-call vote, with 100% in favor and seven abstentions (CenterPoint, Stream Energy, StarTex Power, Strategic Energy, Accent Energy, Cirro Group, and Green Mountain Energy). All Market Segments, except Consumer, were represented.
  EDS 3 Update

## Slide 9
Meeting Summary - August 27
On August 27, TPTF discussed the following:
  Nodal Program Update
  Market Readiness Metric Inventory
  Verifiable Costs Submission Requests
  Current Program Schedule and Recent Changes
  Nodal Transition Issues by Dan Jones, IMM
    Draft NPRR for IMM Reports in Section 8.2
    Energy and Ancillary Service Offer Structure during nodal startup
  NPRR074, Revisions to Monitoring and Qualification Tests in Section 8
  Update on Subgroup activity for Transition to Nodal and discussion of PRR727, Process for Transition to Nodal Market Protocol Sections

## Slide 10
Meeting Summary - August 28
On August 28, TPTF discussed the following:
  CRR Project
    Disposition of Comments for Updated Requirements Document
      On August 28, TPTF approved the updated Congestion Revenue Rights (CRR) Requirements Specification v1.92. The motion carried by roll-call vote with 100% in favor and five abstentions (Calpine, City of Allen, City of Eastland, Exelon, Reliant). All Market Segments were represented.
    Disposition of Comments for Updated Conceptual System Design
      On August 28, TPTF approved the updated Congestion Revenue Rights (CRR) Conceptual System Design (CSD) v1.07. The motion carried by roll-call vote with 100% in favor and two abstentions (Calpine, Reliant). All Market Segments, except for Consumers, were represented.
    Review of CRR Requirements Renumbering for Traceability
    EDS CRR Testing Market Participant Handbook

## Slide 11
Meeting Summary - August 28 (continued)
On August 28, TPTF discussed the following:
  MMS Project
    Offering CRRs in DAM
    MMS FAT Scripts
  EDS 1 Update
  EDS 2 Update
  EDS 3 Update

## Slide 12
Meeting Summary - August 29
On August 29, TPTF discussed the following:
  Resource Registration and Qualification
    Ancillary Service Attestations and relationship to EDS3 – LFC
    RARF Update
  INT Update
    Integration Test Plans – iTest Artifacts
  TPTF Charter
    On August 29, TPTF approved revisions to the TPTF Charter as modified by TPTF on 08/29/07. The motion carried by roll-call vote with 100% in favor and one abstention (Austin Energy). All Market Segments were represented.

## Slide 13
Meeting Summary - August 29 (continued)
On August 29, TPTF discussed the following:
  COMS Update
    Discussion of Draft COMS NPRRs
  NMMS Update
  Traceability Update
  Discussion of additional ERCOT comments on NOGRR007, Telemetry and Communication
    On August 29, TPTF approved submitting additional TPTF comments for NOGRR007 to Market Rules. The motion carried by roll-call vote with 100% in favor and one abstention (CPS San Antonio). All Market Segments were represented.
  Market Readiness Metric Inventory
    On August 29, TPTF recommended that ERCOT move forward with the metrics MP2, MP3, MP5 and the modified metrics E1, E6, E8, E9, MP11, MP14, N1 as recorded in the Active Metric Inventory v0.91. The motion carried by roll-call vote with 100% in favor and one abstention (CenterPoint). All Market Segments, except for Independent Generators, were represented
  Training Update

## Slide 14
Next Meetings
Next meetings
  Monday September 10 and Tuesday September 11
  Monday September 24 through Wednesday September 26
  Monday October 8 and Tuesday October 9
  Monday October 22 and Tuesday October 23

## Slide 15
Next Meetings (continued)
On September 10 and 11, likely topics include:
  Nodal Program Update
  Nodal Timeline Update
  Metrics Update
  CRR Project
    Review disposition of comments for the Restructured CRR Requirements
  Review of broad-form NDA for detailed design documents
  EMS Project
    Review the next group of 6 EMS Requirements updated through Baseline 2
    Review updates to reflect naming convention
    Review the updated EMS CSD
  Discussion of clean-up NPRR to replace NPRR074, Monitoring and Qualification Tests in Section 8, Performance Monitoring and Compliance

## Slide 16
Next Meetings (continued)
On September 10 and 11, likely topics include:
  Zonal-to-Nodal Subgroup Update
    PRR727, Process for Transition to Nodal Market Protocol Sections
    Review disposition of comments for Protocol Transition Plan
  MIS Update
    MIS Schedule of tasks to complete to support EDS 3
  COMS Project
    CSI Update
    Discussion of Draft NPRRs for Settlements
      Draft NPRR- Simplifying OBLRACT and OPTRACT
      Draft NPRR- Settlement Clarifications to RUC Capacity Shortfall Ratio Share Formula
  Draft NPRR for Automatic Voltage Regulator (AVR) Status
  Update on MMS documentation and schedule
  Discussion of NPRR078, Simplifying the Dispute Process

## Slide 17
Approval of Readiness Metrics
On August 29, TPTF recommended that ERCOT move forward with the metrics MP2, MP3, MP5 and the modified metrics E1, E6, E8, E9, MP11, MP14, N1 as recorded in the Active Metric Inventory v0.91. The motion carried by roll-call vote with 100% in favor and one abstention (CenterPoint). All Market Segments, except for Independent Generators, were represented.
Request TAC approval

## Slide 18
Proposed changes to TPTF Charter
On June 27, TPTF moved to forward to TAC proposed changes to the TPTF Charter. The motion carried by roll-call vote with 100% in favor and two abstentions (City of Allen and City of Eastland). All Market Segments, except the Independent Retail Electric Providers, were represented.
On August 29, TPTF approved revisions to the TPTF Charter as modified by TPTF on 08/29/07. The motion carried by roll-call vote with 100% in favor and one abstention (Austin Energy). All Market Segments were represented.
Request TAC approval of proposed changes to TPTF Charter

## Slide 19
Proposed changes to TPTF Charter (continued)

## Slide 20
TAC Approval of Milestones
On August 14, TPTF approved the following updated EMS documents as revised by TPTF on August 14, 2007:
  Generation Subsystem Requirements Specification v1.2;
  Energy Management System Requirements Specification v1.2;
  State Estimator Requirements Specification v1.2;
  Wind Power Forecasting Requirements Specification v1.2;
and to approve the following updated EMS documents as submitted to TPTF by the EMS Project:
  Network Security and Stability Analysis Requirements Specification v1.1;
  Load Forecasting Requirements Specification v1.1.
The motion carried by roll-call vote, with 100% in favor and three abstentions (LCRA, Austin Energy, and AEP). All Market Segments, except Consumer, were represented.

## Slide 21
TAC Approval of Milestones (continued)
On August 28, TPTF approved the updated Congestion Revenue Rights (CRR) Requirements Specification v1.92. The motion carried by roll-call vote with 100% in favor and five abstentions (Calpine, City of Allen, City of Eastland, Exelon, Reliant). All Market Segments were represented.
On August 28, TPTF approved the updated Congestion Revenue Rights (CRR) Conceptual System Design (CSD) v1.07. The motion carried by roll-call vote with 100% in favor and two abstentions (Calpine, Reliant). All Market Segments, except for Consumers, were represented.

## Slide 22
TAC Approval of Milestones (continued)
The Transition Plan says: “Any declaration of the accomplishment of a major milestone (business requirements, conceptual design, and successful completion of Market Participant testing) or a decision to proceed is contingent on the approval of both ERCOT and TAC.”
Request TAC approval of the following Milestones –
  EMS Business Requirements complete for:
    Generation Subsystem Requirements Specification v1.2;
    Energy Management System Requirements Specification v1.2;
    State Estimator Requirements Specification v1.2;
    Wind Power Forecasting Requirements Specification v1.2;
    Network Security and Stability Analysis Requirements Specification v1.1;
    Load Forecasting Requirements Specification v1.1.
  CRR Business Requirements v1.92 complete
  CRR CSD v1.07 complete

## Slide 23
Close Action Item
Pending action item for TPTF to report back to TAC after NMMS business process document discussions with ROS and WMS
  NMMS met with ROS last on May 10, 2007
  NMMS met with WMS last on August 22, 2007
NMMS feels all concerns with NMMS business processes have been vetted and are being addressed by the NMMS Project.

## Slide 24
Questions
?