| LPGRR Number | 027 | LPGRR Title | Demand Response Revisions and Modification of Time-Of-Use (TOU) Schedule Approval Process |
| --- | --- | --- | --- |
| Load Profiling Guide Sections Requiring Revision |  | Section 9.3, Assignment of Load Profile IDs for Demand Response Programs (new); Section 16, Supplemental Load Profiling Appendix D, Profile Decision Tree Acronyms and Glossary |  |
| Protocol Sections Requiring Revision, if any |  | Section 2, Definitions and Acronyms Section 18, Load Profiling |  |
| Requested Resolution |  | Normal |  |
| Revision Description |  | This Load Profiling Guide Revision Request (LPGRR) seeks to revise existing language for Demand Response (DR) programs implementation and to establish rules for assigning Profile Segments for Electric Service Identifiers (ESI IDs) on Demand Response programs. This LPGRR adds a new tab “DR Segment Assignment” to the attached Appendix D. |  |
| Reason for Revision |  | The Public Utility Commission of Texas (PUCT) issued a ruling on advanced metering which encourages DR for mass market Premises. Some Market Participants (MPs) are actively developing a pilot project for DR. These revisions are to meet the desired target implementation date of summer 2008 for DR functionality in ERCOT systems. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | August 8, 2007 |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernest Podraza |
| E-mail Address | Ernest.podraza@directenergy.com |
| Company | Direct Energy |
| Company Address | 12 Greenway Plaza Suite 600, Houston Texas 77046 |
| Phone Number | 713-877-3517 |
| Fax Number | 713-877-3559 |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Advanced metering shall assist in reducing cost of mass market implementation of demand response programs |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | MP and ERCOT to change systems to accommodate lagged dynamic profile shapes |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Reduced congestion cost | Pilot on-going to better quantify |
|  | 2 | Developing institutional capability for the use of AMR in ERCOT settlement. |  |
|  | 3 | Improve ability to respond to prices. |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
| Other Comments | 1 | Benefits of DR in the PUCT's Scope of Competition Report: DR, the ability of Customers to reduce usage in response to high prices or grid conditions, will play an increasing role in the electricity market in the coming years. Under the energy-only resource adequacy mechanism the Commission endorsed, DR can provide the following benefits: • provide additional operating reserves; • avoid or reduce the impact of system emergencies; • increase the range of potential products that REPs can sell; • mitigate the market power of generators; and • provide additional means for retail Customers to respond to high prices; and • “shave” peak prices. |  |
|  | 2 | Reference MO Projects 40056_01 (source PRR 385 and 478) |  |
|  | 3 |  |  |

Comments

This document corrects the original document by correcting the baseline in Section 9.3, 16.1.2, 16.2.5.2, 16.2.9.1 and Appendix D.  These changes are technical in nature and do not affect the substance of the original document.

Proposed Load Profiling Guide Language Revision

9.3

Assignment of Load Profile IDs for Demand Response Programs

Electric Service Identifier (ESI ID) participation in a Demand Response (DR) program will be indicated by coding the Load Profile Segment field of the Load Profile ID as specified in Appendix D, Profile Decision Tree.  When CRs register DR programs with ERCOT, ERCOT will assign a unique DR program identification number to be included in the Load Profile Segment field for ESI IDs participating in the program.

To protect competitively sensitive information, the “Valid Profile IDs” tab will not be modified to include Load Profile IDs for DR programs.

16		Supplemental Load Profiling

Protocol Section 18.7, Supplemental Load Profiling, requires that supplemental Load Profiles be developed for programs or pricing schemes that encourage a Demand Response (DR) to price.   A DR program is designed to alter load shape.  For such programs, methods other than Adjusted Static Methodology are necessary.  The supplemental Load Profiling methodologies described in this section of the Load Profiling Guide (LPG) are intended only for DR programs or pricing schemes where Settlement Interval data for all program participants is not available.  Use of these methodologies for other applications requires approval of the ERCOT Board.

The ERCOT Protocols allow Premises with Time-Of-Use (TOU) capable meters to be settled by a profiling method known as chunking, which is described below in Section 16.1.2, Chunking Profiling Methodology Description.  Protocol Section 18.7.2, Load Profiling of ESI IDs Under Direct Load Control, provides  that  some DR programs shall be profiled using Representative Lagged Dynamic Profiles (RLDPs ) based on statistically representative load research samples.

## 16.1	Load Profiling for Time-Of-Use Schedules

Subject to the following restrictions (Protocol Section 18.7.1, Load Profiling of Time-Of-Use Metered ESI ID) all Competitive Retailers (CRs) have the right to offer Time-Of-Use Schedules (TOUS) in all Transmission and/or Distribution Service Provider (TDSP) service territories:

- Within each TDSP service territory, a CR may offer only TOUSs that are listed in Appendix D, Profile Decision Tree.

- Implementation of any new TOUS is subject to the ERCOT and Texas SET change control process.

The right to use TOUSs , subject to restrictions 1 and 2 stated above, applies in both investor-owned TDSP service territories, in Non-Opt In Entities (NOIEs) territories if they opt in, and in any new TDSP territories.  For purposes of TOUS  management, all TOUS  for NOIE or TDSP territories that opt into the market shall be considered new TOUS  and therefore subject to the new TOUS  process in Section 16.1.1, Establishing New Time-Of-Use Schedules.

16.1.1		Establishing New Time-Of-Use Schedules

Available TOUSs are listed in Appendix D, Profile Decision Tree.” Any request for a new TOUS shall be submitted as a Load Profiling Guide Revision Request (LPGRR) in accordance with the process set forth in thction 2, “Lad Profiling Guide (LPG) Revision Process.  For

Currently, the ERCOT settlement system can accommodate TOUSs that have up to four TOU periods (e.g., Off-Peak, Mid-Peak, On-Peak, Super-Peak).

#### 16.1.1.1	Timing of New Time-Of-Use Schedule Implementation

Once approved and ERCOT is notified, a new schedule with up to four TOU periods shall be implemented by ERCOT within seven Business Days.

If a schedule with more than four TOU periods is approved, the time to implement this schedule shall include the amount of time to modify the ERCOT data processing systems.  Implementation time may be greater than seven Business Days, as required to accomplish all the necessary system changes.

- 16.1.2		Chunking Profiling Methodology Description

The chunking method of Load Profiling for TOU Customers means that a  profile is applied to the Customer’s consumption data for a meter reading period.  However, the energy for each TOU period in the Load Profile is scaled so that it is equal to the metered energy (kWh) for the TOU period.  For each TOU period within a meter read cycle, the metered consumption during the TOU period is allocated to time intervals within the TOU period in proportion to the Load Profile level at each interval in that period.

### 16.1.3		Evaluation of the Chunking Profiles

Load Profiles that are adjusted by chunking shall be evaluated as part of the general evaluation procedures described in Section 6, Load Profiling Methodology and Section 8, Load Profile Models.  Evaluation of the effects of chunking shall be included in the assessment of Unaccounted for Energy (UFE) described in Section 8.3, Evaluating Profile Models without Current Load Research Data.  If load research data are available for a sample of TOU Customers, these data could also be used in the evaluation using methods discussed in Section 8.3

Additional procedures that may be used to assess the adequacy of chunking include the following:

      - Assess chunking as a general method based on profiles from other areas.

      - Assess chunking using load research data collected in the ERCOT service territory.

      - Assess chunking using data on Customer characteristics in the ERCOT service territory.

These procedures are described below.

- 16.1.3.1	Assessment of Chunking as a General Method Based on Profiles from Other Areas

This assessment evaluates chunking as a general methodology, not necessarily specific to particular ERCOT Load Profiles.  Such an assessment could be conducted using Load Profiles from another source service area.  To be used in this analysis, the source service area shall have separate profiles based on separate load research samples for a TOU class and a corresponding Non-Time-of-Use (NOTOU) class.

The assessment compares the source service area’s TOU profile based on the TOU sample to a chunked profile created by applying the chunking method to the source service area’s corresponding  profile.  To create the chunked profile, the TOUS applicable from this TOU class in the source service area are used, with the chunking procedures described in Section 16.1.2.

The two profiles are compared using the comparison methods in Section 8.  In the terminology of Section 8, the first profile, based on the actual load research data from the TOU class, is treated as the proposed profile.  The second, chunked profile is the existing profile.  That is, the second profile is the profile the existing ERCOT methodology would use for the TOU class, if these classes were in ERCOT.

Such comparisons may be made for several different TOU classes, with corresponding NOTOU classes, in different regions, depending on available Load Profiles from other areas.  Substantial differences between the two profiles for many of the classes studied would indicate problems with the general approach.  Substantial similarities between the two profiles for most classes would indicate that the general method is reasonable.

#### 16.1.3.2	Assessment of the Chunking Method Using ERCOT Load Research Data

This assessment relies on a limited ERCOT load research sample to evaluate the TOU profiles developed by chunking.  The goal is to compare two profiles, the existing TOU profile developed by the chunking method to:

            - The corresponding non-chunked profile.

            - The profile for the same population of TOU ESI IDs developed from a load research sample of that population.

For purposes of this assessment, ERCOT may implement a limited load research sample from each ERCOT TOUS and segment to be studied.  The Sampling criteria for each Profile Type and schedule do not have to adhere to the Sampling guidelines established in Section 15.2.3, Criteria of Standards, since these samples are not being used for settlement purposes.

For each segment and TOUS sampled, ERCOT shall determine the average Load for each hour of the study period from the load research sample data.  This load-research-based profile shall then be compared to the existing chunked profile, using the comparison methods of Section 8.  In the terminology of Section 8, the chunked profile is the existing profile, and the profile developed from the load research sample is the proposed profile.

Substantial differences between the two profiles for many of the classes studied would indicate problems with the general approach.  Substantial similarities between the two profiles for most classes would indicate that the general method is reasonable.  The results might also indicate that the method is adequate for some classes but not for others.

#### 16.1.3.3	Assessment of Chunking Method Based on Characteristics of the Time-Of-Use and Non-Time-Of-Use Populations

This assessment is less direct than the previous two assessment methods.  The goal is to determine whether behavioral or operational differences between the TOU and NOTOU Customers are large enough to create substantial differences between the true load shape for the TOU group and the chunked profile.

For this assessment, ERCOT may examine data on appliance/equipment use patterns for ERCOT TOU and NOTOU Customers.   Such data may be obtained from appliance saturation studies conducted by TDSPs, if available, or from a new survey conducted by ERCOT.  If little difference is found between TOU and NOTOU Customers in the types of equipment in place and timing of its use, the chunking method may be considered adequate.

If substantial differences are found, ERCOT may develop rough adjustments to the NOTOU profile that reflect these differences.  Such adjustments would require estimated end-use load shapes, which may be provided by TDSPs if available, or obtained from commercial databases.

The adjusted profile would then be chunked to provide a new estimate of the TOU profile.  This new TOU profile would then be compared with the original TOU profile, using the comparison methods of Section 8.

In the terminology of Section 8, the original chunked profile is the existing profile, and the new profile developed from chunking the adjusted NOTOU profile is the proposed profile.  However, this new profile based on rough adjustments would not in fact replace the existing TOU profile if substantial differences are found.  Rather, these differences would be taken as an indication that the chunking method is inadequate for this segment.

Likewise, if substantial differences are found by this method for several segments, the chunking methodology as a whole may be questioned.  Conversely, if several segments are examined and no substantial differences are found, the general chunking methodology is supported.

### 16.1.4	Revisions to Time-Of-Use Profile Methods if Changes Are Needed

If the current chunking is determined to be an inadequate methodology for profiling TOU Customers, the change to any other profiling method for these Customers would require ERCOT Board approval in accordance with the Protocol Section 18.2, Methodology.  The primary alternative that would be considered is lagged dynamic Load Profiling.  Other alternatives may be proposed.

## 16.2	 Demand Response Programs

### 16.2.1		General Procedure

According to the Protocol Section 18.7.2, DR programs may be settled using two different methodologies.  The DR program may consist of Premises all of which have meters directly measuring and recording Settlement Interval data that is used for settlement.  Alternatively, the DR program may be profiled by the use of a RLDP.  This approach consists of implementing a statistically representative load research sample on the DR population.  The sample data is then used to develop the RLDP for profiling these Premises. The anonymity of the DR sample sites shall be maintained by all parties.  Furthermore, ERCOT, TDSPs, and their third party agents, are the only Entities that shall know the location or identity of the DR sample sites.

For all settlements, the DR population load shape shall be estimated using one of the three methodologies described in Section 16.2.7, Demand Response Program Settlement Methodology.

### 16.2.2		Requirements for Load Profiles for Demand Response Programs

One or more distinct RLDPs  with separate load research samples may be required for each separately operated DR program.  CRs with ESI IDs participating on a jointly dispatched DR program may be settled on the same RLDP, regardless of which CR serves the ESI ID.  A CR must notify ERCOT if the CR elects to participate in a jointly dispatched DR program.

If groups of DR premises by nature of the program have distinctly different control strategies, the CR must provide details when registering the DR program regarding those strategies.  Based on the distinction in the population or strategies, ERCOT may require one or more load research samples.

### 16.2.3	Responsibilities of the Competitive Retailer

As specified in Protocol Section 18.7.2.2.4, Competitive Retailer DLC Responsibilities, CRs are responsible for any CR specific incremental costs for load research sample metering installation, maintenance and data processing for DR programs unless the cost recovery is otherwise specified by any PUCT Substantive Rule.

CRs shall provide the following information to register their DR programs with ERCOT:

- Types of Loads controlled;

- Criteria for initiating control events;

- Control and communications technologies;

- Criteria by which ESI IDs are assigned to separate dispatch groups;

- Specify program ramp-up strategy;

- Explicit lists of ESI IDs assigned to separate dispatch groups;

- Whether the program is jointly dispatched, and

- Any other reasonably available information as requested by ERCOT about the DR population which would assist with sample design.

The CR shall notify ERCOT of changes to any of the information that  was provided in the initial registration of the DR program including changes to the DR population within three Business Days

regarding any of the following, but not limited to:

in a mutually agreed upon format.  ERCOT shall reply to the CR with an acknowledgement of receipt of the initial registration or any changes.

The CR shall give ERCOT sufficient advance notice of any planned changes that affect the operation of the program.  These planned changes may require significant lead-time for modifications in the Sampling process to adequately construct an updated RLDP to reflect the new characteristics of the DR program.

A CR or its designated DR program administrator shall inform ERCOT of all control events for the DR program.

CRs shall provide to ERCOT a summary report annually by DR program, showing the number of maintenance calls on the DR program equipment by ESI ID.  The purpose of this report is to establish whether sampled Customers are treated differently from other Customers in terms of maintaining the effectiveness of control devices.

### 16.2.4	ERCOT Responsibilities

As specified in Protocol Section 18.7.2.2.3, ERCOT DLC Responsibilities, ERCOT is responsible for evaluating and approving all requests for profile development for DR programs.  ERCOT or its designated third party agent is responsible for all Sample Design, selection, implementation, monitoring, and validation of DR program load research samples.

#### 16.2.4.1	Sampling

The DR population will be represented with one or more lagged-dynamic samples from which interval data are collected.  Samples shall be selected from the DR program population in a statistically random fashion.  The sample statistical validity shall be verified at least once every calendar year, and deficiencies shall be corrected as soon as practicable.  ERCOT shall adhere to Association of Edison Illuminating Companies (AEIC) load research practices in maintaining the statistical validity of the sample.

The sample data is used to develop the RLDP for profiling these Premises.  More than one sample may be required to reflect diversity in the DR population.  Detailed Sampling requirements are described in Section 15, Load Research Samples.

The anonymity of the DR sample sites shall be maintained by all parties.  Furthermore, ERCOT, TDSPs and their third party agents are the only Entities that shall know the location or identity of the DR sample sites.

The Sample Design shall be fully documented and made available upon request to the CR(s) registering the program, or their designated third party agent.  ERCOT shall make the RLDP with the appropriate weighting factors available to the TDSP and CR of record.  The sample data shall be made available, upon request, to the CR of record provided the anonymity of the sample site is preserved.

At ERCOT’s discretion, a preliminary sample may be deployed to better define the required sample size or to avoid unnecessary deployment and re-deployment of samples when a program is going through substantial change, particularly during initial program start-up.

- 16.2.4.2	Demand Response Participant Database

ERCOT shall assign a DR program identification number for all registered DR programs, maintain a database used to identify CRs registered for each program and the population of ESI IDs participating in each DR program.  Each ESI ID participating on a DR program shall have the program identification number coded in the Profile Segment field of the Load Profile ID as specified in Appendix D, Profile Decision Tree.  As CRs inform ERCOT of ESI IDs beginning or ending participation in a DR program, ERCOT shall inform the applicable TDSPs regarding those changes and, for each ESI ID, the Profile Segment modification needed.

ERCOT shall monitor the DR program database on a daily basis to determine if any ESI IDs participating in the DR program have switched to another CR.  If any such ESI IDs are identified, ERCOT shall provide a report to the appropriate TDSP listing the ESI ID and the Profile Segment modifications needed.

[Unbox this section when Protocol Section 18.7.2.2.5 is unboxed.] 16.2.5 Transmission and/or Distribution Service Provider Demand Response Program Responsibilities TDSP responsibilities are specified in Protocol Section 18.7.2.2.5, TDSP DLC Responsibilities. Whenever TDSPs receive notification from ERCOT that an ESIID is beginning participation in a DR program, the TDSP shall submit the required transaction to change the Profile Segment Code field as specified by ERCOT. Whenever TDSPs receive notification from ERCOT that an ESIID is ending participation in a DR program or has switched to another CR, the TDSP shall submit the required transaction to change the Profile Segment Code field as specified by ERCOT. TDSPs shall submit transactions within five Business Days of notification by ERCOT related to DR program participation. The effective date of changes associated with a CR switch shall be the date of the switch; all other changes shall be made effective on the most recent meter read date in ERCOT systems.

### 16.2.6		Processing Load Research Data

ERCOT shall  process the load research data into a single RLDP for each DR sample.  Sample interval data shall be provided to ERCOT in accordance with a method and format specified by ERCOT in consideration of the data collection systems of the providers.  The TDSPs or a third party load research metering entity shall be responsible for providing the sample interval data to ERCOT in time for it to be used for final settlement.

TDSPs or third party load research metering entity shall provide the interval status codes with the data.   ERCOT may request at any time the raw unedited sample interval data from the provider of this data for any DR program offered.

The RLDP for each settled day is the estimate of the average Load per Customer for each 15-minute interval of that day.  This estimated average is calculated from the sample data using Sampling weights and estimation procedures appropriate to the Sample Design.  ERCOT shall determine the most appropriate expansion methodology.

### 16.2. 7		Demand Response Program Settlement Methodology

DR programs will normally be settled using an RLDP developed from load research sample data. For some settlements the amount and/or quality of load research data available to produce an RLDP may be insufficient. In such cases

ERCOT shall produce the RLDP using either the methodology described in Section 16.2.7.3, Adjusted Static Model, or Section 16.2.7.4, Composite Profile Weighting.  As additional sample data becomes available, ERCOT shall develop revised RLDPs for subsequent settlements and re-settlements.

- 16.2.7.1	Data Sources

The data quality and availability standards are the same for all settlements: initial, final, true-up and re-settlement.  Table 2, Data Sources for DR Settlement, shows which profiles should be used as the data source for settlement based on interval data quality and availability for the Operating Day.

Table 2

Data Sources for DR Settlement

| Lagged-dynamic Sample Data Quality on Operating Day | Sufficient Data Available to Create Adjusted Static Models | Operating Day Settlement Profile Data Source |  |
| --- | --- | --- | --- |
| 90% | N/A | RLDP |  |
| <90% | Yes | Adjusted Static Model |  |
| <90% | No | Weighted Composite Profile |  |

- 16.2.7.2	Lagged-dynamic Sample Data Quality On Operating Day

The Operating Day profile is developed from the lagged-dynamic sample if sufficient sample data is available to produce the sample RLDP estimates for that day.  The Operating Day profile is applicable for settlement, as shown in Table 2, Data Sources for DR Settlement, only if 90% or more of the sample points in the sample design (excluding any sample over-sizing) have 100% of their data available and valid for the Operating Day.  For example, if the sample design calls for 100 points then at least 90 of the sample sites must have valid data for all of the intervals on the Operating Day in order for the lagged-dynamic profile to be used for settlement.  Sample points for which some or all of the interval data is missing for the Operating Day are not included in producing the sample RLDP.

- 16.2.7.3	Adjusted Static Model

ERCOT will develop an Adjusted Static Model for the DR program whenever, in ERCOT’s judgment, there is sufficient sample interval data.  Interval data from Operating Days when control events occurred for a DR program will not be used in model development.  Adjusted Static Models will be used in Settlement as shown in Table 2, Data Sources for DR Settlement.

- 16.2.7.4	Composite Profile Weighting

When using a composite profile to estimate Loads for the Operating Day, weights will be calculated dynamically based on the number of ESI IDs and energy in each Profile Type and Weather Zone for the DR program. The weighted sum of the profiles is then used as the composite DR profile for the Operating Day.  The Weighted Composite Profile will be used in Settlement as shown in Table 2, Data Sources for DR Settlement.

#### 16.2.7.5	Data Quality and Availability Report

If the sample RLDP data do not meet the data quality and availability standards shown in Table 2, Data Sources for DR Settlement, ERCOT shall provide a RLDP data quality and availability report to the respective CR hosting the DR program.  The report shall include the following:

- Operating Day;

- Settlement Batch Date;

- TDSP;

- DR Program Identification;

- Settlement type identifier; and

- Percent of valid actual data available.

#### CKWHbase=NCKWHld×CKWHcomNCKWHcom

#### 16.2.7.6		Settlement Methodology Evaluation

ERCOT shall review and analyze the DR program Settlement methodology for each DR program after the first full year of operation.  ERCOT shall make recommendations to the appropriate ERCOT TAC subcommittee regarding the accuracy of this process and, if appropriate, recommend a suitable replacement process and its anticipated benefits.

- Appendix D

Profile Decision Tree

[LPGRR027: Effective on system implementation add a new “DR Segment Assignment” tab and modify the Start and Valid Profile IDs tabs ] See electronic Microsoft Office Excel© files on the ERCOT Website posted with the Load Profiling Guide.

- ACRONYMS AND GLOSSARY

## Acronyms

AEIC	Association of Edison Illuminating Companies

BUSNODEM	Business No Demand

COPS	Commercial Operations Subcommittee

CR	Competitive Retailer

DLC	Direct Load Control

EDI	Electronic Data Interchange

EPS	ERCOT Polled Settlement

ERCOT	Electric Reliability Council of Texas

ESI ID	Electric Service Identifier

IDR	Interval Data Recorder

LPG	Load Profiling Guide

LPGRR	Load Profiling Guide Revision Request

MAD	Mean Absolute Deviation

MAPE	Mean Absolute Percent Error

MIS	Market Information System

NERC	North American Electric Reliability Corporation

NIDR	Non-Interval Data Recorder

NOAA	National Oceanic and Atmospheric Administration

NOIE	Non-Opt In Entity

NOTOU 	Non-Time-of-Use

NWS	Non-Weather Sensitive

PUCT	Public Utility Commission of Texas

PURA	Public Utility Regulatory Act, Title II, Texas Utility Code

PWG	Profiling Working Group

QSE	Qualified Scheduling Entity

RLDP	Representative Lagged Dynamic Profile

RMSE	Root Mean Square Error

TAC	Technical Advisory Committee

TDSP	Transmission and/or Distribution Service Provider

TOU	Time-of-Use

UFE	Unaccounted for Energy

## Glossary

- Links to definitions:

- A, B, C, D, E, F, G, H, I, J, K, L, M, N, O, P, Q, R, S, T, U, V, W, X, Y, Z;

A		[Back to Top]

- Adjusted Static Models

Load Profiles that are generated from statistical models that are based on static historical Load data, and adjusted for conditions of the day (e.g., weather, season, etc.)

Annual Validation

The formal process performed every year whereby ERCOT re-determines the first component of each Load Profile ID—the Load Profile Type—for Residential and Business Load Factor ESI IDs.  ERCOT then works with the TDSPs to have them update ERCOT’s databases with the resulting Profile ID changes via Texas SET transactions.

B		[Back to Top]

Business (BUS)

Load Profile Group designation for non-residential ESI IDs whose service is metered.  This encompasses rate classes for business ESI IDs, in addition to other classes.

C		[Back to Top]

- Competitive Retailer (CR)
Municipally Owned Utility or an Electric Cooperative that offers Customer Choice and sells electric energy at retail in the restructured electric power market in Texas, or a Retail Electric Provider (REP) as defined in PUCT Substantive Rules 25.5.

- Cutover and Conversion

- Initial data transfer of TDSPs ESI ID data into the ERCOT systems.

D   [Back to Top]

E   [Back to Top]

- Electric Reliability Council of Texas, Inc. (ERCOT)

A Texas nonprofit corporation that has been certified by the PUCT as the Independent Organization, as defined in §39.151 of PURA, for the ERCOT region.

- Electric Service Identifier (ESI ID)

The basic identifier assigned to each Service Delivery Point used in the registration and settlement systems managed by ERCOT or another Independent Organization.

Active ESI ID

ESI I D is presently receiving service (energized) and a REP is currently assigned to it in ERCOT’s system.

De-Enegized ESI ID

ESI ID does not have a REP assigned in ERCOT’s system, but has not been retired.  An 814_16 Move-In is necessary to change to Active status.

Inactive ESI ID

ESI ID is retired and will never again receive service.

- Engineering Estimated

Estimated Loads based on engineering studies applied to unmetered Loads to allocate energy across specified periods of time.

- Entity

Any natural person, partnership, municipal corporation, cooperative corporation, association, governmental subdivision, or public or private organization.

- ERCOT Board

- The Board of Directors of the Electric Reliability Council of Texas.

F		[Back to Top]

G		[Back to Top]

H		[Back to Top]

I		[Back to Top]

- IDR Requirement

The kW level at which the installation of interval data recorders are required for settlement purposes as set forth in Protocol Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement.

- Interval Data Recorder (IDR)

Metering device that is capable of recording Load usage in each Settlement Interval in accordance with Protocol Section 9, Settlement and Billing, and Protocol Section 10, Metering.

J		[Back to Top]

K		[Back to Top]

L		[Back to Top]

- Lagged Dynamic Profiling Methodology

The use of an active set of load research sample sites to build an aggregated Load Profile for the sample group from actual metered usage processed after the target day.

- Load Profile

A representation of the energy usage of a group of Customers, showing the demand variation on an hourly or sub-hourly basis.

- Load Profile Class

- From Protocol, Section 2  "A classification of a group of Customers having similar energy usage patterns and that are assigned the same Load Profile."  Load Profile Class is comprised of a Load Profile Group and a Load Profile Segment.  An example of a Load Profile Class:  Residential Low Winter Ratio (RESLOWR).  Load Profile Type and Load Profile Class are used interchangeably.

- Load Profile Group

- A high-level classification of a set of Customers who have similar characteristics.  The Load Profile Groups are:  Non-Metered, Residential, and Business.  Together, the Load Profile Group and the Load Profile Segment form the Load Profile Type.

- Load Profile ID

- The load profile designation string that contains: 1) the Load Profile Type Code; 2) the Weather Zone Code; 3) the Meter Data Type Code; 4) the Weather Sensitivity Code; and 5) the Time-Of-Use Schedule Code.  An example of a Profile ID:  RESLOWR_FWEST_NIDR_NWS_NOTOU.

- Load Profile Models

Processes that use analytical modeling techniques to create Load Profiles.

- Load Profile Type

A classification of a group of ESI IDs having similar energy usage patterns and that are assigned the same Load Profile.

- Load Profiling

The set of processes used for the development and creation of Load Profiles.

- Load Profiling Methodology

The fundamental basis on which Load Profiles are created. The implementation of a Load Profiling Methodology may require statistical Sampling, engineering methods, econometric modeling, or other approaches.

Load Profile Segment

A sub-classification of a Load Profile Group.  High Winter Ratio (HWR) is an example.  Together, the Load Profile Group and the Load Profile Segment form the Load Profile Type.

M		[Back to Top]

- Market Information System (MIS)

An electronic communications interface established and maintained by ERCOT that provides a communications link to Market Participants, including secure access by and communications to individual Market Participants regarding information linked to each individual Market Participant.

- Market Open

January 1, 2002

- Market Participant

An Entity that engages in any activity that is in whole or in part the subject of these Protocols, regardless of whether such Entity has executed an Agreement with ERCOT.

- Mean

A sample statistic or population parameter equal to the sum of all observations divided by the number of observations

Meter Data Type

The component of the load profile ID that identifies the type of meter data—either interval or non-interval—that is to be submitted to ERCOT by the TDSP and used for settlement.

- Municipally Owned Utility

A utility owned, operated, and controlled by a municipality or by a nonprofit corporation, the directors of which are appointed by one or more municipalities.

N		[Back to Top]

- Non-Metered Load or Group

Load that is not required to be metered by applicable distribution or transmission tariff.

- Non-Opt In Entity (NOIE)

An Electric Cooperative or Municipally Owned Utility that does not offer Customer Choice.

- North American Electric Reliability Corporation (NERC)

The national organization that is responsible for establishing standards and policies for reliable electric system operations and planning, or its successor.

O		[Back to Top]

- Operating Guides

Guidelines approved by the ERCOT Board describing the reliability standards for ERCOT.

Opt-In Entity

A Municipally Owned Utility or Electric Cooperative opting-in to Customer Choice

P		[Back to Top]

- Power Factor

The ratio of real power (kW) to the apparent power (kVa) for any given Load and time.

- Premise

A Service Delivery Point or combination of Service Delivery Points that are assigned a single Electric Service Identifier (ESI ID) for purposes of settlement and registration.

- Profile Decision Tree

- The document that contains the directions for determining the Load Profile ID to be assigned to an ESI ID

- Profile Type

- See Load Profile Class

Q		[Back to Top]

- Qualified Scheduling Entity

A Market Participant that is qualified by ERCOT in accordance with Protocol Section 16.2, Registration and Qualification of Qualified Scheduling Entities, to submit Balanced Schedules and Ancillary Services bids and settlement payments with ERCOT.

R		[Back to Top]

- Representative Lagged Dynamic Profile (RLDP)

The technique for profiling premises participating in special pricing programs which consists of implementing a statistically representative load research sample on the program population.  The sample data is then used to develop the Representative Lagged Dynamic Profile (RLDP) for profiling these premises.  The data can be metered by any approved meter which are often referred to as, but not limited to, Interval Data Recorders (IDR) or advanced meter reading meters.

- Residential (RES)

- Load Profile Group designation for ESI IDs served within a residential rate class.

- Retail Electric Provider (REP)

A person that sells electric energy to retail Customers in this state. As provided in PURA §31.002(17), a Retail Electric Provider may not own or operate generation assets. As provided in PURA §39.353(b), a Retail Electric Provider is not an Aggregator.

S		[Back to Top]

- Sample Design

The processes by which ERCOT determines the appropriate requirements for a sample of Customer Premises which requirements shall be used to create a Load Profile.

- Sampling

The process of selecting a subset of a population of Customers that statistically represents the entire population.

- Season

Winter months are December, January, and February; Spring months are March, April, and May; Summer months are June, July, and August; Fall months are September, October, and November.

- Segmentation

The process of dividing a population into a number of sub-sets, according to certain parameters, for the purpose of creating Load Profiles for sub-sets of the population.

- Service Address

The street address associated with an ESI ID as recorded in the registration database.  This address shall conform to United States Postal Service Publication 28.

- Service Delivery Point

The specific point on the TDSP’s system where electricity flows from the TDSP to a Load.

- Settlement Interval

The time period for which a Market Service is deployed and financially settled. For example, the currently defined settlement interval for the Balancing Energy Market Service is 15 minutes.

T		[Back to Top]

- Target Profile

The Target Profile is the best available estimated load shape for a particular proposed subgroup.

- Technical Advisory Committee (TAC)

A subcommittee in the ERCOT governance structure reporting to the Board of Directors as defined by the ERCOT bylaws.

- Texas SET

Protocol Section 19, Texas Standard Electronic Transaction (SET), procedures used to transmit information pertaining to the Customer registration database. Record and Data Element Definitions are provided in a data dictionary in Protocol Section 19, Texas Standard Electronic Transaction (SET).

- Time-of-Use Metering

A programmable electronic device capable of measuring and recording electric energy in pre-specified time periods.  For Load Profiling purposes Time-of-Use Metering does not include IDRs.

- Time-of-Use Schedule (TOUS)

A schedule identifying the Time-of-Use period associated with each Settlement Interval.  These schedules may include on-peak, off-peak, and shoulder periods.

- Transmission and/or Distribution Service Provider (TDSP)

An Entity that owns or operates for compensation in this state equipment or Facilities to transmit and/or distribute electricity, and whose rates for Transmission Service, distribution service, or both is set by a Governmental Authority.

U		[Back to Top]

- Unaccounted for Energy (UFE)

The difference between total metered Loads each Settlement Period, adjusted for applicable Distribution Losses and Transmission Losses, and total ERCOT System net generation.

- Usage Month

- Each Usage Month corresponds with a calendar month and is a combination of one or more Usage Periods for the purpose of applying usage and demand values in a consistent manner.

- Usage Profile

- See Load Profile

V		[Back to Top]

- Validation, Editing, Estimation of Meter Data

- See Section 10, Metering

W	[Back to Top]

- Weather Zone

A geographic region in which climatological characteristics are similar for all areas within such region.

Winter Ratio

The proportion of usage in winter months to usage in the FallBase and SpingBase months and is used to differentiate Residential ESI IDs.

X		[Back to Top]

Y		[Back to Top]

Z		[Back to Top]