## Slide 1: RMS/Retail Market Workshop request for input from ROS
September 13, 2007

## Slide 2: Background Information
March 30, 2007 TAC directed RMS to “identify issues with net metering and small renewable generation”
Retail Metering WG facilitated retail market workshops to identify those issues and be considerate of impacts from Advanced Metering Rulemaking and HB 3693

## Slide 3: Retail Market Workshop Recommendations
Scope of effort defined for Small Renewable Generation as 50kW and less
  Per ERCOT Protocols, TDSP is not required to provide generation values for 50 kW and less
  Above 50kW up to 2mW is covered by HB 3693
    TDSP required to send inflow and outflow values
  Protocols currently address and Settlement is supported
Issues Identified that require expertise from other groups
  Segregated issues and requested RMS to ask for input

## Slide 4: Summary of RMW Issue 2007-07
Issue or Gap
  Does the deployment of small renewable generation (less than 50 kW) on distributions feeders raise any concerns from a grid reliability or operations perspective?
Recommendation
  This issue seems to fit best with-in the scope of ROS. A determination needs to be made on whether the market has reliability or operations concerns about the deployment of small renewable generation.
Request for Action
  Assign this task to ROS to determine if they have concerns about the deployment of small renewable generation from a reliability or operations viewpoint

## Slide 5: More information on RMW Issue 2007-07
Additional information from the RMW discussions on this issue or gap
  Are their concerns about voltage support service responsibilities of the Distribution Service Provider (DSP) (Nodal Protocols Section 3)?
  Are there concerns when the aggregate generation on a distribution feeder affects the circuit flows for a TDSP?
  Substantive rules 25.211 and 25.212 address these issues

## Slide 6: DG Rules Adopted 12/99
25.211 adopted to address administrative issues
25.212 adopted to address technical issues

## Slide 7: Request for Feedback from ROS
Are their concerns about voltage support service responsibilities of the Distribution Service Provider (DSP) (Nodal Protocols Section 3)?
Are there concerns when the aggregate generation on a distribution feeder affects the circuit flows for a TDSP?

## Slide 8: Questions?