# ERCOT

DYNAMICS WORKING GROUP

## Report to ROS

## September 13, 2007

- The flat start with wind models using PSS/e Rev. 30.3 has been completed, and the zip file has been distributed to members requesting it.

- The DWG Procedure Manual is in the process of being updated.

- The DWG is working on a draft scope for a LaaRs study at the request of the Long Term Solutions Task Force.  The first phase will study responsive reserve requirements of 2500 MW and 2700 MW, with LaaRs kept at 50%.  A possible second phase will study multiple frequency options and higher percentage LaaRs values.

- The next DWG meeting has been tentatively set for September 26 & 27.

DWG Tasks, 2007

| Task | Status |
| --- | --- |
| Flat start 2007 case | Complete |
| Flat start 2010 case | Complete |
| Flat start 2007 case with wind models. | Complete |
| Publish 2006 flat start book. | Complete |
| Publish 2007 flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Responsive Reserve / LaaRs study | Preparing Scope |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2008 flat start activities. | Fall Activity |