8-22-07 OWG Report

ROS Report / Jack Thormahlen (LCRA)

- OWG needs to be aware of ROS directive to complete Nodal Guides by September 13 & 14 ROS meeting (so they can go to October TAC)

- all OGRRs up for vote passed…now going for TAC’s approval

- OGRR200 (48hr BlackStart restoration) was withdrawn

- Section 5 of Nodal Guides …issues over “Transmission Planning” versus “Operational Planning”

- need to have an OWG member at TPTF…Trip Doggett says they’re all done, so Jack’s trying to figure out the actual status

- TRE planning 30-40 audits in 2008

- draft standards & committee procedures standards went to Board yesterday

Meeting Notes / Jack Thormahlen (LCRA)

- no revisions/comments…July minutes accepted by OWG

July Operations Report / Thuy Huynh (ERCOT)

- frequency control…

  - most issues were unit trips (plus one LaaR deployment & one schedule change)

- RRS…

  - most events in conjunction with frequency spikes

  - 3 with SCE errors

  - 1 with ERCOT server problem on 7/27 that incorrectly deployed RRS

- OOMC…

  - mostly for outages in Austin

- RPRS…

  - July deployments were 26 (vs 10 in June)…due to North-South congestion flows

- congestion…

  - a few were for outages

  - OC3 event on 7/21 (Jewett – TH Wharton – Tomball)

- EECP…

  - event on 8/1

- RPRS…

  - results for 7/19 invalid (had to rerun)

- ERCOT peak load…56675mws on 7/12 @ 1700

- 2 transmission alerts on 7/16 & 7/19

- 7/31 new Hillje line 100% energized

EECP Report / Thuy Huynh (ERCOT)

June 18 EECP event…

- Step-1 event

- DA load forecast off by 3600mws (6.75%)

- QSEs off by -560mws

- spotty rain (per Leo) wrecked forecast

- OOMC’d Quick-Start units

- requested Laredo & Eagle Pass

- Lessons Learned…

  - ERCOT will procure NSRS for days of questionable weather (ie, with chance of rain)

July 2 DCS event…

- two units tripped (943mws lost) & one 345kV line tripped

- LaaRs called/initiated at 1937 --- 983/1150mws deployed within 10mins (based on a 1938:56 hang-up time)

- frequency recovered in 6 minutes

- this event is being investigated by TRE (since anytime three elements fail, TRE must investigate)

- per Leo…ERCOT has changed single largest contingency event to 1000mws (had been 950)

August 1 EECP event…

- Step-1 event

- unit trips at 1119 (770mws) & at 1421 (740mws)

- load forecast short by 981mws by 1500

- 1265mws of NonSpin deployed at 1430

- ERCOT requested assistance across all DC-Ties

- ARR recovered in 17minutes

- per Colleen…ARR temperature-based enhancements should be rolled out in September…exact date should be announced by September ROS

Blackstart TF report / Jack Thormahlen (LCRA)

- 2008 BlackStart Training dates have been released…

  - North Region…February 5, 12, 19, 26 & March 4, 11

  - South Region…March 6, 13, 20

  - East Region…January 10, 17, 24, 31 & February 7, 14

  - West Region…January 23, 30 & February 6, 13, 20, 27

  - BS training is good for CEHs (just like in 2007)

- 2008 BlackStart RFP results…

  - $7.2M in BS contracts in 07…$7.7M in 08

  - 19 plants contracted for 08…one more unit in 08 (vs 07)

  - 4 new units in 08 stack that were not in the 07 stack

- NERC rewriting EOPs 5, 6, 7, 9…being consolidated by NERC into 2 EOPs (probably April/08)

per Grammer…

- Satellite phone tests went well, but warned that any problems should be corrected now, since there will be Satt-phone tests at Winter Storm Drill (and those results will be made public)

- Satt-phone tests are done first weekend every month, so should be plenty of time for MPs to iron out problems pre-Drill

per Grammer…

- ERCOT doing in-house blackout restoration tests on ERCOT’s new simulator (over a 6wk period)

- ERCOT inviting companies with BS resources, to work with ERCOT during these tests…would be good for CEHs & SETs

- Next test will be a Houston scenario, scheduled for 9/10

- Kent will email 6-week schedule to OWG…if spaces are available, non-BS resource entities can participate, too

- ACTION ITEM FOR KENT --- LOOK INTO PUTTING SATT-PHONE LIST ON PORTAL, TO FACILITATE MARKET PARTICIPANT UPDATES

New Ops Bulletins / Colleen Frosch()

- #342…for Freq Desk…

  - when directive given by ERCOT on Hotline, requires ERCOT to identify a recipient who will repeat the directive back to ERCOT (this gets ERCOT NERC-compliant)

  - also updated time error correction procedures (to get NERC-Compliant)

- #343…for DA Desk…

  - requires ERCOT to procure NSRS whenever weather is uncertain (in response to June 18 EECP event)

- #344…for Tr Desk…

  - changes to McCamey wind…how to order ERCOT’s OOMs over the 4 intervals in an hour

- #345…

  - another update to time error correction procedures (to get NAESB-compliant)

  - also prescribes how to come out of Alerts & Advisories

OGRTF Report (Steve Knapp & Elizabeth Monsour/ERCOT)

- OGRR192 impact assessment…

  - no impacts (among ERCOT staffing, ERCOT Computer System, ERCOT business functions, or Grid ops & Practices)

  - Governor tests are every 2 years…AVRs & PSSs are every 5 years

  - OWG approved OGRR192 to forward to ROS

- OGRR203…

  - requires consistency of ERCOT market verbiage…“CA” & “BA” have been replaced with “ERCOT”, in all documents

  - still in comment period

  - will be brought to Sept OWG meeting for vote to forward to ROS

- NOGRR001…

  - directive by ROS to review Donohoo’s comments on Ops & Planning

  - definition of “credible, single contingency” now broken down into separate Ops & Planning components

  - Ops breaks out across weather zones, whereas Tr planning does not include weather zones

- NOGRR005…

  - reduce redundancy in Guides, by showing references to other pertinent documents

- NOGRR007…

  - there should be a request for approval, the Tuesday after Labor day, assuming everything else stays the same

- main take-away from OGRTF Report…OWG is recommending all OGRRs & NOGRRs & IAs (except for NOGRR007)

OTF & Seminar Group reports (Sweeney)

- went over the dates for the 08 Winter Drill…

  - 9/14/07…Initial Drill Email from ERCOT

  - 10/9/07…ERCOT Client Relations follow-up email

  - 10/12/07…Drill RSVP due back to Grammer (possibly Compliance, too)

  - 10/30/07…Initial Drill Conference Call (one for QSEs & one for TOs)

  - 11/14/07…day of Drill (0730 – 1500)

  - 11/16/07…Drill Critique due back to Kelly Blackmer

  - 11/28/07…alternate day of Drill (0730 – 1500)

  - 11/30/07…alternate day for Drill Critique due back to Kelly Blackmer

- went over Seminar WG meeting scheduled for 8/23…particularly Sweeney’s concern that TPTF was disinterested in creating efficiencies in training programs & hours

Compliance Report (Mark Henry)

- talked mainly about NERC registration of entities, and TRE audits to take place in 2008 (many will be individual generators…will be telephone & email-oriented)

- Jack brought up Self-Reporting issue (per NERC, if you bring it up, should not be hit quite so hard)…Henry said that MPs should self-report, but that it would bring more focus on that MPs from TRE

- Compliance Rollout meeting in early-October (will include registration of smaller entities, like PSEs, individual generators, LSEs)

nomination of OWG Chair & Vice Chair

slate of candidates due to Jack by October

OWG meeting attendees

Kevin Brown, Austin Energy-TDSP

512.322.6665 / Kevin.brown@austinenergy.com

Colleen Frosch, ERCOT

512.248.4219 / cfrosch@ercot.com

Kent Grammer, ERCOT

512.248.6338 / kgrammer@ercot.com

Thuy Huynh, ERCOT

512.248.3079 / thuynh@ercot.com

James Jacobs, Austin Energy-QSE

512.322.6195 / james.jacobs@austinenergy.com

John Jonte, Centerpoint-TO

713.207.2252 / john.jonte@centerpointenergy.com

Rick Keetch, Reliant Energy-QSE

713.497.2526 / rkeetch@reliant.com

Steve Knapp, Constellation-QSE

410.470.3374 / steve.knapp@constellation.com

Elizabeth Monsour, ERCOT

Ross Owen, Oncor-TO

214.743.6864 / rowen@oncor.com

Jason Sweeney, SUEZ-QSE

713.636.1477 / Jason.sweeney@suezenergyna.com

Jack Thormahlen, LCRA-QSE

512.443.3200 / jack.thormahlen@lcra.org

Tip Tipton, Brazos Electric Co-op-TO

254.750.6267 / ttipton@brazoselectric.com

Leo Villanueva, ERCOT

512.248.3135 / evillanueva@ercot.com