Draft

OGRTF 08/21/07 Meeting Notes

Attendance:

Steve C. Knapp (Chair)	Constellation		QSE		410-470-3374

Thuy Huynh			ERCOT				512-248-4279

Colleen Frosch		ERCOT				512-248-4219

John Brockhan		Centerpoint		TSP		713-207-2790

Manjula D			Centerpoint		TSP

Elizabeth Mansour		ERCOT				512-964-4473

Jack Thormahlen		LCRA			QSE		512-473-3200x2635

Rick Keetch 			Reliant			QSE		713-497-2526

Giriraj Sharma			ERCOT				512-248-6759

Walter Bukowski		CPS Energy		TSP		210-353-3718

(1)	10:15 started meeting with Anti-trust Admonition.

(2)	Review meeting notes from 07/17/07.  Notes approved.

(3)	Reviewed section 1 of the Operating Guides, change “ERCOT Balancing Authority” and “ERCOT Control Area Authority” to “ERCOT.”

(4)	Reviewed section 7 of the Nodal Operating Guides.  John Fisher will incorporate Vann Weldon’s comments and resubmit on Friday.

(5) 	Reviewed section 5 of the Nodal Operating Guides.  ROS Directive to incorporate Ken Donohoo’s comments to create one single definition for “credible single contingency.”

(6)	Reviewed section 1 of the Nodal Operating Guides.  Applied the transmission planning definition to “Credible Single Contingency” and changed “Operating Definitions” to “Definitions”.

(7)	Reviewed Combustion Turbine Governor Performance Test Forms to discuss the two testing scenarios.

(8)	Discussed if more meeting was necessary, was deemed at this point not necessary.

(9)	The next meeting is scheduled for September 18, 2007, at the Met Center, Room 209.