## Slide 1: CSC Utilization Report 2007 January - August
WMS
19 September, 2007

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | E_N | N_H | S_H | S_N | N_W | W_N | TOTAL
2007 total | -- | 23.3 | 4.7 | -0.3 | 2.4 | 1.2 | 31.3
2006: Q1-2+ | 7.4 | 5.8 | 13.1 | 1.2 | 3.0 | 0.1 | 30.6
2006 total | 7.4 | 8.4 | 31.4 | 1.5 | 3.0 | 0.2 | 52.0
Settlement quality data available through August.

## Slide 4: Number of Intervals Constraints were Binding
 | E_N | N_H | S_H | S_N | N_W | W_N
2007 total | -- | 736 | 374 | 78 | 107 | 79
2006: Q1-2+ | 184 | 231 | 667 | 550 | 349 | 30
2006 total | 198 | 504 | 2192 | 588 | 361 | 47

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 3 | 0 | 0
Feb | 0 | 0 | 6 | 6 | 26 | 15 | 18 | 17 | 0 | 0
Mar | 0 | 0 | 58 | 52 | 14 | 12 | 5 | 4 | 3 | 0
Apr | 274 | 215 | 25 | 15 | 0 | 0 | 0 | 0 | 58 | 45
May | 440 | 321 | 112 | 87 | 1 | 1 | 21 | 18 | 25 | 15
Jun | 200 | 142 | 261 | 184 | 0 | 0 | 37 | 29 | 0 | 0
Jul | 74 | 46 | 52 | 30 | 28 | 24 | 30 | 27 | 0 | 0
Aug | 21 | 12 | 0 | 0 | 34 | 26 | 17 | 9 | 23 | 19
Sep |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  | 
2007 total | 1009 | 736 | 514 | 374 | 103 | 78 | 131 | 107 | 109 | 79
2006: Q1-2+ | 318 | 231 | 987 | 667 | 817 | 550 | 460 | 349 | 41 | 30
2006 total | 677 | 504 | 2864 | 2192 | 878 | 588 | 472 | 361 | 66 | 47

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | S_H |  | S_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0
Feb | 0 | 0 | 2 | 2 | 3 | 3 | 2 | 2 | 0 | 0
Mar | 0 | 0 | 4 | 4 | 1 | 1 | 2 | 1 | 1 | 0
Apr | 12 | 12 | 3 | 1 | 0 | 0 | 0 | 0 | 6 | 6
May | 14 | 13 | 11 | 10 | 1 | 1 | 5 | 5 | 2 | 2
Jun | 12 | 10 | 16 | 14 | 0 | 0 | 4 | 4 | 0 | 0
Jul | 12 | 11 | 6 | 5 | 2 | 2 | 4 | 4 | 0 | 0
Aug | 4 | 4 | 0 | 0 | 2 | 2 | 6 | 5 | 2 | 2
Sep |  |  |  |  |  |  |  |  |  | 
Oct |  |  |  |  |  |  |  |  |  | 
Nov |  |  |  |  |  |  |  |  |  | 
Dec |  |  |  |  |  |  |  |  |  | 
2007 total | 54 | 50 | 42 | 36 | 9 | 9 | 24 | 22 | 11 | 10
2006: Q1-2+ | 31 | 28 | 91 | 83 | 62 | 49 | 46 | 41 | 11 | 9
2006 total | 52 | 48 | 144 | 135 | 69 | 55 | 49 | 44 | 17 | 14

## Slide 7: CSC Limits vs Actual Flows: N_H Jan – Aug 2007

## Slide 8: CSC Limits vs Actual Flows: S_H Jan – Aug 2007

## Slide 9: CSC Limits vs Actual Flows: S_N Jan – Aug 2007

## Slide 10: CSC Limits vs Actual Flows: N_W Jan – Aug 2007

## Slide 11: Available CSC capacity for every interval: N_H
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 12: Available CSC capacity for every interval: S_N
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 13: Available CSC capacity for every interval: S_H
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 14: Available CSC capacity for every interval: N_W
Sorted from least unused capacity to most.
Intervals marked with X were binding.

## Slide 15: Shadow Prices for Unused CSC capacity: Jan – Aug 2007
Max SP = $2500
Max SP = $2500
Max SP = $2500
Max SP = $2500