## Slide 1: QSE Managers Working Group Report to WMS September 19, 2007

## Slide 2: Reliability vs Scarcity Pricing
Charge:
  Attempt to find a solution that will address the Reliability vs Scarcity Pricing debate
Proposal included in LTSTF white paper to be presented by Bob Wittmeyer

## Slide 3: Reliability vs Scarcity Pricing
Highlights
  3.5% of intervals have OOM for ARRS
  80% of days over-forecast in Day-Ahead
  ERCOT comparison of Day-Ahead resource plan capacity commitment vs actual – significant reduction. RPRS engine making firm commitments on units when the rest of the resource plan is non-binding.

## Slide 4: Reliability vs Scarcity Pricing
Highlights
  Creating a financial incentive to take units off-line in the middle of an Alert because prices drop.
  Sometimes OOM instructions seem to last much longer than necessary – therefore depressing prices longer than necessary
  Find some way to reach the top of the balancing stack when reserves get low.

## Slide 5: Reliability vs Scarcity Pricing
Highlights
  Current system makes 500-1000 MW of balancing stack unusable due to discount factor.
  ROS initiatives:
    dynamic discount factor
    Unannounced testing on HSL to account for weather differentials

## Slide 6: Reliability vs Scarcity Pricing
Highlights
  Unload some units that are at the top, creating RRS. Redispatch of existing gen can give needed capacity instead of bringing on additional units.
  PRR730 – no consensus, but need to continue discussion.

## Slide 7: Reliability vs Scarcity Pricing
Proposal
  Increase amount of RRS procured by 500MW
  Retain current 2300 & 2500 MW thresholds
  Implement ex-ante Administrative Price Adjustments per flow chart presented by Dan Jones
Concern
  Is an engineering study needed for additional RRS and LAAR?

## Slide 8: Option 1
Zonal
Congestion?
EECP > Step 1 or
Step 1 > 30 min?
Y
Y
N
N
NSRS Deployed?
Y
N
OOM for
Short Supply?
Y
N
MCPE = CAP
MCPE = SPD MCPE
MCPE =
Max (SPD MCPE,
$150 to $250)
MCPE =
SPD MCPE + $50

## Slide 9: Option 2
Zonal
Congestion?
EECP > Step 1 or
Step 1 > 30 min?
Y
Y
N
N
OOM for
Short Supply or
NSRS
Deployed?
Y
N
MCPE = CAP
MCPE = SPD MCPE
MCPE =
Max (SPD MCPE,
$150 to $250)