| NPRR Number | 080 | NPRR Title | Revised Wording of Protocol Section 3.1.5.1 |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Protocol Section Requiring Revision |  | 3.1.5.1 ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities |  |  |
| Proposed Effective Date |  | Upon implementation of the Texas nodal market. |  |  |
| Priority and Rank Assigned |  | NA |  |  |
| Revision Description |  | The proposed rewording of Protocol Section 3.1.5.1 will allow ERCOT to treat electrical buses as consequentially outaged transmission elements in the ERCOT Outage Scheduler. |  |  |
| Overall Market Benefit |  | See table below. |  |  |
| Overall Market Impact |  | See table below. |  |  |
| Consumer Impact |  | N/A |  |  |
| Credit Impacts |  | TBD |  |  |
| Procedural History |  | - NPRR080 was posted on 8/16/07. - On 8/23/07, PRS considered this NPRR. - On 9/17/07, ERCOT posted an Impact Analysis (IA). - On 9/20/07, PRS reviewed the IA and Recommendation Report. |  |  |
| PRS Recommendation |  | On 8/23/07, PRS unanimously voted to recommend approval of NPRR080 as submitted. All Market Segments were present for the vote. On 9/20/07, PRS reviewed the IA and the Recommendation Report for NPRR080 and voted to forward the documents to TAC. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/23/07, PRS noted that this NPRR was endorsed by the Transition Plan Task Force (TPTF). On 9/20/07, there was no discussion. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  | Will not add any incremental cost to the Texas Nodal project |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | All TSP’s, QSE’s and PUN’s | Expected to lower overall costs to market participants by not requiring them to track and enter electrical buses into the ERCOT Outage Scheduler. |
| Additional Qualitative Information | 1 | Eliminating electrical buses reduces the number of devices being scheduled and insures more consistent outage submission by requestors. |  |
| Other Comments | 1 | CNP has discussed this issue with impacted groups at ERCOT and has their endorsement. |  |

| Original Sponsor |  |
| --- | --- |
| Name | Dennis Caufield |
| Company | CenterPoint Energy |
| Segment | Investor Owned Utility |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities

(1)	A TSP shall request a Planned Outage or Maintenance Outage for any Transmission Element in the Network Operations Model that requires the Transmission Element to be removed from its normal service. Planned Outages or Maintenance Outages for Electrical Buses will be treated as consequentially outaged Transmission Elements.  In those cases where a TSP enters the breaker and switch statuses associated with an Electrical Bus, a downstream topology processor will evaluate the breakers and switches associated with the applicable Electrical Bus to determine if the Electrical Bus is consequentially outaged, and to thereby designate the status of the Electrical Bus.  Proposed Transmission Planned Outage or Maintenance Outage information submitted by a TSP in accordance with this Section constitutes a request for ERCOT’s approval of the Outage schedule associated with the Planned Outage or Maintenance Outage.  ERCOT is not deemed to have approved the Outage schedule associated with the Planned Outage or Maintenance Outage until ERCOT notifies the TSP of its approval under procedures adopted by ERCOT.  ERCOT shall evaluate requests under Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.

(2)	ERCOT shall review and approve Planned Outages and Maintenance Outages of Transmission Facilities schedules according to Section 3.1.5.11, Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests.  ERCOT shall transmit its approvals and rejections to TSPs via the ERCOT Outage Scheduler.  Once approved, ERCOT may not withdraw its approval except under the conditions described in Section 3.1.5.7, Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities.