Competitive Metering
Guides

- October 1, 2007

In the event of any conflict for parties that are operating in the ERCOT Region between these Guides and state law, PUCT rules, or the ERCOT Protocols, such conflict shall be resolved in favor of the applicable law, rules, or Protocols.  Should these Guides become applicable for any parties operating within the state of Texas, but outside of the ERCOT Region, such conflict shall be resolved in favor of the applicable law or rules in effect in that region.

1	Purpose and Scope	4

1.1	Competitive Metering Guides (CMG)	4

1.2	Retail Metering Working Group (RMWG)	4

2	Roles and Responsibilities of Market Participants	6

2.1	Customer	6

2.2	Competitive Retailer (CR) associated with an Electric Service Identifier (ESI ID)	7

2.3	Competitive Meter Owner	7

2.4	Transmission and/or Distribution Service Provider (TDSP)	7

2.5	Electric Reliability Council of Texas (ERCOT)	7

2.6	Public Utility Commission of Texas (PUCT)	8

3	Competitively Owned Meter Installation overview	8

4	Meter Information Requests	8

4.1	Initial Inquiry	8

4.2	TDSP Response	9

5	Meter Selection	9

6	Programming Specifications for Solid state devices	9

6.1	Customer Programming Specifications	9

6.2	Number of Interval Data Recorder (IDR) Channels to Program into a Meter	10

6.3	TDSP Billing and Settlement Determinants	10

6.4	CR Billing Requirements	10

6.5	Other Programming Requirements	10

7	Installation of a Competitively Owned Meter	11

7.1	Existing Service with Meter Installed	11

7.2	New Service (Construction) with No Meter Installed	12

7.3	Notification Requirements	13

7.4	One ESI ID with Multiple Meters	14

8	Meter Testing and Calibration	14

8.1	Accuracy Limits	14

8.2	Test Schedules	15

8.3	Meter Records	15

8.4	TDSP Calibration	15

8.5	Notification Requirements	15

9	Removal of a Competitively Owned Meter	15

9.1	Removal Requests to the TDSP	15

9.2	Removal Prior to Energization	16

9.3	Replacing Defective Equipment	16

9.4	Notification Requirements	16

9.5	Customer Requests to Return to TDSP Owned Meter	17

9.6	Safeguarding Meters	17

9.7	Returning Meters	17

10	Customer or Third Party Access to the Meter	17

10.1	Data Access	17

10.2	Passwords	17

10.3	TDSP Meter Reading Capability for Billing, Settlement and Reliability	18

10.4	Physical Access	18

11	TDSP billing and Credits per TDSP Approved Tariff	18

11.1	TDSP Approved Credits	18

11.2	TDSP Approved Metering Service Credits and Tariffs	18

12	Technical Specifications for Competitively Owned Meters	19

12.1	Purpose	19

12.2	ANSI Standards	19

12.3	TDSP Billing Determinants	19

12.4	Transformer and Line Loss Compensation – Optional Functionality	19

12.5	Display	20

12.6	Meter Diagnostics for Solid State Poly-phase Meters	20

12.7	Solid State Display Modes	20

12.8	Power-up Operation	21

12.9	Nameplate and Identifiers	21

12.10	Self-Test	21

12.11	Diagnostic Checks	22

12.12	IDR Pulse Overrun	22

12.13	Event Logging	22

12.14	Error Reset	22

12.15	Communication	23

12.16	Accuracy Standard	23

12.17	Interval Data Recorder (IDR) Functionality	23

12.18	Internal Clock	24

12.19	Outage Carryover	24

12.20	Meter Password	24

12.21	Reliability	24

12.22	Field Requirements	24

12.23	Shop Requirements	25

13	Meter Approval Process	25

14	Meter Firmware/Functionality Changes for an Approved Meter	26

15	Meter Issue Resolution Process	28

16	Meter Ownership Transfer	29

16.1	Introduction	29

16.2	Communication Process	29

17	Process for COMPETITIVE METERING GUIDE Revisions	29

17.1	Introduction	29

17.2	Submission of a Competitive Metering Guide Revision Request	30

17.3	Retail Metering Working Group	31

17.4	Competitive Metering Guide Revision Procedure	31

17.5	Appeal of Decision	37

17.6	Urgent Requests	38

17.7	Revision Implementation	39

18	Metering Forms	39

18.1	Forms Posted on the ERCOT Web Site	39

18.2	Form Revision	39

# Purpose and Scope

## Competitive Metering Guides (CMG)

### Purpose

The purpose of the CMG is to define standards, specifications, procedures and practices for competitively owned meters.  In addition, these Guides will add details required to clarify the language in the ERCOT Protocols that affect competitive metering.

### Scope

The scope of the CMG is limited to competitively owned meters and to practices associated with competitive meter ownership.

### General Information

Specific practices described in the CMG are consistent with the Public Utility Commission of Texas (PUCT) Substantive Rules and the ERCOT Protocols.  In the event of any conflict for parties that are operating in the ERCOT Region between these Guides and state law, PUCT rules, or the ERCOT Protocols, such conflict shall be resolved in favor of the applicable law, rules, or Protocols.  Should these Guides become applicable for any parties operating within the state of Texas, but outside of the ERCOT Region, such conflict shall be resolved in favor of the applicable law or rules in effect in that region.

For requirements of other metering applications, refer to the appropriate section of the ERCOT Protocols.

### Definitions

Terms used in the CMG are defined in Section 2 of the ERCOT Protocols unless specifically defined in the CMG.  The term TDSP, when used in the CMG, refers to TDSP service territories where competitive meter ownership is authorized.

## Retail Metering Working Group (RMWG)

### Purpose

The Retail Metering Working Group (RMWG) is a standing informal, open working group that provides technical support to the Retail Market Subcommittee (RMS) on retail metering issues.

The RMWG provides a forum in which Market Participants and other interested parties may participate to facilitate changes in standards, specifications, procedures and practices associated with competitive metering as reflected in the Protocols and the CMG.

### Scope

The RMWG, as directed by RMS, shall be involved in policy issues and operational aspects of retail metering.

### Roles and Responsibilities

The RMWG roles and responsibilities include but are not limited to:

- Making recommendations to maintain and uphold Protocols as they pertain to retail metering;

- Developing and maintaining the CMG;

- Reviewing and processing all requests for changes to the CMG;

- Reviewing and establishing recommendations for submittal to RMS regarding necessary business policies and procedures that affect retail metering;

- Participating in developing business requirements for any transaction changes necessary to implement PUCT approved rules related to retail metering and delivering said requirements to Texas Standard Electronic Transactions Working Group (TX SET) and the Texas Test Plan Team (TTPT);

- Performing a liaison function between Market Participants and ERCOT and facilitating market acceptance of retail metering processes; and,

- Providing a forum for Market Participants to be involved with retail metering.

### Structure and Leadership Responsibilities

The RMWG reports to RMS, which is a standing subcommittee of the Technical Advisory Committee (TAC).

The RMWG Chair and RMWG Vice Chair are elected annually by the RMWG on a calendar year basis and the names are submitted to RMS for approval.

The Chair leads the RMWG meetings, establishes RMWG meeting schedules, ensures meeting minutes are documented and distributed, and represents the RMWG at RMS and other ERCOT forums, as necessary.

The Chair can establish task forces and/or sub teams to facilitate the RMWG objectives and timelines.

The Vice Chair’s primary responsibilities are to assist the Chair in performance of the Chair’s duties and perform the Chair’s duties in the absence of the Chair.

### Membership and Meetings

The RMWG membership and meetings are open to all Market Participants and any other interested parties.

### RMWG Distribution List

To receive electronic mail (e-mail) related to the RMWG, complete the following process:

- Through your web browser go to http://rmwg@lists.ercot.com

- Enter your e-mail address in the first box.

- Select the “Find” button and type “rmwg” into the open box next to the find button.

- Click on the “Go” button.  A new page with the “rmwg” list will appear.

- Place a check mark in the “Sub” box next to the “rmwg” list.

- Click on the “Apply” button.

To stop receiving electronic mail (e-mail) related to the RMWG, complete the following process:

- Through your web browser go to http://rmwg@lists.ercot.com

- Enter your e-mail address in the first box.

- Select the “Find” button and type “rmwg” into the open box next to the find button.

- Click on the “Go” button.  A new page with the “rmwg” list will appear.

- Remove the check mark in the “Sub” box next to the “rmwg” list.

- Click on the “Apply” button.

# Roles and Responsibilities of Market Participants

The roles and responsibilities of Market Participants as they relate to competitive meter ownership are described in this section.

## Customer

Customer roles and responsibilities include but are not limited to:

- Choosing whether to own or authorize a third party (Customer’s agent) to own a competitive meter for their Electric Service Identifier (ESI ID);

- Entering into an Agreement for Meter Ownership and/or Access for Non- Company Owned Meters (Agreement) with the TDSP for a competitively owned meter or executing a Letter of Agency (LOA) with a third party to act on the Customer’s behalf;

- Initiating the process to have meters added to the Qualified Competitive Meter List posted on the ERCOT web site;

- Providing a meter to the TDSP that meets the desired functionality and is on the Qualified Competitive Meter List ;

- Submitting the Texas Meter Information (TMI) Form requesting meter information for the ESI ID that qualifies for competitive meter ownership;

- Requesting installation and/or removal of a competitively owned meter; and,

- Charges for construction services that the Customer or Customer’s agent requests in accordance with the TDSP approved tariffs.

## Competitive Retailer (CR) associated with an Electric Service Identifier (ESI ID)

CR roles and responsibilities include but are not limited to:

- Initiating a meter test request to the TDSP on behalf of the Customer;

- Charges for services provided in accordance with the TDSP approved tariffs; and,

- Upon agreement with the Customer or Customer’s agent, requesting installation and/or removal of a competitively owned meter.

## Competitive Meter Owner

Competitive meter owner roles and responsibilities include but are not limited to:

- Perform competitive meter ownership duties authorized by the Customer.

- Provide meter owner information required by the Agreement.

- Sign the Acknowledgement portion of the Agreement.

## Transmission and/or Distribution Service Provider (TDSP)

TDSP roles and responsibilities include but are not limited to:

- Providing metering services relating to installation and removal, maintenance, testing and calibration, data collection and data management as required for TDSP billing and settlement, including the transfer of meter data to the settlement agent;

- Security of the data used for settlement and TDSP billing and maintaining the meter programming password capable of altering such billing parameters;

- Making recommendations for approval or removal of meters on the Qualified Competitive Meter List in accordance with these CMG;

- Completion of “TDSP” sections of the TMI and the Texas Meter Access (TMA) forms in response to inquiries submitted per the requirements specified in these CMG;

- Providing a competitive metering service credit to the CR of a Customer that selects a meter owner other than the TDSP per PUCT approved tariffs;

- Safeguarding a competitively owned meter per these CMG; and,

- Entering into an Agreement with the Customer or Customer’s agent for a competitively owned meter.

## Electric Reliability Council of Texas (ERCOT)

ERCOT roles and responsibilities include but are not limited to:

- Processing the required forms in accordance with these CMG;

- Maintaining the Qualified Competitive Meter List posted on the ERCOT web site in accordance with these CMG; and,

- Maintaining the ERCOT Competitive Metering web page.

## Public Utility Commission of Texas (PUCT)

PUCT roles and responsibilities include but are not limited to:

- Providing general oversight of the competitive metering market; and,

- Ultimately handling dispute resolution for competitive metering.

# Competitively Owned Meter Installation overview

The following is a checklist for installation of a competitively owned meter:

- Request meter information for an existing ESI ID or new Premise (see Section 4)

- Select a meter (see Section 5)

- Execute the Agreement with the TDSP (see Section 7.3)

- Provide the meter and programming specifications to the TDSP (see Section 6)

- TDSP installs competitively owned meter (see Section 7)

# Meter Information Requests

The purpose of the meter information request is to provide the Customer or Customer’s agent with the minimum requirements that a competitively owned meter(s) must satisfy for each specific metering point at an existing ESI ID or new Premise.  This is a manual process using a market approved standardized form known as the Texas Meter Information (TMI) Form.

## Initial Inquiry

The Customer or Customer’s agent completes the “Contact Information” section of the TMI Form and submits the form, via e-mail, to the TDSP contact. The TMI Form and a link to each TDSP’s competitive metering contact are located on the Competitive Metering page of the ERCOT web site:

Go to www.ercot.com

Select the “Market Participants & Stakeholders” tab

Select “Competitive Metering”

A signed Letter of Agency (LOA) must accompany the e-mailed TMI Form, if the request is submitted by anyone other than the Customer.

## TDSP Response

Upon receipt of the TMI Form (and LOA if applicable), the TDSP is responsible for the following:

- Completing the “TDSP Information” and “Minimum Meter Replacement Requirements” sections of the form; and

- Returning the form, via e-mail, to the Customer or Customer’s agent within ten (10) Business Days of the date/time stamp on the senders e-mail.

# Meter Selection

The Customer or Customer’s agent is responsible for selecting and purchasing a meter from the Qualified Competitive Meter List that meets the “Minimum Meter Replacement Requirements” section of the TMI Form as completed by the TDSP.  A meter must be on the Qualified Competitive Meter List to be installed as a competitively owned meter.

If a Customer would like to select a meter that is not on the current Qualified Competitive Meter List, see the Meter Approval Process in Section 13.

The Qualified Competitive Meter List is available on the ERCOT website.

# Programming Specifications for Solid state devices

## Customer Programming Specifications

The Customer or Customer’s agent shall provide data requirements to the TDSP for programming a competitively owned meter. The Customer or Customer’s agent has the responsibility to ensure that the meter functionality supports the requested data requirements.

The TDSP will program any competitively owned meter to obtain the appropriate TDSP billing and settlement determinants (TDSP standard program).

The TDSP will customize the meter program to support additional functions as requested by the Customer or Customer’s agent.  If the meter functionality does not allow these items to be programmed separately from TDSP billing determinants, the Customer or Customer’s agent will specify the data and functionality requirements by providing one of the following to the TDSP:

- Check off sheet listing detailed information for functionality requested, including channel designation (manufacturer program printout); or,

- Electronic file generated from the manufacturer’s software.

The TDSP will proceed with the meter installation request unless the Customer or Customer’s agent requests to verify the meter program prior to installation.

If the Customer or Customer’s agent requests to verify the meter program, the request shall be submitted along with the data requirements to the TDSP.  The TDSP will:

- Print out the meter program, if the manufacturer’s software supports this functionality, and send the meter program to the Customer or Customer’s agent: or,

- Notify the Customer or Customer’s agent, via e-mail, if the manufacturer’s software does not support the functionality to print the meter program, as requested.

The TDSP will continue processing the meter installation request within seven (7) business days unless notified by the Customer or Customer’s agent, via e-mail, not to proceed with the meter installation request.

## Number of Interval Data Recorder (IDR) Channels to Program into a Meter

The maximum number of channels that can be programmed into the IDR meter is sixteen (16), which includes TDSP billing and settlement channels.

The minimum number of channels required by the TDSP will be based on the TDSP billing and settlement determinants.

The remaining channels up to the maximum allowable as specified in these CMG are available to the Customer.

The maximum allowable number of IDR channels for a meter may be limited by the requirement to maintain a data storage capacity of 45 days per channel.

The current TDSP billing and settlement intervals are based on a fifteen (15) minute interval.

## TDSP Billing and Settlement Determinants

TDSP billing and settlement determinants are determined by the applicable TDSP tariffs or Affiliated REP Price to Beat (PTB) requirements.

Only TDSP billing and settlement data will be sent to ERCOT by the TDSP.

## CR Billing Requirements

The Customer or Customer’s agent must ensure that current CR billing requirements are maintained when requesting competitive meter ownership and supplying programming specifications to the TDSP.

## Other Programming Requirements

TDSP additional requirements other than TDSP billing and settlement determinants for a specific meter will be communicated to the Customer or Customer’s agent during the initial inquiry.

The Customer or Customer’s agent shall, at a minimum, maintain the meter functionality presently installed and necessary to maintain meter reading requirements, safety and reliability of the TDSP’s electrical system.

# Installation of a Competitively Owned Meter

The following section covers the minimum required procedures that must be followed when installing a competitively owned meter, but is not intended to address all contingencies involved with this process.

## Existing Service with Meter Installed

- After receiving the completed TMI Form, via e-mail, from the TDSP, the Customer or Customer’s agent will have sixty (60) calendar days to execute a signed Agreement with the TDSP requesting meter ownership. If an Agreement is not executed within sixty (60) calendar days, the Customer or Customer’s agent will be required to restart the process by obtaining and submitting a new TMI Form.

- The Agreement is part of the TDSP tariffs and can be obtained from the ERCOT Competitive Metering web page.

- The Customer or Customer’s agent has the responsibility of shipping the following items, together, to the address specified in the executed Agreement:

- A meter or meters listed on the Qualified Competitive Meter List;

- Data requirements for TDSP programming for each meter; and,

- Completed TMI Form for each ESI ID where meter ownership is being requested. The Customer or Customer’s agent shall specify which existing meter, by serial number, will be replaced by each competitively owned meter, by serial number.

- The TDSP has the responsibility of performing acceptance testing for every meter received, unless the manufacturer’s certified test results are provided and the TDSP accepts such manufacturer’s certified test results.

- If the meter test is acceptable (passed),

- The TDSP shall confirm, via e-mail, to the Customer or Customer’s agent within five (5) Business Days of test acceptance that the meter is ready for installation.

- The Customer or Customer’s agent will confirm site communication readiness with the TDSP, via e-mail.

- Once site readiness has been confirmed, the TDSP will replace the TDSP owned meter with the competitively owned meter.

- If the Customer has executed the “Data Access” section of the Agreement, the TDSP will provide site specific information for the new meter via e-mail on the Texas Meter Access (TMA) Form, within ten (10) Business Days after installation of the competitively owned meter.

- If the meter test is unacceptable (failed),

    - The TDSP will e-mail a completed Meter Test Results / Removal (MTR) Form to the Customer or Customer’s agent within five (5) Business Days of the meter test.

    - The TDSP will return the meter to the meter owner in accordance with instructions provided in the executed Agreement.

    - The Customer or Customer's agent will be responsible for providing a qualified replacement meter, with the appropriate documentation (reference 7.1(3)), within ninety (90) calendar days of the TDSP returning the failed meter or any other agreed upon date between the TDSP and the Customer or Customer’s agent.

    - If a qualified replacement meter has not been received by the TDSP within the ninety (90) calendar days, the Customer or Customer’s agent shall reinitiate the process as outlined in Section 3.

## New Service (Construction) with No Meter Installed

The Customer or Customer’s agent is responsible for coordinating the installation of a competitively owned meter with the Customer’s request to energize service. If a competitively owned meter is not available to facilitate the Customer’s request to energize the service the TDSP will install a TDSP owned meter.

- After receiving the completed TMI Form, via e-mail, from the TDSP, the Customer or Customer’s agent will have sixty (60) calendar days to execute a signed Agreement with the TDSP requesting meter ownership. If an Agreement is not executed within sixty (60) calendar days, the Customer or Customer’s agent will be required to restart the process by obtaining and submitting a new TMI Form.

- The Agreement is part of the TDSP tariffs and can be obtained from the ERCOT Competitive Metering web page.

- The Customer or Customer’s agent has the responsibility of shipping the following items, together, to the address specified in the executed Agreement:

- A meter or meters listed on the Qualified Competitive Meter List, forty-five (45) calendar days prior to the requested date for connection of electrical service to the ESI ID;

- Data requirements for TDSP programming for each meter; and

- Completed TMI Form for each ESI ID, if available, or service address where meter ownership is being requested. The Customer or Customer’s agent shall specify the detailed physical location for each competitively owned meter, by serial number.

- The TDSP has the responsibility of performing acceptance testing for every meter received, unless the manufacturer’s certified test results are provided and the TDSP accepts such manufacturer’s certified test results.

- If the meter test is acceptable (passed),

    - The TDSP shall confirm, via e-mail, to the Customer or Customer’s agent within five (5) Business Days of test acceptance that the meter is ready for installation.

    - The Customer or Customer’s agent will confirm site communication readiness with the TDSP, via e-mail.

    - The Customer or Customer’s agent shall notify the TDSP, via e-mail, of the Customer requested move-in date.

    - The TDSP will make all reasonable efforts to schedule the competitively owned meter installation according to the date requested.

    - If the Customer has executed the “Data Access” section of the Agreement, the TDSP will provide site specific information for the new meter via e-mail on the Texas Meter Access (TMA) Form, within ten (10) Business Days after installation of the competitively owned meter.

- If the meter test is unacceptable (failed),

- The TDSP will e-mail a completed MTR Form to the Customer or Customer’s agent within five (5) Business Days of the meter test.

- The TDSP will return the meter to the meter owner in accordance with the instructions provided in the executed Agreement.

- The Customer or Customer's agent will be responsible for providing a qualified replacement meter, with the appropriate documentation (reference 7.2(3)), within ninety (90) calendar days of the TDSP returning the failed meter or a mutually agreed upon date between the TDSP and the Customer or Customer’s agent.

- If a competitively owned meter is not available for the installation, the Customer may choose to cancel the request to energize service through the Customer’s chosen CR (move-in request); otherwise the TDSP will install a TDSP owned meter to comply with the move-in request.  If a TDSP owned meter is installed and the Customer still wants to have a competitively owned meter installed, follow the process beginning at Section 7.1(3).

## Notification Requirements

The notification requirements for a competitively owned meter installation are outlined below:

- Texas Meter Information (TMI) Form

- The TMI Form is used to request site specific parameters and specifications for competitive meter ownership.

- The Customer or Customer’s agent shall initiate the TMI Form.  The Customer or Customer’s agent is responsible for completing the “Contact Information” section of the TMI Form and sending the completed form to the TDSP, via e-mail.

- The TDSP shall return via email the completed TMI Form, to the initiating party within ten (10) Business Days of the date/time stamp on the senders e-mail.

- Agreement for Meter Ownership and/or Access for Non-Company Owned Meters

- The Agreement is between the Customer and the TDSP.  The Agreement is initiated by the Customer or Customer's agent and mailed to the TDSP. Upon execution by the TDSP, the Agreement will be returned to the Customer or Customer’s agent for their records.

- The Customer, Customer's agent and meter owner, as applicable, and the TDSP will be responsible for completing the Agreement and providing the appropriate signatures where required.

- Meter Test Results/Removal (MTR) Form

- The MTR Form is submitted, via e-mail, to the Customer or Customer’s agent, in the event the initial meter test results are unacceptable (failed).

- Texas Meter Access (TMA) Form

- The TMA Form is used to allow the Customer or Customer’s agent meter access following installation of a competitively owned meter.  Release of this information requires completion of the “Data Access” section of the executed Agreement between the Customer or Customer’s agent and the TDSP.

- The TMA Form is completed by the TDSP and e-mailed to the Customer or Customer’s agent, if applicable, within ten (10) Business Days following the successful installation of a competitively owned meter.  The TMA Form provides site-specific parameters, which may include read-only passwords and communication information.

- The TDSP is responsible for submitting the appropriate Texas SET transaction to notify the market.

## One ESI ID with Multiple Meters

If a Customer’s ESI ID involves the use of multiple meters and the Customer chooses to have one or more meters competitively owned at that ESI ID, then the number of meters that must be competitively owned and the associated meter credit for the ESI ID shall be based on the TDSP tariffs.

# Meter Testing and Calibration

## Accuracy Limits

At a minimum, meters shall comply with the test calibration limits set by the American National Standards Institute (ANSI). In addition, where a TDSP has established more stringent accuracy limits within their service territory, all meters shall comply with these accuracy limits. Whenever a meter is tested and found to be outside these TDSP accuracy limits, it shall be adjusted or replaced.

## Test Schedules

The test schedule for all types of in-service meters shall conform to the latest edition of ANSI Standard C12.  Within each TDSP service territory, meter test schedules have been established to ensure that all meters adhere to these standards.  All competitively owned meters will adhere to the test schedule for in-service meters of the TDSP service territory where they are installed.

## Meter Records

### Meter equipment record

Each TDSP shall keep a record of all competitively owned meters in its service territory, maintaining the Customer and meter owner’s contact information.

### Records of meter tests

Test records for a competitively owned meter shall be maintained by the TDSP, according to PUCT Substantive rules.

## TDSP Calibration

If a competitively owned meter is found to be outside the TDSP accuracy limits, the TDSP will attempt to calibrate the meter.

If the TDSP calibrates the meter, it shall be adjusted as closely as practicable to the condition of zero error.

If the TDSP is unable to calibrate the meter within accuracy limits, the TDSP will remove the meter, replace it with a properly functioning TDSP meter, and return the competitively owned meter as detailed in the Agreement.

## Notification Requirements

Upon request of a meter test for an in-service competitively owned meter, the TDSP will send the meter test results to the requestor and the CR.

# Removal of a Competitively Owned Meter

## Removal Requests to the TDSP

The TDSP will remove a competitively owned meter:

- Upon request by the Customer or Customer’s agent, via e-mail, for an energized service.

- Upon request, via e-mail, by the meter owner for a de-energized service.

- Upon request by a CR for the installation of an IDR meter to meet Protocol requirements.

- Such CR request shall include the Customer’s intention to have a competitively owned meter or a TDSP owned meter installed.

- If a competitively owned meter is to be installed, the Customer or Customer’s agent shall submit a TMI Form to the TDSP within fifteen (15) days of the CR request and follow the process to have a competitively owned meter installed.

- The TDSP shall install a TDSP owned meter if they have not received a competitively owned meter within sixty (60) days of the CR’s request.

- Upon TDSP notification to the Customer that metering requirements have changed based on TDSP rate classifications and the current meter does not support the required functionality.

- The Customer shall inform the TDSP of the Customer’s intention to have the current meter reprogrammed to support the required functionality, a new competitively owned meter installed or a TDSP owned meter installed.

- If a competitively owned meter is to be installed, the Customer or Customer’s agent shall submit a TMI Form to the TDSP within fifteen (15) days of the TDSP notification and follow the process to have a competitively owned meter installed or supply information that the current meter will support the required changes.

- The TDSP shall install a TDSP owned meter if they have not received a competitively owned meter or programming information for the existing meter within sixty (60) days of the notification to the Customer.

## Removal Prior to Energization

The TDSP shall remove a competitively owned meter when it receives a request to energize a service unless the TDSP has executed an Agreement with the new Customer or Customer’s agent, for that specific meter.

## Replacing Defective Equipment

- The TDSP will remove any meter found to be unsafe, defective, or damaged.

- The TDSP will remove any meter that fails to meet TDSP accuracy limits and the TDSP is unable to calibrate.

- The TDSP shall install a replacement TDSP owned meter capable of providing the data necessary for TDSP billing and for settlement.

- The defective or damaged competitively owned meter will be returned to the meter owner, according to the terms stated in the signed Agreement.

## Notification Requirements

It is the responsibility of the TDSP to notify the Customer and meter owner of the reason for removal of a competitively owned meter.

- The MTR Form will be e-mailed to the Customer and meter owner providing meter removal information.

- The TDSP is responsible for submitting the appropriate Texas SET transaction to notify the market.

## Customer Requests to Return to TDSP Owned Meter

The Customer or Customer’s agent may request to have a competitively owned meter removed and a TDSP owned meter installed.

## Safeguarding Meters

Upon removal of a competitively owned meter, the TDSP shall take reasonable measures to safeguard the meter.

- Until the earlier of (a) the date the meter owner takes possession of the meter, or (b) 60 calendar days from the date of removal of the meter.

- If the meter owner fails to take possession of the meter within sixty (60) calendar days or upon thirty (30) days of the return of the meter that was shipped cash on delivery (COD), the TDSP is no longer responsible for safeguarding the meter and may dispose of it in any manner the TDSP deems appropriate.

## Returning Meters

The TDSP will return the competitively owned meter according to the terms of the Agreement.

# Customer or Third Party Access to the Meter

## Data Access

The Customer or Customer’s agent shall have the right to access meter data related to the Premise occupied by that Customer.

## Passwords

### Programming Passwords for TDSP Billing and Settlement Determinants

The TDSP has sole responsibility for maintaining the meter programming password that can be used to alter any TDSP billing and settlement determinants. No entity other than the TDSP shall have the right, capability, or meter programming password to alter the data collected by the meter for the purpose of TDSP billing.

### Programming Passwords for non-TDSP Billing and Settlement Determinants

A Customer or Customer’s agent owning a meter with security features that support multiple programming passwords is allowed access to programming passwords only if they do not allow alteration of TDSP billing and settlement determinants and/or data. Upon the execution of the “Access” section of the Agreement with the TDSP, the Customer or Customer’s agent shall be provided the non-billing parameter password for access and programming of meter data.

If the existing meter at the Premise is programmed for Supervisory Control and Data Acquisition (SCADA) related non-billing determinants which are being used by the TDSP for the safety and reliability of the TDSP transmission and/or distribution system, then the customer or customer’s agent shall not be allowed programming access to those determinants.

### Read-Only Passwords

Upon execution of the “Access” section of the Agreement with the TDSP, the Customer or Customer’s agent shall be provided read-only passwords for access to meter data.

## TDSP Meter Reading Capability for Billing, Settlement and Reliability

TDSP meter reading capabilities for billing, settlement and reliability shall be as defined in the “Access to Non-Company Owned Meter by Company to Obtain Meter Data” section of the Agreement.

## Physical Access

The current Customer or the Customer’s agent shall have the right to physical access to the meter to obtain meter data as long as the access is technically feasible and does not compromise the integrity of the metered data.

To facilitate safe physical access to the meter, the TDSP shall ensure that the requested physical connections to the meter are made available for external connections.

The TDSP shall terminate the physical connections to a point facilitating the Customer’s physical interface.

The Customer or the Customer’s agent shall be responsible for the installation and maintenance of all wiring and equipment on the Customer’s side of the point of interconnection.

Meter connections through which meter information can be exchanged include but are not limited to the meter display, digital pulse outputs, serial port, optical port, modem, network interface, power-line carrier, wireless, or pager interface

# TDSP billing and Credits per TDSP Approved Tariff

## TDSP Approved Credits

The TDSP is required to provide a competitive metering service credit to the CR for the ESI ID with a competitively owned meter installed. Information concerning the meter ownership credit can be found in each TDSP’s tariff.

## TDSP Approved Metering Service Credits and Tariffs

The approved discretionary service charges and competitive metering service credit information for each TDSP can be found on the PUCT website under electric rates and tariffs.

# Technical Specifications for Competitively Owned Meters

## Purpose

The purpose of this section is to provide minimum acceptable requirements and guidelines for competitively owned meters operating in areas where metering services are competitive.  These specifications shall apply to the meter functionality requested for approval.

## ANSI Standards

All electromechanical meters shall comply with the latest revision of the following applicable standards: ANSI C12.1, C12.4, C12.5, and C12.10.

All solid-state meters shall comply with the latest revision of the following applicable standards: ANSI C12.1, C12.10 and C12.20.

All meters approved prior to January 1, 2006 as to manufacturer’s type, are grandfathered from compliance with ANSI C12.18, C12.19, & C12.21.  In addition, a change in firmware does not require grandfathered meters to become compliant with these three standards. All meters, approved on or after January 1, 2006 shall comply with ANSI C12.18-2002, C12.19-1997, & C12.21-1999, if applicable.  C12.19 compliance includes accurate and complete documentation in Table 00.  At a minimum, Table 00 shall include Table 23, 27, 28 for all meters and Table 64 for load profile meters.  The tables are defined as follows:

Table 00 – General Configuration Table

Table 23 – Current Register Data Table

Table 27 – Present Register Selection Table

Table 28 – Present Register Data Table

Table 64 – Load Profile Data Set 1 Table

## TDSP Billing Determinants

The meter shall be capable of accurately measuring TDSP billing and settlement determinants.  For example, these determinants may include the following measurements: kW, kWh delivered and received, kVAR, kVARh delivered and received, power factor, Time of Use (TOU), and kVA–thermal (emulation arithmetic) as applicable. Meters may be approved based on manufacturer’s stated functionality after all required testing and approval processes are complete.

## Transformer and Line Loss Compensation – Optional Functionality

When transformer or line loss compensation is required, the meter shall perform this calculation in accordance with the latest revision of the “Handbook for Electricity Metering.” The meter shall be capable of accuracy testing both with and without loss compensation factors applied.

The meter shall be programmable to display and record compensated values such as kW, kWh, kVAR and kVARh.

## Display

All meter displays shall meet the requirements of ANSI C12.10.  In addition, a solid state meter shall be capable of the following display functionality:

- Annunciators for all displayable energy units by name and code;

- Annunciators for all displayable non-energy units by code;

- Programmable scroll rate for displayed quantities ;

- Disk emulator with load flow indication;

- End of interval (EOI) indicator;

- Mode indicator (normal, alternate and test);

- A minimum of six digits, for energy units with a minimum resolution of  0.01; and,

- Active phase voltage indicators (applies to poly-phase meters only).

## Meter Diagnostics for Solid State Poly-phase Meters

Meter shall have installation diagnostic tools capable of performing and reporting all system service tests, including but not limited to the following:

- Per phase voltage

- Phase angle between voltage and current

- Per phase currents

- Voltage phase angle for validation of service configuration

## Solid State Display Modes

The following solid state display modes shall be selectable either by software or by an external switch.

### Normal Mode

The normal mode shall be capable of scrolling through all quantities and displayable items.

The normal mode shall be the default mode unless switched to another mode via software or by external switch.

### Alternate Mode

The alternate mode shall be capable of scrolling through all quantities and displayable items.

### Test Mode

The meter shall have the capability of a test mode function that suspends normal metering operation during testing so that additional consumption and demand from tests are not added to the meter’s normal mode display registers and the interval data.

- Security shall be provided to prevent unauthorized access to the test mode.

Activation of the test mode shall cause all present critical TDSP billing data to be stored in non-volatile memory and restored at the time of exit from the test mode.

The meter shall be programmable to automatically exit the test mode and return to normal operation after one hour or less of operator inactivity.

The test mode shall have programmable displays.

## Power-up Operation

Upon power-up, the meter display shall operate in the normal mode and start to calculate consumption and demand quantities within ten (10) seconds.

Meter shall be programmable to permit a delay in the measurement of demand after a power failure. The delay shall be programmable for a period of anywhere from 0 to 60 minutes.

## Nameplate and Identifiers

### Nameplate

The meter shall be equipped with a nameplate as specified in the latest revision of ANSI C12.10 Standard.

The label “competitive meter” shall be placed in the space provided for the “utility name.”

### Internal Identifier

A solid state meter shall have the manufacturer’s serial number programmed internal to the meter.

## Self-Test

The meter shall be capable of performing a self-test to ensure that the meter is functioning properly and to verify data integrity.  As a minimum, the self-test shall be performed at the following times:

- After a power-up; and,

- Once per day.

## Diagnostic Checks

Upon failure of a diagnostic check, the meter shall store a status flag (indicator) that can be retrieved from the display or remotely, if applicable.  As a minimum, the following diagnostic checks shall be performed during a self-test:

- Check the backup battery usage or voltage;

- Verify the program configuration; and,

- Verify the memory integrity.

## IDR Pulse Overrun

The meter shall be capable of detecting and flagging if the maximum pulses per interval for the IDR have been exceeded for each interval.

## Event Logging

When interrogated, meters shall be capable of flagging and reporting the following events:

- Hardware errors;

- Firmware errors;

- RAM and ROM errors;

- Clock errors (timekeeping);

- Pulse Overflow errors;

- Low battery condition;

- AC power up;

- AC power down;

- Cold start (reinitialize all data to manufacturer’s default parameters);

- Warm start (initialize register data without changing program parameters);

- Configuration changed;

- Clock set/change;

- Test mode activation; and,

- Inactive potential.

## Error Reset

Error and warning conditions shall be programmable for display and reset, unless the manufacturer classifies the error as a fatal error.  Fatal errors shall only be reset upon an explicit command invoked via the meter programmer or upon some other explicit action.

## Communication

Communication requests from a single source or simultaneously from multiple sources shall not result in a meter malfunction, such as a measurement error, a meter lockup or loss of data.

### Local Communications Interface

The meter shall be capable of communicating with a personal computer through a local port.

### Internal Modem

Internal modems shall be capable of telephone communications at a minimum rate of 1200 baud.

The modem shall include baud select, configurable answer time window and configurable answer ring counter.

## Accuracy Standard

### Full Load, Light Load, & Power Factor

- Poly-phase solid state meters shall fully comply with ANSI C12.20, accuracy class 0.2. Form numbers not covered by this standard shall meet the accuracy requirements of ANSI C12.20, accuracy class 0.2.

- Single-phase solid state meters shall fully comply with C12.20, accuracy class 0.5, at a minimum. Form numbers not covered by this standard shall meet the accuracy requirements of ANSI C12.20, accuracy class 0.5.

- Upon receipt by the TDSP, the error for electromechanical meters shall be no greater than the following tolerances: Full Load: 0.4%, Light Load: 0.5%, Power Factor: 0.7%; Balance Test: 0.5%.

## Interval Data Recorder (IDR) Functionality

Meters with an IDR shall have the following interval data recording functions:

- Recording of interval data for a minimum of two (2) channels;

- Programmable intervals of five, fifteen, thirty, and sixty minutes;

- Ability to store date and time with the interval data;

- Storage of interval data for a minimum of forty-five (45) days per channel, fifteen (15) minute interval data, in addition to allowances for event recording (power outages, resets, time sets, etc.);

- Capacity to count and store at least 4,000 counts for the programmed interval for meters that store pulse data;

- “Wraparound” memory that stores new interval data by writing over the oldest interval data; and,

- Capability to continually record interval data while the meter is communicating via its communication ports.

## Internal Clock

The clock internal to the meter shall be accurate within two minutes per week (+/- 0.02%) when not synchronized to the line frequency and shall be re-settable through the communications interface utilizing the proper password security.

The meter shall be programmable to derive its time base from either the line frequency or the meter’s internal oscillator.

The meter shall be equipped with a software selectable Daylight Savings Time (DST) function.

## Outage Carryover

The meter data and time keeping functions shall have a minimum carry over time of 24 months without external power.

The meter configuration parameters as well as measured quantities for settlement determinants, excluding IDR data, shall be stored in non-volatile memory.

## Meter Password

The meter shall be programmable with a minimum of three (3) unique levels of password protection.  These levels are defined as follows:

- A first level allowing read only access of the meter data (to prevent unauthorized tampering by use of the optical port or the modem).

- A second level allowing read access with limited write access to meter functions (demand reset, time set, etc.).

- A third level allowing full programming access of all meter parameters.

## Reliability

Programming (except re-initialization), time synchronization, and reading shall not result in a meter malfunction, such as a measurement error, a meter lockup or loss of data.

## Field Requirements

### Field Testing

The meter shall provide a method to perform field accuracy testing using either infrared, LED, KYZ, disk emulation, or other industry-accepted method(s).

### Field Load Checks

The meter shall have the ability of displaying load rate, disk emulation or instantaneous values for measured quantities.

## Shop Requirements

Meters shall be compatible with existing commercial test boards that are available without modification for accuracy testing, using infrared, KYZ, LED, disk emulation, or other industry accepted method(s).

# Meter Approval Process

The following process shall be used for approving new meters to be added to the Qualified Competitive Meter List.

- A new meter is requested for a specific Customer’s location.

- An application is filed by the Customer and/or the Customer’s meter representative to competitivemetering@ercot.com which shall include:

- An ERCOT Meter Approval Application Form;

- Certification of compliance with applicable ANSI standards and the Technical Specifications for Competitively Owned Meters in these CMG;

- Meter Manufacturer’s ANSI Standards Test and meter test requirements data for the Technical Specifications for Competitively Owned Meters in these CMG;

- A letter from the meter manufacturer indicating that the manufacturer will supply programming software and adequate training to the TDSP at no charge, within thirty (30) calendar days of receipt of the meter(s).  Adequate training may be supported via on-site visit, telephone call, software/video recording, web-based or other agreed upon means between the manufacturer and each TDSP.  Software provided will be capable of retrieving TDSP billing and settlement data directly from the meter in a recognized industry standard readable format in case of communication failure; and,

- Detailed meter information document including settlement functionality.

- ERCOT reviews the application for completeness, and to determine if information to demonstrate ANSI compliance has been submitted.

- If needed ERCOT requests more information.

- After receipt of all information, ERCOT shall accept or reject the application within thirty (30) calendar days or notify the applicant of the status of the application.

- If the application is accepted, ERCOT forwards the application along with notification that the manufacturer’s test data is available to each TDSP.

- If the application is rejected, ERCOT returns the application to the Customer and/or Customer’s representative with specific reason(s) for the rejection.

- Upon acceptance of the application, ERCOT posts notice on the ERCOT website that the meter is under review for approval.

- TDSPs will review the manufacturer’s test data and may test the meter using applicable standards and share data with other TDSPs and ERCOT.

- Each TDSP will decide if they require additional tests.

- TDSPs may request a meter, software and training from the manufacturer.

- Any TDSP choosing to test the meter must do so within thirty (30) calendar days or notify the applicant of the status of the additional tests.

- Any TDSP choosing to test the meter shall send the meter test results, data and conclusions to other TDSPs and ERCOT.

- The TDSPs and ERCOT shall jointly review the test results.

- If requested, ERCOT will make information available to other Market Participants, to the extent that the information owner does not mark such information as Protected Information.

- ERCOT approves the application based on a positive recommendation by a minimum of 80% of the TDSPs; otherwise the application is rejected and ERCOT removes the notice that the meter is under review for approval from the ERCOT web site.

- a.	If the application is approved, the meter is added to the Qualified Competitive 	Meter List.

    - ERCOT informs the applicant of the approval.

    - ERCOT updates the Qualified Competitive Meter List.

    - ERCOT posts the new list with the effective date.

- b.	If the application is rejected, ERCOT will provide documentation to the applicant of the specific reason(s) for rejection, based on identifiable deviation from the applicable Technical Specifications for Competitively Owned Meters as documented in these CMG.

- c.	.Any subsequent application for approval of a rejected meter must include the manufacturer’s documented resolution of the reason for the previous rejection.

# Meter Firmware/Functionality Changes for an Approved Meter

The following process shall be used for approving changes to meter firmware or functionality for meters currently on the Qualified Competitive Meter List:

- Meter manufacturer, Customer and/or the Customer’s meter representative requests the addition of a firmware number and/or an upgrade in functionality for a meter that is currently in approved status on the Qualified Competitive Meter List and the meter programming software previously provided by the manufacturer is still applicable.

- Application may be filed by the meter manufacturer, Customer and/or the Customer’s meter representative to competitivemetering@ercot.com which shall include:

- An ERCOT Meter Firmware/Functionality Upgrade Approval Application Form;

- A detailed listing of the changes made and/or the reason for the upgrade;

- Certification of compliance with applicable ANSI standards and the Technical Specifications for Competitively Owned Meters detailed in these CMG, if applicable; and,

- Meter Manufacturer’s ANSI Standards Test and meter test requirements data for the Technical Specifications for Competitively Owned Meters in these CMG, if applicable.

- ERCOT reviews the application for completeness, and to determine if information to demonstrate ANSI compliance has been submitted, if applicable.

- If needed ERCOT requests more information.

- After receipt of all information, ERCOT shall accept or reject the application within twenty (20) calendar days or notify the applicant of the status of the application.

- If the application is accepted, ERCOT forwards the application along with notification that the manufacturer’s test data is available to each TDSP.

- If the application is rejected, ERCOT returns the application to the applicant with specific reason(s) for the rejection.

- Upon acceptance of the application, ERCOT posts notice on the ERCOT website that the meter firmware number and/or functionality upgrade is under review for approval.

- TDSPs will review the manufacturer’s test data and may test the meter firmware/functionality using applicable standards and share the data with other TDSPs and ERCOT.

- Each TDSP will decide if they require additional tests.

- TDSPs may request a sample meter from the manufacturer for testing the firmware/functionality upgrade.

- Any TDSP choosing to test the meter firmware/functionality must do so within twenty (20) calendar days or notify the applicant of the status of the additional tests.

- Any TDSP choosing to test the meter firmware/functionality shall send the test results, data and conclusions to the other TDSPs and ERCOT.

- The TDSPs and ERCOT shall jointly review the test results.

- If requested, ERCOT will make information available to other Market Participants, to the extent that the information owner does not mark such information as Protected Information.

- ERCOT approves the application based on a positive recommendation by a minimum of 80% of the TDSPs; otherwise the application is rejected and ERCOT removes the notice that the meter firmware number and/or functionality upgrade is under review for approval from the ERCOT website.

- If the application is approved, the new meter firmware number and/or functionality is added to Qualified Competitive Meter List.

    - ERCOT informs the applicant of the approval.

    - ERCOT updates the Qualified Competitive Meter List.

    - ERCOT posts the new list with the effective date.

- If the application is rejected, ERCOT will provide documentation to the applicant of the specific reason(s) for rejection, based on identifiable deviation from the applicable Technical Specifications for Competitively Owned Meters as documented in these CMG.

- Any subsequent application for approval of a rejected firmware/functionality upgrade must include the manufacturer’s documented resolution of the reason for the previous rejection.

# Meter Issue Resolution Process

The following process shall be used to resolve issues involving non-compliance with ERCOT approved competitive meter standards, for meters on the Qualified Competitive Meter List:

- TDSP notifies the manufacturer of product issue and requests a written response.

- The TDSP shall notify ERCOT, via e-mail, utilizing the Meter Issue Resolution Form and include the manufacturer’s written response to the issue.

- ERCOT reviews the issue.

- ERCOT verifies that the TDSP meter issue is supported based on the documentation received.

- ERCOT may request clarification from the TDSP and/or the manufacturer.

- ERCOT confirms that there is a non-compliant product issue and enters the information on the Meter Issue Resolution Form.

- ERCOT sends a notification, including the supporting documentation, to each TDSP, and to the meter manufacturer, if issue is confirmed.

- In order to remain on the Qualified Competitive Meter List, the manufacturer must resolve the issue with the TDSPs and ERCOT.

- TDSPs and ERCOT unanimously determine if new installations must be placed on hold due to safety and/or impacts on TDSP billing and settlement determinants.

- If a meter is placed on hold, ERCOT will update the status of the meter on the Qualified Competitive Meter List.

- If the manufacturer requests more time to resolve the issue, the TDSPs and ERCOT set the timeline for the issue resolution.

- The manufacturer provides the resolution to ERCOT who then forwards the documentation to all TDSPs.

- TDSPs and ERCOT unanimously determine if the issue is resolved, and the hold is removed, if applicable.

- If the issue is not resolved, ERCOT updates the Meter Issue Resolution Form based on a unanimous recommendation by the TDSPs.

- ERCOT receives the documentation from the TDSPs and attaches the manufacturer’s response.

- ERCOT posts notification to the ERCOT website that the approved meter functionality/restrictions/firmware will be changed or the meter will be removed from the Qualified Competitive Meter List.

- TDSPs send notification to the Customer or the Customer’s agent that the meter will be removed from service.

- ERCOT updates the Qualified Competitive Meter List including an effective date.

# Meter Ownership Transfer

## Introduction

If a meter ownership transfer occurs, the Customer or Customer’s agent must execute an amendment to the existing Agreement with the TDSP. The amendment shall provide the new meter owner’s information and acknowledgement.

## Communication Process

The Customer is responsible for providing the required contact and meter return information for the new meter owner, along with the appropriate authorized signatures to the TDSP.

TDSP responsibilities include:

- Processing the amendment to the Agreement and returning the executed amendment to the Customer or Customer’s agent within fifteen (15) Business Days;

- E-mailing confirmation to the previous and new meter owners, within five (5) business days of the ownership transfer completion, including the associated ESI ID(s); and

- Updating their internal records for ownership type and submitting the appropriate Texas SET transaction, if applicable.

# 17	Process for COMPETITIVE METERING GUIDE Revisions

# 17.1	Introduction

- (1)	A request to make additions, edits, deletions, revisions, or clarifications to the Competitive Metering Guide (CMG), including any attachments and exhibits to the CMG, is called a “Competitive Metering Guide Revision” (CMGRR). Except as specifically provided in other Sections of this CMG, this Section shall be followed for all CMGRRs.  ERCOT Members, Market Participants, Public Utility Commission of Texas (PUCT) Staff, ERCOT Staff, and any other Entities are required to utilize the process described herein prior to requesting, through the PUCT or other Governmental Authority, that ERCOT make a change to this CMG, except for good cause shown to the PUCT or other Governmental Authority.

- (2)	All decisions of the Retail Metering Working Group (RMWG), as defined below, the Retail Market Subcommittee (RMS), the Technical Advisory Committee (TAC) and the ERCOT Board of Directors (Board) with respect to any CMGRRs shall be posted to the Market Information System (MIS) within three (3) Business Days of the date of the decision.  All such postings shall be maintained on the MIS for at least 180 days from the date of posting.

- (3)	The “next regularly scheduled meeting” of the RMWG, RMS, TAC or the Board shall mean the next scheduled meeting for which required notice can be timely given regarding the item(s) to be addressed, as specified in the appropriate Board or committee procedures.

- (4)	Throughout the CMG references are made to the ERCOT Protocols.  ERCOT Protocols supersede the CMG and any CMGRRs must be compliant with the ERCOT Protocols.  The ERCOT Protocols are subject to the revision process outlined in Protocol Section 21, Process for Protocol Revision.

- (5)	ERCOT Staff may make non-substantive corrections at any time during the processing of a particular CMGRR.  Under certain circumstances, however, the CMG may also be revised by ERCOT Staff rather than using the CMGRR process outlined in this Section.

- a.	This type of revision is referred to as an "Administrative CMGRR" or “Administrative Changes” and shall consist of non-substantive corrections, such as typos (excluding grammatical changes), internal references (including table of contents), improper use of acronyms, and references to ERCOT Protocols, PUCT Substantive Rules, the Public 	Utility Regulatory Act (PURA), North American Electric Reliability Corporation (NERC) regulations, Federal Energy Regulatory Commission (FERC) rules, etc.

- b.	ERCOT shall post such Administrative CMGRRs to the MIS and distribute the CMGRRs to the RMWG at least ten (10) Business Days before implementation.  If no interested party submits comments to the Administrative CMGRR, ERCOT Staff shall implement it according to Section 17.7, Revision Implementation.  If any interested party submits comments to the Administrative CMGRR, then the Administrative CMGRR shall be processed in accordance with the CMGRR process outlined in this Section.

17.2	Submission of a Competitive Metering Guide Revision Request

The following Entities may submit a CMGRR:

- (1)	Any Market Participant(MP);

- (2)	Any Entity that is an ERCOT Member;

- (3)	PUCT Staff;

- (4)	ERCOT Staff; and

- (5)	Any other Entity who resides (or represent residents) in Texas or operates in the ERCOT Region.

# 17.3	Retail Metering Working Group

- (1)	RMS shall assign a working group ("Retail Metering Working Group" or “RMWG”) to review and recommend action on formally submitted CMGRRs. RMS may create such a working group or assign the responsibility to an existing working group, provided that:

- a.	Such working group’s meetings are open to ERCOT Staff, ERCOT Members, Market Participants, and the PUCT Staff; and

- b.	Each Market Segment is allowed to participate.

- (2)	Where additional expertise is needed, the RMWG may request that RMS refer the CMGRR to existing subcommittees, working groups or task forces for review and comment on the CMGRR.  Suggested modifications or alternative modifications if a consensus recommendation is not achieved by a non-voting working group or task force to the CMGRR shall be submitted by the chair or the chair’s designee on behalf of the commenting subcommittee, working group or task force as comments on the CMGRR for consideration by RMWG.  However, the RMWG shall retain ultimate responsibility for the processing of all CMGRRs.

- (3)	The RMWG shall ensure that the CMG is compliant with the ERCOT Protocols.  As such, the RMWG shall monitor all changes to the ERCOT Protocols and initiate any CMGRRs necessary to bring the CMG in conformance with the ERCOT Protocols.  The RMWG shall also initiate a Protocol Revision Request (PRR) if such a change is necessary to accommodate a proposed CMGRR prior to proceeding with that CMGRR.

- (4)	ERCOT shall consult with the chair of the RMWG to coordinate and establish the meeting schedule for the RMWG or other assigned subcommittees.  The RMWG shall meet at least once per month, unless no CMGRRs were submitted during the prior 24 days, and shall ensure that reasonable advance notice of each meeting, including the meeting agenda, is posted to the MIS.

17.4	Competitive Metering Guide Revision Procedure

# 17.4.1	Review and Posting of Competitive Metering Guide Revision Requests

- (1)	CMGRRs shall be submitted electronically to ERCOT by completing the designated form provided on the MIS.

- (2)	The CMGRR shall include the following information:

- (a)	Description of requested revision;

- (b)	Reason for the suggested change;

- (c).	Impacts and benefits of the suggested change on ERCOT market structure, ERCOT operations, and Market Participants, to the extent that the submitter may know this information;

- (d)	CMGRR Impact Analysis (IA) (applicable only for a CMGRR submitted by ERCOT Staff);

- (e)	List of affected CMG Sections and subsections;

- (f)	General administrative information (organization, contact name, etc.); and

- (g)	Suggested language for requested revision.

- (3)	ERCOT shall evaluate the CMGRR for completeness and shall notify the submitter, within five (5) Business Days of receipt.   If the CMGRR is incomplete, then ERCOT shall include the reasons for such status.  ERCOT may provide information to the submitter that will correct the CMGRR and render it complete.  An incomplete CMGRR shall not receive further consideration until it is completed.  In order to pursue the revision requested, a submitter must submit a completed version of the CMGRR with the deficiencies corrected.

- (4)	If a submitted CMGRR is complete or once a CMGRR is corrected, ERCOT shall post the complete CMGRR to the MIS and distribute the CMGRR to the RMWG within three (3) Business Days.

17.4.2	Withdrawal of a Competitive Metering Guide Revision Request

- (1)	By providing notice to RMWG, the submitter of a CMGRR may withdraw the CMGRR at any time prior to a recommendation for approval of the CMGRR by the RMWG.  ERCOT shall post a notice of the submitter’s withdrawal of a CMGRR on the MIS within one (1) Business Day of the submitter’s notice to RMWG.

- (2)	The submitter of a CMGRR may request withdrawal of a CMGRR after a recommendation for approval by RMWG.  Such withdrawal must be approved by  RMS (if it has not yet been considered by RMS) or by TAC (if it has been recommended for TAC approval by RMS, but not yet considered by the TAC).

- (3)	Once approved by the TAC, a CMGRR cannot be withdrawn.

# 17.4.3	Retail Metering Working Group Review and Action

- (1)	Any interested party may comment on the CMGRR.

- (2)	To receive consideration, comments must be delivered electronically to ERCOT in the designated format provided on the MIS within twenty-one (21) days from 	the posting date of the CMGRR.  Comments submitted after the due date of the twenty-one (21) day comment period may be considered at the discretion of RMWG after these comments have been posted.  Comments submitted in accordance with the instructions on the MIS regardless of date of submission shall be posted to the MIS and distributed electronically to the RMWG within three (3) Business Days of submittal.

- (3)	The RMWG shall review the CMGRR at its next regularly scheduled meeting after the end of the twenty-one (21) day comment period, unless the twenty-one (21) day comment period ends less than three (3) Business Days prior to the next regularly scheduled RMWG meeting.  In that case, the CMGRR will be reviewed at the next regularly scheduled RMWG meeting.  At such meeting, the RMWG may take action on the CMGRR to:

- (a)	Recommend approval as submitted or modified;

- (b)	Recommend rejection;

- (c)	If no consensus can be reached, present options for RMS consideration;

- (d)	Defer action on the CMGRR; or

- (e)	Request that RMS refer the CMGRR to a subcommittee, workgroup, or task force.

- (4)	Within three (3) Business Days after RMWG takes action (other than deferral),ERCOT shall issue a report (“RMWG Recommendation Report”) to RMS reflecting the RMWG’s action and post the same to the MIS.  The RMWG Recommendation Report shall contain the following items:

- a.	Identification of submitter;

- b.	Modified CMG language proposed by the RMWG, when appropriate;

- c.	Identification of authorship of comments;

- d.	Proposed effective date(s) of the CMGRR;

- e.	Recommended action; and

- f.	Recommended priority and rank for any CMGRRs requiring a system change project.

17.4.4	Comments to the Retail Metering Working Group Recommendation Report

- (1)	Any interested party may comment on the RMWG Recommendation Report.  To receive consideration, comments on the RMWG Recommendation Report must be delivered electronically to RMS and ERCOT in the designated format provided on the MIS.   Comments received regarding the RMWG Recommendation after three (3) Business Days prior to the next regularly schedule RMWG meeting may be considered at the discretion of the RMWG chair.

- (2)	Within three (3) Business Days of receipt of comments related to the RMWG Recommendation Report, ERCOT shall post such comments to the MIS.  The comments shall include identification of the commenting Entity.

- (3)	Comments submitted in accordance with the instructions on the MIS regardless of date of submission shall be posted to the MIS and distributed electronically to the 	RMS and RMWG within three (3) Business Days of submittal.

- (4)	RMS shall review the RMWG Recommendation Report and any posted comments to the Recommendation Report at its next regularly scheduled meeting.  Comments must be posted seven (7) days prior to the next regularly schedule RMS meeting. Comments posted after the due date may be considered at the discretion of the RMS chair.

# 17.4.5	Impact Analysis for Competitive Metering Guide Revision Request

- (1)	ERCOT shall complete an IA based on the submitted RMWG Recommendation Report and will report the IA’s results to RMWG at the next regularly scheduled RMWG meeting.

- (2)	The IA shall include:

- (a)	An estimate of any cost and budgetary impacts to ERCOT;

- (b)	The estimated amount of time required to implement the proposed CMGRR;

- (c)	The identification of alternatives to the original proposed language that may result in more efficient implementation; and

- (d)	The identification of any manual workarounds that may be used as an interim solution.

17.4.6	Retail Metering Working Group Review of Impact Analysis

- (1)	After ERCOT posts the results of the IA, RMWG shall review the IA at its next regularly scheduled meeting.  RMWG may revise its RMWG Recommendation Report after considering the information included in the IA.

- (2)	If RMWG revises its Recommendation Report, a revised RMWG Recommendation Report shall be issued by RMWG to RMS and posted on the MIS.  Additional comments received regarding the revised RMWG Recommendation Report shall be accepted up to three (3) Business Days prior to the RMS meeting at which the CMGRR is scheduled for consideration.  If RMWG revises its recommendation, ERCOT shall update the IA and issue the updated IA at least three (3) Business Days prior to the regularly scheduled RMS meeting.  If a longer review period is required for ERCOT Staff to update the IA, ERCOT Staff shall submit a schedule for completion of the IA to the RMS chair.

# 17.4.7	Retail Market Subcommittee Review and Action

- (1)	RMS shall consider any CMGRRs that RMWG has submitted to RMS for consideration for which both a RMWG Recommendation Report has been posted and an IA based on such RMWG recommendation (as updated if modified by RMWG under Section 17.4.6, Retail Metering Working Group Review of Impact Analysis) has been posted on the MIS for at least three days.  The following information must be included for each CMGRR considered by RMS:

- (a)	The COMET Recommendation Report and IA; and

- (b)	Any comments timely received in response to the COMET 	Recommendation Report.

- (2)	RMS shall take one of the following actions regarding the RMWG Recommendation Report:

- (a)	Recommend approval of the CMGRR as recommended in the COMET Recommendation Report or as modified by RMS;

- (b)	Reject the CMGRR; or

- (c)	Remand the CMGRR to the COMET with instructions.

- (3)	If RMS recommends approval of a CMGRR, ERCOT shall prepare a RMS Recommendation Report, issue the report to TAC and post the report on the MIS within three (3) Business Days of the RMS recommendation concerning the CMGRR.  The RMS Recommendation Report shall contain the following items:

- (a)	Identification of the submitter of the CMGRR;

- (b)	Modified CMG language proposed by RMS;

- (c)	Identification of the authorship of comments;

- (d)	Proposed effective date(s) of the CMGRR;

- (e)	Recommended priority and rank for any CMGRR requiring a change to ERCOT’s computer systems;

- (f)	COMET recommendation; and

- (g)	RMS recommendation.

17.4.8	ERCOT Impact Analysis Based on Retail Market Subcommittee Recommendation Report

For CMGRRs not designated Urgent, ERCOT shall review the RMS Recommendation Report and update the IA as soon as practicable, but no later than seven (7) days prior to the next regularly scheduled TAC meeting, unless a longer period is warranted due to the complexity of the changes proposed by RMS. If a longer review period is required for ERCOT Staff to update the IA, ERCOT Staff shall submit a schedule for completion of the IA to the RMS and TAC chairs.

# 17.4.9	PRS Review of Project Prioritization

At its next regularly scheduled meeting, the PRS shall recommend to TAC an assignment of Project Priority for each CMGRR recommended for approval by RMS that requires a change to ERCOT’s computer systems.

17.4.10	Technical Advisory Committee Review and Action

- (1)	Upon recommendation for approval of a CMGRR by RMS and issuance of an 	IA by ERCOT to TAC, the TAC shall review the RMS Recommendation Report 	and the IA at its next regularly scheduled meeting; provided that the IA is available for distribution to the TAC at least seven (7) days in advance of the TAC meeting.

- (2)	The TAC shall take one of the following actions regarding the RMS Recommendation Report:

- (a)	Approve the RMS Recommendation Report as originally submitted or as modified by the TAC;

- (b)	Reject the RMS Recommendation Report; or

- (c)	Remand the RMS Recommendation Report to RMS with instructions.

- (3)	If the RMS Recommendation Report is approved by the TAC, as recommended by RMS or as modified by the TAC, the TAC shall review and approve or modify the proposed effective date.

- (4)	If TAC approves a CMGRR and it does not require an ERCOT project for implementation, or rejects a CMGRR, ERCOT shall prepare a TAC Action Report and post it on the MIS within three (3) Business Days of the TAC decision.  The TAC Action Report shall contain the following items:

- (a)	Identification of the submitter of the CMGRR;

- (b)	Identification of the authorship of comments;

- (c)	Proposed effective date(s) of the CMGRR;

- (d)	Procedural history;

- (e)	RMS’ recommendation; and

- (f)	TAC Action.

- (5)	The Chair of TAC shall lreport the results of all votes by TAC related CMGRRs to the Board at its nex regularly scheduled meeting.

- (6)	TAC shall consider the Project Priority of each CMGRR requiring a change to ERCOT’s computer systems and make recommendations to the Board.

- If TAC recommends approval of an CMGRR that requires an ERCOT project which can be funded in the current ERCOT budget cycle based upon its priority and ranking, ERCOT shall prepare a TAC Recommendation Report, issue the report to the Board, and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the CMGRR.  The TAC Recommendation Report shall contain the following items:

(a)	Identification of the submitter of the CMGRR;

(b)	Modified CMG language proposed by TAC, if applicable;

(c)	Identification of the authorship of comments;

(d)	Proposed effective date(s) of the CMGRR;

(e)	Priority and rank of the CMGRR;

(f)	RMS recommendation; and

- (g)	TAC recommendation.

(7)	If TAC recommends approval of a CMGRR that requires a project for implementation that cannot be funded within the current ERCOT budget cycle, ERCOT shall prepare a TAC Recommendation Report and post the report on the MIS within three (3) Business Days of the TAC recommendation concerning the CMGRR.  ERCOT shall assign the approved CMGRR to the “Unfunded Project List” until the Board approves an annual ERCOT budget in a manner that indicates funding would be available in the new budget cycle to implement the project if approved by the Board; in such case, the TAC Recommendation Report would be provided at the next Board meeting following such budget approval for the Board’s consideration under Section 17.4.11, ERCOT Board Review and Action.

(8)	Notwithstanding the above, a CMGRR in the Unfunded Project List may be removed from the list and provided to the Board for approval, as set forth in Protocol Section 21.9, Review of Project Prioritization, Review of Unfunded Project List, and Annual Budget Process.  ERCOT shall maintain the Unfunded Project list to track projects that cannot be funded in the current ERCOT budget cycle.  Any CMGRR approved by TAC but assigned to the Unfunded Project List may be challenged by appeal as set forth in Section 17.5, Appeal of Decision.

# 17.4.11	ERCOT Board Review and Action

- (1)	The Board shall review all CMGRRs which impact ERCOT systems or staffing and can be performed in the current ERCOT budget cycle based upon its priority and ranking.  The Board shall take one of the following actions regarding CMGRRs recommended by TAC which have such impacts:

- (a)	Approve the TAC recommendation as originally submitted or as modified by the Board; or

- (b)	Reject the TAC recommendation; or

- (c)	Remand the TAC recommendation to TAC with instructions.

17.5	Appeal of Decision

- (1)	With reference to a decision by RMWG, any interested party may appeal directly to the RMS.  Such appeal to the RMS must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the RMS shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled RMS meeting, provided that the appeal is provided to ERCOT at least eleven (11) days in advance of the RMS meeting; otherwise the appeal will be heard by the RMS at the next regularly scheduled RMS meeting

- (2)	With reference to a decision by RMS, any interested party may appeal directly to 	the TAC.  Such appeal to the TAC must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the TAC shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled TAC meeting, provided that the appeal is provided to ERCOT at least eleven (11) days in advance of the TAC meeting; otherwise the appeal will be 	heard by the TAC at the next regularly scheduled TAC meeting.

- (3)	With reference to a decision by TAC, any interested party may appeal directly to the Board.  Such appeal to the Board must be submitted to ERCOT within ten (10) Business Days after the date of the relevant decision.  Appeals made after this time shall be rejected.  Appeals to the Board shall be posted on the MIS within three (3) Business Days and placed on the agenda of the next available regularly scheduled Board meeting, provided that the appeal is provided to the ERCOT General Counsel at least eleven (11) days in advance of the Board meeting; otherwise the appeal will be 	heard by the Board at the next regularly scheduled Board meeting.

- (4)	Any interested party may appeal any decision of the Board regarding the CMGRR to the PUCT or other Governmental Authority.  Such appeal to the PUCT or other Governmental Authority must be made within thirty-five (35) days of the date of the relevant decision.  If the PUCT or other Governmental Authority rules on the CMGRR, ERCOT shall post the ruling on the MIS.

# 17.6	Urgent Requests

1)	The party submitting a CMGRR may request that the CMGRR be considered on an urgent basis. RMS may designate the CMGRR for urgent consideration only when the submitter can reasonably show that an existing CMG provision is impairing or could imminently impair ERCOT System reliability or wholesale or retail market operations, or is causing or could imminently cause a discrepancy between a settlement formula and a provision of the ERCOT Protocols.

- (2)	If a submitter requests urgent status for a CMGRR, RMS may designate the CMGRR for urgent consideration if the RMS determines that such CMGRR requires immediate attention due to:

- a.	 Serious concerns about ERCOT System reliability or market operations under the unmodified language or

- b. 	The crucial nature of settlement activity conducted pursuant to any settlement formula; and

- c.  	Is of a nature that allows for rapid implementation without negative consequence to the reliability and integrity of the ERCOT System or market operations. (3)	The urgent CMGRR and IA (if available) shall be considered at the earliest regularly scheduled RMWG or RMS meeting, or at a special meeting called by the RMWG or RMS chair to consider the urgent CMGRR..

- (4)	If the submitter desires to further expedite processing of the CMGRR, a request for RMS to vote via electronic mail may be submitted to the RMS chair.  The RMS chair may grant the request for voting via electronic mail.  Such voting shall be conducted pursuant to TAC procedures.  If RMS recommends approval of the urgent CMGRR, ERCOT shall submit a RMS Recommendation Report to the TAC within three (3) Business Days after RMS takes action.  TheTAC chair may request action from TAC to accelerate or alter the procedures described herein, as needed, to address the urgency of the situation.

- (5)	Notice of an urgent CMGRR pursuant to this subsection shall be posted on the MIS.

17.7	Revision Implementation

- (1)	For CMGRRs with no impact to ERCOT systems or staffing, ERCOT shall implement CMGRRs on the first day of the month following TAC approval, unless otherwise provided in the TAC Action Report for the approved CMGRR.

- (2)	For CMGRRs with impacts to ERCOT systems or staffing, ERCOT shall implement CMGRRs on the first day of the month following Board approval, unless otherwise provided in the Board Action Report for the approved CMGRR.

- (3)	ERCOT shall implement an Administrative CMGRR on the first day of the month following the date the Administrative CMGRR is posted to the MIS.

# Metering Forms

## Forms Posted on the ERCOT Web Site

The current version of these forms should be downloaded from the ERCOT Competitive Metering web page before submitting per the instructions in these CMG:

- Go to www.ercot.com

Select the “Market Participants & Stakeholders” tab

Select “Competitive Metering”

- Texas Meter Information (TMI) Form;

- Texas Meter Access (TMA) Form;

- Meter Test Results / Meter Removal (MTR) Form;

- Meter Approval Application Form;

- Meter Firmware/Functionality Upgrade Approval Application Form;

- Meter Issue Resolution Form;

- Competitive Metering Guides Revision Request;

- Letter of Agency; and,

- Agreement for Meter Ownership and/or Access for Non-Company Owned Meters.

## Form Revision

The RMWG is responsible for making revisions to existing forms or creating new forms to meet the requirements of competitive meter ownership.