| NPRR Number | 045 | NPRR Title | Wind Power Forecasting |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 9/18/07 |  |
| Cost/Budgetary Impact |  | No incremental cost to ERCOT. ERCOT believes the proposed revisions in this Nodal Protocol Revision Request (NPRR) are assumed and reflected in current Nodal business requirements and therefore will not increase the Nodal budget. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | None. |  |
| ERCOT Staffing Impacts (across all areas) |  | ERCOT Staff impacts will be determined through the normal budgeting process. |  |
| ERCOT Computer System Impacts |  | No significant additional high-level impacts to Energy Management System (EMS) are anticipated. This NPRR does not introduce any additional requirements except Total ERCOT Wind Power Forecast (TEWPF) calculation and posting. The EMS team estimates no impacts. Market Information System (MIS) impact includes one additional posting requirement, to be absorbed within the current Nodal schedule and budget. |  |
| ERCOT Business Function Impacts |  | No significant additional high-level impacts to business functions are anticipated. |  |
| Grid Operations & Practices Impacts |  | No significant additional high-level impacts to grid operations and practices are anticipated. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None.

Evaluation of Interim Solutions (e.g., manual workarounds)

None.

Feasibility of Implementation

Impact on Resource Availability: - Reflected in time requirements section of this document. Impact to Other Projects: - NA

Comments

The original Impact Analysis (IA) for NPRR045, dated 6/20/07, was part of Baseline 2. A second IA, dated 8/7/07, reflects that the TPTF review of NPRRR045 resulted in no change to the impacts. This instant Impact Analysis (IA) replaces the IA dated 8/7/07 and reflects the revisions endorsed by PRS on 8/23/07.