## VoltageSupport
Document Name: | coms_voltage_support_real_time_settlements_statements_requirements
Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
LCRA | Ms. Naomi | p. 10 | RTVAR: “…It is unclear how these amounts should be measured and provided to Settlements. Additional information is required in order for this bill determinant to be developed. Further examination is necessary to vet out all of the possible issues and to determine the best methodology for calculating the RTVAR for each unit.” | Response | jhb | The clarification as to the availability of this information is in the Whitepaper "Reactive Power and Voltage Support IDA014". It states in the Solution Description on page 3 that, "…an analyst will gather the information required by settlements…" This information will be given to settlements, who will then enter the data into our settlement system.
LCRA | Ms. Naomi | p. 10 | VSSVARIOL: “…It is unclear how the instructions given out by Operations will be converted into “VSSVARIOL’s”. Additional information is required in order for this bill determinant to be developed. This document assumes these instructions will be generated and passed to Settlements.” | Response | jhb | The clarification as to the availability of this information is in the Whitepaper "Reactive Power and Voltage Support IDA014". It states in the Solution Description on page 3 that, "…an analyst will gather the information required by settlements…" This information will be given to settlements, who will then enter the data into our settlement system.
LCRA | Ms. Naomi | p. 12 | VSSVARAMT: “…Data Dependencies…D1) Calculation of the VSSVARAMT depends upon the availability of the VSSVARIOL, RTVAR, URLLEAD, and URLLAG bill determinants | Response | jhb | Not sure what the question is on this, but there are two possible calculations for VSSVARAMT (lagging and leading). These will be summed to come to a total amount. VSSVARIOL is a driver for the calculation. Settlements will not be able to calculate VSSVARAMT until the data is received from Operations.
LCRA | Ms. Naomi | p. 12 | RTVAR: “… A1) The Original Source System (Data Aggregation or MMS) will accurately create the RTVARs, in 15-minute Settlement Intervals, for each Resource. The method of this calculation is currently being contemplated in PRR 647. As such Settlements will settle based upon the RTVAR data propagated by Data Aggregation or MMS and has no ability to verify or validate the integrity of the RTVAR values.” | Response | jhb | The clarification as to the availability of this information is in the Whitepaper "Reactive Power and Voltage Support IDA014". It states in the Solution Description on page 3 that, "…an analyst will gather the information required by settlements…" This information will be given to settlements, who will then enter the data into our settlement system.
LCRA | Ms. Naomi | p. 4 | The Voltage Support Real Time Settlements Requirements document adds the following redline additions: ”detailed in Nodal Protocols Section 6 (NPRR031 approved by the Board on 12/12/2006, detailed in Nodal Protocols Section 6 (NPRR055 approved by the Board on 7/17/2007). And detailed in Nodal Protocols Section 6 (NPRR073 aaproved by the Board on 7/17/2007). | Response | jhb | These statements are used to identify the documents that are used to make revisions to the Requirements documents and therefore are necessary to explain why there are revisions to the Requirements document.