# ERCOT

DYNAMICS WORKING GROUP

## Report to ROS

## October 11, 2007

- The flat start with wind models using PSS/e Rev. 30.3 has been completed, and the zip file has been distributed to members requesting it.

- The DWG Procedure Manual is in the process of being updated.

- The DWG is working on a draft scope for a Responsive Reserve / LaaRs study.  The first phase will study responsive reserve requirements of 2500 MW and 2700 MW, with LaaRs kept at 50%.  A second phase will study multiple frequency options and higher percentage LaaRs values.  I expect to have the scope ready for ROS approval for the October 11 meeting.

- The next DWG meeting will be scheduled for sometime in October to kick off the Responsive Reserve / LaaRs study.

DWG Tasks, 2007

| Task | Status |
| --- | --- |
| Flat start 2007 case | Complete |
| Flat start 2010 case | Complete |
| Flat start 2007 case with wind models. | Complete |
| Publish 2006 flat start book. | Complete |
| Publish 2007 flat start book. | Working |
| Make annual determination of the number and location of dynamic monitoring devices. | Complete |
| Responsive Reserve / LaaRs study | Revising Scope |
| Dynamic Voltage Recovery criteria | Working |
| Review recently approved NERC Standards with respect to ERCOT Op Guides and Protocols | Working |
| Participate in ROS Ad Hoc Task Force regarding Power System Stabilizers | Working |
| Annual Procedural Manual review/update. | Working |
| Begin 2008 flat start activities. | Roll into RRS/ LaaRs study |