SSWG Report to ROS, October 2007

Pass 2 of Data Set B has been completed.  There were solution problems with the peak cases in large part due to missing generators and transformer tap issues.  The min case did not solve at all.