## Slide 1: Cleanup NPRR – Section 7 (CRR) Discussion
TPTF – July 23, 2007
Presented by Beth Garza
GP&L comments on slides 4, 5, 6, 7, 9, 10

## Slide 2: Questions for TPTF input
Who is getting MCFRIs – WGRs or QSEs?
How to ensure the 40% capacity factor limit is met by Capacity Option PCRRs in first six monthly auctions?
If NOIEs are represented by another entity serving as their QSE, will they be able to offer their PCRRs into the DAM?
Definition of Net Unit Capacity for PCRR eligibility
Are Operating Guides the best place to document the methodology for determining what outages to include in CRR Network Model?
Availability of PTP Obligations
Should Load Zone weightings always be based on On-peak?
Why is there a need for a database of first owners of CRRs?

## Slide 3: Who is getting MCFRIs – WGRs or QSEs?
The procedures for determining McCamey Flowgate Rights (MCFRIs) and allocating them to QSEs representing wind-powered Generation Resources (WGRs)
MCFRIs are a type of FGR that must be allocated only to WGRs in the McCamey Area,
ERCOT shall identify WGRs eligible for MCFRI allocation in the McCamey Area
ERCOT may allocate MCFRIs only to WGRs in the McCamey Area.
All CRRs, including MCFRIs, will be awarded to CRR Account Holders
QSEs and WGRs may each have an associated CRR Account Holder

## Slide 4: Capacity Option PCRRs in first six monthly auctions
Capacity option – The eligible NOIE may nominate up to 100% of the lesser of the net unit capacity or contractual amount for those Resources at a capacity factor no greater than 40% over each calendar year.
CRR team not clear how to enforce an annual capacity factor limit when there will be at least six monthly CRR markets.
Option 1: Configure the system to enforce a 40% capacity factor limit in each monthly market
Option 2: Track nominations manually and work with NOIEs on a case by case basis to limit their nominations so they don’t exceed 40% capacity factor for the period prior to the first annual nomination process. GP&L Comment: Option 2 is the proper option to select

## Slide 5: NOIE PCRR offers into DAM
For NOIEs to receive PCRRs they will have to register as CRR Account Holders.
NOIEs also have the ability to offer their PCRRs into the DAM and be settled at Real Time prices.
Participants in the DAM are required to be QSEs.
If NOIEs are represented by another entity serving as their QSE, will they be able to offer their PCRRs into the DAM? GP&L Comment: The answer is YES as long as the “they” referred to in this bullet is an entity that is a QSE and is serving as the NOIE’s QSE

## Slide 6: Definition of Net Unit Capacity for PCRR eligibility
Each eligible NOIE may nominate and ERCOT shall allocate to that NOIE as so nominated, subject to the limitation of paragraph (a) above, PCRRs up to 100% of the net unit capacity (or contractual amount) for each eligible Resource…
CRR team not clear what source to use for net unit capacity
Option 1: NOIE provides the net unit capacity value at the time they submit their proof of PCRR eligibility. These values would be checked against available net dependable capacity info on file.GP&L comment: This is the proper option to select.
Option 2: If net unit capacity means Net Dependable Capability, should PCRR eligibility be updated with every performance test?

## Slide 7: Outages to include in CRR Network Model
ERCOT’s criteria for determining if an Outage should be in the CRR Network Model shall be in accordance with these Protocols and described in the ERCOT Operating Guides.
Does the process really belong in the Operating Guides or could it be shared via a procedure document? GP&L comment: Recommend that there be a separate procedure document that is referenced from the Operating Guides

## Slide 8: Availability of PTP Obligations
PTP Obligations in one-month strips for one-month terms until the ERCOT Board approves the offering of PTP Obligations for specified source Settlement Points and sink Settlement Points for terms longer than one month; and
Does this language clearly convey that PTP Obligations will be available ONLY for the first month of an Annual auction?

## Slide 9: Should Load Zone weightings always be based on On-peak?
To distribute injections and withdrawals to Electrical Buses in Load Zones, ERCOT shall use the Load-weighted distribution factors for On-Peak Hours in each Load Zone from the planning cases (for the same period) for monthly CRR Auctions (or for the monthly models used in an annual CRR Auction). If monthly planning cases do not exist, ERCOT shall use the Load-weighted distribution factors for On-Peak Hours in each Load Zone from the appropriate seasonal planning case.
Should we use the same on-peak distribution even if data might be available for weekends and off-peak from other sources? GP&L Comment: Should use as accurate data as possible so if accurate data is available for weekends and off-peak, then use that set of data

## Slide 10: Database of first owners of CRRs
ERCOT shall initially populate a database of CRR Owners with the annual and monthly first-buyers of CRRs and first-recipients of PCRRs and MCFRIs.
Is this really needed? GP&L Comment: YES

## Slide 11: Areas Addressed with Proposed Protocol Revision
Revised timeline for:
  Nomination (PCRRs and MCFRIs) requests
  Allocations (PCRRs and MCFRIs) awarded
  CRR Network Model posting
  Auction Notice posting
Removed concept of PCRR ‘release’
Removed CRR Naming Convention
Clarified which topology changes to include in CRR Network Models for annual and monthly auctions
Revised dynamic ratings language to be more general**
Changed several MCFRI references to FGR
Revised credit limit description to reflect Counter-Party **
Included dispute language for CRR auction settlement
** More work needed

## Slide 12: Current Annual Auction

## Slide 13: Proposed Annual Auction

## Slide 14: Current Monthly Auction

## Slide 15: Proposed Monthly Auction