## Sheet1
Issue # | Issuing Entity (Name) | SectionNumber | Description | Response | Reason / Comment
1 | LCRA | Section 2 | TAC shall consider on an annual basis the results of the Constraint Competitiveness Tests (CCT) are to be performed on each TAC approved commercially significant candidate constraint to determine if the constraint is “Competitive” or ”Non-Competitive”. For the first year of the Nodal Market, tThese constraints are the contingency/limiting Transmission Element pairs that represent the Commercially Significant Constraints (CSCs) and Closely Related Elements (CREs) and will be defined immediately prior to the Texas Nodal Market Implementation date and annually thereafter. | Accepted
2 | LCRA | Section 2.1 | Calculate Element Competitive Index (ECI) on both import and export side of each candidate constraint in the CSCs and CREs list to determine whether sufficient competition exist in resolving the constraint. The constraint CSCs and CREs list shall include information regarding the direction of each constraint. The constraint’s direction information shall be used to determine import/export terminal of the constraint, i.e., the from-bus is designated as the “export terminal” and the to-bus the “import terminal”. | Accepted
3 | LCRA | Section 2.2 | Added: in Annual CCT For each constraint analyzed, the Annual CCT test shall output the ECI values and whether a pivotal player exists or not for each month of the study year. TAC uses these results in approving the final list of Competitive and Non-Competitive Constraints for the study year. All constraints not designated by TAC as a Competitive Constraint shall be designated as Non-Competitive Constraints. | Accepted
4 | LCRA | Section 2.3 | The Monthly CCT sub-process shall be performed for all annual Competitive Constraints and for any other constraints identified by ERCOT as being potentially active during the study month. | Rejected | TAC Subcommittee can ask ERCOT to include more constraints for analysis in Monthly CCT
5 | LCRA | Section 2.4 | If the Monthly CCT results in the reclassification or classification of a Competitive Cconstraint as Non-competitive, and TAC does not by its action void such reclassification or classification, the constraint shall be deemed to be non-competitive for the month. The Monthly CCT may not be used to reclassify a constraint as competitive, if that constraint was previously determined by TAC to be Non-competitive. The network model used for monthly CCT is based on the monthly peak case used to auction the on-peak CRRs. Monthly CCT criteria to designate a Competitive Cconstraint as a competitive or a non-competitive constrains are different from the annual CCT criteria. An overview diagram of the monthly CCT is shown in Figure 2 4. | Accepted
6 | LCRA | Section 2.4 | The network model used for daily CCT is based on the peak hour case for the particular day. Daily CCT criteria to designate a Competitive Cconstraint as a competitive or a non-competitive are the same as those used in the monthly CCT sub-process. An overview diagram of the daily CCT is shown in Figure 2 5. | Accepted
7 | Luminant | Section 2.4 & FR 6 | Added: In the event that Network Security Analysis identifies a constraint(s) that is expected to persist beyond the Operating Day, ERCOT shall have the ability to add the constraint(s) to the Competitive Constraint List as a non-competitive constraint pending review and approval by the TAC. ERCOT shall issue a market notice as soon as practicable regarding its actions and post notice of this change to the Secure Area of the MIS including the reason for the action and the expected duration of the modification within 5 days. | Accepted | ERCOT needs clarification as to whether this lanaguage refers to adding new contraint or marking existing Competitve Constratint to Non-Competitive Constraint
8 | LCRA | Section 2.5 Table 2-2 | Added: as output to RTM DB • Final TAC approved list of Competitive Constraints; Monthly list of Competitive Constraints; Daily list of Competitive Constraints | Accepted
9 | Luminant | FR4 | . Added: TAC shall approve the Competitive Constraints must be determined one (1) month prior to the annual CRR Auction. Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction. Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive. | Accepted | Accepted the addition with modifications as marked in red: "For each constraint analyzed, the Annual CCT test shall output the ECI values and whether a pivotal player exists or not for each month of the study year. TAC uses these results in approving the final list of Competitive and Non-Competitive Constraints for the study year. TAC shall approve the Competitive Constraints must be determined one (1) month prior to the annual CRR Auction. Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction. Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive. To make the TAC approved changes, MMS shall give ERCOT Operator with the right privilege, the ability to modify the Competitive Constraint List. The Operator shall have the ability to make a Constraint identified as Competitive to non-Competitive and make any non-Competitive Constraint as Competitive. All Operator actions shall be logged."
10 |  | FR5 | Deleted : Competitive Constraints list must be determined one (1) month prior to the annual CRR Auction. Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction. Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive. To facilitate this MMS shall give ERCOT Operator with the right privilege, the ability to modify the Competitive Constraint List. The Operator shall have the ability to make a Constraint identified as Competitive to non-Competitive and make any non-Competitive Constraint as Competitive. All Operator actions shall be logged. Added: TAC shall approve the Competitive Constraints must be determined one (1) month prior to the annual CRR Auction. Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction. Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive. | Accepted | Accepted the addition with modifications as marked in red: "TAC shall approve the Competitive Constraints must be determined one (1) month prior to the annual CRR Auction. Prior to each monthly CRR Auction, TAC shall approve updates to the Competitive Constraints that are applicable for the following monthly auction. Any Competitive Constraint not determined to be competitive by TAC shall be deemed to be non-competitive. For each constraint analyzed, the Monthly CCT test shall output the ECI values and whether a pivotal player exists or not for the month. TAC uses these results in approving the final list of Competitive and Non-Competitive Constraints for the month. To make the TAC approved changes, MMS shall give ERCOT Operator with the right privilege, the ability to modify the Competitive Constraint List. The Operator shall have the ability to make a Constraint identified as Competitive to non-Competitive and make any non-Competitive Constraint as Competitive. All Operator actions shall be logged. "
11 | LCRA | Section 4.2 | Changed "constraint in the CSCs and CREs list" to "candidate constraint " | Accepted
12 | LCRA | Section 5.2 | Added: Test Procedure 1 consists of the following steps. These steps are performed with the contingency element(s) on outage and the analysis performed around the binding element. | Accepted
13 | LCRA | Section 5.2 | 3. Determine the ECI’s on the import and the export side of the constraint. b. Determine the percentage of effective Managed Capacity by each Entity and its Affiliates on the import and export side respectively. | Accepted | Changed "Managed Capacity" in 3a, 3b, 3c & 3d to "effective Managed Capacity"
14 | LCRA | Section 5.5 | With the selected network model for each CCT test period (month or day), shift factors for each constraint are calculated using the DC power flow model with the contingency element of the constraints on outage and the limiting element defining the import and export terminals. The shift factor for constraint c at electrical node i is denoted with . Similarly, the shift factor for constraint c for resource r is denoted with . | Accepted
15 | Luminant | Fig 2-3 | Changes to diagram suggested during discussion with mark |  | No changes are made to the diagram. The software will give the list of competitve and non competitive constraints but will also output the ECI and existence of pivotal player for each constraint for each month. So TAC can review it and change the decision. Operator input interface is given to allow operator to make the changes suggested by TAC