## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
October 5, 2007

## Slide 2: PRS Summary
3 PRRs for Approval
  Non-System Changes – IAs only
2 NPRRs for Approval
2 Notices of Withdrawal
1 Notice of Rejection

## Slide 3: PRR 731 – Fuel Oil Index Price (FOIP)
Purpose (TXU, IOU) | Adds definition for Fuel Oil Index Price (FOIP); allows use of FOIP to meet verifiable cost documentation requirements | 
Benefit | Allows compensation for fuel oil used to provide A/S and allows MPs to replace fuel oil quickly to maintain adequate system reliability | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 abstention; all market segments were present | 
Effective Date | December 1, 2007 | 

## Slide 4: PRR 731 – Fuel Oil Index Price (FOP)
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
Minor cost impacts

## Slide 5: PRR 733 – Remove 168-Hour Generation Testing Requirement
Purpose (ERCOT) | Removes 168 hour requirement and the need to use observed actual output in the first 168 hours if test data not provided | 
Benefit | Accurately reflects ERCOT practice thus ensuring compliance | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 opposed; all market segments were present | 
Effective Date | December 1, 2007 | 

## Slide 6: PRR 733 – Remove 168-Hour Generation Testing Requirement
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 7: PRR 734 – Revisions to Congestion Management in McCamey Area Provisions
Purpose (ERCOT) | Eliminates the 0600 hour timeframe by which ERCOT must post Tradeable Generation Right limits; deletes requirements in 7.8.7, Trading or Other Uses of TGRs | 
Benefit | N/A | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | December 1, 2007 | 

## Slide 8: PRR 734 – Revisions to Congestion Management in McCamey Area Provisions
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 9: NPRR 045 – Wind Power Forecasting
Purpose (Wind Coalition) | Describes process for developing 80% confidence level forecast for wind power generators; adds requirement to post rolling 48 hour actual wind power production and forecasted amounts | 
Benefit | Provides a methodology for the 80% confidence level | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 1 abstention; all market segments were present | 
Effective Date | Upon nodal implementation; Impacts included in Baseline 2 previously | 

## Slide 10: NPRR 080 – Revised Wording of Protocol Section 3.1.5.1
Purpose (CNP, IOU) | Allows ERCOT to treat electrical buses as consequentially outaged transmission elements in the ERCOT outage scheduler | 
Benefit | Expected to lower market costs by not requiring MPs to track and enter buses into the Outage Scheduler | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS unanimously recommended approval; all market segments were present | 
Effective Date | Upon nodal implementation | 

## Slide 11: PRR/NPRR Summary
PRRs Recommended for Approval
  PRR 731 – Fuel Oil Index Price (FOP)
  PRR 733 – 168-Hour Generation Testing Requirement
  PRR 734 – Revisions to Congestion Management in McCamey Area
  NPRR 045 – Wind Power Forecasting
  NPRR 080 – Revised Wording of Protocol Section 3.1.5.1

## Slide 12: PRR Notices
Withdrawals
  PRR 732 – Automatic Voltage Regulatory Status (AVR)
  NPRR 074 – Revisions to Monitoring & Qualification Tests in Section 8, Performance Monitoring & Compliance
Rejections
  PRR 737 – Direct Assignment of RPRS Costs (URGENT)