## Slide 1: RMS Update to TAC
October 5, 2007

## Slide 2: RMS Activity Summary
2008 Test Flight Schedule
Update on TAC directive relating to identifying issues with net metering and small renewable generation
ERCOT Service Level Agreement Update

## Slide 3
Retail Market 2008 Test Flight Schedule
RMS unanimous approval to schedule 3 Test Flights for 2008 versus the 4 Test Flights per year the market and ERCOT have supported for last 5 years. Does not inhibit ad hoc testing between MP’s. (e.g. when CR changes Bank)
2008 Test Flights*:
  February
  June
  October
  *The testing schedule may change if there are TX SET changes or version upgrade.

## Slide 4: Update on TAC directive relating to identifying issues with net metering and small renewable generation
March 30, 2007 RMS reported to TAC that a broad range of issues were surfacing related to renewable generation. At the May 3, 2007 TAC Leadership meeting, the action to:
Identify and Elevate the issues related to net metering and small renewable distributed generation.

## Slide 5: Update on TAC directive relating to identifying issues with net metering and small renewable generation
Market Transformation
  The Retail Electric Market in Texas is facing a period of enormous change.
  Many projects and pilots are currently under way and are at various stages:
      Advanced Metering Deployment
      Demand Response/Profiling
      Time of Use
      Small Renewable Generation

## Slide 6: Update on TAC directive relating to identifying issues with net metering and small renewable generation
What will Market Transformation require?
    Substantive Rule Changes
    ERCOT Protocol / Market Guide Revisions
    ERCOT System Changes
    TDU and REP System Changes
    New Transactions / Modified Transactions
    New Business Processes
    New Data Transport Mechanisms
How will Market Transformation be managed?
    Retail Metering Working Group tasked as umbrella for Advanced Metering
    Coordination among ERCOT Subcommittees and Working Groups will be essential
    PUCT Leadership will be key

## Slide 7: Market Transformation
Advanced Metering Deployment
Portal
Auto CI/CO
Meter Data
15-Min Settlement
Requirement
Data
Transport
Retail Processes &
Enrollment
(Switch, MVI, MVO, DNP, RC)
Small Renewables
Demand
Response
Time of Use
Profiling
Notes: The Retail Electric Market in Texas is facing a period of enormous change.
The deployment of Advanced Metering is one of those changes, but is also the facilitator for many changes.
Many projects and pilots are currently under way and are at various stages:
    Advanced Metering Deployment
    Demand Response
    Time of Use
    Small Renewable Generation
    Profiling

## Slide 8: Update on TAC directive relating to identifying issues with net metering and small renewable generation
Retail Metering Workshop identified and documented Requests for Information.
Definition of Scope
Wholesale Settlement Requirements
TDSP Communication of Meter Data
Penalties for Connecting to Grid Without Interconnection Agreement; Meter Value that Wires Charges Based On
Consistency of 25.211; 25.212; 25.242 with HB3693
Output Value of Generation Reporting
Grid Reliability
Wholesale Component for Purchase of Small Renewable Energy
Settlement/Metering Options-What are REP’s looking for?
Protocols 16.5 and 10.2.2 and Operating Guides Sec. 3.1.4 Review
Review of TDSP guidelines for interconnection of distributed generation.
How REP is notified when Customer Connecting generation.

## Slide 9: Issues With Net Metering and Small Renewable Generation
Issue # 1:Definition of Scope
  Protocols and commission rules may not be in sync on this definition. Definitions seem to be context specific in different documents.
  50kW-Protocols section 10 exempt this generation for renewable from being sent to ERCOT for settlements
  2MW-HB3693 uses this value to define Distributed Renewable Generation
  10 MW-EPS metering required at this level

## Slide 10: Issues With Net Metering and Small Renewable Generation
Issue #1: Scope Options
Define project scope as 50kW and less for this task.
  Pros:
    Limits scope to the activity that initiated discussion, the demonstration of a significant increase in installations of solar panel arrays on residential and small commercial
    Protocols require TDSP to provide data for onsite generation in excess of 50kW. Processes in place.
    Communication processes to support less than 50kW would support communication for less than 2000kW
  Cons: None

## Slide 11: Issues With Net Metering and Small Renewable Generation:
Issue #2: Wholesale Settlement Requirements
  HB 3693 has requirements for wholesale settlement related to surplus energy from school buildings solar electric generation panel (Sec. 39.914) and distributed renewable generation (Sec. 39.916)
  For the long term, HB 3693 requires ERCOT to develop procedures to account for this energy.
  The group feels that generation above 50kW would currently follow the existing market processes for inclusion in settlements and have focused discussions on <50kW
  RMW requested review by COPS

## Slide 12: Issues With Net Metering and Small Renewable Generation
Issue # 3: TDSP Communication of Data for Small Renewables
  The RMW requested TX SET to provide short term and long term options and recommendations on how to facilitate sending in generation values.
  Option 1 was consideration of short-term process (what is available today) to support delivery of inflow and outflow values
  The TXSET short term recommendation was to use the following:
    867_03 Monthly Usage Transaction
    REF~JH (Meter Role) Segment
    I - Ignore Flag
  Pros:
    Accommodated information delivery without impact to ERCOT
    Was established, but optional, process defined by transaction guide
    Number of meters used to gather readings not an impact
    This consumption did not contribute to the summarized total

## Slide 13: Issues With Net Metering and Small Renewable Generation
TDSP Communication of Meter Data (cont.)
  Cons to Short term
    Since the process was not a requirement for all MP processes, only one TDSP and one CR were prepared for the “Ignore Flag”
    Required system changes for other MP’s
  An effort is being made by a TDSP and a CR to exercise short term option.
  Alternative option is to use email
  RMW submitted to RMS for Consideration
Was determined by PUC Staff that even though HB 3693 was effective September 1, 2007, the TDSP had no obligation to provide separate values until rulemaking had been accomplished to support law

## Slide 14: Issues With Net Metering and Small Renewable Generation
Issue #4: TDSP Tariff Questions
  Should there be penalties if grid connected renewable generation is installed at a location and the TDSP has not been notified?
    Is the only recourse for the TDSP to disconnect due to safety concerns and the fact there is no interconnection agreement?
  Meter Value that Wires Charges Based On
    Should the TDSP bill for all power delivered or on the net flow for the billing period?

## Slide 15: Issues With Net Metering and Small Renewable Generation
Options to Issue #4 TDSP Tariff Questions
  Allow TDSP meter to roll backward
    Limits TDSP recovery but requires no change to market processes (unless the meter records negative usage).
  Bill on energy delivered and provide data on generation to CR/End-use Customer
    Requires MP system changes and seems to align with intent of HB3693. Significant cost to support.
  If generator registered with ERCOT, the law allows MCPE pricing option

## Slide 16: Issues With Net Metering and Small Renewable Generation
Issue #4 TDSP Tariff Questions (cont.)
  No consensus in interpretation of HB 3693 as it relates to communication of data or interpretation of “net metering”
  What are the incremental metering costs associated with onsite generation?

## Slide 17: Issues With Net Metering and Small Renewable Generation
Issue #5: Consistency of 25.211; 25.212; 25.242 with HB3693
Options:
  RMW review HB 3693 and make recommendations for change to Staff.
  Request Staff to review Substantive Rules as they relate to HB 3693
Conclusion that Staff would be performing review and await their decision.

## Slide 18: Issues With Net Metering and Small Renewable Generation
Issue #6: Does the Output Value of Generation need to be measured for evaluation of energy efficiency programs for the PUCT? If so, who would be responsible for measuring and reporting the information?
  Related to issues #4 and #5 and whether HB3693 requires the TDSP to stop “netting” the load and generation over the “monthly interval”?
  No consensus among Market Participants.

## Slide 19: Issues With Net Metering and Small Renewable Generation
Issue #7: Does the deployment of small renewable generation on distribution feeders raise any concerns from a grid reliability or operations perspective?
  Are there concerns about voltage support service responsibilities of the DSP? (Nodal Protocols Sec.3)
  Are there concerns when the aggregate generation on a distribution feeder affects the circuit flows for a TDSP?
Presented to ROS on 9/13. ROS recommended DSP to review processes to ensure T & D systems integrity

## Slide 20: Issues With Net Metering and Small Renewable Generation
Issue #8: Is there a Wholesale Component for Purchase of Small Renewable Energy?
  What should the market relationships for settlements of Small Renewable Generation be?
  At what threshold should a QSE be scheduling generations?
  Are there other relationships that need to be defined?
RMW: Issue fits within scope of WMS but could be determined by settlement process definition.

## Slide 21: Issues With Net Metering and Small Renewable Generation
Issue # 9: Settlement/Metering Options-What are REP’s looking for?
  Dependency on issues 2, 4 and 5 relating to settlement, TDSP tariff understanding and metering data requirements.

## Slide 22: Issues With Net Metering and Small Renewable Generation
Issue # 10 : Protocols 16.5 Registration of Generation Resources; 10.2.2 TDSP Metered Entities; and, Operating Guides Sec. 3.1.4 Power Generation Review
  Dependent upon resolution to issue #2 defining settlement process
  Was the impact from small renewable generation contemplated when developing the Protocols and Operating Guide?

## Slide 23: Issues With Net Metering and Small Renewable Generation
Issue #11: Review of TDSP guidelines for interconnection of distributed generation.
  TDSP’s have interconnection processes defined in tariffs. TDSP’s were asked to review and return to next RM Workshop to discuss and inform other Market Participants of process.

## Slide 24: Issues With Net Metering and Small Renewable Generation
Issue # 12: How is REP notified when Customer is connecting generation?
  Workshop has not fully vetted REP question and documented the agreed upon process.

## Slide 25: Questions?