| PRR Number | 732 | PRR Title | Automatic Voltage Regulator (AVR) Status – Compliance with NERC Reliability Standards |
| --- | --- | --- | --- |
| Date |  | August 28, 2007 |  |
| Submitter’s Information (The submitter must represent the same party as the sponsor of the original PRR) |  |  |  |
| Name |  | John Dumas |  |
| E-mail Address |  | jdumas@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-3195 |  |

Reason for Request for Withdrawal

NERC Reliability Standard VAR-001-1, Requirements R4, R6 and R6.1 require that the Transmission Operator knows the status of all transmission Reactive Power resources.  The requirement does not state that telemetry must be installed in order to be in compliance with this standard.  However, installing telemetry which can be archived for historical and auditing purposes provides a better tracking means than using ERCOT and participant logs.  Market Participants and ERCOT agreed that Market Participants should be given sufficient time to install the telemetry technology and such a transition period will extend to the start of the Texas Nodal Market.  Therefore, this issue should be addressed in the Nodal Protocols.