Date:  	September 28, 2007

To:  	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:  	Consideration of Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several Protocol Revision Requests (PRRs) and has the following revisions to present to TAC for consideration this month.

# PRR Recommended for Approval:

- PRR731, Fuel Oil Index Price (FOIP).  Proposed effective date: December 1, 2007.  Minor cost impact to be managed under the Operations and Management (O&M) budgets of affected departments; no impact to ERCOT staffing; no impact to ERCOT systems; no additional business processes will be required; no impact to grid operations.  This PRR adds Fuel Oil Index Price (FOIP) definition in Protocol Section 2 and revises language in Sections 6.8.1.11, Local Congestion Replacement Reserve Payment to QSE, Section 6.8.2.2, Capacity and Minimum Energy Payments, and Section 6.8.2.3, Energy Payments, to allow the use of FOIP to meet verifiable cost documentation requirements.  PRR731 was posted on 7/2/07.  On 8/23/07, the PRS voted to recommend approval of PRR731 as modified by Austin Energy comments and the PRS.  There was one abstention from the Independent Retail Electric Provider (IREP) Segment.  All Market Segments were represented.  On 9/20/07, the PRS unanimously voted forward PRR731 and its Impact Analysis (IA) to TAC.  There was one abstention from the Consumer Market Segment.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit Working Group (WG) have reviewed PRR731 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR733, Remove 168-Hour Generation Testing Requirement.  Proposed effective date: December 1, 2007.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT systems; no additional business processes will be required; no impact to grid operations.  This PRR will remove the 168-hour requirement and the need to utilize the observed actual output in the first 168 hours, if test data is not provided.  PRR733 was posted on 7/9/07.  The submitter requested Urgent status to ensure compliance with Texas Regional Entity (TRE) requirements.  On 7/11/07, via email vote, PRS voted not to grant Urgent status.  On 8/23/07. PRS voted to recommend approval of PRR733 as revised by PRS.  The motion passed with one opposing vote from the Municipally Owned Utility (MOU) Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment.  All Market Segments were present for the vote.  On 9/20/07, the PRS unanimously voted forward PRR733 and its IA to TAC.  There was one abstention from the Consumer Market Segment.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed PRR733 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- PRR734, Revisions to Congestion Management in McCamey Area Provisions.  Proposed effective date: December 1, 2007.  No budgetary impact; no impact to ERCOT staffing; no impact to ERCOT systems; no additional business processes will be required; no impact to grid operations.  This PRR eliminates the 0600 hour timeframe by which ERCOT must post the Tradable Generation Right (TGR) limits in Section 7.8.2, Determination of Generation Limits; deletes the requirements in Section 7.8.7, Trading or Other Uses of TGRs, and revises the spelling of “Tradeable” in Section 2.2., Acronyms, and Section 7.8.4, Determination of Tradeable Generation Rights.  PRR734 and its IA were posted on 7/30/07.  On 8/23/07, PRS unanimously voted to recommend approval of PRR734 as submitted.  All Market Segments were present for the vote.  On 9/20/07, the PRS unanimously voted forward PRR734 and its IA to TAC.  There was one abstention from the Consumer Market Segment.  All Market Segments were present for the vote.

NPRR Recommended for Approval

- NPRR045, Wind Power Forecasting.  Proposed effective date: upon implementation of the Texas nodal market.  ERCOT believes the proposed revisions in this Nodal Protocol Revision Request (NPRR) are assumed and reflected in current Nodal business requirements and therefore will not increase the Nodal budget; ERCOT Staff impacts will be determined through the normal budgeting process;  Market Information System (MIS) impact includes one additional posting requirement; no significant additional high-level impacts to business functions or grid operations are anticipated.  This NPRR adds definitions for terms used in more than one section and describes the process for developing the 80% confidence level forecast for wind-power generators.  This NPRR also adds a requirement for ERCOT to post the rolling 48-hour actual wind power production and forecasted amounts from the Short-Term Wind Power Forecast (STWPF) and Total ERCOT Wind Power Forecast (TEWPF).  NPRR045 was posted on 2/23/07.    On 3/22/07, PRS unanimously voted to refer NPRR045 to TPTF for review.  All Market Segments were present for the vote.  On 6/21/07, PRS again voted to refer NPRR045 to TPTF.  On 8/23/07, PRS voted to recommend approval of NPRR045 as amended by PRS.  There was one abstention from the Independent Generator (IG) Market Segment.  All Market Segments were present for the vote.  On 9/20/07, PRS voted to forward NPRR045 and its IA to TAC.  There was one abstention from the Consumer Market Segment.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed NPRR045 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR080, Revised Wording of Protocol Section 3.1.5.1. Effective date: upon implementation of the Texas nodal market.  ERCOT believes these proposed nodal Protocol revisions are assumed and reflected in current nodal business requirements and will not increase the nodal budget; ERCOT Staff impacts will be determined through the normal budgeting process; no significant additional high-level impacts to computer systems, business process or grid operations are anticipated.  This NPRR allows ERCOT to treat electrical buses as consequentially outaged transmission elements in the ERCOT Outage Scheduler.  NPRR080 was posted on 8/16/07.  On 8/23/07, PRS unanimously voted to recommend approval of NPRR080 as submitted.  All Market Segments were present for the vote.  On 09/20/07, the PRS unanimously voted to forward NPRR080 and its IA to TAC.  There was one abstention from the Consumer Market Segment.  All Market Segments were present for the vote.  Credit WG evaluation pending.

PRR and NPRR Withdrawn

- PRR732, Automatic Voltage Regulator (AVR) Status – Compliance with NERC Reliability Standards.  This PRR adds a requirement for telemetry of Generation Resource AVR status to comply with NERC Reliability Standards.  PRR732 was posted on 7/9/07.  The submitter requested Urgent status to avoid exposure to possible violations of NERC Standards.  On 7/11/07, via email vote, PRS voted not to grant Urgent status.  On 8/28/07, the sponsor submitted a notice of withdrawal.

- NPRR074, Revisions to Monitoring and Qualification Tests in Section 8, Performance Monitoring and Compliance.  This NPRR makes the testing and compliance requirements consistent with NPRR049, Generation Subsystem Changes to Incorporate Approved Whitepapers, and the white papers “Generation Resource Responsive Reserve Deployment and Recall” and “Non-Spin Deployment Notification and Availability” approved by TPTF. ERCOT posted this NPRR on 6/19/07.  On 7/19/07, PRS unanimously voted to refer NPRR074 to TPTF.  All Market Segments were present for the vote.  On 9/11/07, the sponsor submitted a request for withdrawal.  On 9/20/07, PRS voted unanimously to affirm the request for withdrawal of NPRR074.  All Market Segments were present.

PRR Rejected

PRR737, Direct Assignment of RPRS Costs - URGENT.  PRR737 modifies the cost allocation methods for RPRS to be exactly the same as PRR676, RPRS Solution with Nodal RUC-Type Procurement and Cost Allocation, with one exception: the cap on the RPRS and Out-of-Merit Capacity (OOMC) charges is a multiple of one times the megawatts that a Qualified Scheduling Entity (QSE) is short.  ERCOT posted PRR737 on 9/5/07.  The submitter requested urgent status stating that ERCOT is procuring RPRS practically every day and the market participants that are causing ERCOT to procure Replacement Reserve Service (RPRS) have no incentive to change their behavior.  On 9/10/07, PRS did not grant Urgent status via email vote.  On 9/20/07 PRS voted to grant Urgent status to PRR737.  There were 12 votes in favor (from the IPM (4), IREP (2), Cooperative (Coop), MOU (2), Investor Owned Utility (IOU), and IG (2) Market Segments), four opposing (from Coop, MOU, IREP, and IPM Market Segments) and one abstention from the IOU Market Segment.  The Consumer Market Segment was not present for the vote.  On 9/20/07, the motion to approve PRR737 failed.  There was one vote in favor (Independent Power Marketer Market Segment), eight opposing votes (IPM, IOU, MOU (3), Coop (2), and IREP Market Segments), and eight abstentions (IOU, IPM, Independent Generator (3), IREP (2) and Consumer Market Segments).  All Market Segments were present for the vote.

Status of Pending PRRs (Information Purposes Only):

PRRs and NPRRs Scheduled for Impact Analysis Review at October 2007 PRS Meeting

- PRR727, Process for Transition to Nodal Market Protocol Provisions.  This PRR authorizes an orderly transition from the zonal Protocols to the nodal Protocols and provides a transparent mechanism to retire zonal Protocol sections and implement nodal Protocol sections.  This PRR also requires two notices to Market Participants:  the first market notice thirty days prior to the retirement or effective date and the second market notice no less than ten days prior to the retirement or effective date. On 6/21/07, PRS unanimously voted to refer PRR727 to TPTF for recommendation on to how to resolve potential conflicts and how to process zonal Settlements after the start of the Texas Nodal Market (12/1/08), including any settlement disputes, and report back at the July 19, 2007 PRS meeting.  All Market Segments were present for the vote.  On 9/20/07, PRS unanimously voted to recommend approval of PRR727 as revised by PRS and TPTF comments.  All Market Participants were present for the vote.

- PRR735, Incorporating the ERCOT Internal Audit Department and Other Clarifications.  This PRR incorporates the ERCOT Internal Audit Department into the Protocols, clarifies the audits to be performed, and the treatment of audit results.  Responsibility for performing the annual operational or “settlements” audit, otherwise commonly known as the Statement on Auditing Standards (SAS) No. 70 (“SAS 70”), Type II report, will continue to be performed by an external independent certified public accounting firm.  Upon approval of this PRR, responsibility for performing the other audits referenced in Protocol Section 1.4, Operational Audit, will transition to the Internal Audit Department.  PRR735 was posted on 8/7/07.  On 9/20/07, PRS unanimously voted to recommend approval of PRR735 as revised by PRS.  All Market Segments were present for the vote.

- NPRR077, Incorporating the ERCOT Internal Audit Department and Other Clarifications.  This NPRR incorporates the ERCOT Internal Audit Department into the Protocols, clarifies the audits to be performed, and the treatment of audit results.  Responsibility for performing the annual operational or “settlements” audit, otherwise commonly known as the Statement on Auditing Standards (SAS) No. 70 (“SAS 70”), Type II report, will continue to be performed by an external independent certified public accounting firm.  Upon approval of this NPRR, responsibility for performing the other audits referenced in Protocol Section 1.4, Operational Audit, will transition to the Internal Audit Department.  NPRR077 and its related IA were posted on 8/7/07.  On 8/23/07, PRS unanimously voted to recommend approval of NPRR077 as amended by PRS.

- NPRR078, Simplifying the Dispute Process.  This NPRR removes the concept of “timely” disputes that can still be worked by ERCOT, and removes the concept of disputing settlement statements.  Instead, disputes that are filed with enough time for ERCOT to work them, as defined in the Protocols modified by this revision, will be worked and included in the next settlement statement if granted.  NPRR078 was posted on 8/13/07.  On 8/23/07, PRS voted to incorporate the comments by COPS, ERCOT Staff and Constellation NewEnergy and refer the merged version to COPS and the Transition Plan Task Force (TPTF) for review.  The motion passed unanimously with all Market Segments present.  On 9/20/07, PRS voted to recommend approval of NPRR078 as revised by COPS.  There was one abstention form the IG Market Segment.  All Market Segments were present for the vote.  ERCOT credit staff and the Credit WG have reviewed NPRR078 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR081, Automatic Voltage Regulator (AVR) Status.  This NPRR adds a requirement for telemetry of Generation Resource AVR status to comply with North American Electric Reliability Corporation (NERC) Reliability Standards.  NPRR081 was posted on 8/31/07.  On 9/20/07, PRS voted to recommend approval of NPRR081 as revised by TPTF and PRS.  The motion passed with three abstentions from the IG and IPM (2) Market Segments.  All Market Segments were present for the vote.

PRR and NPRRs Deferred or Tabled

- PRR703, Emergency Interruptible Load Service (EILS) – URGENT.  This PRR institutes an EIL) as a load interruption emergency backstop for use only during Emergency Electric Curtailment Plan (EECP) Step 3.  This EILS would be a merit order of Loads that have voluntarily offered to interrupt at an offer price and would be dispatched to interrupt in the EECP step just prior to the Independent System Operator’s (ISO) dispatch order to Transmission and Distribution Service Provider/Distribution Service Providers (TDSP/DSPs) to shed firm Load in order to preserve the system’s frequency.  In the event that EILS is dispatched, the market clearing price of the last Load dispatched would set the Market Clearing Price for Energy (MCPE) for the remainder of the EECP episode for both loads and generation resources. PRR703 was posted on 12/28/06.  The submitter requested Urgent status, but on 1/5/07, PRS did not grant Urgent status through email vote.  On 1/22/07, PRS voted unanimously to grant urgent status to four PRRs (PRRs 702, 703, 704, and 705 described below) addressing Emergency Interruptible Load Service (EILS).  There was one opposing vote from the MOU Market Segment and one abstention from the IREP Market segment.  All Market Segments were present for the vote.  PRS then voted to table the EILS PRRs until its February meeting and request a report responding to specific questions by ERCOT Staff, WMS and ROS.  On 2/22/07 PRS again tabled PRR703.

- PRR736, Demand Response Revisions. This PRR revises existing Protocol language to facilitate Demand Response (DR) program(s) implementation.  PRR736 was posted on 8/21/07.  On 9/20/07, PRS voted unanimously to table PRR736 for one month.  All Market Segments were present for the vote.

- NPRR076, Synchronization of Emergency Electric Curtailment Plan (EECP) Event Realignment. This NPRR synchronizes the Nodal Protocols with PRR682, EECP Event Realignment, which was approved by the ERCOT Board on November 14, 2006.  NPRR076 was posted on 7/2/07.  On 7/19/07, PRS unanimously voted to refer NPRR076 to the Wholesale Market Subcommittee.  All Market Segments were present for the vote.  On 9/20/07, PRS voted unanimously to table NPRR076 until its October meeting.  All Market Segments were present for the vote.

PRR and NPRRs Pending Input from Another Subcommittee

- PRR549, Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November 2004 meeting, PRS remanded the PRR to ROS.

- PRR720, Texas Regional Entity Fee Methodology Revision.  This PRR changes how ERCOT will issue invoices to collect the Texas Regional Entity Fee (TREF).  This PRR was posted on 5/1/07.  On 6/21/07, PRS unanimously voted to refer PRR720 to COPS to evaluate PRR720 within the scope of the questions raised during the PRS discussion and report back at the 7/19/07 PRS meeting; and directed ERCOT Legal Staff to address the jurisdictional issues raised during the PRS discussion and report back at the 7/19/07 PRS meeting as well.  ERCOT credit staff and the Credit WG have reviewed PRR720 and do not believe that it requires changes to credit monitoring activity or the calculation of liability.

- NPRR082, Section 8, Performance Monitoring and Compliance, Revisions to Monitoring and Qualification Test.  This NPRR makes the testing and compliance requirements consistent with NPRR049, Generation Subsystem Changes to Incorporate Approved Whitepapers, and the white papers “Generation Resource Responsive Reserve Deployment and Recall” and “Non-Spin Deployment Notification and Availability” approved by TPTF.  NPRR082 was posted on 9/11/07.  On 9/20/07, PRS voted to remand NPRR082 to TPTF to consider the Occidental Chemical Corporation comments and also to determine whether NPRR082 should be integrated into the overhaul of nodal Section 8.  There was one opposing vote from the IPM Market Segment and one abstention from the IPM Market Segment.  All Market Segments present for the vote.