Motion:

TAC acknowledges the proposal supporting ERCOT  immediate increase in the amount of Responsive Reserves it purchases on an hourly basis of 500 MWs, from the current level of 2300 MWs to a new level of 2800 MWs, for hour ending 0600 to hour ending 2200.

The increase in Responsive Reserves is intended to reduce the frequency of Short Supply Alerts and reduce ERCOTs use of command and control mechanisms, such as OOMC and OOME, to resolve capacity sufficiency concerns.

The motion is not supported by sufficient fiscal and engineering data allowing TAC to fully evaluate its merit.

Resolved that TAC postpones consideration of this motion until its next meeting or until such time as its sponsors provide detailed fiscal and engineering impacts studies.