| PRR Number | 733 | PRR Title | Remove 168-Hour Generation Testing Requirement |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Protocol Section Requiring Revision |  | 6.10.2, General Capacity Testing Requirements |  |  |
| Proposed Effective Date |  | December 1, 2007 |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | This PRR will remove the 168 hour requirement and the need to utilize the observed actual output in the first 168 hours, if test data is not provided. |  |  |
| Overall Market Benefit |  | This PRR revises the ERCOT Protocols to more accurately reflect the intent and actual practice and thus ensures Texas Regional Entity (TRE) compliance. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts |  | ERCOT credit staff and the Credit Working Group (Credit WG) have reviewed PRR733 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - PRR733 and the associated Impact Analysis (IA) were posted on 7/9/07. - On 8/11/07, the request for Urgent status failed by e-mail vote. - On 8/23/07, PRS considered this PRR. - On 9/20/07, PRS reviewed the IA and Recommendation Report. - On 10/5/07, TAC considered PRR733. |  |  |
| PRS Recommendation |  | On 8/23/07. PRS voted to recommend approval of PRR733 as revised by PRS. The motion passed with one opposing vote from the Municipally Owned Utility (MOU) Market Segment and one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the vote. On 9/20/07, PRS reviewed the IA and Recommendation Report for PRR733 and voted to forward the documents to TAC. There was one abstention from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/23/07, ERCOT Staff reported that 104 units failed the 168-hour generation testing requirement. Most units performed the test and avoided being de-rated; 37 units were de-rated as a result of this provision. ERCOT Staff explained that this PRR proposes to use the last value posted, rather then limiting the units. Participants discussed that Entities should be encouraged to regularly test their units; that a task force will review the general issue of testing; and that this instant PRR is an interim solution. Participants emphasized that PRS should not become a forum or vehicle for PRRs to weaken the compliance protocols in order to meet the NERC standards. On 9/20/07, there was no discussion preceding the vote. |  |  |
| TAC Recommendation |  | On 10/5/07, TAC unanimously voted to recommend approval of PRR733 as submitted by PRS. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | There was no discussion on 10/5/07. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | ERCOT Protocols should reflect the intent and actual practice. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Cost |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Market Benefit |  | Impact Area | Monetary Impact |
|  | 1 | None | None |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other Comments | 1 | None |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | John Dumas |
| Company | ERCOT |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

6.10.2	General Capacity Testing Requirements

ERCOT shall update the Generation Resource test data in the EMS system and maintain a historical record of the Net Dependable Capability of each Generation Resource unit.  A QSE must on a seasonal basis perform a test and provide the data to ERCOT for any Resource for which the capacity is greater than or equal to ten (10) MW and will operate for more than one hundred sixty eight (168) hours during the season.  ERCOT will continue to utilize the last test values received from the QSE.  Any unit for which the QSE desires qualification to provide Ancillary Services shall have its Net Dependable Capability verified prior to providing services using the Generation Resource unit.  The capability of hydro units operating in the synchronous condenser fast response mode to provide hydro Responsive Reserve shall be evaluated by Season.

Load acting as a Resource to provide Ancillary Services shall have its telemetry attributes verified by ERCOT annually.  In addition, once every two (2) years, any LaaR providing Responsive Reserve Service shall test the under frequency relay or the output from the solid-state switch, whichever applies, for correct operation.  However, if the Load’s performance has been verified through response to an actual event, the data from the event can be used to meet the annual telemetry verification requirement for that year and/or the biennial relay testing requirement.

Specific Loads to be used for the first time as a Resource to provide Responsive Reserve, Non-Spinning Reserve or Replacement Reserve must be correctly evaluated (tripped or simulated trip, if approved by ERCOT) prior to their qualification to provide Ancillary Services.  At a time selected mutually by the Load and ERCOT, ERCOT will notify the QSE representing such Load of the need to confirm that Loads proposed to be used to provide Responsive Reserve, Non-Spinning Reserve or Replacement Reserve Services can be de-energized, or simulated, if applicable, to ERCOT’s reasonable satisfaction.  ERCOT shall develop a standard test for simulation for Load interruption required under this subsection.  Loads used to provide Responsive Reserve Service shall be qualified for correct operation by their host TDSP.

QSEs shall be responsible for qualifying any Load desiring to have the QSE represent it to provide Balancing Up Load (BUL) Service.

[PRR484: Add the following to the end of the above paragraph (“QSEs shall be responsible for qualifying…Balancing Up Load (BUL) Service. ”) upon system implementation:] Loads controlled under a qualified DLC program may be qualified as a group.

The QSE shall nominate to ERCOT, at least annually, that it is representing an amount of BUL for which it wishes to be qualified to provide.  At a time selected by ERCOT, the ERCOT operator will notify the QSE that it wants to verify the QSE’s ability to provide ERCOT with the appropriate signal simulating that it has initiated an ERCOT requested BUL reduction.  The QSE Operator will immediately simulate the initiation of the reduction and provide ERCOT with the appropriate signal representing some amount of Load to be qualified to provide BUL Resources.  Once ERCOT has verified that it has received an appropriate Load reduction signal from the QSE and has successfully completed the BUL registration process, the QSE will be qualified to provide BUL Resources.  Any changes to the BUL portfolio will require subsequent updates to the registration process.  For NOIEs representing specific Loads qualified as BULs that are located behind the NOIE Settlement Meter points, the NOIE shall provide an alternative unique descriptor of the qualified BUL Load for ERCOT’s records.

Generation Resources and Loads acting as Resources shall be evaluated at least annually by ERCOT for:

(1)	Correct operation of telemetry of the breakers controlling the Resource;

(2)	Correct mapping of QSE-provided telemetry of Ancillary Service energy to the appropriate energy Settlement Meter;

(3)	Data rate update requirements; and

(4)	Any other required telemetry attributes.

All Generation Resources and Loads acting as a Resource shall meet all requirements specified in the Operating Guides for proper response to system frequency.  ERCOT may reduce the amount a Resource may contribute toward Ancillary Services if it finds unsatisfactory performance of the Resource as defined in these Protocols and the Operating Guides.

Qualification of a Resource, including a Load acting as a Resource or an EILS Resource, shall remain valid for such Resource in the event of a change of QSE for the Resource, provided that the new QSE demonstrates to ERCOT’s reasonable satisfaction that the new QSE has adequate communications and control capability for the Resource.