## Sheet1
Number | QSE | Document | Comment
1 | Austin Energy | EIP V1.04 Section 3.3.8 | The xml structure of COP is such that it does not conform to the protocols Section 3.9.1 which states: "Each QSE that represents a Resource must submit a COP to ERCOT that reflects expected operating conditions for each Resource for each hour in the Operating Day and the next seven Operating Days." Austin Energy firmly believes that this language implies unequivocally a single submission of a seven day COP. The current structure requires Market Participants to submit seven separate one-day COPs, requiring seven separate handshakes, seven encryptions, seven decryptions, seven validations, seven synchronous responses, and seven notifications. Austin Energy suggests allowing the first set of <starttime> and <stoptime> xml tags to span the seven day period specified in the protocols.
2 | Austin Energy | EIP V1.04 Section - general comment | Austin Energy continues to prefer using a single market interval ending designation (similar to the <tmPoint> tag), instead of a starttime stoptime pair, wherever applicable, to eliminate overlap issues, and to better represent the market interval as a defined time label, and not as an arbitrary elapsed time between arbitrary clock times.
3 | Austin Energy | EIP V1.04 Section 3.3.8 | Should unit ramp rates (up/down) be included in the COP, for better validation?
4 | Austin Energy | EIP V1.04 Section 3.3.8 | The EIP document should spell out the start hour for which the COP and other submissions cannot be updated for the operating day.
5 | Austin Energy | EIP V1.04 Section 3.3.4 | The value of <multihourblock> in the ASOffer structure should indicate a minimum number of hours, instead of a true/false value.
6 | Austin Energy | EIP V1.04 Sections 4 and 5 | The ERCOT wind forecast query or notification are not specified in the EIP document. Protocols section 4.2.2 states: "Each hour, ERCOT shall provide, through the Messaging System, the WGRPP forecasts for each WGR to the QSE that represents that WGR and shall post each WGRPP forecast on the MIS Certified Area."