| LPGRR Number | 023 | LPGRR Title | Removal of Gray-Highlighted Text |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Load Profiling Guide Sections Requiring Revision |  | 8.7, Criteria for Requiring a Profile Model Change 15, Load Research Samples 15.2.2, Availability of Data 15.2.4, Creation of New Samples 16.2.3, TDSP DLC Programs (deleted) 16.5, Access to Data (deleted) 16.5.1, Access to the Sponsored Load Profiles (deleted) 16.5.2, Access to Data for Individual ESI IDs in the DLC Sample (deleted) |  |  |
| Effective Date |  | November 1, 2007 |  |  |
| Priority & Ranking Assigned |  | Not applicable. |  |  |
| Revision Description |  | This Load Profiling Guide Revision Request (LPGRR) removes gray-highlighted text in the Load Profiling Guide (LPG) that is not related to any pending system changes or future effective dates. |  |  |
| Overall Market Benefit |  | The gray-highlighted text in the LPG is no longer required. |  |  |
| Overall Market Impact |  | None. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 05/30/07, LPGRR020 and its Impact Analysis (IA) were posted. - On 06/26/07, the Profiling Working Group (PWG) considered this LPGRR. - On 07/25/07, the PWG considered the IA. - On 08/14/07, the COPS considered this LPGRR. - On 08/28/07, the PWG again considered the LPGRR. - On 09/10/07, the COPS again considered this LPGRR. - On 10/05/07, the TAC considered this LPGRR. |  |  |
| PWG Recommendation |  | On 06/26/07, the PWG was in consensus to recommend to the COPS approval of this LPGRR as modified by PWG. There were no objections. On 07/25/07, the PWG was in consensus to forward the PWG Recommendation Report and IA to the COPS for consideration. On 08/28/07, the PWG was in consensus to recommend to the COPS approval of this LPGRR and the PWG Recommendation Report as revised by the PWG. |  |  |
| PWG Discussion |  | On 06/26/07, the PWG reviewed this LPGRR and proposed modifications. On 07/25/07, the PWG reviewed the PWG Recommendation Report and IA. On 08/28/07, the PWG updated this LPGRR and the PWG Recommendation Report to reflect the fact that Section 16.1.2 is no longer being modified by this LPGRR. |  |  |
| COPS Action |  | On 08/14/07, the COPS unanimously remanded this LPGRR to the PWG. All Market Segments were present for the vote. |  |  |
| COPS Recommendation |  | On 09/10/07, the COPS voted unanimously to recommend approval of LPGRR023 as revised by the 08/28/07 PWG Recommendation Report. All Market Segments were present for the vote. |  |  |
| COPS Discussion |  | On 08/14/07, the PWG Vice -Chair explained that Time Of Use related language in the LPG Sections under consideration needs to be modified further and that remanding this LPGRR to the PWG will facilitate those modifications and ensure coordination with other LPGRRs. On 09/10/07, the PWG Vice-Chair stated that LPG Section 16.1.2 is no longer being modified by this LPGRR and will be modified by LPGRR027, Demand Response Revisions and Modification of Time-Of-Use (TOU) Schedule Approval Process. He explained that the PWG has accordingly updated this LPGRR by changing its title, by striking out Section 16.1.2 from the list of sections requiring revisions and by striking out the pertinent sentence from the Revision Description and Overall Market Benefit fields. The COPS accepted all the changes made by the PWG Recommendation Report including removing Section 16.1.2 from this LPGRR. |  |  |
| TAC Action |  | On 10/05/07, the TAC unanimously voted to approve this LPGRR as recommended by the COPS. All Market Segments were present for the vote. |  |  |
| TAC Discussion |  | On 10/05/07, there was no discussion. |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Carl Raish |
| E-mail Address | craish@ercot.com |
| Company | ERCOT |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None. |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None | None |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Updated Load Profiling Guide | None |
|  | 2 |  |  |
| Additional Qualitative Information | 1 | None |  |
|  | 2 |  |  |
| Other | 1 | None |  |
| Comments | 2 |  |  |

Proposed Load Profiling Guide Language Revision

## Criteria for Requiring a Profile Model Change

As discussed in Section 8.1, Routine and Non-Routine Profile Model Evaluations, ERCOT is responsible for evaluating existing Load Profiles for change as Load Profiles may become stagnant and/or not representative of the segments of the ERCOT market for which they are used.

This section details the criteria which should be applied in determining whether Load Profile changes are appropriate.

The following criteria shall be applied to determine whether Load Profile changes are appropriate based on evaluations using current Load research data:

- The Load weighted average annual price for a current Load Profile is outside the 90% confidence interval of the price estimate based on the Load Profile developed from the current Load research;

- The On-Peak/Off-Peak Ratio for a current Load Profile is outside the 90% confidence interval of the ratio estimate based on the Load Profile developed from the current load research;

- The Load factor for a current Load Profile is outside the 90% confidence interval of the Load factor estimate based on the Load Profile developed from the current Load research;

- One or more of the comparison statistics listed in Section 8.2.4.4, Summary Statistics on Differences Between Series, for a current profile are outside the 90% confidence interval of the corresponding statistic based on the Load Profile developed from the current Load research for 10% or more of the intervals for the analysis period, which is normally one year;

- One or more of the summary statistics listed in Section 8.2.4.4 for a current profile are outside the 90% confidence interval of the corresponding statistic based on the Load Profile developed from the current Load research.

The following criteria shall be applied to determine whether Load Profile changes are appropriate based on evaluations using other than current Load research data:  The average difference of the reading fractions calculated as outlined in  Section 8.3.2.2, Examination of Monthly Patterns, across the ESI IDs currently assigned to the load profile exceed 2% on either a seasonal or annual basis.

# 15	Load Research Samples

Load research samples are required by ERCOT as the basis for developing and evaluating Load Profiles for most Load Profile Types.  Protocols Section 18.2.11, “Responsibilities of Sampling in Support of Load Profiling,” broadly define the responsibilities of ERCOT and TDSPs regarding load research samples.  This part of the Load Profiling Guides (LPG) also provides guidelines on communication and expectations between ERCOT and TDSPs in fulfilling those responsibilities.

TDSPs have provided their load research data in the past and shall continue to provide available data in the future in the interests of keeping ERCOT’s costs down.  TDSPs may, at their own discretion, determine the overall level of load research effort they will provide.  TDSP’s load research is independent of ERCOT, except as specified in Protocols Section 18, “Load Profiling.”  ERCOT shall make use of TDSP and Non-Opt In Entity (NOIE) load research data to the extent such data are available and useful.  ERCOT shall attempt to minimize the burden to TDSPs of providing data to ERCOT.

TDSPs and NOIEs provided all load research data to ERCOT used in the initial development of Load Profiles.  ERCOT shall periodically request current load research data from all TDSPs and NOIEs for Load Profile model evaluations.  ERCOT plans to develop and arrange for implementation of its own load research samples.

### Availability of Data

Load research data collected by ERCOT shall be available only to ERCOT or its designated agent.  Profiles developed from these data shall be made available through ERCOT’s standard profile reporting procedures.  ERCOT shall provide descriptive information available on load research samples, in support of Load Profiling, according to Protocols Section 18.3.1, “Methodology Information.”  This data is strictly used for Load Profiling purposes.

In addition to the published Load Profiles, other aggregate data from the load research samples shall also be made available to Market Participants by ERCOT.  Aggregate data that ERCOT shall provide for each load research sample shall include:

- ERCOT’s estimate of average kW per ESI ID in each time interval based on the load research sample,

- Standard errors or other statistical accuracy measures for the estimated average kW per ESI ID in each interval, and

- Sample size.

The standard errors and sample sizes for each load research sample may be provided as ranges or averages rather than providing individual values for each time interval.  ERCOT may provide additional aggregate information that it deems to be of value to the Market Participants.

    - Creation of New Samples

ERCOT has the authority to determine the need for new load research samples.  These samples may be a replacement for existing samples, or may represent a population not currently covered by an active load research sample.

Samples developed by ERCOT may be regional, spanning more than one TDSP.  The sampled populations may also be restricted to only a geographic subset of a TDSP’s service territory.

Information that ERCOT shall provide to the PWG about a planned new sample shall include:

- A description of the population to be represented by the sample.

- The relationship between this population and classes represented by current samples or previously existing samples for which data have been provided to ERCOT.

- The approximate size of the population, in number of customers and MWh.

When plans for a new sample are sufficiently developed, ERCOT shall provide to the PWG a description of the Sample Design.  This description shall include:

- The Sample Design accuracy target.

- The estimation method for which the sample accuracy is designed (typically, mean-per-unit or ratio estimation).

- The stratification scheme.

- The population size of each Sampling cell, in number of customers and annual MWh.

- The sample size of each Sampling cell.